Guidance on the Global Monitoring Plan for Persistent Organic Pollutants

January 2025

Table of Contents

Acknowledgement	5

List of abbreviations	6

Glossary of terms	8

1.	Background and objectives	9

1.1	Objectives of the Global Monitoring Plan for POPs	9

1.2	Objectives of the guidance	9

1.3	General principles	10

1.4	Sustainability and adaptability of the GMP	11

2.	Substances to be monitored	13

2.1	Recommendations for POPs to be analyzed	13

2.2	Recommended reporting format	20

3.	Statistical considerations	21

3.1	Quantitative objectives	21

3.2	Statistical methods to be used	21

3.3	Sources of variation	23

3.4	Length of time-series	24

3.5	Number of samples needed	24

3.6	Outcomes of statistical processing	24

3.7	Examples of statistical treatment and graphical presentation	25

4.	Sampling and sampling preparation methodology	28

4.1	Air	28

4.1.1	Experimental design	29

4.1.2	Sample matrix	36

4.1.3	Sampling and sample handling	36

4.1.4	QA/QC and data treatment	43

4.1.5	Climate effects	46

4.1.6	Integration	47

4.1.7 Cross-cutting considerations	48

4.2	Human milk and human blood	48

4.2.1	Experimental design	48

4.2.2	Sample matrix	50

4.2.3	Sampling and sample preparation methodology	51

4.2.4	Special considerations for fluorinated POPs	52

4.3	Water	53

4.3.1	Experimental design	53

4.3.2	Sampled matrix	55

4.3.3	Sampling and sample handling	55

4.3.4	QA/QC and data treatment	56

4.4	Complementary media and approaches for addressing data gaps in POPs Monitoring	57

4.4.1	Aquatic environments	57

4.4.2	Terrestrial environments	59

4.4.3	Indoor spaces	59

4.4.4	Food and biota	60

4.4.5	Microorganisms	60

4.4.6	Emission inventories and PRTR data for POPs monitoring	61

4.4.7	Collaborative frameworks for POPs monitoring	61

4.4.8	The role of specimen banking in POPs monitoring	62

4.4.9	Data flow, models and archives	62

5.	Analytical methodology	63

5.1	Sampling	63

5.2	Extraction and clean-up	63

5.3	POPs analysis	64

5.4	Data treatment	69

5.5	Organization of quality control	69

5.6	Other references	70

6.	Data handling	71

6.1	Objectives and priorities	71

6.2	Data policy	71

6.2.1	Terminology	71

6.2.2	Data policy	72

6.3	Data quality	72

6.4	Data flow and storage facilities	73

6.4.1	Scope	73

6.4.2	GMP data storage (compilation and archiving)	73

6.4.3	Data reporting scheme/flow	74

6.4.4	Data continuity	74

6.4.5	Standardized data exchange	75

6.4.6	Data products	79

7.	Strategy, process and draft structure for regional monitoring reports	79

7.1	Implementation of the global monitoring plan for effectiveness evaluation	79

7.2	Outline of regional monitoring reports (to be adapted as appropriate for use in specific regions)	79

7.3	Outline of the global monitoring report	82

8.	Environmental specimen banking	83

8.1	Introduction	83

8.2	Basic concept and requirements	86

8.2.1	Basic concept of environmental specimen banking	86

8.2.2	Samples to be stored	86

8.2.3	Long-term storage method	87

8.2.4	Facility requirement	88

8.2.5	Administrative system	89

8.2.6	Safety caution and training	89

8.2.7	Sample access / discarding policy	90

8.2.8	Guideline, banuals and standard operational procedures	90

8.3	Sampling and storage	90

8.3.1	Sampling devices	90

8.3.2	Sample processing and archiving	91

8.3.3	QA/QC and security	91

8.4	Communicating results to decision-makers, science and public	92

8.5	Available information on environmental specimen banking	92

8.6	Environmental specimen banking in the future	92

Appendix I: Description of important parameters for the determination of POPs in air, human blood and breast milk	94

Appendix II: Air monitoring sites	101

Part 1. Air monitoring sites	101

Part 2. Standard operation procedures and protocols for air monitoring	114

Part 3. Additional considerations for air sampling	115

Appendix III: Summary information on the UNEP/WHO Survey on Human Milk under the Global Monitoring Plan for POPs	116

Appendix IV: Sampling, storage, transportation, and analytical details for maternal blood (source: Centre de toxicologie du Québec / INSPQ)	118

Appendix V: Water solubility, octanol-water, and organic carbon partitioning coefficients of POPs	119

Appendix VI: List of codes related to the data structure (Excel file)

References	120

Acknowledgement

This guidance has been updated by the Global Coordination Group for the Global Monitoring Plan under the Stockholm Convention on Persistent Organic Pollutants (POPs).

It has been developed with contributions from the following experts, including current and former members of the Regional Organization Groups for the Global Monitoring Plan, members of the Ad Hoc Technical Working Group established at the second meeting of the Conference of the Parties to the Stockholm Convention, and other experts in the field of POPs monitoring: Karina Miglioranza (Argentina), Anahit Aleksandryan (Armenia), Sara Broomhall (Australia), Peter Weiss (Austria), Therese Yarde (Barbados), Mansourou Moudachirou (Benin), Sandra De Souza Hacon (Brazil), Tsvetanka Dimcheva (Bulgaria), Martin Benoit Ngassoum (Cameroon), Tom Harner (Canada), Hayley Hung (Canada), Pierrette Blanchard (Canada), Ricardo Barra (Chile), Minghui Zheng (China), Rigoberto Blanco Sáenz (Costa Rica), Kateřina Šebková (Czech Republic), Carola Resabala Zambrano (Ecuador), Peter Korytar (European Union), Johann Poinapen (Fiji), Gerhard Lammel (Germany), Trecia David Garnath (Guyana), Ved Prakash Mishra (India), Nishchal C (India), Dinesh Runiwal (India), Indrani Chandrasekharan (India), Abdulrahman Bahrami (Iran), Yoshikatsu Takazawa (Japan), Yasuyuki Shibata (Japan), Vincent Odongo Madadi (Kenya), Taelo Letsela (Lesotho), Halimatou Kone Esp Traore (Mali), Demba Sidibe (Mali), Nee Sun Choong Kwet Yive (Mauritius), Arturo Gavilan Garcia (Mexico), Tania Ramírez (Mexico), Otmani Anas (Morocco), Marina Stefova (North Macedonia), Trajce Stafilov (North Macedonia), Knut Breivik (Norway), Katrine Borga (Norway), Tor Johannessen (Norway), Jean de Dieu Nzila (Republic of Congo), Anna Cumanova (Republic of Moldova), Amirova Zarema (Russian Federation), Ivan Djurickovic (Serbia), Bondi Nyuma Gevao (Sierra Leone), Ramon Guardans i Cambó. (Spain), Hasanthie Sandarekha Dissānayake (Sri Lanka), Linda Linderholm (Sweden), Chalongkwan Tangbanluekal (Thailand), Alejandra Claudia Torre González (Uruguay), Anass Ali Saeed AL-Nedhary (Yemen), Derek Muir (Canada), Alexey Gusev (Meteorological Synthesizing Centre-East), Jana Klanova (RECETOX), Jana Boruvkova (RECETOX), Richard Hulek (RECETOX), Klara Komprdova (RECETOX), Lisa Emily Melymuk (RECETOX), Branislav Vrana (RECETOX), Jiří Kalina (RECETOX), Kei Ohno Woodall (Stockholm Convention Secretariat), Len Barrie (Stockholm University), Matthew Macleod (Stockholm University), Frank Wania (University of Tronto), José Sericano (Texas A&M University), Haosong Jiao (UNEP), Victor Estellano (UNEP), David Stone (UNEP), Luc Ingenbleek (WHO), Yuki Minato (WHO), Kim Petersen (WHO).

Disclaimer

The designations and presentations in this document represent possible options, based on expert judgment, to support comparable POPs monitoring data for evaluating the effectiveness of the Stockholm Convention. UNEP and contributing organizations are not liable for any misuse of the information contained within.

List of abbreviations

| AMAP | Arctic Monitoring and Assessment Programme |
| --- | --- |
| ANCOVA | Analysis of covariance |
| ANOVA | Analysis of variance |
| BCF | Bioconcentration factor |
| CEEPOPsCTR | Central and Eastern European Centre for Persistent Organic Pollutants |
| CEP | Caspian Environment Programme |
| CITES | Conference on International Trade in Endangered Species |
| COP | Conference of the Parties (to a Convention) |
| CRM | Certified reference material |
| CTD | The characteristic travel distance– defined as the “half-distance” (analogous to a half-life) for a substance present in a mobile phase |
| CV | Coefficient of variation |
| DDD | Metabolite of DDT |
| DDE | Metabolite of DDT |
| ECD | Electron capture detector |
| ECEH | European Centre for Environment and Health |
| EMEP | Co-operative Programme for Monitoring and Evaluation of the Long-Range Transmission of Air Pollutants in Europe |
| EPA | Environmental Protection Agency |
| FAO | Food and Agriculture Organisation of the United Nations |
| GAPS | Global Atmospheric Passive Sampling Survey |
| GAW | Global Atmosphere Watch |
| GC | Gas chromatograph(y) |
| GEF | Global Environment Facility |
| GEMS | Global Environment Monitoring System |
| GMP | Global Monitoring Plan |
| GPC | Gel permeation chromatography |
| GPS | Global positioning system |
| HELCOM | Helsinki Commission/The Baltic Marine Environment Protection Commission |
| HPLC | High performance liquid chromatography |
| HRGC | High resolution gas chromatography (capillary column) |
| HRMS | High resolution mass spectrometer |
| I L | Instrumentation level |
| IADN | Integrated Atmospheric Deposition Network |
| ICES | International Council for the Exploration of the Sea |
| IMO | International Maritime Organisation |
| INSPQ | Centre de Toxicologie du Québec |
| IP/RP | International/regional programmes |
| IPCS | International Programme on Chemical Safety |
| JECFA | Joint FAO/WHO Expert Committee on Food Additives |
| LOD | Limit of detection |
| LOQ | Limit of quantification |
| LRM | Laboratory reference material |
| LRMS | Low resolution mass spectrometer |
| LRTAP | Long Range Transboundary Air Pollution Convention (under the auspices of UNECE) |
| LRTP | Long-range transport potential |
| MDL | Method detection limit |
| mL | Milliliter |
| MONARPOP | Monitoring Network in the Alpine Region for Persistent Organic pollutants |
| MS | Mass selective detector |
| NGOs | Non-governmental organisations |
| OC | Organochlorine |
| OCP | Organochlorine pesticide |
| OECD | Organisation for Economic Co-operation and Development |
| OSPAR | Oslo Paris Commissions, Convention for the Protection of the Marine Environment of the North East Atlantic |
| PBDE | Polybrominated diphenyl ether |
| PCA | Pentachloroanisole |
| PCBs | Polychlorinated biphenyls |
| PCDD | Polychlorinated dibenzo-para-dioxins |
| PCDF | Polychlorinated dibenzofurans |
| PCNs | Polychlorinated naphthalenes |
| POPs | Persistent organic pollutants |
| PRTRs | Pollutant release and transfer registers |
| PTS | Persistent toxic substances |
| PUF | Polyurethane foam |
| QA/QC | Quality assurance and quality control regimes |
| ROGs | Regional organization groups for the Global Monitoring Plan |
| SCCPs | Short-chain chlorinated paraffins |
| SMOC | The Sound Management of Chemicals (SMOC) initiative under the North American Agreement on Environmental Cooperation (NAAEC) |
| SOP | Standard operating procedure |
| TCDD | Tetrachlorodibenzo-para-dioxin |
| TEF | Toxic equivalency factor |
| TEQ | Toxicity equivalents |
| UNECE | United Nations Economic Commission for Europe |
| UNEP | United Nations Environment Programme |
| WHO | World Heath Organization |
| WMO | World Meteorological Organization |
| XAD | Styrene/divinylbenzene-co-polymer resin |

Glossary of terms

| Activity | Any programme or other activity or project that generates data or information on the levels of POPs in the environment or in humans that can contribute to the effectiveness evaluation under Article 16 of the Stockholm Convention |
| --- | --- |
| Core matrices | These are the matrices identified by the Conference of the Parties to the Stockholm Convention at its second meeting as core for the first evaluation: A = ambient air; M = (human) mother’s milk; B = human blood. At the sixth meeting of the Confernce of the Parties, W= water was added as a core matrix for the monitoring of perfluorooctane sulfonic acid, its salts and perfluorooctane sulfonyl fluoride. |
| CTD | The characteristic travel distance– defined as the “half-distance” for a substance present in a mobile phase |
| I L-1 | Instrumentation level1 capable to analyze PCDDs/Fs and dioxin-like PCB at ultra-trace concentrations (high-resolution mass spectrometer in combination with a capillary column) |
| I L-2 | Instrumentation level capable to analyze all POPs (capillary column and a mass-selective detector) |
| I L-3 | Instrumentation level capable to analyze all POPs without PCDDs/Fs and dioxin like PCB (capillary column and an electron capture detector) |
| I L-4 | Instrumentation level not capable to do congener-specific PCB analysis (no capillary column, no electron capture detector or mass selective detector) |
| Intercomparisons | Participation in national and international intercalibration activities such as ring-tests, laboratory performance testing schemes, etc. |
| LOD | Limit of detection. Definition: The lowest concentration at which a compound can be detected; it is defined as that corresponding to a signal three times the noise |
| <LOD | Result below the of limit detection |
| LOQ | Limit of quantification. Definition: The lowest concentration that can quantitatively be determined is three times higher than LOD. |
| <LOQ | Result below limit of quantification. Compounds found at levels between LOD and LOQ can be reported as present, or possibly as being present at an estimated concentration, but in the latter case the result has to be clearly marked as being below LOQ |
| MDL | Method detection limit. The MDL considers the whole method including sampling, sample treatment and instrumental analysis. It is determined by the background amounts on field blanks. |
| GMP phase 1 | Activities supporting the Article 16 effectiveness evaluation, conducted by the Conference of the Parties at its fourth meeting, based on information collected between 2000 and 2007 (referred to as the first evaluation). |
| GMP phase 2 | Global monitoring plan activities from May 2009 to May 2023. |
| GMP phase 3 | Global monitoring plan activities from May 2017 to May 2023. |
| GMP phase 4 | Global monitoring plan activities from May 2023 to May 2029. |
| Programme | Some institutionalized activity to conduct measurements on a repetitive basis according to some agreed design, including the prospect for provision of necessary funding over a period of time |
| Selected Matrices | B=human blood; A=ambient air; BV=bivalves; BE=birds’ eggs; P0=fish; MM=marine mammals; W=water, S=soil; SD=sediments; F=food; and V=vegetation |

1.	Background and objectives

The Stockholm Convention on Persistent Organic Pollutants (POPs) was adopted on 22 May 2001 and entered into force on 17 May 2004, with 186 Parties as of November 2024. The Convention aims to protect human health and the environment from persistent organic pollutants.

Under Article 16, the Conference of the Parties (COP) is required to periodically evaluate the Convention’s effectiveness, based on:

- Reports and other monitoring information provided pursuant to paragraph 2 of Article 16;

- National reports submitted pursuant to Article 15;

- Non-compliance information under Article 17.

To facilitate these evaluations, the COP established the “Global Monitoring Plan for POPs (GMP)”, designed to generate comparable monitoring data on POPs listed in Annexes A, B, and C and track their environmental transport. This plan, provisionally adopted in SC-3/19, fully adopted in SC-4/31, and subsequently amended in SC-6/23, is implemented through regional organization groups across the five UN regions, overseen by a global coordination group.

The regional organization groups collect monitoring data, support capacity building, and produce regional monitoring reports, while the global coordination group harmonizes efforts, updates guidance, and compiles global monitoring reports. The terms of reference for these groups can be found in decision SC-11/18.

The guidance for the GMP, originally published by UNEP Chemicals in 2004, provides a comprehensive framework for implementation. It has been revised multiple times by the global coordination group, with expert input, in 2007, 2011, 2013, 2015, 2019, and 2022 to include new chemicals and technical advancements.  The current version, updated in 2025, is the latest and serves as the primary reference for implementing the GMP.

1.1	Objectives of the Global Monitoring Plan for POPs

The GMP aims to assess whether POPs releases are being reduced or eliminated, as required by Articles 3 and 5 of the Convention. This involves collecting data on the environmental levels of POPs to enable trend detection over time, with a focus on background levels in areas unaffected by local sources. Reliable trend identification depends on a statistical evaluation of the capacity of each national monitoring programme contributing to the GMP.

The objective of the GMP is to provide a harmonized framework for collecting and analyzing comparable data on POPs listed in Annexes A, B, and C. This enables the identification of temporal trends and informs regional and global environmental transport assessments. Reports on these activities, compiled by the global coordination group, contribute to the periodic effectiveness evaluations conducted by the COP.

1.2	Objectives of the guidance

The guidance document supports the objectives of the GMP by providing a standardized framework for collection, analysis, statistical evaluation, and reporting of POPs data. It aims to integrate existing programmes where possible, establish new initiatives as needed, and create a uniform structure for monitoring reports essential to the COP's periodic effectiveness evaluations.

The guidance is intended to:

- Establish a consistent framework for monitoring environmental background levels of POPs listed in Annexes A, B, and C;

- Support both dedicated Article 16 programmes and other existing monitoring efforts;

- Enhance the capacity of laboratories identified through the inventory process, guiding them in preparing targeted funding proposals;

- Serve as a dynamic, evolving framework, adaptable to further COP directives, practical experience, and emerging needs.

This comprehensive approach ensures that the GMP continues to provide robust, comparable data to support the Convention’s objectives and effectiveness evaluations.

1.3	General principles

The framework for the GMP follows the guidance provided by the Conference of the Parties.

The GMP aims to:

- Outline a strategic and cost-effective approach that builds on existing scientifically sound human health and environmental monitoring programmes to the extent possible, providing appropriate and sufficient comparable data for the effectiveness evaluation of the Convention;

- Ensure and enhance comparability and consistency in monitoring data;

- Be practical, feasible and sustainable;

- Be inclusive, achieve global coverage and contain at least core representative data from all regions;

- Be designed to go beyond the first monitoring report and address longterm needs for attaining appropriate representative data in all regions;

- Provide for supplementing data, where necessary, taking into account the differences between regions and their capabilities to implement monitoring activities;

- Enable phased enhancement of the ability of Parties to participate in regional arrangements for producing comparable data.

The second effectiveness evaluation concluded that the GMP provides the necessary environmental monitoring information to fully support the evaluation of the effectiveness of the Convention, and therefore should be sustained in the long term to enable it to continue to provide valuable data for effectiveness evaluation.

The GMP primarily focuses on background monitoring in core media. While non-core data, such as POPs data from other media, exposure data from non-core populations, or hot-spot monitoring, serve as valuable supplementary information, they support contextualized data interpretation and integrated modeling. This complementary data enhances global understanding of POP levels, environmental movement, and the long-range environmental transport (LRET) of POPs. Significant geographic disparities exist in the capacity to contribute comparable monitoring data for evaluating the effectiveness of the Stockholm Convention. Capacity-building initiatives, such as GEF programmes and strategic partnerships with established monitoring networks, have been implemented in developing regions. However, despite these efforts, some areas still lack the resources to monitor and analyze POPs adequately. The inclusion of new POPs in the Convention places additional demands on sustaining monitoring activities. Notably, the Convention’s ability to assess the impact of global efforts to reduce POPs relies heavily on the continuation of both international and national monitoring programmes. Furthermore, chemicals listed since 2009 exhibit complex and variable patterns across media and regions, with insufficient data to detect trends for many of these newer POPs.

Many POPs, even those under regulation, continue to pose significant concerns. Assessing trends requires ongoing support for both existing and ad hoc monitoring programmes, including those focused on water. Large-scale, recurrent monitoring and metadata sharing are essential for data comparison and enhanced assessment of long-range environmental transport (LRET). Coordinating with initiatives such as indoor air surveillance, emissions monitoring in urban and industrial areas, and exposure assessment in waste and urban settings, along with developing models for environmental fate and exposure, would improve understanding of POP exposure and the effectiveness of regulatory actions in protecting human health and the environment. Additionally, linking monitoring with climate and biodiversity research can provide valuable context for interpreting data within the broader environmental context.

- For the GMP’s fourth phase, several opportunities and needs to sustain long-term POP monitoring have been identified:

- Regional capacity inventories: Develop and maintain an inventory of regional capacities;

- Strategic partnerships: Support regions aiming to establish or enhance monitoring capacity to form partnerships with established monitoring programmes;

- Ongoing monitoring support: Sustain sampling, analysis, quality assurance, and data storage to assess temporal trends and LRET effectively;

- Interlaboratory assessments: Encourage laboratories to participate in international assessments organized by UNEP or other agencies, like IAEA;

- Address data gaps: Increase efforts to close data gaps and monitor newly listed POPs as they are added;

- Sample archiving: Archive core media samples for retrospective analysis to provide baseline data and track trends of newly listed POPs;

- Regional communication: Strengthen structures for regional communication, coordination, and information exchange;

- Enhanced intra-regional coordination: Improve intra-regional coordination, particularly among experts and academic groups, to meet GMP data needs;

- Widespread report sharing: Disseminate regional and global monitoring reports broadly;

- GMP Data Warehouse: Maintain and develop the data warehouse to handle GMP data, offer access to up-to-date monitoring data, and improve visualization tools;

- Database integration: Make databases searchable, openly accessible, and compatible with other databases to facilitate data sharing and compilation;

- Data integration with models: Cooperate with other programmes to integrate GMP data with numerical models for estimating trends in POP emissions and linking these trends to human and environmental impacts;

- Enhanced modeling: Strengthening modeling capabilities within an integrated assessment approach could allow for more predictive and quantitative insights into POP levels and trends.

Additional funding and resources are needed to accommodate the demand for new POP analyses. Monitoring programmes might adjust by reducing analysis frequency for legacy POPs, optimizing analytical methods, and establishing specialized partnerships among laboratories. Many programmes are incorporating scientific advancements like high-resolution, non-targeted analysis, and data archiving for future reference, which could improve future reporting.

Investing in the sustainability of specimen banks can be a cost-effective strategy, allowing retrospective analysis of current and future POPs and screening studies on candidate POPs, thus supporting the evaluation of policy effectiveness.

1.4	Sustainability and adaptability of the GMP

GMP plays a pivotal role in providing comparable monitoring data on levels and temporal trends of all POPs listed in the core media identified by the Stockholm Convention. Consistent monitoring data across the five UN regions is essential for evaluating the effectiveness of the Convention’s measures in protecting human health and the environment by reducing or eliminating POPs. Consequently, a rigorous and continuous long-term monitoring programme for POPs in core media (air, human tissue, and water for PFASs) is essential to fulfill the scientific requirements of Article 16. Since the Convention’s entry into force, three GMP implementation phases have been completed, with many long-term programmes consistently reporting on POP trends and expanding to address regional data gaps. New programmes have also been established to create baselines for future trend assessments.

Since the Stockholm Convention’s entry into force in 2004, it has evolved from targeting the original 12 POPs to addressing 34 chemicals (as of 2024). The POPs Review Committee (POPRC) continues to evaluate chemicals proposed for listing under the Convention, requiring monitoring programmes to adapt to expanding requirements. Advances in science have also led to the integration of new methodologies in sampling, analysis, and data interpretation.

Growing awareness of the need to improve communication across science-policy and policy-policy interfaces, as well as with the public, has led to new strategies for collaboration and outreach. These approaches aim to enhance the relevance and visibility of POP monitoring under the GMP (UNEP, 2024; Harner et al., 2024). Additionally, the intersection of chemical pollution with health, climate change, and biodiversity loss is prompting innovative, cross-disciplinary approaches for future monitoring and research, ensuring that programmes remain current, adaptable, and sustainable.

Several key areas are identified as essential for advancing the GMP, organized by goals, challenges, and opportunities for a sustainable, forward-looking GMP, as follows:

- Goals (as defined by the Convention):

- Ensure reliable, long-term measurements of POPs in core media, achieving good regional coverage across all five UN regions;

- Develop and maintain systems and tools for storing, sharing, and interpreting data, such as the GMP Database, and utilize resources like ROGs and experts to support reporting per the GMP cycle;

- Foster cooperation within and between regions to enhance information sharing, technology transfer, capacity building, and training;

- Leverage POP monitoring data in other forums, including UNFCCC, CBD, health assessments, and SDG evaluations.

- Challenges (based on three GMP cycles):

- Addressing the increasing analysis and reporting requirements as the list of POPs expands;

- Acquiring and maintaining specialized analytical equipment and techniques needed for detecting some POPs, especially at trace levels (e.g., in air);

- Managing rising costs associated with monitoring additional POPs, which strain long-term programmes and hinder the establishment of new ones;

- Interpreting trends for an expanding list of POPs while incorporating new approaches related to chemical mixtures, including transformation products and non-targeted analysis (Escher et al., 2020; Liu et al., 2021), rather than focusing solely on a chemical-by-chemical basis. This approach aims to align with the Convention’s fundamental goal to “protect human health and the environment from the harmful effects of POPs.”

- Opportunities and strategies:

- Form partnerships within and between regions to share expertise and resources, addressing challenges posed by the dynamic nature of the GMP;

- Use emissions data, satellite information, models, and other expertise to interpret existing data, prioritize data needs, and determine optimal analysis and sampling frequency for different POPs;

- Enhance data accessibility and integrity by utilizing the GMP database and linking it to Global Earth Observations for multi-dimensional analysis;

- Archive samples ("banking") for future retrospective POP analysis;

- Leverage data from long-term programmes monitoring non-core media to understand regional POP trends, especially where core media data is limited, and optimize core media activities accordingly;

- Apply new scientific tools (e.g., non-target analysis, toxicogenomics) to assess cumulative impacts from POP mixtures and evaluate exposure to humans and the environment;

- Improve communication and coordination among international programmes addressing POPs to support informed decision-making, engaging groups such as GMP (ROG members and experts), POPRC, UNECE LRTAP/task force on HTAP, AMAP, WHO, GEF, SAICM, GEO, and EU Framework Programmes;

- Integrate science-policy and policy-policy efforts to monitor POPs in ways that intersect with biodiversity, climate change, and health initiatives (UNEP, 2024; decision SC-11/21).

Existing POPs monitoring in core matrices (air and human breast milk) has successfully supported the preparation of regional and global monitoring reports for over a decade.

- Recommendations from the global coordination group and regional organization groups:

- Ensure long-term availability and comparability of data in core media for the continuity of the GMP;

- Link monitoring, sampling, and analysis of POPs to solid infrastructure and reliable systems to maintain high-quality results;

- Implement pragmatic actions to address the demands of the Convention’s expanding scope and relieve pressure on global analytical capacity.

- Essential requirements for a global, sustainable POPs monitoring programme:

- Air: International partnerships on ambient air POP monitoring, developed since the early 2000s, have harmonized and cost-effectively calibrated activities. These programmes provide archival opportunities and should be maintained and optimized to support long-term trends and fill existing gaps. Additional sampling sites are encouraged to monitor background concentrations, supporting long-range transport and trend data;

- Human milk: UNEP’s support for POP monitoring in human milk in developing countries has been effective and cost-efficient, creating a valuable archive of samples and data. The POPs monitoring survey should continue with UNEP’s centralized organization every five years, following a consistent sampling protocol, laboratory analysis, and a focus on trends to accurately assess human exposure. Collaboration with human biomonitoring partnerships (e.g., WHO, 2024) is recommended to further support these efforts;

- Water: Since 2019, water POP monitoring has seen significant research development. This programme should be further developed and consolidated, focusing on identifying trend data, aligning international activities, and enabling regional trend interpretation. GMP4 could provide baseline data that is geographically representative and, in some cases, indicate trends.

- Crosscutting elements:

- Conduct regular training and capacity-building to enhance the effective implementation of GMP activities, data interpretation, and science-policy communication;

- Update monitoring tools and GMP guidance continuously to align with the Convention’s expanding scope and scientific advancements;

- Integrate with other chemical pollution monitoring programmes to reduce costs and enrich data interpretation (e.g., co-deploy samplers for POPs and other pollutants such as mercury from the Minamata Convention);

- Establish linkages to health assessments and adopt new methodologies to evaluate the health impacts of POP mixtures;

- Connect with biodiversity initiatives to support the Kunming-Montreal Global Biodiversity Framework;

- Apply insights into climate change impacts on POP levels and trends in GMP reporting;

- Partner with modelers to improve understanding of temporal trend data, distinguish between primary and secondary emissions, and assess Convention effectiveness under Article 16;

- Use satellite data and other data sources for enhanced interpretation of POP trends;

- Implement an interlaboratory assessment programme to ensure effective and cost-efficient QA/QC;

- Develop communication and outreach strategies to bridge science, policy, public awareness, industry, and engagement with vulnerable communities and Indigenous groups.

This comprehensive approach aims to strengthen POP monitoring, ensuring it is scientifically robust, adaptive, and sustainable for long-term Convention goals.

2.	Substances to be monitored

2.1	Recommendations for POPs to be analyzed

The Stockholm Convention aims to protect human health and the environment from POPs, with the ultimate goal of eliminating them where feasible. A key measure of the Convention’s effectiveness is monitoring POP concentrations listed in Annexes A, B, or C across relevant matrices and tracking changes over time (see Chapter 4). As of October 2024, 34 POPs are listed under the Convention.

The POPs Review Committee has additionally recommended three more chemicals or groups of chemicals for listing, which will be considered at the twelfth meeting of the Conference of the Parties in 2025. One further group of chemicals is under review. Any newly listed POPs will be incorporated into the global monitoring plan, with updates to this guidance as needed.

Table 2.1 provides an overview of chemicals listed in Annexes A, B, and C of the Stockholm Convention, along with candidate chemicals. It includes their acronyms and, where applicable, the number of congeners or structural isomers, as well as recommended analytes for analysis. Since it may not be feasible to analyze all individual congeners, Table 2.1 also lists recommended substances for analysis, including parent POPs and significant transformation products by matrix. Only fluorinated POPs are recommended for analysis in water; chlorinated and brominated POPs are excluded from water analysis.

For POPs shown in square brackets, analytes are either undefined or not yet confirmed in environmental or human matrices under typical conditions. Ongoing research is expected to clarify future recommendations.

Table 2.2 shows recommended priorities for POPs background monitoring in core matrices. Core matrices include air, human milk, and human blood (all shown in bold); water is included for monitoring more water-soluble POPs, such as PFOS.

Following GMP guidelines, POPs analysis should be strategic and cost-effective. Well-designed studies, coordinated by regional organizational groups and the global coordination group, optimize resource use and provide representative, sufficient, and globally comparable data to evaluate the Convention’s effectiveness. Engaging stakeholders, including data users, is recommended to align study design and address significant data gaps.

The GMP encourages regional monitoring to achieve global coverage, requiring high analytical performance to detect small changes in concentrations. It is recommended that data on all 34 POPs (parent compounds, precursors, and transformation products, as listed in Table 2.1) be collected in the recommended matrices (see Chapter 4).

Table 2.1: Chemicals listed in Annex A, B and C and candidate chemicals and recommended analytes and core matrices for analysis.

| # | Chemical name | Acronym or short names | Annex | Year listed | Decision | Theoretical number of congeners or structural isomers | Air | Human milk | Human blood | Water |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| POPs listed in Annexes A, B and C |  |  |  |  |  |  |  |  |  |  |
| 1 | Aldrin | – | A | 2004 | Initial POPs | Single compound | Aldrin | Aldrin | Aldrin | N/A* |
| 2 | Alpha hexachlorocyclohexane | Alpha-HCH | A | 2009 | SC-4/10 | Single compound; isomer of HCH | Alpha-HCH | Alpha-HCH | Alpha-HCH | N/A |
| 3 | Beta hexachlorocyclohexane | Beta-HCH | A | 2009 | SC-4/11 | Single compound; isomer of HCH | Beta-HCH |  |  | N/A |
| 4 | Chlordane | – | A | 2004 | Initial POPs | 2 isomers | cis- and trans-chlordane cis- and trans-nonachlor oxychlordane | cis- and trans-chlordane cis- and trans-nonachlor oxychlordane | cis- and trans-chlordane cis- and trans-nonachlor oxychlordane | N/A |
| 5 | Chlordecone | – | A | 2009 | SC-4/12 | Single compound | Chlordecone | Chlordecone | Chlordecone | N/A |
| 6 | Decabromodiphenyl ether preesnt in commercial decabromodiphenyl ether | DecaBDE | A | 2017 | SC-8/10 | Commercial mixure of decaBDE | BDE-209 | BDE-209 | BDE-209 | N/A |
| 7 | Dechlornae Plus | DP | A | 2023 | SC-10/10 | 2 isomers | Dechlorane Plus | Dechlorane Plus | Dechlorane Plus | N/A |
| 8 | Dichlorodiphenyltrichloroethane | DDT | B | 2004 | Initial POPs | 2 isomers | 4,4’-DDT 2,4’-DDT 4,4’-DDE 2,4’-DDE 4,4’-DDD 2,4’-DDD | 4,4’-DDT 2,4’-DDT 4,4’-DDE 2,4’-DDE 4,4’-DDD 2,4’-DDD | 4,4’-DDT 2,4’-DDT 4,4’-DDE 2,4’-DDE 4,4’-DDD 2,4’-DDD | N/A |
| 9 | Dicofol | – | A | 2019 | SC-9/11 | 2 isomers | Dicofol | Dicofol | Dicofol | N/A |
| 10 | Dieldrin | – | A | 2004 | Initial POPs | Single compound | Dieldrin | Dieldrin | Dieldrin | N/A |
| 11 | Technical endosulan and its related isomers | Endosulfan | A | 2011 | SC-5/3 | Single compound; mixture of stereoisomers | Alpha-, beta-endosulfan; and endosulfan sulfate | Alpha-, beta-endosulfan; and endosulfan sulfate | Alpha-, beta-endosulfan; and endosulfan sulfate | N/A |
| 12 | Endrin | – | A | 2004 | Initial POPs | Single compound | Endrin | Endrin | Endrin | N/A |
| 13 | Heptachlor | – | A | 2004 | Initial POPs | Single compound | Heptachlor and heptachlorepoxide | Heptachlor and heptachlorepoxide | Heptachlor and heptachlorepoxide | N/A |
| 14 | Hexabromobiphenyl | HBB | A | 2009 | SC-4/13 | 42 isomers in one homolog group | PBB 153 | PBB 153 | PBB 153 | N/A |
| 15 | Hexabromocyclododecane | HBCD | A | 2013 | SC-6/13 | 3 structural isomers | Alpha-HBCD, beta-HBCD, gamma-HBCD | Alpha-HBCD, beta-HBCD, gamma-HBCD | Alpha-HBCD, beta-HBCD, gamma-HBCD | N/A |
| 16 | Hexabromodiphenyl ether and heptabromodiphenyl ether | c-OctaBDE | A | 2009 | SC-4/14 | Two homolog groups: 42 hexabrominated isomers 24 heptabrominated isomers | BDE-153, 154, 171, 180, 183, 196, 197, 203, 206, 207, 209 | BDE-153, 154, 171, 180, 183, 196, 197, 203, 206, 207, 209 | BDE-153, 154, 171, 180, 183, 196, 197, 203, 206, 207, 209 | N/A |
| 17 | Hexachlorobenzene | HCB | A, C | 2004 | Initial POPs | Single compound | HCB | HCB | HCB | N/A |
| 18 | Hexachlorobutadiene | HCBD | A, C | 2015, 2017 | SC-7/12, SC-8/12 | Single compound | [HCBD] | HCBD | HCBD | N/A |
| 19 | Lindane | Gamma-HCH | A | 2009 | SC-4/15 | Single compound; isomer of HCH | Gamma-HCH | Gamma-HCH | Gamma-HCH | N/A |
| 20 | Methoxychlor | – | A | 2023 | SC-11/9 | Single compound | Methoxychlor | Methoxychlor | Methoxychlor | N/A |
| 21 | Mirex | – | A | 2004 | Initial POPs | Single compound | Mirex | Mirex | Mirex | N/A |
| 22 | Pentachlorobenzene | PeCB | A, C | 2009 | SC-4/16 | Single compound | PeCB | PeCB | PeCB | N/A |
| 23 | Pentachlorophenol and its salts and esters | PCP | A | 2015 | SC-7/13 | Single anionic compound | PCP, PCA | PCA | PCA | N/A |
| 24 | Perfluorohexane sulfonic acid (PFHxS), its salts and PFHxS-related compounds | PFHxS | A | 2022 | SC-10/13 | Approximately 176 substances (UNEP/POPS/ POPRC.20/INF/13) | [PFHxS] | PFHxS | PFHxS | PFHxS |
| 25 | Perfluorooctane sulfonic acid (PFOS), its salts and perfluorooctane sulfonyl fluoride (PFOSF) | PFOS | B | 2009, 2019 | SC-4/17, SC-9/4 | Single anionic compound with one linear (L-PFOS) and many branched isomers 96 precursors | [PFOS, NMeFOSA, NEtFOSA, NMeFOSE, NEtFOSE (linear and branched)] | PFOS (linear and branched) | PFOS (linear and branched) | PFOS (linear and branched) |
| 26 | Perfluorooctanoic acid (PFOA), its salts and PFOA-related compounds | PFOA | A | 2019 | SC-9/12 | Approximately 369 substances (UNEP/POPS/ POPRC.20/INF/12) | [PFOA] | PFOA | PFOA | PFOA |
| 27 | Polychlorinated biphenyls | PCBs | A, C | 2004 | Initial POPs | 209 congeners | ΣPCB6 (6 congeners): 28, 52, 101, 138, 153, and 180 | ΣPCB6 (6 congeners): 28, 52, 101, 138, 153, and 180 | ΣPCB6 (6 congeners): 28, 52, 101, 138, 153, and 180 | N/A |
|  |  |  |  |  |  |  | PCBs with TEFs (12 congeners): 77, 81, 105, 114, 118, 123, 126, 156, 157, 167, 169, and 189 | PCBs with TEFs (12 congeners): 77, 81, 105, 114, 118, 123, 126, 156, 157, 167, 169, and 189 | PCBs with TEFs (12 congeners): 77, 81, 105, 114, 118, 123, 126, 156, 157, 167, 169, and 189 | N/A |
| 28 | Polychlorinated dibenzo-p-dioxins | PCDDs | C | 2004 | Initial POPs | 75 congeners | 2,3,7,8-substituted PCDD (17 congeners) | 2,3,7,8-substituted PCDD (17 congeners) | 2,3,7,8-substituted PCDD (17 congeners) | N/A |
| 29 | Polychlorinated dibenzofurans | PCDFs | C | 2004 | Initial POPs | 135 congeners | 2,3,7,8-substituted PCDF (17 congeners) | 2,3,7,8-substituted PCDF (17 congeners) | 2,3,7,8-substituted PCDF (17 congeners) | N/A |
| 30 | Polychlorinated naphthalenes (di-, tri-, tetra-, penta-, hexa-, hepta-chlorinated naphthalenes and octa-chlorinated naphthalene) | PCNs | A, C | 2015 | SC-7/14 | 73 congeners (di- to octachlorinated) | CN27/30, CN52/60, CN66/67 and CN73 | CN27/30, CN52/60, CN66/67 and CN73 | CN27/30, CN52/60, CN66/67 and CN73 | N/A |
| 31 | Short-chain chlorinated paraffins (with chain lengths ranging from C10 to C13 and a content of chlorine greater than 48 per cent by weight) | SCCPs | A | 2017 | SC-8/11 | Four homolog groups with skeleton of linear C10, C11, C12 or C13; and varying degrees of chlorination; several thousand congeners (theoretically) | SCCPs | SCCPs | SCCPs | N/A |
| 32 | Tetrabromodiphenyl ether and pentabromodiphenyl ether | c-Penta BDE | A | 2009 | SC-4/18 | Two homolog groups: 42 tetrabrominated isomers 46 pentabrominated isomers | BDE-47, 85, 99, 100, 153, 154. It should be reported with its degradation product BDE-17 and 28. | BDE-47, 85, 99, 100, 153, 154. It should be reported with its degradation product BDE-17 and 28. | BDE-47, 85, 99, 100, 153, 154. It should be reported with its degradation product BDE-17 and 28. | N/A |
| 33 | Toxaphene | – | A | 2004 | Initial POPs | Technical mixtures of chlorinated bornanes and chlorinated camphenes (about 16,000 congeners or isomers) | Congeners P26, P50, P62 | Congeners P26, P50, P62 | Congeners P26, P50, P62 | N/A |
| 34 | UV-328 | – | A | 2023 | SC-11/11 | Single compound | UV-328 | UV-328 | UV-328 | N/A |
| Chemicals under review |  |  |  |  |  |  |  |  |  |  |
| 1 | Chlorinated paraffins with carbon chain lengths in the range C14-17 and chlorination levels at or exceeding 45% chlorine by weight | MCCPs |  |  |  |  | MCCPs | MCCPs | MCCPs | N/A |
| 2 | Long-chain perfluorocarboxylic acids (LC-PFCAs), their salts and related compounds | LC- PFCAs |  |  |  |  | [LC-PFCAs] | LC-PFCAs | LC-PFCAs | LC-PFCAs |
| 3 | Chlorpyrifos | – |  |  |  |  | Chlorpyrifos | Chlorpyrifos | Chlorpyrifos |  |
| 4 | Polybrominated dibenzo-p-dioxins and dibenzofurans (PBDD/Fs) and mixed polybrominated/chlorinated dibenzo-p-dioxins and dibenzofurans | PBDD/Fs and PBCDD/Fs |  |  |  |  |  |  |  | N/A |

*Note: N/A indicates "not recommended" or "not to be analyzed."

Chemical name	Acronyms

Perfluorooctane sulfonamide	PFOSA

N-methyl perfluorooctane sulfonamide 	NMeFOSA

N-ethyl perfluorooctane sulfonamide 	NEtFOSA

N-methyl perfluorooctane sulfonamidoethanol 	NMeFOSE

N-ethyl perfluorooctane sulfonamidoethanol 	NEtFOSE

Pentachloroanisole 	PCA

Table 2.2: Recommended Priorities for POPs Background Monitoring in Core Matrices for the Global Monitoring Plan. (Core matrices include air, human milk, and human blood; water is recommended for monitoring water-soluble POPs such as PFOS.)

| Observation | Criteria | Recommendations |  |  |
| --- | --- | --- | --- | --- |
|  |  | Air | Human milk/blood | Water |
| High priority | - Eleveted levels of POPs detected. - Significant data gaps exist. - High importance and representativeness in filling the data gap for global background monitoring. | Regular monitoring data at the background sites is highly welcomed by the GMP. Monitoring data at hotspots or emission sources can be considered. | Data from regular human exposure study is highly welcomed, including surveys of vunerable groups. | Regular monitoring data at the background sites is highly welcomed by the GMP. Monitoring data at hotspots or emission sources in the aquatic ecosystems including in aquatic animals is encouraged can be considered. |
| Medium priority | - Levels of POPs detected above LOQ/LOD. - Data gaps exist. - Relatively high importance and representativeness in filling the data gap for global background monitoring | Regular monitoring at the background sites is welcomed by the GMP. Follow-up monitoring at hotspots or emission sources can be considered. | Continuing large scale human exposure study at reduced invervals is recommended. Regular survey of vunerable groups is encouraged. | Regular monitoring data at the background sites is welcomed by the GMP. Monitoring data at hotspots or emission sources in the aquatic ecosystems including in aquatic animals can be considered. |
| Low priority | - Levels and historical trends remain low and constant over ten years. - Considerable amount of data available for background monitoring. - Low importance in filling the data gap for global background monitoring. | In consultation with the ROG and GCG, regular monitoring data at background sites may not be required by the GMP. | In consultation with the ROG and GCG, regular monitoring data at background sites may not be required by the GMP | In consultation with the ROG and GCG, regular monitoring data at background sites may not be required by the GMP |

2.2	Recommended reporting format

Spreadsheets to report analytical data are available in Excel format at http://www.pops-gmp.org. These sheets include individual analytes (Table 2.2) and sum parameters for groups or mixtures of POPs. Key recommendations for reporting concentrations are as follows:

- PCBs: Analyze and report six PCB congeners individually, allowing calculation of the sum (ΣPCB(6));

- PFOS: Report concentrations of the linear PFOS (L-PFOS) anion and the sum of branched PFOS (br-PFOS) anions, then combine them for total PFOS (ΣPFOStotal) (UNEP 2014);

- PBDEs: Analyze congeners for each listing (c-penta, c-octa, decaBDE) and report them individually as well as their sum;

  - Commercial pentaBDE is a sum of BDE-47, 85, 99, 100, 153 and 154, and it should be reported including its degradation product congeners BDE-17 and 28;

  - Commercial octaBDE is a sum of BDE-153, 154, 171, 180, 183, 196, 197, 203, 206, 207, 209;

  - Commercial decaBDE is BDE-209;

- HCHs: Though listed separately, report the sum of the three isomers (alpha-HCH, beta-HCH, lindane) as ΣHCH(3).

- Endosulfan: Report alpha- and beta-isomers and sulfate with their total (ΣEndosulfans(3));

- HBCD: Analyze and report the concentrations of three isomers with their sum (ΣHBCD(3)). Note that total HBCD can be analyzed with GC-MS methods and reported as ΣHBCDtotal;

- Toxic Equivalent (TEQ): For PCDD, PCDF, and dl-PCB, report concentrations for all 29 congeners, showing TEQ values for PCDD, PCDF, dl-PCB, and total TEQ. The WHO1998-TEFs are required by the Stockholm Convention (Annex C), but the WHO2005-TEFs (Van den Berg et al., 2006) are also recommended for comparison with other data sources. Additionally, the new WHO2022-TEFs should be included to align with the most recent scientific updates and ensure compatibility with evolving international standards. This allows comprehensive trend analysis and comparability across timeframes and datasets;

- Sum of Concentrations: Mass concentrations of all analytes, including transformation or precursor compounds, should be summed. Since WHO and national food authorities report POPs in human tissues as equivalents of the parent POP, correction factors should be applied, and these "POP [group/mixture] equivalents" should also be reported for consistency;

- Sum Parameters: Provide both upper-bound (ND=LOQ) and lower-bound (ND=0) values. To ensure quality, the difference between these bounds should be less than 20%.

For detailed information on analyzing and reporting POPs concentrations, refer to Chapter 5, appendix I, and specific chapters on matrices like air, human tissues, and water.

3.	Statistical considerations

This chapter aims to review the statistical requirements necessary for a monitoring programme to meet the objectives outlined in Chapter 1. It also introduces methods suitable for analyzing monitoring programme data to derive representative descriptive statistics and identify time patterns and trends. Consideration is given to the robustness and significance of statistical results, including approaches for handling uncertainty.

3.1	Quantitative objectives

Carefully defining objectives is essential for planning and organizing effective monitoring activities. This includes selecting sampling matrices, rigorously defining sampling units, and describing what these units represent in time and space—essential for the accurate interpretation of results. To estimate requirements such as the number of samples per occasion, time-series length, and sampling frequency, it is necessary to establish clear qualitative and quantitative objectives, expressed as specific statistical hypotheses.

A qualitative objective for temporal studies could be stated as follows: “To detect a decrease within a 10-year period at a significance level of 5%.”

A quantitative objective for temporal studies could be stated as follows: “To detect a 50% decrease within a 10-year period at a significance level of 5%. (A 50% decrease over 10 years corresponds to an annual decrease of approximately 7%).”

A 5% significance level indicates a 5% probability of incorrectly concluding that a trend exists. Similarly, 80% power means there is a 20% chance of failing to detect a trend when one actually exists. Statistical power and methods for estimating it are discussed in detail by Cohen (1988).

For temporal trends, it is recommended to first set a qualitative objective (to identify the trend at a given significance level) and then proceed to a quantitative objective if a trend is detected. It is important to note that statistically significant trends do not guarantee that observed changes are causally related to time; bias, lack of comparability over time, or unaccounted confounders can result in “false trends.”

Especially in the case of legislative measures (such as listing a compound under the Stockholm Convention), the trend may not be smooth and may instead exhibit changes in slope or even direction. In such cases, rather than merely identifying and quantifying the trend, it is more appropriate to detect a breakpoint and analyze the trends before and after this breakpoint.

An estimate of sample variance, combined with the desired significance level, allows for calculating the sample size needed to detect a significant trend. Since variance is unknown before monitoring, it may be estimated from similar ongoing programmes or, more reliably, assessed through a pilot study that uses the same sampling strategy and matrices as the planned monitoring program. For an optimized, cost-effective programme, costs associated with sampling, sample preparation, and chemical analysis should be specified.

3.2	Statistical methods to be used

#### Data pre-processing

In addition to the data handling practices outlined in Chapter 6, which cover methods for ensuring data completeness and comparability, several considerations for statistical analysis should be addressed before selecting and applying an appropriate method.

- Left-censored values: Uncertainty due to left-censored values (values below the limit of detection (LOD), limit of quantification (LOQ), or method detection limit (MDL)) is managed by defining intervals with a lower limit of 0 and an upper limit equal to the censoring limit. Regardless of which censoring limit was used for data reporting, it is recommended to preprocess left-censored values according to the following guidelines:

- Low percentage of left-censored values (< 10% values < limit): For a low number of left-censored values, replace these values with the limit divided by the square root of 2 (~0.707 × limit). This approach is based on the approximately triangular statistical distribution of values between 0 and the limit. More complex imputation methods for left-censored values, such as the MICE algorithm (Van Buuren and Groothuis-Oudshoorn, 2011), can also be applied;

- Moderate percentage of left-censored values (10–30% values < limit): For a moderate percentage of left-censored values, handling should align with the chosen statistical method

  - Non-parametric methods (e.g., Theil-Sen estimator, effective up to 30%, and median, effective up to 50%) are more robust and yield stable results even with a higher proportion of censored values. For these methods, use the same replacement value as above (~0.707 × limit). Additionally, the Regression on Order Substitution method, available in the NADA R package, can be used to impute values (Helsel, 2011; Antweiler, 2015). Instrument-derived values, such as those generated by high-resolution mass spectrometry software, are also suitable for imputing moderately censored results;

  - Parametric methods (e.g., simple linear regression or mean calculations) may be affected even by a small number of censored values. For parametric methods, the uncertainty of censored values should be addressed based on the statistical distribution of values below the limit. The Monte Carlo method is recommended for deriving trends and descriptive statistics, including confidence intervals, to account for uncertainty. Aggregated values with this level of left-censored data should be clearly flagged

- High percentage of left-censored values (> 30% values < limit): When the proportion of left-censored values exceeds 30%, statistical analysis should not rely on the above imputation methods. Instead, a binary variable approach should be used to indicate whether values are below or above the limit. Analytical methods such as the Fisher exact test or the Χ² test are recommended for such cases;

- Outlying and extreme values: In statistical analysis, validation procedures should exclude obvious extreme or unreliable values from quantitative assessments. Outliers can be identified based on their quantile position within the sample distribution. Estimates of the mean and standard deviation for log-transformed annual aggregates can help reconstruct a log-normal distribution, which can then be used to assess the probabilistic position of each value.

#### From primary to aggregated POPs concentrations

The primary source of variability in atmospheric and water concentrations of POPs is seasonal dynamics, which is less pronounced or absent in human tissue data. When primary concentration data sets are available, the impact of seasonality can be quantified and removed from time series using smoothing techniques and adjusted statistical models. Seasonally adjusted time series provide a solid foundation for subsequent trend detection and quantification.

Annually aggregated data are preferred for spatial and temporal comparisons, as well as for quantifying time-related trends. Due to the approximately log-normal distribution of primary data, the median should be used for annual aggregation. Additionally, aggregated values should include variability estimates derived from the primary data (recommended: minimum-maximum range and/or 5th-95th percentile range).

The percentage of left-censored values in the primary records should also be reported. To address the uncertainty introduced by these values, intervals should be defined with a lower bound of 0 and an upper bound equal to the censoring limit.

#### Statistical testing and power analysis

Power analysis is essential to determine the magnitude of changes that can be reliably detected by statistical methods, thereby minimizing risks of misinterpretation or overgeneralization. Where necessary, power calculations should be applied for both statistical trend detection (using Pearson or Kendall correlation tests) and quantification (using SLR or Theil-Sen estimators). For analyzing GMP data, especially for time-trend detection, the following approaches are recommended:

- Quantifying the minimum detectable difference: This approach benchmarks identified changes in annual values against statistically detectable levels to ensure meaningful analysis;

- Prospective sample size calculation: This method calculates the sample size necessary to detect a specific relative change in POP concentrations over time (e.g., a 20% annual decrease).

Additional information on statistical methods can be found in AMAP (2014) and AMAP (2016).

#### Trend detection and quantification

Both classical (parametric) and more robust (but lower-powered) non-parametric methods of trend assessment should be used in the statistical analysis of monitoring data. Experience from the first three GMP data collection campaigns in 2008, 2014, and 2020 (GMP1, GMP2, and GMP3 reports) indicates that POP concentrations often follow right-tailed distributions, which approximate a log-normal distribution. This pattern supports the use of logarithmic transformation (base-10, for ease of interpretation) of annually aggregated values.

For trend identification, the parametric Pearson correlation test should be used when residuals of the trend (on log-transformed data) are normally distributed. If the residuals are not normally distributed, the non-parametric Kendall correlation test should be applied, and a breakpoint should also be considered in such cases. A 95% confidence level is recommended, and only statistically significant results should proceed to the assessment of quantitative objectives.

For quantitative objectives, linear trend estimates should be applied:

- Use simple or multiple linear regression with least squares optimization for normally distributed residuals;

- Use Theil-Sen regression for non-parametric data.

These methods should be applied to aggregated log-transformed data to approximate a first-order kinetic temporal change (logarithmic decrease or increase in concentration). The preferred quantitative trend outcomes are annual percent change, followed by the half-life of compounds in the specified matrix.

#### Break point search

Trend characteristics (such as direction and slope) may vary before and after a specific event, for example, the listing of a compound under the Stockholm Convention. The point at which such an event occurs is called a breakpoint, and its presence in a time series may be indicated by non-normality of the trend residuals.

If the normality of multiple linear regression (MLR) trend residuals is violated, a method for identifying the breakpoint should be applied (Hites, 2019). If no significant breakpoint is identified (at a 95% confidence level), the non-parametric trend estimate should be used.

3.3	Sources of variation

Numerous factors influence measured concentrations in environmental and human biomonitoring samples, independent of time or anthropogenic activity. In monitoring programmes designed to assess the effectiveness of measures to reduce contaminant discharges from industrial activities or pesticide use, these factors are considered confounders. Avoiding or adjusting for confounders can significantly enhance the statistical power of monitoring programmes (Grimås et al., 1985; Nicholson et al., 1991b; Bignert, 2002).

Seasonal variations in the concentrations of several POPs (e.g., PCBs, PCDDs/PCDFs, DDTs, and HCB) have been observed in both environmental and human samples. These variations may result from seasonal changes in discharge patterns, phase partitioning, or physiological factors. When the primary objective is to monitor long-term pollution trends rather than seasonal discharge patterns, sampling can be limited to one season (the season with minimal random variation) or, preferably, multiple samples can be aggregated annually, as discussed above.

In ambient air, strong seasonal variations—especially in temperate climates—are influenced by changing weather conditions, primary emission sources, and revolatilization from secondary sources (e.g., Holt et al., 2017). For instance, organochlorine pesticide (OCP) concentrations may be higher in summer due to increased revolatilization and agricultural activities. Therefore, statistical evaluations sensitive to seasonal fluctuations require data covering an entire year. Annual aggregation helps eliminate seasonal variability (Kalina et al., 2017). To obtain a representative annual value, data should ideally cover the whole year, with continuous monitoring or at least four samples across significant seasons in temperate climates. If sampling in the initial or final year of a time series is incomplete, those years should be excluded from aggregation to avoid bias.

In human milk, fat content and composition change substantially during the first few weeks postpartum, leading to variability in POP concentrations (e.g., Weiss et al., 2003). To minimize random variation, sampling should ideally occur within a defined three-week period after birth, as fat content also varies depending on whether the sample is taken at the beginning or end of a feeding session. Other known or suspected confounding factors that can be controlled during sampling should be specified in monitoring guidelines.

A narrow sampling unit definition often limits the representativeness of the population studied, which can lead to assumptions about trends that may not hold across different subgroups (e.g., sexes or age groups). Where resources allow, stratified sampling can improve representativeness over broader sampling unit definitions. General aspects of sampling design, applicable to monitoring, are discussed by Underwood (1993, 1994, 1996).

In the environmental monitoring time-series, where sample variability is often large, the precision of chemical analysis typically constitutes only a small portion of the total variance. This assumption holds if the same accredited laboratory performs the analysis throughout the series. However, using different laboratories over time or if a single laboratory changes methodologies can impair time-series evaluation, particularly for POPs. For example, resolving co-elutions may decrease estimated concentrations unless corrective measures are applied. Improved detection limits may also introduce inconsistencies, particularly if results below the limit of quantification (LOQ) are handled differently.

When individual samples are taken and relevant confounding variables are documented during chemical analysis, concentrations may be adjusted for varying covariates using methods such as Analysis of Covariance (ANCOVA) or Multiple Linear Regression (MLR). These adjustments can significantly improve the power to detect temporal changes or differences among sites (Bignert, 2002). Additionally, identifying and eliminating erroneous extreme values further enhances statistical power (Barnett and Lewis, 1994; Nicholson et al., 1998; Bignert, 2002).

3.4	Length of time-series

It is important to note that even for spatial studies, only a few years of sampling are usually insufficient and may lead to misleading results (Bignert et al., 1994). Expecting a monitoring time-series for POPs to reveal meaningful changes within a sampling period shorter than five years is unrealistic unless the changes are very steep. More realistically, a minimum of 10–15 years is needed to detect significant trends of moderate size (approximately 5% per year).

While parametric methods may theoretically identify and quantify trends based on as few as three consecutive data points under optimal conditions, in practice, a monitoring period of at least five years is the absolute minimum required to obtain reliable estimates of random variation within and between years, as well as other variance components. Such information is invaluable for improving and fine-tuning ongoing monitoring activities.

3.5	Number of samples needed

Larger sample sets improve the precision and reliability of estimates for mean concentrations and variance. However, the benefit of additional samples depends significantly on the sampling strategy.

To determine the sample size needed for quantitative objectives, expected variance information is essential. Non-parametric statistics generally require more samples. Based on experience from the first three POPs monitoring collection campaigns, identifying a trend (such as a 5% decrease in POP concentrations at a 5% significance level) typically requires 7 to 10 years of data, while steep trends may be detectable after five years of monitoring.

Small-scale spatial and temporal variations might not be captured by the sampling scheme, leading to underestimated variance and increased between-year variation. Bjerkeng (2000) showed that sampling three times within the period, using the same or fewer samples, could reduce yearly mean variance estimates by up to 65%. Stratified sampling and the choice between individual and pooled samples for human matrices also influence sample requirements. Without this background, calculating an optimal sample size is difficult.

Pooled samples reduce the number of chemical analyses needed for a reliable mean concentration by representing a larger population. However, pooled samples may mask extreme values from individual specimens and make it impossible to adjust for confounders or correlate with biological effects. Information on individual yearly variance is valuable, as increased variance may signal elevated concentrations. In the early stages of establishing a sampling site, individual samples can help identify sources of variation. A detailed discussion of individual versus pooled samples is provided by Bignert et al. (1993).

Additional guidance can be found in monitoring documents from EMEP/EBAS, OSPAR, and HELCOM.

3.6	Outcomes of statistical processing

Proposed outcomes for the statistical processing of GMP data include:

- Summary statistics for atmospheric POP concentrations based on annual aggregates;

- Parameters of the annual aggregation (e.g., sample count, percentage of left-censored values);

- Presence of a break point;

- Trend identification and statistical significance;

- Trend quantification expressed as relative annual change or halving/doubling time.

#### Summary statistics of atmospheric concentrations of POPs

Annually aggregated POP concentrations, calculated as medians of primary values, can be used for both quantitative and qualitative analyses. The median, along with the 5th-95th percentile range and min-max range, serves as a representative baseline and variance estimate for each site.

#### Homogeneity analysis

Given that GMP data comes from multiple programmes and background sites across UN regions, it’s essential to assess intra-regional and inter-regional homogeneity in annual POP averages. Regional variability can be represented as the intra-regional 5th-95th percentile range, and regional sample distributions can be tested for homogeneity using robust methods (e.g., Kruskal-Wallis test).

The homogeneity analysis helps identify regions or subsets with increased intra-regional variability and its sources. Outliers should be excluded, and any spatial or temporal comparison should be preceded by an internal homogeneity assessment for the areas of interest.

Homogeneity should also be assessed in trend analysis, examining trend direction and year-to-year differences across time-series. Variability can be expressed as standardized differences or coefficients of variation (%) of log-transformed data. Applying regression models and analyzing residuals can help determine representativeness and trend stability. Time series from different sites can be merged for trend analysis if homogeneity is confirmed.

#### Stochastic identification of time trends

Time trends are assessed through statistical tests that evaluate changes in consecutive measurements. At least five consecutive annual values are needed to assess trends using one of the following methods:

- Pearson correlation/trend test on log-transformed data for normally distributed residuals of the trend (normality tested using Kolmogorov-Smirnov or Shapiro-Wilk tests);

- Kendall correlation/trend test (or Mann-Kendall test) on log-transformed data as a non-parametric method for detecting systematic changes in time series.

The trend direction (increasing or decreasing) should be recorded when statistically significant. Additionally, any concentration changes over time should be reported, regardless of statistical significance. Statistically significant changes must be quantified in reports and marked with the corresponding p-value. Before deciding on a non-parametric test, it is recommended to test for the presence of a breakpoint.

#### Quantification of time trends

Quantifying trends is necessary when statistical tests confirm significant, consistent time-related differences in POP concentrations. One of the linear regression techniques should be applied to log-transformed annual aggregates: SLR for normally distributed data or the non-parametric Theil-Sen regression for non-normally distributed data, both providing exponential trends.

The time-related difference in concentration should be reported as:

- The relative annual change (%) as an index of the previous year’s estimated trend value;

- The halving time (or doubling time for increasing concentrations) of the compound in the environment.

In addition to assessing temporal changes in POP concentrations in core matrices, monitoring the relative contributions of POPs over time can yield insights into shifts in primary and secondary sources or transport pathways. A flowchart of a possible statistical processing pipeline is shown in Figure 3.1.

Figure 3.1: Flowchart of the statistical processing of the GMP data.

3.7	Examples of statistical treatment and graphical presentation

The primary goal of the monitoring programme is to identify temporal trends. Trend identification methods include parametric log-linear regression (simple linear regression on log-transformed data) and the Mann-Kendall test (Gilbert, 1987; Helsel and Hirsch, 1995; Swertz, 1995) for data with extreme values. While the Mann-Kendall test is robust and versatile, it has lower statistical power than SLR.

When a trend is identified (p < 0.05 significance level), it should be quantified to determine if a quantitative objective is met. Linear regression on log-transformed data should be performed, using either SLR or Theil-Sen for non-parametric data. The slope represents the annual percentage change or expected halving time of the compound. For instance, a 5% annual decrease implies a 14-year halving time, 10% corresponds to 7 years, and 2% to 35 years.

To capture non-linear trend components, a smoothed line, such as a 3-point running mean on annual aggregates, can be applied. If linear regression fits poorly, a breakpoint may be identified, or a smoothed line may better represent the trend. The significance of the smoothed line can be tested using ANOVA to compare the variance explained by the smoother and the regression line. This method is commonly used in ICES assessments (Nicholson et al., 1995). Figure 3.2 illustrates an example of a time series from the GMP data warehouse.

Figure 3.2: Time-series examples of gamma-HCH levels measured at the ERPC site in Ufa, Russian Federation, from 2009 to 2013. (This analysis is available in the GMP data warehouse.)

Note:

- Plot details: The plot shows the median concentration for each year (red circles) with whiskers indicating the 5th–95th percentile range. The blue regression line represents the trend (plotted if the Mann-Kendall test has p < 0.05). Log-linear regression lines fitted through the median concentrations follow an exponential function. Summary statistics from several statistical calculations are displayed below the plot.

- Summary statistics:

  - Mean, median, minimum/maximum, percentiles: Calculated over the annually aggregated values (not the primary data) using five data points;

  - Delta: The difference between the initial and final aggregated data points;

  - Exponential regression test: The p-value from an F test of simple log-linear regression;

  - Exponential regression half-life: Calculated only if the p-value is below 0.05, indicating the half-life of the compound in this environment;

  - Mann-Kendall test: The tau value and p-value from the Mann-Kendall trend test;

  - Theil-Sen half-life: If p < 0.05, the half-life is calculated using Theil-Sen log-linear regression.

- Annual aggregation statistics:

  - N: Total number of samples used for annual aggregation;

  - N under LOQ: Number of samples below the limit of quantification (LOQ) each year;

  - LOQ: The quantification limit level;

  - Central value: Result of the annual aggregation, which should be the median in the third and subsequent collection campaigns;

  - Whisker bottom/top values: 5th and 95th percentiles of the annual aggregation;

  - Non-parametric Mann-Kendall trend test: Tau and corresponding p-value for trend assessment;

  - sd(sm): Square root of the residual variance around the smoothed line. The p-value from an Analysis of Variance (ANOVA) is reported to test the significance of the smoothed line, indicating any non-linear trend component if significant.

4.	Sampling and sampling preparation methodology

The GMP focuses on environmental background concentrations in media with high comparability to support the effectiveness evaluation of the Stockholm Convention. The Conference of the Parties has designated air monitoring and human exposure through breast milk or maternal blood as core media for the initial evaluation. For future evaluations, the Conference of the Parties has decided to supplement core data with additional media, including biota, water, soil, and sediments. This revised guidance aims to support these future evaluations, addressing the inclusion of supplemental media and specific considerations such as sampling protocols.

Below are some general considerations relevant to all GMP matrices:

- Sampling methodology: Sampling should adhere to established methodological guidelines, agreed upon before starting any programme activity in a region. If possible, samples in all programmes should follow a consistent numbering system. Field or trip blanks should be included in all sampling activities, along with duplicate samples where possible, to allow for sample sharing and variance analysis;

- Sampling window: The baseline sampling window is set around the year 2003, with a tolerance of plus or minus five years. Sampling frequency and timing should be harmonized across matrices as much as possible. Typically, samples should be collected at least annually and during the same period each year. However, for matrices with minimal seasonal influence (e.g., human breast milk), sampling frequency and timing may differ;

- Sampling frequency and location: For effective statistical analysis, it is preferable to collect frequent samples from a single location rather than a few samples from multiple locations. More guidance on sample numbers is provided in Chapter 3;

- Sample nanking: Sample banking should be considered for all samples. While it is an expensive and resource-intensive activity that requires long-term sustainability, it can provide valuable insights into exposures over time, especially for newly listed POPs, and is useful for retrospective studies. Additional guidance on environmental specimen banking is available in Chapter 8.

4.1	Air

The first three global monitoring reports revealed that most air data on POPs came from a relatively small, though growing, number of monitoring programmes and highlighted the importance of continuing these programmes (Figure 4.1.1). The reports also showed that some regions lack sufficient data on POP levels in air, a gap that should be addressed through capacity-building efforts and the development of sustainable, coordinated air monitoring programmes.

Figure 4.1.1: Current active and passive air monitoring sites for POPs contributing to the GMP. (Site details are provided in appendix II, part I.)

Key recommendations from these reports support both new and ongoing efforts to assess POPs in air for effectiveness evaluation, including:

- Ensuring internal data consistency within programmes to enable reliable trend evaluations over time and striving for comparability across programmes so that data sets can be merged and made available through the GMP database;

- Requiring laboratories contributing to the GMP to participate in international interlaboratory assessments;

- Consistently applying methods/models for deriving air concentrations of POPs from passive samplers, with preference for a single, well-documented model;

- Developing new, sustainable programmes to fill data gaps in POPs air monitoring, leveraging partnerships with existing programmes. A specimen banking strategy (e.g., archiving air samples for future analysis) should be considered when current analytical capacity is limited;

- Addressing data gaps for water-soluble POPs in air by using available precipitation data and historical records from ice cores;

- Securing additional funding and resources to meet the demand for analysis of new POPs. Where declining trends are evident, analysis frequency for legacy POPs (e.g., PCBs, organochlorine pesticides) could be reduced to relieve resource pressure. Optimizing analytical methods and forming laboratory partnerships can also address specialized analytical needs, as it is unnecessary for each laboratory to be an expert in every class of POPs;

- Starting air monitoring of newly listed POPs as soon as possible to establish adequate baselines.

- Recognizing that, in some locations, air concentration responses to control measures may be delayed due to the persistence of POPs;

- Considering strategies to better connect POP monitoring data with toxicity indicator tests to assess the long-term, cumulative effects of chemical mixtures in the environment;

- Exploring links between air monitoring for POPs under the GMP and cross-cutting issues in climate science and biodiversity to understand and interpret data in a broader context and to pursue co-monitoring opportunities;

- Factoring in elements that influence POP concentrations in air, such as changes in primary and secondary emissions and climate effects, for accurate trend interpretation, potentially with the assistance of models.

In addition to this guidance, several other resources provide valuable information on best practices for measuring POPs and new priority chemicals in air. These include reports from AMAP and current methodologies in the peer-reviewed literature, which can be particularly useful for specific technical and analytical challenges. Interested parties are encouraged to consult these sources and contact international experts directly for guidance.

### 4.1.1	Experimental design

#### Sampling sites

The goal of the ambient air sampling network is to collect representative data for assessing baselines and trends over time and space, as well as for monitoring regional and global transport of POPs. Here, "representative" implies having enough sampling sites to draw general conclusions about POP trends, while acknowledging that the full heterogeneity of the region may not be captured. Achieving comprehensive geographical coverage in any given region or continent is economically infeasible and would require an extremely dense sampling network and extensive preliminary work to understand regional variability in POP concentrations in the air.

To effectively monitor POP trends, each region under the GMP should initially aim to include:

- One or more active high-volume air sampling stations (super sites): These stations can provide episodic or cumulative sampling (e.g., 1–2 days each week or continuously for 1–2 weeks) throughout the year. Samples could be separated into particulate and gaseous fractions. Currently, not all regions have a high-volume station reporting to the GMP, likely due to the higher costs and infrastructure needed to operate these samplers;

- A network of 10 to 15 passive sampling stations: Passive stations provide continuous, cumulative sampling over integration periods from a few months to a year. Co-locating passive samplers with high-volume stations is beneficial for comparison purposes. Passive samplers are being established across all GMP regions, significantly improving spatial resolution and insights into POP sources, transport, and trends over time.

Protocols, standard operating procedures, and detailed guidance on air sampling, sample treatment, and analysis are provided in appendix II, part II. Links to training videos are included at the end of this chapter.

#### Siting considerations

A combination of long-term active sampling sites, supplemented by a larger number of passive sampling sites, creates a cost-effective programme with the flexibility to address various issues. The regional availability of laboratories, along with considerations of sources and air transport pathways, will shape the spatial configuration and density of the network.

Encouraging cooperation among countries within regions and consulting with POPs modelers are important steps to ensure optimal site selection and standardized observational practices. Wherever possible, existing facilities that conduct other atmospheric composition measurements should be utilized.

The positioning and installation of samplers should follow standard operating procedures for air sampling programmes, with detailed descriptions provided for each selected site. General criteria for site selection include:

- Regional representativity: The site should be free from local emission sources of POPs and other pollutants, ensuring that the sampled air reflects a broader regional area;

- Minimal local-scale meteorological influences: The location should be free of strong diurnal variations in local circulation caused by topography (e.g., mountain winds);

- Long-term stability: The site should have stable infrastructure, institutional commitment, and minimal surrounding land development;

- Ancillary measurements:

  - For super sites: Additional atmospheric composition measurements and meteorological parameters, such as wind speed, temperature, humidity, and boundary layer stability;

  - For passive sites: Meteorological data (wind speed, temperature, humidity) are beneficial but may also be derived from meteorological models;

- Appropriate infrastructure and utilities: Facilities should have access to power (for pumped samplers), accessibility to roads, and necessary structures (e.g., buildings, platforms, towers) while minimizing potential contamination sources;

- Passive sampling sites: These sites should maximize the flexibility to locate samplers far from infrastructure, human activity, and other potential sources of POPs contamination.

Site descriptions should follow a standardized format, including supplementary information such as photos of the sampling location and surrounding area, and a detailed description of the surrounding environment, including nearby potential or suspected point sources (with approximate locations relative to the site).

The following two-step site characterization procedure is recommended:

- Site type: Define the general characteristics and purpose of the site;

- Potential source inputs: Identify potential sources of POPs near the site.

It is essential to select sites that are not directly influenced by a few nearby sources, ensuring that they provide data representative of a larger region.

Site type:			Potential Source type (more than one type is possible):

 urban			 industrial

 sub-urban			 traffic

 rural			 residential

 remote			 agricultural

 high altitude		 waste sector

 polar			 none, i.e. continental background site

 marine/coastal

Note: population density can be used as an approximate guide for site classification as follows:

- Urban: >200 000 inhabitants within a 10 km radius.

- Sub-urban: Between 20 000 and 200 000 inhabitants within a 10 km radius

- Rural: Between 2000 and 20 000 inhabitants within 10 km radius

- Remote: Relatively uninhabited (<2000 inhabitants within a 10 km radius)

Detailed site information and classification are essential for comparing data within and across regions. While new sampling networks should prioritize sites that represent large sub-regions or areas (e.g., rural sites), establishing sites in urban, industrial, and agricultural areas as 'context sites' can be beneficial for comparison. In regions relatively unaffected by certain POPs, adding context sites can enhance the detection and reporting of POPs. However, it is important to ensure these 'context sites' are not heavily influenced by nearby point sources; locations such as city parks or university green spaces are ideal. If sampling must be conducted on buildings, it is important to note that some POPs (e.g., PCBs, flame retardants) may originate from the building itself, potentially impacting data interpretation as it may not fully represent the broader area.

Over time, some long-term monitoring sites may become affected by new developments or infrastructure, potentially causing gradual or sudden changes in POP levels due to nearby sources. In such cases, relocating the site may be advantageous to ensure that measured trends reflect regional changes rather than the influence of a few local sources.

This approach offers a qualitative description of each sampling site, valuable for data storage, as many air quality databases include fields for describing and categorizing sites. Additionally, the concept of a "remoteness index" (discussed in the next chapter) provides a quantitative measure of a site’s proximity to agricultural or industrial sources of POPs, which can aid data interpretation and comparisons between sites. Remoteness index values can also inform site selection at the beginning of a study.

A recent advancement in characterizing air monitoring sites utilizes open-source global land cover data to assess the impact of local POP sources (Schuster et al., 2023). Based on this method, “source impact indicator” values are assigned to sites, enabling integration of global monitoring data from various studies for a broader global temporal trend analysis. This approach can also help assess changes in local source impacts over time at specific sites, accounting for shifts in the types of sources that may affect air contaminant concentrations. Although this method may be technically complex for regional air monitoring, it can be applied at higher reporting levels to combine multiple datasets into a unified global assessment of POP trends.

#### Characterization of transport to the sites

A better understanding of POP concentrations and trends at a given site can be achieved by evaluating regional and global transport pathways. This requires knowledge of both local (within ~10 km) and regional-scale air transport pathways to the site. Local meteorological measurements help characterize meso-scale influences, while Lagrangian or Eulerian transport models are used to reconstruct large-scale transport pathways. For water-soluble POPs, it is also essential to consider oceanic and riverine transport, as well as air-water exchange, particularly at coastal sites.

As a preliminary step, assessing the long-range transport potential (LRTP) of various POPs may provide useful insights. The OECD POV and LRTP Screening Tool ("the OECD Tool") has been widely used for combined persistence (P) and LRTP hazard assessments in regulatory contexts, including the Stockholm Convention. The OECD Tool calculates two LRTP metrics:

- Characteristic Travel Distance (CTD): This metric, defined as the “half-distance” (analogous to a half-life) for a substance in a mobile phase, represents the transport-oriented metric of the OECD Tool. Separate CTDs in air and water are calculated, taking into account the chemical’s degradation and transport pathways based on its physical-chemical properties (Wegman et al., 2009). CTDs for chemicals released into air and water are listed in Table 4.1.1. It is important to interpret these distances relatively, as they depend on model parameterizations (Stroebe et al., 2004);

- Transfer Efficiency (TE): The transfer-oriented metric, defined as the rate of gross deposition of a pollutant to soil and water in a distant region divided by the emission rate in the source region. TE values for selected POPs were calculated for air emissions. Some POPs undergo multiple cycles of deposition and re-volatilization during their environmental lifetime, resulting in transfer efficiencies that may exceed 100%.

The CTD results indicate that, with the exception of PFOS and aldrin, most of the listed POPs are "flyers," relying heavily on atmospheric transport. POPs for which water transport pathways are significant ("swimmers") include PFOS, chlordecone, and toxaphene.

A comprehensive review of metrics for describing the long-range transport of POPs is presented by Scheringer (2009).

Table 4.1.1: Characteristic travel distances (CTDs, km) for air and water and transport efficiencies (%) for selected POPs. (POPs are ranked from highest to lowest CTDs for air, with calculations performed at 25 °C). Calculations were conducted using the OECD Tool.*

| Chemical | CTD in air, km | CTD in water, km | TE% (emission to air) |
| --- | --- | --- | --- |
| Hexachlorobenzene | 230,000 | 700 | 2,500 |
| Hexachlorobutadiene (HCBD)1 | 160,000 | 100 | 50 |
| Pentachlorobenzene | 120,000 | 200 | 50 |
| Octabromo diphenyl ethers | 22,000 | 360 | 110 |
| PCB-180 (hepta homolog) | 17,000 | 340 | 91 |
| Alpha-HCH | 7,800 | 830 | 54 |
| PCB-28 (tri homolog) | 5,100 | 190 | 2.2 |
| Pentachloroanisole (PCA)2 | 4,300 | 220 | 5.2 |
| γ-HCH | 4,200 | 220 | 19 |
| BDE-99 | 3,700 | 540 | 15 |
| DDT | 3,600 | 490 | 10 |
| Beta-HCH | 3,100 | 430 | 3.7 |
| Hexabromobiphenyl | 3,000 | 540 | 13 |
| BDE-209 | 2,900 | 120 | 13 |
| Toxaphene | 2,800 | 1,600 | 7.9 |
| Dechlorane Plus | 1,822 | 123 | 4.97 |
| Short-chain chlorinated paraffins1 | 1,800 | 230 | 0.78 |
| 2378-TCDD | 1,600 | 130 | 0.58 |
| Dieldrin | 1,100 | 580 | 0.89 |
| Chlordanes | 1,100 | 300 | 0.46 |
| Chlordecone | 710 | 1,700 | 3.2 |
| UV-328 | 535–2,422 | NA | 0.32–6.58 |
| Methoxychlor | 498 | NA | 0.02 |
| Aldrin | 60 | 130 | 0.00018 |
| PFOS** | 10 | 63,000 | 0.049 |

TE – transfer efficiency for emissions to air; HCH – hexachlorocyclohexane; PCB-polychlorinated biphenyl; DDT – dichlorodiphenyltrichloroethane; TCDD – tetrachlorodibenzodioxin; PFOS – perfluorooctane sulfonate.

*Calculations using OECD Tool are summarized at: http://www.sust-chem.ethz.ch/docs/POP_Candidates_OECD_Tool.pdf

http://www.pops.int/documents/meetings/poprc/prepdocs/annexEsubmissions/All%20chemicals%20Switzerland.pdf

**Calculation of CTD for air for PFOS assumed no potential to volatilize to air.

*** Sverko et al., 2011.

**** Additional information relevant to the risk profile for methoxychlor. UNEP/POPS/POPRC.16/INF/16.

***** Additional information relevant to the draft risk profile for UV-328. UNEP/POPS/POPRC.17/INF/17 The ranges in CTD and TE reflect different model assumptions governing the half-life of UV-328 in air.

1 MacLeod et al., 2007; 2 Reppas-Chrysovitsinos et al., 2017.

Scheringer (2009) presented a review of metrics for describing the long-range transport (LRT) of POPs. More recently, a set of alternative LRT potential (LRTP) metrics has been proposed, known as the emissions fractions approach (EFA) (Breivik et al., 2022). Unlike the metrics in the OECD Tool, EFA metrics are coherent and multiplicative, integrating LRT via air and water, accounting for reversible atmospheric deposition, and distinguishing between transfer to and accumulation in soil and water in distant regions. Using a modified version of the OECD Tool that calculates both the existing metrics (CTD, TE) and the alternative EFA metrics, researchers concluded that hazard-based assessments aligned with Annex D of the Stockholm Convention—using criteria such as half-life, overall persistence (POV), and current LRTP metrics—could screen out many chemicals with potential adverse effects due to LRT, as specified in Annex E (Breivik et al., 2023). The OECD Tool is currently under review by an expert group from the OECD, with plans to update the model (OECD, 2023).

A commonly used tool for analyzing transport pathways to detect and interpret trends in POP air concentrations is air-parcel back-trajectory analysis. Services for generating air parcel trajectories for user-defined locations are available online (e.g., NOAA’s HYSPLIT model at https://ready.arl.noaa.gov/HYSPLIT_traj.php). This approach reconstructs the transport path of air to a sampling site based on observed wind fields. Various methodologies improve trend detection, including trajectory sector analysis and cluster analysis. In cluster analysis, discriminant analysis identifies the main trajectory pathways to a site (Moody et al., 1998), which can also be applied to samples across different trajectory percentile ranges.

Another approach that identifies sources and preferred transport pathways is potential source contribution function (PSCF) analysis (Ashbaugh, 1983; Hsu et al., 2003a, b). In PSCF, a grid overlaying the map identifies upwind areas most frequently occupied by points in a back trajectory for high-concentration versus low-concentration trajectories. To ensure accuracy, trajectories initiated during temperature inversions below 500 m altitude should be excluded, and trajectory endpoints should be filtered against the mixing depth, as air masses above this layer are less influenced by ground emissions or those within the planetary boundary layer (Dvorská et al., 2009).

Using these methods to gain insight into upwind sources and air transport trends is significantly more effective for addressing policy questions than simple time-series analysis.

Gouin et al. (2005) demonstrated how density maps (a modification of the PSCF approach) could interpret time-integrated data from passive samplers by identifying an air shed associated with the historical transport of air masses to a specific site (Figure 4.1.2).

Figure 4.1.2: Example of a probability density map (right panel) constructed from daily 3-day air parcel back trajectories for a time-integrated air sample (left panel). (Darker shades in the right panel indicate regions where air masses passed more frequently before reaching the sampling site. The shaded areas represent "air sheds" for the sampling or receiving site.)

Several models exist for regional and global POP transport in the environment, including the atmosphere (see Chapter 4 of the RBA/PTS Global Report, UNEP, 2003). These models simulate the large-scale spatial and temporal distribution of POP compounds, covering direct emissions to the atmosphere, transport and dispersion, chemical transformation in the atmosphere, and air-surface exchange processes. They range from coarsely resolved box models (e.g., Breivik and Wania, 2002; MacLeod et al., 2001; Wania et al., 1999) to meteorology-based models with high spatial and temporal resolution (e.g., Koziol and Pudykiewicz, 2001; Semeena et al., 2006; Hansen et al., 2004). Model domains vary from regional to global scales.

These models can be valuable in network design and may be evaluated using POP observations. Together, model data and observations can support the evaluation of the effectiveness of measures under the Stockholm Convention, likely in an iterative process where model predictions and measurements are compared to refine both model design and measurement strategies. Due to their complexity, direct use of transport models may be limited to groups or programmes with specialized expertise.

A simpler alternative for characterizing transport to sites is the "Remoteness Index," which integrates many of the concepts and techniques discussed above (von Waldow et al., 2010). The remoteness index helps make informed decisions about the geographic location of sampling sites based on potential regional and global inputs. It also aids in spatial and temporal interpretation of monitoring data. The remoteness index approach uses emission scenarios for various chemical classes and applies real meteorological data within a global transport model framework to predict the geographic impact extent. Remoteness index maps, based on scenarios for industrial or agricultural chemicals, are shown in Figure 4.1.3. Detailed regional maps of the remoteness index can also be found in von Waldow et al. (2010).

Figure 4.1.3: Global distribution of the remoteness index for the CROP (top) and ECON (bottom) scenarios. (The CROP scenario represents pesticide emissions, while the ECON scenario represents technical emissions (von Waldow et al., 2010).)

A comprehensive review of modeling approaches for quantifying long-range transport (LRT) of POPs in the Northern Hemisphere was conducted by the Task Force on Hemispheric Transport of Air Pollution (TF on HTAP) under the UNECE Convention on Long-Range Transboundary Air Pollution (LRTAP) (UNECE, 2010; http://www.htap.org/). The task force found that modeling studies for the most widely studied POPs generally align well with atmospheric concentration measurements, often agreeing within a factor of three to four. However, in some cases, substantial differences were observed, suggesting considerable uncertainties in emission inventories, modeling methods, or both.

Global-scale modeling of POPs indicates ongoing intercontinental transport by westerly winds within the Northern Hemisphere and transport from temperate regions toward the Arctic. For instance, models suggest that more than 50% of the PCBs currently being deposited in the Great Lakes region of North America are attributable to distant emission sources.

#### Special considerations for newly listed POPs

- PFASs (PFOS, PFOA, and PFHxS):

Any air monitoring strategy aimed at investigating the occurrence and long-range transport of PFASs to remote regions should include their derivatives (transformation products) and precursor compounds. PFOS in the gas phase is limited due to its ionizable nature, which causes it to partition strongly to water and, in the atmosphere, to aerosols (Table 4.1.1). Sea salt spray aerosols are a notable emission source of PFASs, which should be considered for monitoring stations near coastal areas (Johansson et al., 2017, 2019; Sha et al., 2021). At background and remote sites, some PFASs can arrive through atmospheric pathways mediated by the long-range transport of more volatile precursor chemicals—such as sulfonamido alcohols for PFOS and PFHxS, and telomer alcohols for PFOA. Therefore, to fully understand PFAS occurrence at these sites, monitoring should include these derivatives and precursors.

This extended PFAS target list aligns with COP4 Decision SC:4/17, which added perfluorooctane sulfonic acid (PFOS), its salts, and perfluorooctane sulfonyl fluoride to Annex A and B of the Convention. The decision references the European Union (EU) definition of PFOS, encompassing all molecules with the molecular formula C8F17SO2Y, where Y represents OH, metal or other salts, halide, amide, and other derivatives, including polymers (European Union, 2006). Similar considerations apply to PFOA and PFHxS, with the full list of compounds targeted for air monitoring provided in Chapter 2, Table 2.2.

Ahrens et al. (2011, 2012) assessed various air sampling approaches for PFASs and their precursor compounds, evaluating their partitioning between particles and gas. These studies highlight specific considerations when sampling PFASs in air, using conventional high-volume samplers or passive sampling approaches. Further guidance on air sampling of PFASs is provided in Section 4.1.3;

- HCBD, PCP, and other volatile POPs:

The high volatility of some POPs can challenge typical air sampling methods, as matrices like polyurethane foam (PUF) and even XAD-resin have limited sorptive capacity (Rauert et al., 2018b). Therefore, data should be interpreted using the latest tools and information, as discussed further in Section 4.1.3 on air sampling;

- POP in commercial products and building materials:

Some newer POPs (e.g., BDE-209, HBCD, SCCPs, Dechlorane Plus, UV-328) are widely used in products, leading to potential off-gassing or contamination that can impact sample integrity. Identifying and avoiding contamination sources is essential when selecting sampling locations and during laboratory sample processing;

- POPs in plastics and long-range transport (LRT):

The POPs Review Committee established an intersessional working group in 2021 to study LRT assessments under Annex D of the Stockholm Convention. The group produced a comprehensive draft document on long-range environmental transport (UNEP/POPS/POPRC.19/INF/14/Rev.1), incorporating recent literature on the potential role of microplastics as vectors for LRT of polymer additives. POPRC recommends using this document as an information resource in future evaluations for chemical listings, with updates as needed (POPRC-19/5);

- Precipitation and ice core data for water-soluble POPs:

For PFASs and other water-soluble POPs that are less prevalent in air, monitoring levels in precipitation and ice/firn cores can help address data gaps in the GMP reporting. Some long-term monitoring programmes, often collocated with air measurements, already include precipitation data for POPs (including PFASs). Multi-year datasets now support time-trend analysis, such as the trends from 2006 to 2018 reported under Canada’s Great Lakes Basin Monitoring and Surveillance Programme (Gewurtz et al., 2019) and recent PFAS measurements in the U.S. Great Lakes through the Integrated Atmospheric Deposition Network (IADN) since 2020. At the Swedish EMEP station of Råö, PFOS concentrations in precipitation showed a decreasing trend from 2009 to 2019 (Fredricsson et al., 2021).

Ice and firn cores collected from remote glaciers provide valuable historical records of atmospheric POP deposition. For instance, Pickard et al. (2018, 2020) reported multi-decadal PFAS deposition trends from an ice core collected at the Devon Ice Cap in Nunavut, Canada, covering 1977 to 2015. Garnett et al. (2022) documented PFAS fluxes from a firn core collected in Dronning Maud Land, Antarctica, representing deposition from 1958 to 2017. Such precipitation and ice core records, alongside air monitoring station data, are essential for understanding long-term trends in the atmospheric transport and deposition of water-soluble POPs.

### 4.1.2	Sample matrix

Ambient air, comprising both gaseous chemicals and chemicals bound to particles, is a crucial matrix for monitoring because it responds quickly to changes in emissions, is relatively well-mixed, serves as an entry point into food chains, and acts as a global transport medium. Air data are essential for validating atmospheric POP transport models. As noted earlier, some existing active and passive sampling networks have provided baseline data for the first and second global monitoring reports (see Figure 4.1.1).

#### Distribution of POPs in air

Many POPs are semi-volatile, existing both in gaseous form and attached to particles. The proportion attached to particles increases at lower temperatures due to decreased volatility. This particle association influences a chemical’s fate and transport, as larger particles (e.g., >10 µm) and fugitive dusts have higher deposition velocities, typically settling close to their emission sources within several kilometers (Lin et al., 1994). Gaseous compounds may experience varying deposition rates depending on their reactivity, whereas fine particles have the lowest deposition velocities and thus travel longer distances (Giorgi, 1988). Inhalation of fine particles is a significant exposure pathway for some POPs and can contribute to health impacts (Degrendele et al., 2014). Particle association may also increase the persistence of POPs, shielding them from degradation and enhancing their potential for long-range transport (Liu et al., 2014). The atmospheric behavior of particle-associated POPs remains an area of active research.

When reporting air concentrations of POPs, it is essential to distinguish between gas-phase and particle-phase results, or to indicate when both phases are measured together. Particle-phase analysis is particularly relevant for PCDD/Fs and some of the newly listed POPs under the Convention that tend to partition onto particles (e.g., PBDEs, HBCD, PFOS). Notably, polyfluorinated chemicals exhibit unique partitioning behavior compared to conventional POPs, necessitating new partitioning models for this compound class (Shoeib et al., 2005; Goss et al., 2006). Additionally, significant sampling artifacts have been identified for PFOS and related chemicals due to gas-phase sorption onto glass-fiber filters used for particle-phase sampling (Arp and Goss, 2008). Ahrens et al. (2011, 2012) provide guidance for air sampling of PFOS and related compounds, including a new partitioning model that accounts for PFOS’s ionizability (Ahrens et al., 2012).

#### Sampling methods

Active air samplers (Figure 4.1.4) typically use a pre-filter to capture particles, which can then be extracted and analyzed separately. However, accurately measuring the particle-phase component can be challenging due to blow-off/on artifacts (Melymuk et al., 2014; Bidleman and Harner, 2000) and the degradation or instability of collected chemicals (Jariyasopit et al., 2015). Denuder samplers, which separate gas-phase chemicals first and then collect particle-phase chemicals, offer an alternative to minimize these artifacts (Lane, 1999). However, denuder samplers generally have lower volume flow rates than conventional high-volume samplers, often necessitating longer sampling times to detect trace contaminant levels.

The PUF disk sampler (Figure 4.1.5) has proven effective for collecting both gas-phase and particle-phase POPs (Harner et al., 2014), with efficiencies comparable to high-volume air samplers (Markovic et al., 2015). This is largely due to the design of the sampler housing, which allows ambient particles to enter the sampling chamber, and the porous nature of the PUF material, which captures and retains deposited particles. Small changes in the geometry of the sampler housing have minimal impact on sampling efficiency (Melymuk et al., 2021). Different sampler types, whether active or passive, vary in particle sampling efficiency. Therefore, to maintain consistency within a programme, it is crucial to use the same sampler housing design across stations to ensure comparability over time and among sites. Notably, many passive air samplers (e.g., PE films, XAD samplers) primarily target gas-phase chemicals.

### 4.1.3	Sampling and sample handling

Air sampling requires the following capacities: (1) access to active and passive air samplers, (2) trained station personnel to operate and maintain high-volume samplers, and (3) meticulous preparation of clean sampling media in laboratories for extraction and chemical analysis. Sampling methods and QA/QC procedures should ideally be adopted from existing air monitoring programmes for POPs but must be adapted and validated for the specific conditions, concentration levels, and temperatures at sampling sites. Detailed methods for high-volume and passive sampling are outlined below. Additional sampling strategies that produce comparable data for national and regional reporting should also be considered. Indirect approaches, such as sampling vegetation (biomonitoring), deposition, and using tree rings to explore historical trends (Odabasi et al., 2015; Rauert et al., 2017), offer valuable data on environmental loadings. However, caution is advised when using these data to infer air concentration trends quantitatively.

Efforts to prevent and minimize sample contamination are particularly important for newly listed POPs. Many of these (e.g., PBDEs) are found at high concentrations in indoor environments, including laboratories where samples may be processed and stored, and near buildings that may off-gas these chemicals. Newly listed POPs may also be present in commercial products and storage vessels, potentially contributing to contamination levels. Special QA/QC considerations for newly listed POPs are discussed in Section 4.1.4 and Chapter 5.

#### High volume sampling

Networks using high-volume air samplers to measure atmospheric POPs are summarized in Figure 4.1.1. These networks typically use sampling heads with size-selective inlets to collect particles below a set threshold, often particles smaller than 10 micrometers in diameter. Sampling should follow the techniques employed by routine long-term monitoring networks in temperate and cold climates (e.g., Fellin et al., 1996; Environment Canada, 1994) and in subtropical to tropical regions (e.g., Ministry of the Environment of Japan and the National Institute for Environmental Studies). These organizations recommend separating particles from gases by using glass fiber filters in series with two gas absorbents. The choice of absorbents should be tailored to meet the needs of the regional monitoring programme and target analytes (e.g., PUF, XAD, XAD-PUF, activated carbon felt). A schematic of a typical high-volume system is shown in Figure 4.1.4, and samplers are available from various suppliers.

Figure 4.1.4: Schematic of a typical active air sampler (high-volume air sampler). (Common particle collection substrates include glass fiber filters (GFF) or quartz filters, while typical gas-phase sorbents consist of PUF and XAD-resin, or a combination of both.)

Various configurations are available for long-term measurements, and selection should be guided by experienced experts planning a regional study:

- Particle-phase collection: Glass or quartz fiber filters are typically used. Teflon filters are not recommended due to contamination concerns with PFOS and related compounds;

- Gas-phase collection:

  - Two PUF plugs: Suitable for most compounds, but may not effectively capture highly volatile chemicals (e.g., chlorobenzenes), particularly in warm conditions; shorter sampling times are advised;

  - XAD resin or PUF/XAD combination: Both media are generally extracted and analyzed together to capture a broader range of compounds;

  - PUF followed by activated carbon fiber felt disks: This setup improves capture efficiency for more volatile and polar compounds.

Using two sorbents is recommended to periodically check for breakthrough losses and to reduce substantial losses of volatile compounds (e.g., HCB) in warmer climates. Adding high-capacity sorbents like XAD and activated carbon can improve efficiency but may also result in higher blank values and make extraction/cleaning more challenging. The need for low blank levels should be balanced against the sorptive capacity requirements of the sampling matrix.

Sampling schedule

The sampling frequency should be carefully considered based on budget and project requirements. Samples may be collected intermittently (e.g., weekly or biweekly) or continuously (integrated weekly) with attention to minimizing analyte breakthrough. Breakthrough can be minimized by using a higher-capacity sorbent for gas-phase collection or by reducing air sample volumes. In colder ambient temperatures, the sorptive capacity of the sampling matrix increases significantly, roughly tripling with every 10°C drop. Recommendations for handling breakthrough in air sampling are available in Bidleman et al. (2018)

Field blanks

Field blanks should be collected regularly (e.g., every few samples) and treated identically to actual samples, including placement in the sampler housing, but without drawing air through them. In some instances, a brief air draw (seconds to minutes) through the blank is used. Method detection limits (MDLs) are typically based on analyte levels in blanks rather than solely on the analytical instrument's sensitivity (see Section 4.1.4).

Sample and blank preparation

All sorbents should be pre-cleaned before sampling, and filters are generally pre-treated by high-temperature baking. Sampling heads should be set up in an environment that minimizes contamination and volatilization losses. Many POPs are semi-volatile and may evaporate from the sampling media if warmed above ambient temperatures. After sampling, both samples and field blanks should be extracted using appropriate solvents (e.g., hexane and dichloromethane are common choices). Although Soxhlet extraction is widely used, other techniques such as accelerated solvent extraction, microwave extraction, and sonication are also employed depending on the target compounds. Extracts are concentrated before analysis, and a portion is often archived to allow for potential future reanalysis, especially as analytical techniques evolve and new POPs are identified. Specimen banking is discussed further in Chapter 8.

#### Passive sampling

Several centralized passive air sampling networks contribute regionally and globally consistent data on POPs to the GMP, targeting new priority chemicals in air. Due to their low cost and simplicity, passive air sampling has become widely adopted for filling data gaps, assessing spatial trends, and studying long-range POP transport. Researchers can find up-to-date information on these networks and their data in the GMP database (pops-gmp.org) and GENASIS (genasis.cz). Key passive air sampling networks contributing to the GMP are summarized below:

- GAPS Network (GAPS on Twitter; Canada ECCC)
The Global Atmospheric Passive Sampling (GAPS) Network, operational since 2002, started with seven pilot sites and expanded in 2005 to over 50 sites across all seven continents, now including 60+ sites. PUF disk samplers (Figure 4.1.5) are deployed quarterly at each site, with Sorbent Impregnated PUF (SIP) disks (Figure 4.1.7) deployed biennially since 2009 to detect volatile POPs. Yearly XAD sampler deployment occurs at around 20 sites. Publications include Harner et al. (2006) and Schuster et al. (2015, 2021, 2023), among others.

In 2018, GAPS launched a Megacities project to monitor POPs and emerging chemicals in urban areas, focusing on cities as potential sources. Passive samplers are deployed in 23 cities, typically in background areas representative of various sources. This project supports studies on chemical mixtures in air and health risk assessment (Saini et al., 2020; Johannessen et al., 2022);

- MONET (GENASIS data)
The Monitoring Networks (MONET) programme, originating from the EMEP super site in Košetice, has used PUF-PAS (passive air samplers) alongside high-volume samplers since 2003, providing critical calibration data. Initially focused on Central and Eastern Europe, MONET expanded to Asia and Africa in 2008 and now includes sites across Africa, Asia, and Europe. Long-term data at monthly/quarterly resolution is accessible via the GENASIS data warehouse. Key publications include Zencak et al. (2007) and Holt et al. (2017);

- LAPAN
The Latin American Passive Atmospheric Sampling Network (LAPAN) began as a pilot in 2010, gradually expanding to 30 sites across 10 countries in the GRULAC region by 2023. After a brief pause during the pandemic, LAPAN resumed with 21 sites across eight countries, deploying XAD-based samplers annually (Figure 4.1.7). Some sites deploy LAPAN XAD-based PAS alongside PUF-based samplers from GAPS. Studies on the southern LAC region are published (Miglioranza et al., 2021);

- UNEP-GEF Projects (UNEP on POPs)
Since 2005, UNEP has implemented POPs monitoring projects through GEF-funded Global Monitoring Plan initiatives, strengthening POPs monitoring capacities in developing and transitioning countries. These projects have contributed data for Stockholm Convention effectiveness evaluation. Air sampling used PUF passive samplers exposed for three months in all project countries, with active air samplers tested in a few countries. Results were shared in the Stockholm Convention GMP data warehouse. A new UNEP/GEF POPs monitoring phase is in development to continue data contributions.

The PUF disk sampler (Figure 4.1.5) is widely used in the GMP and research studies to monitor POPs and priority chemicals in air (Eng et al., 2024). Its effectiveness has been verified in numerous studies (e.g., Herkert et al., 2018; Kalina et al., 2017; Holt et al., 2017) and in a recent international intercalibration (Melymuk et al., 2021).

Figure 4.1.5: Schematic of PUF disk passive air sampler.

Comparability of PUF disk samplers

An international intercomparison exercise for PUF disk samplers, involving 15 laboratories, was conducted in 2016-2017, led by the Norwegian Institute for Air Research (NILU), in collaboration with the Research Centre for Toxic Compounds in the Environment (RECETOX) and Environment and Climate Change Canada (ECCC) (Melymuk et al., 2021). This study found some discrepancies in POPs results among laboratories when each participant performed their own analyses using different sampler housings (Figure 4.1.6, top). However, results were significantly more consistent when a single reference laboratory conducted all analyses, using sampling chambers and PUF disks provided by each group (Figure 4.1.6, bottom). This underscores the benefits of using a central laboratory for regional and even global monitoring programmes.

The PUF disk sampler effectively captures both gas-phase and particle-phase chemicals (Markovic et al., 2015; Harner et al., 2013, 2014). With a sampling rate of approximately 4 ± 2 m³/day, quarterly—and in some cases monthly—resolution is achievable, although typical deployments are for 2–3 months.

Figure 4.1.6: Results from International Intercalibration Study of PUF Disk Samplers for a Range of SVOCs, Including PCBs, HCHs, DDT, and PBDEs.

(The top panel (a) displays the variability in POP masses collected by PUF-PAS of different geometries analyzed at a central laboratory. The middle panel (b) illustrates variation in POP masses from identical PUF-PAS analyzed at different laboratories. The bottom panel (c) shows the combined variability due to differences in sampler geometry and analysis across separate laboratories. Boxes represent the 25th to 75th percentiles, with the median (50th percentile) marked by a horizontal black line. SVOC levels are normalized to the median, and whiskers represent ±1.5 times the interquartile range (IQR), with individual points indicating outliers. Various PUF disk sampler chamber types, including GAPS-type, MONET-type, and CSIC-type, were used. Figure reproduced from Melymuk et al. (2021).)

In contrast, the XAD-type passive air sampler, used in LAPAN and a subset of GAPS sites, primarily targets gas-phase chemicals (Figure 4.1.7). With a lower sampling rate (~0.5 m³/day) but high sorptive capacity, the XAD sampler is typically deployed for annual sampling (Gawor et al., 2013). This longer sampling interval may be sufficient if seasonal data is not required, and the primary objective is to monitor long-term trends (Hayward et al., 2010). Recently reported sampling rates for POPs in XAD-PAS are provided by Li et al. (2023a, 2023b).

The sorbent-impregnated PUF disk (SIP disk sampler, Figure 4.1.7) similarly offers high sorptive capacity, enhancing capture of more volatile POPs, such as HCB and polyfluoroalkyl compounds (Rauert et al., 2018). The SIP disk’s porous PUF substrate also effectively captures low-volatility POPs associated with airborne particles. Comparisons of PUF and SIP disk samplers show strong comparability and underscore the complementary nature of these samplers for various POPs, including PCBs (Genualdi et al., 2010) and OCPs (Koblizkova et al., 2012). The SIP disk has also proven effective in capturing PFOS and its precursors, fluorotelomer alcohols, volatile methyl siloxanes, and penta- and hexachlorobenzene (Rauert et al., 2018). Field calibration of SIP disks has shown their applicability in extended time-integrated sampling of legacy POPs, beyond the typical 3-month intervals for PUF disks (Schuster et al., 2012). Additionally, XAD and PUF disk samplers exhibit good comparability for gas-phase compounds (Hayward et al., 2010).

Figure: 4.1.7: High-Capacity Passive Air Samplers for Targeting Volatile POPs, Including XAD-Sampler (Gas-Phase) and SIP Disk Sampler (Gas + Particle Phase). (The magnified view shows the porous structure of the polyurethane foam in PUF disks and the XAD powder coating on SIP disks.)

Deriving concentrations in air for POPs in PUF (and SIP) disk samplers

Sampling rates, R-values, for PUF-disk based samplers are typically on the order of ~4 ± 2 m3/day (Pozo et al., 2006, 2009; Harner et al., 2014) and so a 3-month deployment provides an equivalent sample air volume of approximately 360 m3, which is sufficient for the detection of most POPs in ambient air. Shorter integration periods of 1 month have also been incorporated successfully (e.g., Holt et al., 2017). The wind-effect on sampling rate for the domed chamber design has been evaluated under controlled conditions (Tuduri et al., 2006), from field study results (Pozo et al., 2004; Klanova et al., 2006) and using flow simulation models (Thomas et al., 2006). Generally, the chamber can dampen the wind-effect on sampling rate by maintaining the air flow within the chamber at less than ~1 m/s. However, higher sampling rates have been observed at windy, coastal and mountain sites (Pozo et al., 2004, 2006, 2009).

Herkert et al., (2018) have recently reported on a global-scale model able to derive site-specific sampling rates and effective air sample volumes for POPs collected using PUF disk samplers. This is an improvement in the use of default sampling rates as it accounts for site-specific variability. The model (http://www.pufpasvolume.org/) only requires lat/long information for the sampling location and the time period for the deployment. The model then retrieves meteorological data assigned to these coordinates (wind speed, temperature) to calculate R for any location in the world (see Figure 4.1.8). The model also accounts for the approach to equilibrium in PUF disks for more volatiles POPs (discussed below). Model agreement with sampling rates derived using depuration compound (DCs, see below) was shown to be good for gas-phase compounds. Sampling rates for particle-associated POPs are expected to be similar but may vary depending on shelter configuration (Markovic et al., 2015).  The model was independently tested on an extensive dataset of >3,000 field air samples of PCBs, OCPs, PBDEs and PAHs from 6 common European sites of the EMEP and MONET programmes (Kalina et al., 2022). The test showed an improvement in the estimated sampling rates compared to the site-non-specific GAPS template (Harner et al., 2017) for samples with (external) wind speed below ~ 4 m/s. This corresponds well with the above-mentioned assumption of keeping the (internal) air flow within the chamber below ~1 m/s. In the sake of consistency, this model is recommended tool for calculating POPs air concentrations from PUF-PAS samplers, however measurements from sites with wind speeds frequently exceeding 4 m s-1 should be interpreted with caution since the model significantly underestimates sampling rates at such sites.

A more precise but more complex measure of the air volume sampled may be achieved by spiking the sorbent prior to exposure with known quantities of “depuration compounds” or DCs. These are isotopically labelled chemicals or native compounds that do not exist in the atmosphere and cover a wide range of volatility (assessed based on their vapour pressure and/or octanol-air partition coefficient, KOA). The loss of depuration compounds over the sampling period is used to calculate the effective air sample volume (Pozo et al., 2004, 2006, 2009; Persoon and Hornbuckle, 2009). The air concentration is then calculated based on this air volume and the amount of chemical collected over the sampling period. An on-line tool is available for deriving effective air sample volumes for a wide-range POPs for both SIP disk and PUF disk samplers (Harner et al., 2017).

Figure 4.1.8: Annual Mean PUF-PAS Sampling Rate (m³/day) of a Tri-Chlorinated PCB Congener in 2006.

#### Approach to equilibrium and equilibrium sampling

For more volatile POPs (e.g., HCB, Pentachlorobenzene, HCBD), it’s crucial to consider the approach to equilibrium, which results in a gradual reduction of the sampling rate until it reaches zero at equilibrium (Harner et al., 2004; Gouin et al., 2005; Pozo et al., 2006). For compounds reaching equilibrium within the typical PUF disk deployment period (a few months), the effective air sample volume depends on K_PUF-air rather than R. This isn’t necessarily a drawback, as K_PUF-air can be accurately estimated and measured directly (Parnis et al., 2016; Francisco et al., 2017) and is unaffected by windspeed. Using PUF disks as equilibrium samplers can improve the accuracy of derived air concentrations. However, if equilibrium is reached too quickly (e.g., in hours to a few days), this may not yield an accurate reflection of average ambient air concentrations over extended deployment periods. This is less of a concern for chemicals with stable air concentrations over weeks or months, which is common for volatile POPs like HCB at background sites.

#### Sampling and sample preparation

Before use, PUF disks are pre-cleaned by sequential extraction (Soxhlet or accelerated solvent extraction) using polar and non-polar solvents (e.g., acetone/hexane or acetone followed by hexane; toluene is typically used for dioxin analysis). Using the same solvents for pre-cleaning helps ensure low blank levels. Samples are stored in solvent-rinsed, gas-tight glass jars or solvent-rinsed aluminum sleeves within airtight containers (e.g., freezer bags). One field blank should be deployed at each site to assess potential contamination by placing it in the sampling chamber, removing it immediately, and then storing and processing it as a sample. Samples are extracted using the same techniques as active air samples, as described above. Extract analysis follows procedures outlined in Chapter 5.

Additional air sampling considerations, including toxicological assessments for chemical mixtures in air, using tree rings and other natural archives to derive historical POP trends, and sampling indoor air, are provided in appendix II, part III.

### 4.1.4	QA/QC and data treatment

A robust quality control (QA/QC) programme is essential to ensure data credibility, enabling long-term trend analysis and comparability with results from other programmes and sampling approaches (see the following chapter for more on comparability). Since different monitoring programmes often use distinct QA/QC protocols, it is crucial that data treatment is thoroughly documented in reports and publications. This transparency allows for data harmonization and ensures that data sets can be accurately compared when necessary.

A comprehensive review of quality assurance activities under the Integrated Atmospheric Deposition Network (IADN) is presented in Wu et al. (2009). QA/QC and data treatment procedures used in the international AMAP air programme are detailed in Fellin et al. (1996) and further updated in Hung et al. (2010, 2016). QA/QC protocols for several international air monitoring programmes are included in appendix V.

Interlaboratory exercises are valuable tools for assessing QA/QC practices across participating laboratories and provide a measure of interlaboratory comparability. These exercises typically involve analyzing a common standard or reference sample, often at two or more concentration levels. Recent international interlaboratory studies for POPs, focusing on air, have been conducted by AMAP/EMEP/NCP (Schlabach et al., 2012), UNEP (2012, Abalos et al., 2012, van Leeuwen et al., 2013), and through an International Polar Year project, INCATPA (Su and Hung, 2011). These studies offer insights into interlaboratory variability across different POPs classes, which is essential for enhancing data comparability, discussed further below.

#### QA/QC considerations

In addition to the reference above detailing QA/QC procedures for international air monitoring programmes, several key aspects are highlighted below. These challenges are particularly relevant for the newly listed POPs.

  - Blanks:

- Method or lab blanks: These involve using a clean matrix and/or solvent, treating it as a sample, and processing it through the entire methodology to assess contamination. Running method blanks before starting a sampling campaign ensure the integrity of the methodology. Method blanks are especially crucial for some of the newly listed POPs (e.g., PBDEs, PFOS, and related compounds), which may show elevated levels in laboratory environments. If contamination is detected, blank tests can be conducted on different stages of the methodology to pinpoint and isolate the contamination source. Method blanks should be routinely included during sample processing, with at least one blank for every 10 samples (i.e., 10%);

- Field blanks: Field blanks are sample media (e.g., PUF disks, GFF, XAD) placed in the sampler, removed immediately, and then stored and processed like actual samples. They help identify contamination sources introduced during sample handling, transport, and storage. It’s essential to take precautions to avoid contamination from the sampler itself or nearby sources. For instance, substances like flame retardants, chlorinated paraffins, or PCBs—commonly found in electrical equipment or construction materials (e.g., sealants)—can introduce contaminants (Takasuga et al., 2012).

- Sampling efficiency and sampling rates

- Breakthrough check: For high-volume samplers, a second sorption matrix is placed in series with the first to assess any breakthrough of gas-phase analytes through the primary matrix (e.g., PUF plugs, PUF/XAD cartridges). Breakthrough is especially important for more volatile compounds, including some newly listed POPs such as HCBD, PeCB, HCB, and alpha-HCH, which are known to exhibit substantial breakthroughs on PUF due to their volatility. Breakthrough and volatility both increase with warmer temperatures (Melymuk et al., 2016; Bidleman et al., 2018);

- Adsorption artifact: In high-volume samplers, some gas-phase compounds may adsorb onto glass or quartz fiber filters meant for particle-phase compounds. This can lead to an overestimation of particle-phase partitioning in procedures analyzing gas and particle phases separately. This artifact can be assessed by using a second filter in series with the first and analyzing each filter separately. Compounds like PFOS are particularly susceptible to adsorption artifacts (Arp and Goss, 2008). Teflon filters should be avoided when targeting PFOS and related chemicals.

- Recoveries and use of surrogates

- Sampling recoveries: Labeled surrogates are added to the sampling matrix before sample collection (e.g., added to PUF in the high-volume sampler) to assess potential losses during sampling. This approach, however, typically overestimates losses;

- Analytical/Method recoveries: Recoveries can be performed in two ways:

  - External recoveries: Target compounds are spiked onto a clean sampling matrix or solvent before extraction and then processed through the methodology to validate the method. These recoveries are not used to correct individual samples;

  - Internal recoveries: Labeled surrogates are added to the sample matrix immediately before extraction to assess losses during extraction and work-up. Internal surrogates help account for biases introduced by matrix effects, which can particularly affect PFOS and related chemicals. Internal recoveries can be used to correct sample results;

Ideally, sampling and method recoveries should range between 70–130%. Compounds with recoveries below 50% should be reported with caution. Volatile compounds (e.g., HCBD, PeCB, and HCB) often show low recoveries due to evaporation losses during sample concentration. These losses can be minimized by using gentle blow-down procedures and maintaining a final sample volume of ~1mL or more. The choice of extraction and keeper solvents also impacts evaporation losses;

- Detection

- Instrument detection limit (IDL) and dealing with data that falls below the IDL: The instrument detection limit is determined from the amount of analyte that will produce a signal:noise of 3:1 on the analytical instrument. This can be estimated by extrapolation of the result for the lowest concentration standard. The IDL value is compound specific and will also vary from day to day according to instrument performance and sensitivity;

- Method detection limit (MDL) and dealing with data that falls below MDL: The method detection limit is usually defined as the mean blank + 3SD. If field blank values are available, these are preferred. In cases where analytes are not detected in blanks, the MDL can be based on the instrument detection limit (IDL). Compounds that are detected above the MDL value can be considered very unlikely to be due to blank variability. Data that fall below the MDL should be reported as <MDL;

- Limit of quantification (LOQ): The LOQ convention is rarely used in trace SVOC analysis with the exception of dioxins and furans. LOQ is typically defined as 3 times IDL or 10 times the signal: noise. These two conventions result in similar numbers.

#### Data treatment

  - Qualifying data, blank and recovery correction: As mentioned, raw data is qualified as real if it exceeds the method detection limit (MDL). Qualified data may then undergo blank correction by subtracting the mean blank value. Recovery correction should only be applied to blank-corrected data if sample-specific internal surrogates (isotopically labeled analogs of target analytes) were used.

For reporting and streamlined data handling, data should ideally be presented in the following formats:

- Qualified raw and blank-corrected data: Present raw data that exceeds the MDL and has been blank-corrected. Include mean blank values and MDLs for each analyte;

- Recovery-corrected data: Only report recovery-corrected data when internal surrogates were used. If external recovery values were applied to validate methodology but not for sample correction, note this to provide insight into data quality.

Clarity in reporting (i.e., specifying whether data is blank- or recovery-corrected) is crucial to facilitate future data manipulation if necessary. For data that falls below the MDL but above the mean blank value, consider reporting these values and flagging them to indicate higher uncertainty;

  - Data comparability: Data comparability is essential for evaluating POPs, addressing temporal trends, and ensuring reliability across programmes and methodologies. Comparability has several dimensions:

- Intra-programme comparability: Ensures consistency within a programme to assess temporal trends in air concentrations;

- Inter-programme comparability: Facilitates spatial comparisons across programmes, especially important for modeling and understanding regional and global POPs transport;

- Methodological comparability: Addresses differences in data derived from various approaches (e.g., active vs. passive sampling).

Assessing the temporal trends of POPs in air is essential to evaluate the effectiveness of control measures. Achieving this requires internal consistency within datasets, which can be maintained by strict sampling protocols and laboratory QA/QC practices, ensuring data reflect real concentration changes rather than extraneous influences. Some long-term monitoring programmes continue using original analytical methods, even if outdated, to maintain consistency with past data. Any significant methodological changes should be paired with an intercomparison strategy to assess, quantify, and adjust for discrepancies (e.g., Su et al., 2011).

While not as critical for evaluating effectiveness, inter-programme comparability is valuable for studying regional and global POPs transport and for model applications. This comparability can be assessed through intercalibration exercises, addressing differences in sampling techniques, equipment, and analytical practices. International interlaboratory comparisons over the last decade (Su and Hung, 2010) have shown that interlaboratory differences of up to a factor of 2 are common, with intralaboratory precision generally showing a <10% relative standard deviation. Under UNEP-GEF projects, three rounds of interlaboratory assessments were completed, with a fourth underway (2018/2019). Air extracts have been included as test matrices since 2012/2013, with overall good results in the third round, particularly for PBDE and dioxin-like POPs (71% and 69% satisfactory results, respectively). However, only half the results for organochlorine pesticides were satisfactory, and results for toxaphene and HBCD were too inconsistent to establish consensus values.

The first intercomparison for passive samplers (PUF disks) with 15 international labs (Melymuk et al., 2021) found low variability from PUF-PAS designs but significant variability among laboratories. Master stations, overlapping two or more sampling programmes, offer another strategy to assess inter-programme comparability, as they reveal variability beyond laboratory discrepancies. Some overlap in monitoring sites already exists and could be further utilized. Broader data comparability is also relevant when reporting data from diverse sampling approaches (e.g., passive vs. active; gas-phase vs. particle-phase; time-integrated vs. intermittent sampling). Dreyer et al. (2010) demonstrated good comparability between high-volume and SIP disk samplers for polyfluorinated compounds, while Holt et al. (2017) and Kalina et al. (2012, 2019) showed comparability between PUF disks and high-volume samplers for several POPs classes across various sites. Melymuk et al. (2017) also studied degradation within samplers by reactive gases and found minimal impact on POPs comparability.

Figure 4.1.9: Exponential trends with 95% confidence intervals (shaded) for PCB-28, as observed by Kalina et al. (2019) from 1996 to 2018 at six European sites. (Data were collected under MONET (passive, red) and EMEP (active, green) programmes. The model is scaled to the median values within the overlapping measurement interval.)

It's essential to reference observed air concentrations by specific site categories (see chapter 4.1.1) rather than by country or region, as POP air concentrations can vary significantly, even within small areas. Data from one or two sites should not be considered representative of an entire country.

In summary, interpreting and comparing air concentration data, particularly across programmes, requires substantial supplementary information. Reporting would be greatly improved if primary data adhered to the guidance in this document. Generally, air concentrations should be reported in pg/m³, accompanied by details on collection methods, the sample’s phase (gas vs. particle), and site category (see chapter 4.1.1). For extreme altitudes or temperatures, concentrations may need to be normalized to standard temperature and pressure, especially if sampling equipment doesn’t automatically adjust (Fellin et al., 1996). Some passive sampling studies report results as mass per sample due to uncertainty in effective air volume; in such cases, normalizing data by sample duration (per day, month, or year) is essential for comparability.

### 4.1.5	Climate effects

The topic of climate change and its impact on contaminant pathways adds complexity to analyzing temporal trends of POPs (Macdonald et al., 2005; Ma et al., 2011, 2016). Studies have shown correlations between POPs air concentrations and low-frequency climate variations (e.g., North Atlantic Oscillation (NAO), El Niño-Southern Oscillation (ENSO), and the Pacific North American (PNA) pattern) (Ma et al., 2004). This issue is especially relevant in regions like the Arctic, where rising temperatures and geophysical changes are most pronounced (Macdonald et al., 2005). In addition to rising temperatures, climate-driven meteorological disruptions (e.g., increased flooding, droughts) may further impact POPs mobility and trends in air concentrations.

To interpret trends accurately, it’s essential to consider these factors on a site-specific basis. For example, as shown for PCB-52 in Figure 4.1.10, site-specific analyses avoid overgeneralizing findings to an entire region and improve data comparability.

The impact of climate change on POPs and Chemicals of Emerging Arctic Concern (CEACs) in the Arctic was recently examined by AMAP (2021). Critical reviews exploring climate change effects in polar regions—including the Arctic, Antarctic, and Tibetan Plateau—were published following this assessment (de Wit, Vorkamp, and Muir, 2022; Borgå et al., 2022; Hung et al., 2022; Chai, Zhou, and Wang, 2022; Corsolini and Ademollo, 2022; Vorkamp et al., 2022).

Key findings on climate influences on POPs in the abiotic environment include:

- Changing Human Activities: Urbanization, industrial activity, shipping, mining, and agriculture are altering the proportion of contaminant inputs in the warming Arctic, shifting from long-range atmospheric transport to local emissions. The use and emission sources of chemicals have also evolved (e.g., from point sources of legacy POPs to diffuse sources of various CEACs). New chemical hazard criteria are needed to protect Arctic wildlife and humans from contaminants that don’t meet the Stockholm Convention’s L, P, B, and T criteria;

- Sea Ice and Contaminant Remobilization: Sea ice retreat has increased air-water exchange. Melting ice, increased river runoff, and permafrost degradation are remobilizing contaminants into marine and freshwater environments. The replacement of multi-year ice with brine-rich first-year ice alters the exposure pathways of ice-associated organisms at the food web base. More research is needed to understand the effects of accelerated melting, permafrost thawing, and contaminant remobilization on aquatic ecosystems. Studies on particulate vs. dissolved contaminant redistribution and food web accumulation are essential to quantify these impacts;

- Extreme Weather Events: Climate change will lead to more frequent extreme weather events in the Arctic (e.g., intense rain, snowstorms, unseasonal warming, and forest fires), which can impact the fate of POPs. Studies are needed to link these events to POP emissions, deposition, and distribution in Arctic terrestrial, freshwater, and marine environments

### 4.1.6	Integration

Interpreting air monitoring data for POPs to address the effectiveness of control measures or understand regional and global transport is complex, involving multiple interacting factors. While observed temporal trends may reflect regulatory impacts, as previously discussed, they can also result from other influences, such as climate effects. Additionally, some chemicals experience time lags of several years from regulation to a noticeable decline in environmental concentrations due to their persistence (Gouin et al., 2010). Recycling and re-emission from waste streams, like landfills, also contribute to these delays by influencing the emission profiles of newer POPs used in commercial products (Shunthirasingham et al., 2018; Rauert et al., 2018b).

Making informed decisions on the fate and behavior of POPs requires integrating data on chemical properties, emissions, model results, and monitoring data (see Figure 4.1.10). This integrated approach is iterative: one type of information may inform the other and prompt re-evaluation. For example, spatially detailed monitoring data can enable new model applications, and discrepancies between model results and observations may lead to revised emission estimates.

Figure 4.1.10: Essential information for informed decision-making on a chemical's environmental fate. (Scheringer, 2009).

### 4.1.7	Cross-cutting considerations

As discussed in Chapter 1.4, sustainable and adaptable air monitoring under the GMP should aim for co-benefits across the science-policy interface (see Figure 4.1.11; Vlahos et al., 2023; Harner et al., 2024).

- Health: New approach methodologies (NAMs), including chemical assays, bioassays, and in silico methods (e.g., Liu et al., 2021), can assess air toxicity risks. These methods can analyze the entire mixture of chemicals in the air, addressing precursor, transformation products, and unknown chemicals;

- Climate change: POPs trend data in air can provide insights into climate-related effects, such as the remobilization of POPs from temporary reservoirs (e.g., forests, permafrost, oceans) (AMAP, 2021). Recently, PUF disk samplers have shown potential for time-integrated monitoring of black carbon, a significant short-lived climate force with inhalation toxicity implications;

- Biodiversity loss: Around 16-25% of ambient particulate matter contains environmental DNA (eDNA) from the aerobiome—a mix of living and dead microorganisms in the atmosphere (Clare et al., 2022; Kalisa, 2024; Samake et al., 2017). Kalisa et al. (2024) demonstrated that GAPS-type PUF disk samplers can capture this aerobiome, enabling monitoring of fungi and bacteria in the air. This approach can track spatial and temporal biodiversity changes and link GMP monitoring under the Stockholm Convention to the Biodiversity Convention goals. The Kunming-Montreal Global Biodiversity Framework, adopted at COP15, includes four goals and 23 targets for living in harmony with nature by 2025 (UNEP, 2022), with Target 7 focusing on reducing biodiversity risks from cumulative pollution effects.

Expanding to a more inclusive and cross-cutting approach to air monitoring under the GMP will foster outreach with a wider range of experts across disciplines, incorporating regional expertise beyond ROG members. This approach will enhance GMP reporting by promoting inclusiveness and diverse perspectives, providing context and relevance for POPs air monitoring data. Additionally, it will ensure comprehensive data capture under GMP reporting.

Figure 4.1.11: Cross-cutting considerations for POPs air monitoring. (Modified from Harner et al., 2024).

4.2	Human milk and human blood

### 4.2.1	Experimental design

The objective of human monitoring within the GMP is to track temporal and, where relevant, spatial trends in POP levels in humans. The programme also supports regional capacity-building in developing countries by enhancing technical and analytical capabilities to detect regional POP trends.

Human milk and blood have long served as indicators of human exposure to various POPs and are core media for POPs biomonitoring under the Stockholm Convention. Both media reflect comparable temporal trends within a population, integrating environmental and dietary exposures based on local consumption habits. They also provide crucial information on POP transfer to infants and potential health impacts.

#### Human milk

The first evidence of POP levels in human milk was published in 1951, focusing on DDT in the general population without occupational exposure (Laug, 1951). However, it was only with advances in analytical instrumentation, especially GC-ECD, that the scope of POP analysis expanded in the 1970s to include other organochlorine pesticides, PCBs, and brominated flame retardants, with fluorinated POPs added later (Acker, 1970; Schulte, 1984; Van den Berg, 1989, Meironyte, 1999; Kärrman, 2007). A comprehensive review highlights the progressive increase in knowledge over the past 70 years (Malisch et al, 2023). During this time, human milk monitoring has proven to be an efficient, cost-effective, and non-invasive tool for assessing internal human exposure to POPs and the resulting body burden.

The following outlines the development of the global human milk survey initiated by WHO, in partnership with UNEP DTIE and later expanded by UNEP to support data generation for the GMP. WHO launched comprehensive human milk monitoring programmes, with early surveys conducted mainly in Europe and North America (1987–1989, 1992–1993) focusing on PCBs, PCDDs, and PCDFs. In 2001–2003, the programme expanded globally to include the 12 POPs initially listed in the Stockholm Convention. Following the Convention’s ratification, WHO and UNEP collaborated on three more global surveys (2004–2007, 2008–2011, and 2012–2015), further broadening geographic representation. The seventh round began in 2016, covering the 30 POPs listed in the Convention as well as candidate POPs (Malisch et al., 2023).

WHO developed a protocol for POPs exposure studies (Malisch & Moy, 2006; WHO, 2007), which forms the foundation for the GMP’s human milk component (UNEP, 2017a). This protocol, accessible online, includes comprehensive guidelines for sample collection, donor selection, and pooling procedures. Participating countries are encouraged to adhere closely to the protocol, which includes specific criteria for selecting donor mothers:

- First-time mothers;

- Healthy;

- Exclusively breastfeeding one child (no twins).

To ensure statistically reliable data, each country is advised to collect at least 50 individual samples, which are pooled to create a representative composite sample. Countries with over 50 million people should include an additional donor per million over 50 million. For countries with substantial populations and resources, multiple pooled samples are encouraged.

This pooling approach is cost-effective, reducing expenses compared to analyzing individual samples and requiring a smaller milk volume per donor. It also allows for a more comprehensive analysis at lower quantification limits. Centralized analysis further ensures data reliability and comparability across laboratories. The State Institute for Chemical and Veterinary Analysis of Food (Germany) serves as the reference laboratory for lipophilic POPs, while the MTM laboratory at the University of Örebro (Sweden) analyses proteinophilic POPs (e.g., PFOS).

The main objectives of these studies are to:

- Generate reliable, comparable data on POP concentrations in human milk for improved infant health risk assessment;

- Provide an overview of exposure levels across countries and regions, helping to prioritize follow-up actions;

- Track trends in exposure levels.

All pooled samples are analyzed by WHO/UNEP reference laboratories using validated methods, while aliquots of individual samples can be analyzed for specific analytes by labs selected by the National Coordinator. This method offers a cost-effective way to monitor POPs exposure in human populations across regions and over time.

Results from the WHO/UNEP Human Milk Survey for PCDDs, PCDFs, PCBs, and DDTs were also evaluated for breastfeeding benefit–risk assessment (van den Berg et al., 2017).

#### Human blood

To ensure comparable results across human matrices, maternal blood is considered a core medium under the GMP. Other donor types are also included in human monitoring programmes to capture POP concentration trends over time. While data from these additional populations may not be directly comparable to human milk or first-time mothers’ blood results, they complement overall exposure insights and contribute to understanding sources and exposure pathways. Surveys focused on POP levels in general population blood should be treated as a secondary source, not on par with the core matrices.

The European Environment and Health Action Plan (2004) called for expanding human biomonitoring as a safety and exposure-reduction tool, recommending a coherent European approach. Supported by projects like COPHES and DEMOCOPHES, this led to the Human Biomonitoring Initiative for Europe (HBM4EU), which established a harmonized approach for generating comparable biomonitoring data across nations. This work continues under the PARC initiative, advancing chemical risk assessment using human biomonitoring data.

Maternal blood (plasma and serum) is the primary matrix for human exposure assessment by the Arctic Monitoring and Assessment Programme (AMAP, 2009). Though invasive, blood sampling is sometimes preferred based on local practices and infrastructure. Like human milk, pooled blood samples provide a cost-effective method to compare POP levels between countries and observe time trends. Blood is especially suited for monitoring proteinophilic POPs, such as PFOS, and is increasingly preferred as more hazardous, protein-binding compounds are identified.

Since the early 1990s, AMAP has conducted maternal blood plasma monitoring across the Arctic, using standardized protocols. Recent assessments have included PBDEs and perfluorinated compounds alongside PCBs and organochlorine pesticides (AMAP, 2009, 2014, 2020). This programme includes an international QA/QC system with tri-annual interlaboratory ring tests, ensuring participating laboratories produce reliable data on maternal plasma and cord blood. AMAP, in partnership with Quebec’s Centre du Toxicologie, developed a detailed protocol for sampling and preparation, which is available online at www.amap.no. This protocol includes comprehensive guidance on sampling, storage, shipping, and analysis and is standard for all AMAP blood sampling.

Long-term human monitoring data collected by AMAP informs public health policies in the Arctic, with participating countries (e.g., Canada, Greenland, Denmark, Sweden, Norway, Finland, Russia) benefiting from these results. AMAP’s efforts, along with WHO’s EEHP and European initiatives like HBM4EU and PARC, serve as a model for future global monitoring. In 2023, the 7th Ministerial Conference on Environment and Health in Budapest also adopted a region-wide human biomonitoring partnership under WHO.

Blood concentrations are a reliable measure of body burden for most contaminants, including lipophilic, protein-bound, and ionic compounds. For weakly lipophilic compounds, blood concentrations are higher than those in milk. For example, PFOS serum levels were found to be 100 times higher than in breast milk in paired maternal-newborn samples (Kärrman et al., 2007). For lipophilic compounds, blood concentrations (lipid-based) correlate closely with those in stored fat and breast milk.

To ensure consistency with global human milk data, only maternal blood from first-time mothers is considered a core medium under the GMP.

### 4.2.2	Sample matrix

POP levels in humans are typically measured in blood or milk. Studies comparing POP concentrations in breast milk, maternal blood, and cord blood have shown correlations in lipid-adjusted levels of lipophilic contaminants across these compartments (Jarrell et al., 2005; Muckle et al., 2001; Anda et al., 2007; Bo Yuan et al., 2024). Both milk and maternal blood serve as core media for POPs biomonitoring under the GMP, allowing for assessments of temporal trends, regional variations, and regulatory effectiveness.

A common criterion in selecting donors for human milk and maternal blood studies is to sample first-time mothers to capture cumulative lifetime exposure and total body burden, as POP levels typically decrease over the course of lactation, leading to lower levels in mothers at subsequent births.

Key considerations when choosing a sampling matrix include:

- Non-invasive milk sampling: Milk can be collected in reasonable quantities from lactating mothers, although in some populations obtaining milk samples may be challenging;

- Invasive blood sampling: Blood can often be sampled from mothers prior to birth but may not be culturally acceptable in all regions;

- Biohazard precautions: Blood and milk are potential biohazards, so appropriate precautions should be taken during collection and handling, especially regarding potential HIV or hepatitis contamination;

- Detection limits: POP detection limits are generally lower in milk than in blood due to higher lipid content and the availability of larger sample volumes;

- Less lipophilic substances (e.g., PFOS): For substances with lower lipophilicity, such as PFOS, detection limits are lower in blood, as only a small and variable fraction (around 1%) is present in milk. Analytical precision decreases as the detection limit is approached.

### 4.2.3	Sampling and sample preparation methodology

The Global Monitoring Plan uses human milk and maternal blood as two primary matrices for comparable biological monitoring in the first tier. The 2007 WHO protocol and the 2017 UNEP protocol provide guidelines for selecting donor mothers, which should be followed closely. The key criterion for selecting donors in both human milk and maternal blood sampling is that they should be first-time mothers.

While data from other representative populations may not be directly comparable with first-time mothers' human milk or blood samples, these additional results enhance the overall understanding of exposure in the general population and contribute insights into exposure sources. Selection criteria for these populations should align with approaches used by AMAP or HBM4EU.

#### Number of samples/sampling location

The WHO (2007) and UNEP (2017a) guidelines recommend collecting samples from 50 individuals. However, some countries may face challenges recruiting this number, requiring an extended collection period. Samples may also be gathered from post-natal clinics.

The protocol allows countries to stratify participants to reflect presumed national exposure profiles. Factors to consider include diet, agricultural practices, occupational exposures, rural vs. urban residence, and proximity to potential POPs sources (e.g., waste sites or industrial activities). This stratification should remain consistent across monitoring rounds to track changes and trends. Since exposure profiles are not well-defined in most developing countries, assumptions may be necessary but should be documented as part of the information package.

For countries with sufficient resources, the protocol allows submission of two pooled samples. Although the protocol targets individual countries, stratification and sample collection could potentially be organized regionally. However, efforts should prioritize participation from as many countries and regions as possible to establish a comprehensive baseline.

#### Questionnaire and informed consent

The same questionnaire and approach should be used for both human milk and blood sampling, with information about the invasive nature of blood sampling included. The informed consent template should be adapted to align with local practices and customs in each country or region.

It is highly recommended to follow the questionnaire guidelines from the WHO Guidelines for Developing a National Protocol, with additional questions added if needed to better characterize exposure profiles. Questionnaires should be translated into local languages and administered by qualified health or science professionals at prenatal clinics or collection sites. This is especially important in developing countries, where some questions may need to be adapted to local knowledge and customs.

The first part of the questionnaire screens mothers during pregnancy, after which some mothers are selected and notified. In many developing countries, however, communication limitations may require selection and recruitment to be conducted directly at clinics or other appropriate centers.

#### Sample handling

The guidelines for sample handling should be strictly followed, and qualified personnel must conduct the sampling. Training may be required for personnel involved. If samples are to be stored in biobanks, special measures for sampling and handling are necessary, as discussed in the chapter on specimen banking.

#### Human milk

Each of the 50 donors will provide 50 ml of milk, with 25 ml allocated to the pooled and back-up sample for additional analysis if needed, and 25 ml for individual analysis of basic POPs (if performed). During sampling, milk from a single mother can be stored at 4°C for up to 72 hours. In countries where temperature control is not feasible, milk samples should be collected in bottles containing a potassium dichromate tablet for preservation (UNEP, 2017a), a method successfully used by some countries in the third round of WHO-coordinated exposure studies (van Leeuwen and Malisch, 2002; Schecter et al., 2003). For details on pooled sample preparation and transport to the reference laboratory, refer to the UNEP guidance document.

#### Human blood

Proper sample handling is essential for obtaining homogeneous blood (plasma or serum) samples and ensuring their integrity. Therefore, the sample handling guidelines should be strictly followed (see appendix IV). Qualified personnel must conduct the sampling, with training provided if necessary.

After sampling, plasma samples can be stored at room temperature for up to 5 days. In high ambient temperatures (e.g., tropical regions), samples should not be stored for more than 1 day before freezing and should be kept out of sunlight.

For pooling, 5 ml from each plasma sample should be combined to create a 250 ml pooled sample, which can be stored at -70 °C until analysis. Before analysis, thaw the sample to room temperature, mix gently by inversion, and extract the entire sample, rinsing the container with solvents. Sample handling during storage, transport, and analysis should minimize risks of cross-contamination and ensure personnel safety.

#### Lipid adjustment of human blood and milk contaminant data

Since many factors influence human milk composition (Harris et al., 2001; Lovelady et al., 2002), it is important to follow the guidance from the Fourth WHO-Coordinated Survey (WHO, 2007).

Lipid levels in breast milk are approximately ten times higher than in blood, making lipid normalization essential for comparing lipid-soluble compounds like POPs between maternal blood and breast milk. In blood, lipid levels can fluctuate with meals, but lipid adjustment has been shown to account for these variations, enabling more accurate comparisons of POP levels (Philips et al., 1989).

Lipid levels in maternal blood also increase during pregnancy, peaking just before delivery and returning to baseline shortly afterward (Longnecker et al., 1999). Adjusting for these changes, as Hansen et al. (2010) demonstrated, provides the most reliable data normalization. For blood plasma, lipid levels should be determined enzymatically, using an appropriate summation formula (see also the chapter on “Choice of Sampling Medium, Study Group, and Number of Samples”).

#### Ethics

Each country should ensure that their protocols receive approval from the relevant ethical committees, with evidence of this approval included in the information package. For human milk sampling, each participating country’s national protocol is based on the WHO protocol (Malish & Moy, 2006; WHO, 2007). Any deviations due to local ethical considerations should be documented and included in the accompanying information package.

Obtaining ethical clearance can be a lengthy process, so participating countries should account for potential delays in their planning. Actively facilitating this process is essential to ensure timely implementation of sampling activities.

#### HIV/AIDS

All human biological samples should be handled as though they are infectious to minimize the risk of personnel exposure.

#### Transporting of samples

Milk and blood samples should be shipped to the designated analytical laboratories following relevant protocols and any specific instructions provided by the receiving party. Due to the prevalence of infectious diseases such as HIV and hepatitis, all human milk and blood samples should be appropriately labeled and handled as a precaution.

#### Interlaboratory comparison and cooperation issues

The AMAP ring test for persistent organic pollutants is coordinated by the Centre de Toxicologie du Québec / INSPQ. For further details, visit http://www.ctq.qc.ca and the External Quality Assessment Scheme (G-EQUAS) in Germany. Participating laboratories are supported with methodological guidance, reference materials, sample cross-checking, data handling, and more, all under strict security protocols.

To ensure reliability and comparability, WHO routinely conducts inter-laboratory quality assurance studies for POPs, including proficiency tests for insecticide POPs and PCB congeners 28, 52, 101, 138, 153, and 180 in human milk. Additionally, UNEP conducts a “Biennial Global Interlaboratory Assessment on Persistent Organic Pollutants” (latest report: UNEP, 2017b), which also includes human milk.

### 4.2.4	Special considerations for fluorinated POPs

Fluorinated POPs, such as perfluorooctane sulfonic acid (PFOS) and perfluorooctanoic acid (PFOA), do not follow the typical partitioning into fatty tissues seen with other POPs. Instead, they bind preferentially to plasma proteins like albumin and gamma-lipoproteins, and to liver proteins such as liver fatty acid-binding protein (Kärrman, 2007; Völkel, 2008). This makes blood and liver the primary media for analyzing PFOS and PFOA. General analytical issues for PFOS are discussed in the analytical chapter.

Unlike traditional POPs, research on fluorinated POPs, including PFOS and PFOA, began in the early 2000s, with the first reports of PFOS in humans and the environment (Hansen et al., 2001; Giesy and Kannan, 2001). Analytical methods have since advanced significantly (e.g., Kärrman et al., 2007, 2009).

Blood, due to its higher albumin content, is the preferred medium for fluorinated compound analysis. However, with current technology, PFOS and PFOA can also be reliably measured in milk, where a strong association with blood concentrations has been observed (Kärrman et al., 2007). PFOS levels in human milk are generally much lower—20–100 times lower when reported in ng/ml (Kärrman et al., 2007, 2009; Tao et al., 2008)—making milk a less primary target for PFOS detection and posing analytical challenges. This was evident in the fourth QA/QC study on PFCs in human milk, where variations across 20 expert laboratories were over 35% (38% and 49%) for two milk pools.

In a study by Kärrman and Davies (2013), milk and serum samples from first-time mothers in Uppsala, Sweden, were collected and analyzed in 2004, 2007, 2009, and 2011. A total of 48 serum and 48 milk samples were analyzed on an MS/MS system with electrospray ionization. Using validated methods, the study found PFOS (linear isomer) in all samples, with concentrations ranging from 1.3 to 20 ng/mL in serum and 0.028 to 0.354 ng/mL in milk. Detection limits were 0.05 ng/mL for serum and 0.012 ng/mL for milk. These concentrations align with other studies on PFOS in serum and milk. Regression analysis (Figure 4.2.4) demonstrated a strong correlation between PFOS levels in milk and serum, with a Pearson correlation coefficient of 0.9171. Milk levels averaged 1.55% of the corresponding serum levels, consistent with previous findings of 1.09% (Kim et al., 2011), 1% (Kärrman et al., 2007), and 1.4% (Thomsen et al., 2010).

This study also confirmed excellent recoveries, reproducibility, and accuracy. Quality control (QC) samples were analyzed alongside the study samples, with PFOS recoveries of 78% (51–90%) in milk and 101% (81–110%) in serum.

Figure 4.2.4: PFOS concentrations (ng/mL) in serum and milk samples from Sweden, 2004–2011. (The linear regression equation, R² value, and Pearson’s correlation coefficient are displayed.) (Kärrman and Davies (2013)).

4.3	Water

### 4.3.1	Experimental design

Water has been identified as a core matrix under the GMP exclusively for fluorinated POPs, based on evidence that it serves as the primary transport medium for these chemicals in the environment. This designation is supported by extensive research demonstrating the feasibility of detecting these substances in water and the availability of standard methods for such analyses. PFOS, PFOA, PFHxS, and the long-chain perfluorocarboxylates (C9-C18 LC-PFCAs) proposed for addition to the Stockholm Convention are noted for their relatively high water solubility, especially compared to their neutral analogs, such as fluorotelomer olefins, alcohols, sulfonamides, or sulfonamidoethanols (Sosnowska et al., 2023; UNEP, 2023). Consequently, these compounds are recommended for monitoring in water as a core matrix. The open ocean water column has been suggested as a final sink for perfluorinated substances, including PFOS and PFOA (Lohmann et al., 2013). Given the challenges in determining PFOS, PFOA, PFHxS, and LC-PFCA anions in air (see chapter 4.1.1), water remains the most suitable environmental matrix for monitoring anionic PFASs. Complementary guidance on including PFASs in the GMP has been published by UNEP’s Chemicals Branch (Weiss et al., 2015). Please note that the potential inclusion of additional POPs data on water is discussed in Chapter 4.4, under the section on other media.

#### Sampling locations

The Third Global Monitoring Report (UNEP/POPS/COP.11/INF/38) presented global results for PFOS, PFOA, and PFHxS in coastal marine and open ocean waters, based on peer-reviewed literature and data from national programmes for the period 2015–2019. While most data originated from the Northern Hemisphere (WEOG and Asia-Pacific regions), the PFAS analysis conducted by the UNEP/GEF GMP II project in 22 countries between 2017 and 2019 provided a robust foundation for assessing surface water concentrations and excellent short-term temporal trends in select locations (Baabish et al., 2021). The geographic distribution of water sampling sites for PFOS, PFOA, and PFHxS, currently available in the Stockholm Convention Data Warehouse (https://data.pops-gmp.org/), is shown in Figure 1.

The majority of PFAS data in the GMP III report were drawn from individual studies published in peer-reviewed journals by university and government researchers, similar to the GMP II report. Therefore, to evaluate temporal trends related to the effectiveness of global phase-outs under the Convention, the next global assessment of PFASs in water will need to use this data as a baseline. This will require careful evaluation of individual studies and sampling sites to confirm that they meet the criteria for site selection and analysis.

Results from rivers and coastal waters offer the best opportunities for assessing temporal trends due to reductions in active emissions from sources such as PFAS-emitting industries, wastewater treatment plants (WWTPs), tributaries, and accidental spills, provided these sources are well documented. Coastal seas, including the Yellow Sea, the Baltic Sea, and the North Sea, have substantial datasets that can be analyzed for temporal trends (Muir and Miaz, 2021). For open oceans, monitoring results along key cruise transects, as discussed in Section 4.3.4.1, will provide critical information.

Recommendations for selecting sampling locations are as follows (Weiss et al., 2015):

- Define the objectives of the project and the selected monitoring site;

- Gather hydrological and other relevant data (e.g., presence of industry and WWTPs, population density);

- For monitoring purposes, estuaries are recommended as sampling sites, though data from other sites are also valuable if they meet one of the following criteria:

  - Estuary, following US EPA guidance for both small, discrete sites (<10 km²) and larger tidal rivers and bays (USEPA, 2009);

  - River, downstream of a populated area, downstream of the mixing zone and any influent or point source;

  - Lake with a defined surrounding population;

  - Tributary before entering the main stream.

- Adapt the distance to shore according to site-specific circumstances, ensuring that water samples are taken outside the mixing zone of point sources;

- Ensure accessibility for limnological or oceanographic vessels equipped to deploy water sampling equipment, or from land-based sites (e.g., bridges, piers, jetties) with facilities for water sampling deployment.

#### Siting considerations

Similarly to air sampling, water sampling sites should be located sufficiently far from urban centers, harbors, industrial wastewater inputs, and other sources of POPs to ensure that the concentrations measured are representative of a larger area around the site.

Requirements for water sampling sites include:

- Easy access by limnological or oceanographic vessels capable of deploying water sampling equipment, or from land-based sites such as bridges;

- Presence of an existing routine monitoring programme with available water chemistry data;

- Availability of physical measurements (e.g., temperature, pH, conductivity) and flow data;

- Meteorological observations;

- Personnel who can be trained in sampling techniques;

- Suitable laboratory facilities to prepare necessary sampling media and subsequently process, analyze, and report PFAS data from collected samples.

#### Sampling frequency

The sampling frequency should be realistic in terms of the number of samples, considering costs and logistics, but still sufficient to yield a statistically valid dataset for monitoring purposes. Both the temporal and spatial sampling design should have adequate resolution. Grab samples of surface water can be used to observe temporal and regional variations, and the sampling frequency should be high enough to filter out short-term variability (e.g., due to precipitation events).

Recommended minimum and optimal sampling frequencies are outlined in Water Quality Monitoring - A Practical Guide to the Design and Implementation of Freshwater Quality Studies and Monitoring Programmes (UNEP/WHO, 1996), and sampling frequencies for PFOS are recommended in the Guidance on PFAS Analysis in Water for the GMP on POPs (Weiss et al., 2015). The successful field study of PFASs in water by Baabish et al. (2021) also provides useful guidance. For PFAS sampling frequency in water, it is recommended to:

- Sample at the selected site four times a year (using the same site and method);

- Carefully determine sampling occasions based on optimal conditions, preferably consistent between years (e.g., twice during high-water and twice during low-water periods, avoiding drought or freezing conditions.

### 4.3.2	Sampled matrix

Surface freshwater or seawater should be sampled for monitoring PFASs in water under the GMP. Determining PFASs in groundwater or drinking water is not envisioned. Aquatic biota (e.g., fish, invertebrates) reflect PFAS concentrations in surrounding water, sediment, and the food web. Data on PFAS and other POPs in biota are discussed in Section 4.4, 'Other Media’.

### 4.3.3	Sampling and sample handling

Water samples have been collected using both active and passive methods. Seawater samples are commonly gathered through ship intake systems (Ahrens et al., 2009a; Yamashita et al., 2004). In lakes and large rivers, sampling is performed by direct pumping into bottles (Furdui et al., 2008) or using Niskin-type samplers (Scott et al., 2009; Scott et al., 2010). Baabish et al. (2021) collected surface water samples manually at a depth of approximately 1 meter. Passive sampling of PFASs in water, using microporous polyethylene tubes (MPT), has also proven successful (Kaserzon et al., 2019; Beggs et al., 2023).

In estuaries, coastal seas, and open oceans, water samples are typically not filtered before extraction. A study of the Elbe River and North Sea waters found that, on average, 14% of PFOS was associated with particulates (Ahrens et al., 2009b). In ocean waters, PFOS was not detectable on particulates, likely due to lower suspended particulate matter (SPM), so filtration is not recommended unless it can be done in-line or in a clean room to avoid contamination (Ahrens et al., 2009b). Baabish et al. (2021) also did not filter samples in their PFAS study across 22 countries.

Contamination risks from polytetrafluoroethylene (PTFE) materials arise from PFOA used in PTFE production. Common sources include PTFE tubing, o-rings, and seals. PTFE bottles and bottles with fluorinated interiors should be avoided.

Guidelines for PFAS sampling under the GMP are as follows (Weiss et al., 2015; Baabish et al., 2021; US EPA 2024):

- Active/grab sampling is recommended, though passive sampling is also viable;

- Use Niskin™ or similar remotely activated water samplers, or hand-dip for manual collection;

- Avoid sampling surface water layers; keep the bottle capped until submerged and fill at a depth of 0.5 to 1 meter if possible;

- For sampling, use 500 or 1000 mL wide-mouth HDPE bottles;

- Sampling and storage containers should be HDPE, including bottles, test tubes, and vials; rinse all materials with methanol before use;

- Analysis volume ranges from 50 to 1000 mL, as recommended by the analytical laboratory;

- To prevent cross-contamination, use sampling bottles only once and take two samples per site, one for analysis and one for potential confirmation;

- Include field blanks by opening empty bottles during sampling; use PFAS-free water if available;

- Refrigerate samples below 6 ºC and protect from the light until analysis. Samples can be held for 28 days at 0–6 ºC, or for up to 90 days if frozen at -20 ºC (USEPA 2024).

- Pilot sampling is recommended to determine levels and ensure sampling proficiency.

For anionic PFAS analysis, HDPE containers are recommended to minimize sorption, and PTFE and related fluoropolymers should be avoided, as these materials are potential sources of PFOA and PFNA (Yamashita et al., 2004). Following the clean-hands/dirty-hands method, one person handles the sampling equipment (clean hands) while the other performs the sampling (dirty hands) (US EPA, 1996). Check sample caps to confirm they have HDPE liners.

Sampling volumes are guided by analytical requirements and expected PFAS levels, typically ranging from 100 to 1000 mL, to achieve quantification limits. The Stockholm Convention Data Warehouse (https://data.pops-gmp.org/) can be consulted for reported PFOS, PFHxS, and PFOA concentrations to gauge likely levels. Muir and Miaz (2021) provide data on LC-PFAS in coastal and ocean waters globally.

To avoid surface contamination, sampling should be conducted below the surface film. Niskin™ samplers, which close at a specified depth using a “messenger” drop mechanism, are ideal for lakes and large rivers or estuaries. In shallower water bodies, hand sampling using uncapped HDPE bottles at ~0.5 to 1 meter depth is sufficient. Wide-mouth bottles facilitate rapid filling, and leaving a small headspace prevents breakage if samples are frozen.

Passive sampling for anionic PFASs is now feasible with MPT passive samplers, calibrated for PFAS sampling (Kaserzon et al., 2019; Gardiner et al., 2022; Dunn et al., 2023). These samplers have been tested under varying conditions, such as deployment time, water temperature, and flow velocity (Dunn et al., 2023), and have been effectively used for PFAS monitoring in the Danube River (Beggs et al., 2023). Passive sampling offers the advantage of time-averaged concentration measurements over several weeks, reducing the impact of episodic events (e.g., extreme weather, spills, or industrial releases) (Lohmann et al., 2017). This method also lowers shipping costs and avoids import/export controls on natural water samples.

### 4.3.4	QA/QC and data treatment

Quality control procedures are essential for collecting environmental water samples to:

- Monitor the effectiveness of sampling methodology;

- Ensure that all stages of the sample collection process are properly controlled and fit for purpose, including minimizing errors from sources such as sample contamination, analyte loss, and sample instability. These quality control procedures should include methods for detecting sampling errors and rejecting invalid or misleading data;

- Quantify and manage sources of sampling error, which provides insight into the impact of sampling on the overall data accuracy.

A series of ISO guidelines addresses sampling in surface and marine waters, and following these standards ensures the quality of the sampling process (ISO 1992, ISO 2014a, ISO 2016). Additional guidance on quality assurance techniques for environmental water sampling is provided in an ISO standard (ISO, 2014b).

As with air sampling, special care is required to prevent contamination during sample preparation, transport, storage, and laboratory processing. Sorbent materials used in solid-phase extraction are typically pre-cleaned by Soxhlet extraction with both polar and non-polar solvents. Pre-packaged media, such as solid-phase cartridges, are conditioned with a combination of polar and non-polar solvents either in the lab or, if feasible, in the field before use. Glass fiber filters should be baked at 350°C before use and stored in sealed containers.

Additional precautions for solid-phase sampling systems include (1) field blanks, using the same media exposed to ambient air during field handling, and (2) laboratory blanks, prepared at the same time as the field blanks and kept in the lab. Comparing field and laboratory blanks allows assessment of contamination during sampling and transport.

Purified laboratory water, such as MilliQ™ or distilled water, can be used but should be verified as PFAS-free. Lab-purified waters are typically not ideal as blanks due to trace PFAS contamination (Weiss et al., 2015).

Certified reference materials for PFOS in surface water are not available. However, the JRC-IRMM has released a reference material certified for PFOS and other perfluoroalkyl substances in drinking water (Dabrio Ramos et al., 2015; IRMM-428; certified PFOS value of 9.6 ± 1.7 ng/L). This CRM is the only known certified reference material for PFASs in water, though it may not fully represent a surface water sample with suspended particulate and dissolved organic matter (Ricci et al., 2016).

External quality assurance for laboratories conducting routine chemical measurements in aquatic environments is provided through proficiency testing. WEPAL-QUASIMEME (www.quasimeme.org) organizes laboratory performance studies for marine environmental monitoring and included a study on PFAS in seawater in 2021–22, involving laboratories in North America and Asia-Pacific. Additionally, Canada’s Northern Contaminants Programme and the Arctic Monitoring and Assessment Programme have conducted interlaboratory studies on PFASs annually for over a decade. The Biennial Global Interlaboratory Assessment on Persistent Organic Pollutants has included PFASs in water in its 2nd, 3rd, and 4th rounds (UNEP, 2021). The analysis covered PFHxS, PFOA, PFOS, and LC-PFCAs, with the 4th round using a natural water sample from the Netherlands. Results for PFASs in water were deemed "promising," with over 50% of participating labs achieving Z-scores <2 for PFHxS, PFOA, and PFOS (UNEP, 2021). The NORMAN association has also organized an interlaboratory study targeting both targeted and non-targeted chemical analysis of PFASs in passive samplers (NORMAN, 2024).

Figure 4.3.1: Geographic distribution of PFOS, PFOA, and PFHxS sampling sites for water in the Stockholm Convention Data Warehouse 2009 to 2019.

4.4	Complementary media and approaches for addressing data gaps in POPs Monitoring

Since its establishment in 2004, the primary task of the GMP has been to track changes over time in core media such as air, human biomonitoring, and water (for PFOS and PFOA). However, understanding and assessing changes in other media, including marine and freshwater, snow, ice, soil, sediment, indoor dust, and biota, are equally essential for evaluating the risks posed by POPs to humans and the environment. High-quality measurements in these additional media over time are critical for understanding the biogeochemical and commercial pathways of POP mixtures in local environments and their consequent exposure routes to humans and ecosystems.

The GMP’s role in monitoring temporal changes in these additional media overlaps and interacts with various processes under the Stockholm Convention and beyond. Data from these complementary media are increasingly being used by the POPs Review Committee and other MEAs, such as the Convention on Biological Diversity (CBD) and the Minamata Convention, to assess pollution impacts and inform international policies (Guardans, 2024).

This chapter provides technical guidance on monitoring these additional media, drawing on long-term POPs monitoring programmes, including UNEP, AMAP, CLRTAP, HELCOM, OSPAR, Japan's POPs monitoring initiatives, and the EU Water Framework Directive.

### 4.4.1	Aquatic environments

#### Water

Water is classified as an "other matrix" under the Stockholm Convention for monitoring POPs other than PFASs, indicating its secondary importance compared to core matrices like air and human biomonitoring. However, water can provide valuable data for assessing specific POPs, particularly polar compounds such as HCH isomers, which are relatively easier to measure in water compared to highly hydrophobic POPs. Monitoring POPs in water can help identify potential sources, sinks, and global exposure risks, complementing existing air and human data. For instance, pesticide monitoring programmes have generated significant data on pentachlorophenol in water, although the Stockholm Convention emphasizes pentachloroanisole (PCA) in ambient air for reporting purposes. Despite its secondary role, water monitoring remains a useful tool for understanding the environmental behavior and pathways of certain POPs.

Monitoring highly hydrophobic POPs (typically those with a log Kow > 6) in water presents significant challenges due to their extremely low concentrations, often in the picograms per liter (pg/L) range, which approach the limits of detection. This raises issues with quality control and uncertainty, including contamination risks during sampling, transport, and laboratory analysis. Nonetheless, passive sampling techniques, which allow for in situ concentration of neutral hydrophobic POPs, have proven effective in overcoming these challenges (Lohmann et al., 2023; Sobotka et al., 2022). While water monitoring is generally not essential for evaluating the effectiveness of the Stockholm Convention, it can provide complementary data to identify specific sources and transport pathways of POPs.

#### Marine and freshwater

Monitoring POPs in marine and freshwater environments is critical for assessing their distribution, impacts, and trends over time. POPs can accumulate in aquatic ecosystems, where they pose significant risks to biodiversity, food safety, and human health. In marine environments, monitoring focuses on seawater, sediments, and biota such as fish and mollusks to track contamination levels and bioaccumulation patterns. Similarly, freshwater systems, including rivers, lakes, and reservoirs, are monitored for POPs in water, sediment, and aquatic organisms. These environments act as both reservoirs and pathways for POPs, enabling their long-range transport through water systems. Effective monitoring provides the data needed for informed decision-making, supports the development of management strategies, and evaluates the effectiveness of regulatory measures under the Stockholm Convention.

For guidance on POPs monitoring in marine and freshwater environments, technical documents from long-term monitoring programmes serve as valuable resources. Key sources include the the Arctic Monitoring and Assessment Programme (AMAP), the Convention on Long-Range Transboundary Air Pollution (CLRTAP), and regional initiatives such as HELCOM for the Baltic Sea and OSPAR for the North-East Atlantic. Additional resources include the EU Water Framework Directive (WFD), Japan’s POPs monitoring programmes, and protocols developed under the Great Lakes monitoring initiatives. These programmes provide methodologies for sampling, analysis, and data interpretation, as well as insights into regional challenges and priorities. By leveraging these resources, countries and stakeholders can establish robust monitoring frameworks that contribute to the global effort to control and eliminate POPs.

#### Wastewater

Monitoring POPs in wastewater is critical for understanding their pathways into aquatic ecosystems and evaluating the effectiveness of wastewater treatment processes in mitigating pollution (Smith et al., 2023; Jones et al., 2024). Wastewater treatment plants (WWTPs) are significant monitoring points as they act as collection hubs for pollutants from domestic, industrial, and agricultural sources. POPs in wastewater can persist due to their chemical stability and resistance to conventional treatment methods, leading to potential contamination of receiving water bodies. Sampling and analysis of influent, effluent, and sludge from WWTPs provide valuable insights into the presence and behavior of POPs, including their breakdown products. This data is essential for improving treatment technologies, identifying priority sources, and developing regulations to reduce the discharge of POPs into the environment. Long-term monitoring of POPs in wastewater can also inform assessments of regulatory measures under the Stockholm Convention and other global frameworks.

#### Drinking water

Monitoring POPs in drinking water is vital to safeguard public health, as these pollutants pose significant risks due to their toxicity, persistence, and bioaccumulative properties. Drinking water sources, such as surface water and groundwater, can become contaminated by POPs through industrial discharges, agricultural runoff, atmospheric deposition, or leaching from contaminated sites. Routine monitoring focuses on detecting POPs at all stages of water treatment, including raw water intake, post-treatment water, and distribution systems, to ensure compliance with safety standards. Technical guidance for monitoring POPs in drinking water can be found in international frameworks (US EPA, 2024; Loos et al., 2024), as well as regional initiatives like the EU Water Framework Directive. These guidelines provide sampling protocols, analytical techniques, and risk assessment tools to support the development of effective monitoring and management strategies that protect drinking water supplies from POP contamination.

#### Ice and snow

Monitoring POPs in ice and snow is essential for understanding their deposition, transport, and long-term storage in cold regions. Ice and snow act as environmental reservoirs for POPs, capturing these pollutants through atmospheric deposition and retaining them for extended periods. Seasonal melting can release POPs back into the environment, contributing to their re-mobilization and transport into surrounding ecosystems, including rivers, lakes, and oceans.

Monitoring efforts focus on sampling snowpacks, glaciers, seasonal ice and ice cores to assess the concentration and distribution of POPs in these matrices. Ice cores serve as valuable archives of historical POP deposition, offering insights into accumulation trends over time and enhancing the understanding of the deposition history of specific POPs, such as PFASs, and their associations with long-range atmospheric transport.

These studies are particularly important in polar and alpine regions, where long-range atmospheric transport of POPs results in their accumulation far from their sources. Guidance on monitoring POPs in ice and snow is provided by programmes such as AMAP, which offer methodologies for sample collection, analysis, and data interpretation. This data is crucial for tracking global trends, understanding the impacts of climate change on POP re-mobilization, and informing international efforts to reduce and eliminate POP emissions.

### 4.4.2	Terrestrial environments

#### Soil

Monitoring POPs in soil is essential for assessing their long-term environmental impacts and potential pathways into terrestrial and aquatic ecosystems. Soil serves as both a sink and a source of POPs, capturing pollutants from atmospheric deposition, agricultural runoff, industrial discharges, and improper waste disposal. Over time, POPs can persist in the soil due to their chemical stability, leading to bioaccumulation in terrestrial food chains and potential contamination of groundwater through leaching. With declining POP levels in the air, POPs in soils are expected to partially return to the air through re-volatilization, becoming a secondary source. Monitoring efforts focus on collecting and analyzing soil samples from agricultural fields, industrial sites, and remote regions to understand the spatial distribution and concentration of POPs. This data is critical for evaluating the effectiveness of regulatory measures, identifying contaminated hotspots, and informing remediation strategies under the Stockholm Convention.

#### Sediment

Monitoring POPs in sediment is vital for understanding their accumulation, persistence, and historical trends in aquatic environments. Sediments act as long-term reservoirs for POPs, storing these pollutants through deposition from water columns and serving as indicators of historical contamination patterns. Sediments can also serve as a potential secondary source, as disturbances such as dredging or natural events like floods can resuspend POPs into the water. A key aspect of sediment monitoring is the use of dated sediment cores to analyze trends over time (IAEA, 2024; Lorgeoux et al., 2016). By examining different sediment layers, which represent distinct time periods, researchers can reconstruct the historical deposition of POPs, identify contamination sources, and evaluate the effectiveness of regulatory measures. Trend analysis of dated sediment cores can provide insights into the impacts of industrial activities, shifts in chemical usage, and long-term environmental transport and deposition of POPs.

Monitoring efforts focus on sampling sediment layers in areas such as riverbeds, lakes, estuaries, and coastal regions. Sediment coring and radiometric dating (e.g., using isotopes such as lead-210 or cesium-137) are used to determine the age of sediment layers and associate them with historical pollution events. International frameworks such as HELCOM and OSPAR provide detailed guidance on sampling and analytical methods for sediment monitoring, including the use of dated cores. These efforts are critical for evaluating the success of global and regional measures, identifying legacy pollution hotspots, and informing policies to prevent further contamination of aquatic systems. Trend analysis of sediment cores is particularly valuable for long-term environmental assessments and understanding the effectiveness of global efforts to eliminate POPs.

### 4.4.3	Indoor spaces

#### Indoor dust

Indoor dust serves as an effective matrix for assessing temporal and spatial trends of POPs, offering critical insights directly related to human exposure. Dust is particularly valuable for tracking POPs originating from consumer products and building materials, such as flame retardants and PFASs. As one of the initial pathways through which these pollutants enter the environment, indoor dust can provide early indicators of temporal trends and the impacts of regulatory measures (e.g., Zhu et al., 2023; Yu et al., 2023). Sampling typically involves collecting settled dust from indoor surfaces in residences, workplaces, and schools, enabling the assessment of human exposure across different microenvironments. Composite samples, derived from combining dust collected from various surfaces and locations within a region, are especially useful for identifying broader geographic and temporal trends, similar to pooling approaches in biomonitoring studies.

Although standardized methods for collecting indoor dust are currently lacking, researcher-collected samples have shown sufficient comparability for reliable data analysis, particularly when using composite dust samples (Salih Al-Omran et al., 2021; Jilkova et al., 2018). This approach allows for the examination of geographic and temporal trends, despite variations in indoor environments. However, monitoring POPs in indoor dust remains fragmented, as there are no established global or regional networks dedicated to this purpose. Most available data originate from individual research studies, emphasizing the need for more coordinated and systematic efforts to monitor POPs in indoor environments. Given its relevance to human exposure and its role as an early indicator of environmental contamination, indoor dust monitoring could play a crucial role in future regulatory and public health assessments.

### 4.4.4	Food and biota

#### Biota

Monitoring POPs in biota provides valuable insights into the bioaccumulation and biomagnification of these hazardous substances in ecosystems and their impacts on wildlife and human health. Biota such as shellfish, fish, birds, and mammals are commonly used as indicators due to their capacity to accumulate POPs from their environment. Monitoring efforts should prioritize similar species across regions to allow for meaningful comparisons of POP levels globally. For instance, fish and shellfish are widely monitored for their relevance to both ecosystem health and human consumption, while birds and mammals, particularly apex predators, are monitored to understand the effects of POPs at higher trophic levels. Although biota is not currently included as core media for the GMP, such data can provide important supplementary information for assessing temporal trends, geographic variations, and the effectiveness of regulatory measures under the Stockholm Convention.

The interpretation of POPs levels in biota requires the collection of ancillary data such as size, age, lipid content, and the time of sampling, as these factors significantly influence POP concentrations. Lipid-rich species, for example, tend to have higher concentrations of POPs due to the lipophilic nature of these substances. Sampling protocols should also consider the life cycle and migratory patterns of the species to ensure representative data. Standardized methodologies for sampling and analysis are critical to ensure consistency and comparability across regions. By leveraging data from biota, monitoring programmes can provide valuable insights into the environmental distribution of POPs, their transfer through food webs, and the risks they pose to biodiversity and human populations.

#### Food

Monitoring POPs in food is essential for understanding the exposure pathways to humans. Foods of animal origin, especially locally sourced fish and mammals, are often significant contributors to POP exposure due to bioaccumulation and biomagnification in the food chain. Fish, for instance, are widely monitored as they accumulate POPs from aquatic environments, making them critical indicators of pollution levels in local ecosystems and a key source of human exposure. Similarly, the consumption of marine mammals, often prevalent in Arctic and Indigenous communities, can lead to elevated exposure to POPs, highlighting the need for targeted monitoring efforts. This data is crucial for assessing compliance with safety standards, evaluating dietary risks, and supporting regulatory frameworks under the Stockholm Convention.

Guidance on monitoring POPs in food is provided by organizations such as the Food and Agriculture Organization (FAO), the World Health Organization (WHO), AMAP, the Great Lakes programme, OSPAR, and Japan’s Ministry of the Environment. These guidelines include methodologies for sampling, analysis, and reporting, emphasizing the importance of monitoring locally sourced foods that are staple dietary items in specific regions. Analytical techniques such as gas chromatography-mass spectrometry (GC-MS) are used to detect and quantify POPs at trace levels in food samples. By combining insights from these organizations, monitoring programmes can ensure consistency and reliability in data collection, enabling effective risk assessments and informing policies to protect public health and reduce POP contamination in the food supply.

### 4.4.5	Microorganisms

#### Microorganisms in water and air

Monitoring POPs in microorganisms, both eukaryotic and prokaryotic, within water and air environments is gaining increasing attention as these organisms play a critical role in the biogeochemical cycling of contaminants. Microorganisms can accumulate POPs directly from their surrounding environments, making them effective early indicators of pollution in aquatic and atmospheric systems. For instance, bacteria and algae in water can interact with POPs through processes such as adsorption, uptake, and potential biotransformation, which influence the fate and transport of these pollutants. Similarly, microbial communities in the "aerobiome" (microorganisms suspended in the air) can serve as a reservoir for POPs, contributing to their long-range atmospheric transport (Robinson et al., 2024). Monitoring microbial life in water and air provides unique insights into the pathways and persistence of POPs, as well as their potential ecological and health impacts.

Guidance for monitoring POPs in microorganisms includes sampling protocols for water and air environments, emphasizing the collection of microbial biofilms, plankton, and airborne microbial particles. Advanced analytical techniques, such as GC-MS and HPLC, are essential for quantifying POP concentrations in microbial samples. Studies on microbial interactions with POPs also contribute to understanding potential biotransformation pathways, where some microorganisms may degrade or alter POPs, influencing their environmental behavior. These efforts are critical for identifying new exposure pathways, assessing ecological risks, and informing strategies for mitigating POP contamination in water and air ecosystems.

### 4.4.6	Emission inventories and PRTR data for POPs monitoring

Emission inventories, including Pollutant Release and Transfer Registers (PRTRs), are critical tools for tracking and assessing the sources, releases, and transfers of POPs. These inventories compile data on emissions from industrial facilities, agricultural activities, waste disposal sites, and other sources, offering valuable insights into the potential pathways of POPs into the environment. PRTR systems, in particular, provide publicly accessible and standardized data that can be used to identify emission trends over time, assess the effectiveness of regulatory measures, and prioritize areas for intervention. This information is essential for understanding the scale and scope of POP emissions and their impact on air, water, soil, and biota.

Incorporating PRTR data into POPs monitoring programmes may enhance the ability to link observed environmental concentrations to specific emission sources. For example, data on releases of unintentionally produced POPs, such as dioxins and furans, can inform source attribution efforts and guide the development of targeted mitigation strategies (UNEP, 2013). PRTR data can also complement long-term environmental monitoring by providing contextual information about potential changes in local or regional emission patterns, particularly in response to new regulatory measures under the Stockholm Convention. By integrating emission inventories with multimedia monitoring data, researchers and policymakers can develop more accurate models of POP behavior, including their long-range transport and deposition in remote regions.

Despite their value, emission inventories and PRTR systems are not without limitations. Data quality and completeness can vary across countries, as not all facilities are required to report emissions, and reporting thresholds may exclude smaller sources that contribute cumulatively to POP pollution. Additionally, PRTRs have very limited coverage of POPs. For example, as of January 2025, the US EPA Toxics Release Inventory includes only 12 POPs (US EPA, 2025). To maximize their utility for POPs monitoring, it is essential to harmonize data collection and reporting methodologies internationally, ensuring consistency, completeness and comparability (Breivik et al. 2016; UNEP 2023). Collaborative initiatives between countries and regions, supported by guidance from organizations such as UNEP, OECD and the EMEP Centre on Emission Inventories and Projections operating under CLRTAP, can enhance the transparency, reliability, and relevance of emission inventories for global assessments of unintentionally produced POPs. By leveraging PRTR data alongside monitoring efforts, the international community can strengthen its capacity to evaluate and manage unintentionally produced POPs on a global scale effectively, advancing the goals of the Stockholm Convention and other environmental frameworks.

The methodologies used to estimate emissions of intentionally produced POPs, notably pesticides and industrial chemicals, greatly differ from the methodologies that are applied for unintentionally produced POPs (Breivik et al. 2004). The point of departure for global emission inventories of intentionally produced POPs is available data or estimates of the global historical production and usage of such POPs (Li et al. 2023).

### 4.4.7	Collaborative frameworks for POPs monitoring

In 2007, UNEP developed a comprehensive guidance document (UNEP, 2007) addressing sampling design, sample preparation, analysis, and QA/QC protocols for legacy POPs across various media. Although nearly 15 years old, this document remains relevant and serves as a foundational resource for monitoring programmes. Chapter 5, in particular, provides detailed analytical methods applicable to a range of environmental media.

The Arctic Monitoring and Assessment Programme (AMAP) has made significant contributions to POP monitoring by developing methods, documentation, and data with an integrated approach that links ecosystem impacts to public health. Recent AMAP reports (2015, 2016, 2017) provide valuable insights into POP measurements and their interpretation within this framework. The European Monitoring and Evaluation Programme (EMEP) maintains an updated Standard Operating Procedure (SOP) manual for sampling POPs in aerosols and wet/dry deposition (EMEP, 2001). Similarly, the Great Lakes of North America have been monitored for hazardous substances for over four decades under a binational agreement between Canada and the United States, supported by the National Atmospheric Deposition Program.

The OSPAR Commission (OSPAR, 2013) has developed comprehensive guidance for sampling, sample preparation, and analysis of POPs in marine environments, particularly in water, sediment, and biota. These guidelines are widely applicable to marine biota, and many principles extend to freshwater monitoring. OSPAR also provides specific recommendations for sediment sampling. HELCOM largely builds on OSPAR's SOPs but expands its focus to include terrestrial and freshwater environments. In East Asia, Japan’s Ministry of the Environment has monitored POPs in wildlife since 1978 and in sediments since 1985. Japan also publishes annual monitoring results on POPs, dioxins, furans, and dioxin-like PCBs (dl-PCBs), the latter being regulated separately due to their classification as unintentionally released POPs (JMOE, 2016 and 2017). NOWPAP POMRAC (2015) provides additional guidance for POPs monitoring across air, surface water, sediments, and biota, as well as for dioxins/furans/dl-PCBs in soils, groundwater, and sediments.

The EU Water Framework Directive (2000/60/EC) includes specific guidance for sediment and biota monitoring under its Common Implementation Strategy (Carere et al., 2012). This provides a structured framework for ensuring consistency in POP monitoring across EU member states. However, national programmes typically dictate field sampling methods to align with local infrastructure and practices, which can impact the comparability of data. To address this, inter-calibration of methods and participation in QA/QC exercises are essential for ensuring harmonized data collection and analysis.

An important aspect of POP monitoring is the inclusion of indigenous collaboration. Indigenous Knowledge (IK) and Indigenous Ecological Knowledge (IEK) play a critical role in environmental monitoring, particularly in regions where traditional knowledge can provide unique insights into local ecosystems. Guidance and resources for indigenous cooperation are available through programmes like the Northern Contaminants Programme, which highlights collaborative approaches to sampling and assessment.

This compilation of methodologies, resources, and guidance documents reflects a wealth of international expertise and demonstrates the collaborative efforts necessary to achieve robust and effective POP monitoring worldwide.

### 4.4.8	The role of specimen banking in POPs monitoring

Specimen banking plays a vital role in environmental research across various media and has consistently demonstrated its value. The GMP 2016 Global Report highlights: “Natural archives (e.g., sediment and ice cores, tree rings, etc.) and sample banks have proven useful for retrospective analysis of POPs occurrence and temporal changes, especially for newly listed substances and to expand spatial coverage in regions with limited data.” The report further emphasizes the importance of encouraging information exchange and collaboration with existing monitoring programmes and specimen banks across media to support the data needs of the GMP. For more detailed guidance on the integration of specimen banking into POPs monitoring strategies and its applications in data interpretation, readers are encouraged to refer to Chapter 8.

Many environmental specimen bank (ESB) facilities have developed standard operating procedures (SOPs) for sampling and storage, some of which are publicly accessible online. The International Society of Biological and Environmental Repositories (ISBER) serves as a global platform for addressing technical, legal, managerial, and ethical considerations related to biological and environmental specimen repositories. ISBER has published the 4th edition of its Best Practices: Recommendations for Repositories (Campbell et al., 2018), offering guidance for effective management and use of specimen banks. Comprehensive information on ESBs is also available on the International Environmental Specimen Bank Group website, supported by the Federal Environment Agency of Germany (http://www.inter-esb.org/index.html). Fliedner et al. (2016) further illustrate how specimen collections can be effectively utilized to address data requirements under frameworks such as the EU Water Framework Directive (WFD), the Stockholm Convention’s GMP, and for broader assessments of environmental chemical trends.

### 4.4.9	Data flow, models and archives

Multimedia ecosystem modeling of POPs is critical for interpreting long-term monitoring data and linking it to control measures and environmental actions. These models provide a comprehensive understanding of the pathways, behaviors, and persistence of POPs across various environmental compartments, including air, water, soil, and biota. They also facilitate the assessment of the relationships between pollutant emissions, environmental concentrations, and potential ecological or human health risks. This integrated approach is vital for answering many pressing questions, such as identifying pathways and time lags between releases and observed concentrations, evaluating the effectiveness of regulatory control measures, and understanding the impacts of climate change and biodiversity loss in relation to POP distribution and behavior.

To maximize the utility of the extensive POP monitoring data collected over the past four decades, integrating it into ecosystem models and long-range transport (LRT) models is essential. These models can simulate how POPs move through and accumulate within ecosystems, helping policymakers design effective measures to mitigate pollution and prevent foreseeable challenges. They also allow for scenario testing, such as predicting the effects of new control measures or changes in environmental conditions. For example, AMAP 2016 report provides an excellent illustration of such integrated modeling efforts, demonstrating how monitoring data, ecosystem models, and LRT analyses can inform effective environmental decision-making.

Archiving this data within accessible and well-maintained repositories ensures its availability for current and future research. The ability to revisit historical datasets and integrate them with new data streams enhances scientific understanding of POP dynamics and supports adaptive management approaches. Data flow from monitoring programmes to centralized archives, combined with transparent data sharing and international collaboration, is key to advancing global efforts to manage POPs and their impacts on ecosystems and human health.

5.	Analytical methodology

5.1	Sampling

The goal of any sampling activity is to obtain a sample that accurately meets the study’s objectives. To achieve this, ensuring the representativeness and integrity of the sample throughout the sampling process is essential. Quality requirements related to equipment, transportation, standardization, and traceability are also critical. All sampling procedures should be agreed upon and documented before beginning a sampling campaign.

First, a sampling strategy should be developed, considering the sampling objective, scope, and available resources. Key factors—including the analyte, matrix, sampling site, timing or frequency, and conditions—should be determined based on the sampling objective. Detailed guidance on sampling for air, human milk/blood, water, and other relevant matrices, as well as instructions on sample pre-preparation, are provided in chapters 4.1.1, 4.2.3, 4.3.2, and 4.4.1, respectively. For human samples, it may also be necessary to use an appropriate interview form and obtain ethical clearance from relevant authorities before sampling.

Quality Assurance and Quality Control (QA/QC) procedures should be established for sampling activities.

5.2	Extraction and clean-up

An appropriately prepared sample can be extracted using various techniques. Key factors to consider include selecting a suitable solvent or solvent mixture (depending on the matrix and any pre-treatment, such as drying) and allowing adequate exposure time for the solvent to interact with the sample matrix. Extraction techniques may include Soxhlet extraction, Twisselmann hot extraction, or semi-automated methods such as pressurized fluid extraction (PFE) or pressurized liquid extraction (PLE), as specified in EPA method 3545A for soils and sediments. Ultrasonication can also be used to accelerate extraction.

Internal standards should be added early in the process—preferably before extraction—to monitor the efficiency of extraction and cleanup procedures. To prevent cross-contamination from residues of POPs in previous samples, all equipment must be thoroughly cleaned and checked between batches. Only high-purity glass-distilled solvents should be used to maintain extraction quality.

When results are reported on a lipid weight basis, it is critical to determine the sample's lipid content, as solvent selection impacts lipid extraction (Jensen et al., 2003). If not all the samples are used for extraction, the remainder can be frozen for future analyses. Extracts not immediately analyzed should be stored, preferably in glass ampoules, at -20°C.

#### Cleanup procedures

For samples with low lipid content (e.g., air samples), cleanup is typically straightforward. Small silica gel or Florisil columns (lab-prepared or pre-purchased) effectively remove co-extractive interferences. This step also separates non-polar compounds, such as PCBs, HCB, and 4,4'-DDE, from more polar POPs like HCH, chlordanes, and dieldrin/endrin. Fractionation is achieved by applying the extract in a non-polar solvent and eluting with hexane or iso-octane, followed by additional elutions of increasing polarity.

For human samples, lipid removal is necessary, often accomplished with size exclusion or gel permeation chromatography (GPC), which is non-destructive but requires larger solvent volumes. Other lipid removal options include sulfuric acid washing or sulfuric acid–silica columns, though these methods may result in some analyte loss (e.g., dieldrin). Alumina columns eluted with pentane provide a high-capacity, simple alternative for fat removal. Following fractionation, concentrated sulfuric acid treatment helps purify the extract, though sensitive compounds like dieldrin and endrin should be analyzed before this step.

After fractionation on silica or Florisil, final extracts are transferred to small gas chromatography (GC) vials for analysis. Adding a recovery standard at this stage helps verify solvent volume accuracy. Careful evaporation, using only high purity compressed gas (e.g., nitrogen), is recommended.

#### Analytical methods for PCDDs/Fs and dioxin-like PCBs

Analyzing PCDDs/Fs and dioxin-like PCBs requires much lower detection limits (typically 10-100 times lower than routine PCBs and OCPs) due to their low environmental concentrations and stringent regulatory limits. For instance, the Provisional Tolerable Monthly Intake is 70 pg/kg body weight (JEFCA, 2001). Isotope dilution mass spectrometry (MS) using 13C-labeled surrogates for all PCDDs/Fs homologue groups is recommended, alongside carbon-based enrichment to isolate planar compounds, with GC-HRMS quantification in final volumes as small as 10–50 µL. Established methods such as US EPA method 1613 and European Standard EN 16215 have been validated through inter-laboratory studies. Differences in calibration between these methods, especially regarding upper calibration points, are important for toxicological assessments (Malisch et al., 2017). These methods are recommended for global monitoring programmes for consistency and comparability with previous data.

#### PFOS, PFOA, and PFHxS extraction and analysis

The unique properties of perfluorinated chemicals (PFCs) require specialized methodologies for PFOS, PFOA, and PFHxS analysis in human milk, blood, air, and water. Ahrens et al. (2010) provide detailed guidance for PFOS and related anionic compounds, including precursors, in water. Van Leeuwen and de Boer (2007) review extraction and isolation techniques for PFOS and PFOSA from water and blood and address volatile precursor analysis in air.

In blood, PFOS and PFOSA are typically extracted using weak anion exchange (WAX) solid-phase cartridges, with red blood cells precipitated using acetonitrile or formic acid to avoid clogging. Various approaches have been used, and no standard method is universally accepted. Studies have shown that WAX extraction, using methanol and 0.1% ammonia for elution, improves analyte recovery over ion-pairing extraction (Taniyasu et al., 2005; Kuklenyik et al., 2004). A recent comparison by Kaiser et al. (2021) tested multiple extraction methods, including ion-pair liquid-liquid extraction and solid-phase extraction (SPE), for human biomonitoring of PFCs.

Interlaboratory studies on PFOS and related compounds indicate good comparability among methods, with 61–73% of participants achieving satisfactory z-scores (Van Leeuwen et al., 2006; Fiedler et al., 2020). Across four rounds of global interlaboratory assessments, around 70% of results for PFOS, PFOA, and PFHxS in various matrices achieved satisfactory z-scores (UNEP, 2023).

Guidance on PFOS extraction from water, including WAX cartridges, is provided in Section 4.3.2 and in Ahrens et al. (2010). The ISO method (ISO, 2008) for water features a quantification limit of 10 ng/L, although environmental samples often contain concentrations in the pg/L range. The US EPA Method 1633 (US EPA, 2024) is also widely applied for analyzing water and biological samples. For blood serum, a two-fraction elution approach separates neutral and anionic PFCs, with minimal further cleanup needed for LC-tandem MS analysis.

A critical component of all PFC methods using LC-MS/MS is the use of 13C- and/or 18O-labeled standards from the extraction stage, as isotope dilution corrects for matrix effects on recovery and ionization, ensuring accuracy.

#### Air sampling for PFOS and related analytes

In air, PFOS-related analytes include perfluorosulfamido alcohols, acrylates, and PFOSA, which are semi-volatile and similar to conventional POPs. Some studies use XAD resin cartridges with polyurethane (PUF) plugs, which can be analyzed for both PFOS on air particles and neutral PFCs. Neutral PFCs are eluted using a mixture of medium polar solvents, while filters can be analyzed for PFOS by methanol extraction (Shoeib et al., 2005). To avoid saturation at warmer temperatures, SIP-PAS samplers with sorbent-impregnated PUF disks are recommended (Rauert et al., 2018).

#### Methods for other persistent, lipophilic bompounds

Persistent, lipophilic semi-volatile organic compounds, such as chlorinated paraffins (CPs), PBDEs, PCBs, and Dechlorane Plus, follow similar extraction methods. Soxhlet, PLE, and other solvent-based extractions are common. CPs, particularly in fatty samples, require sulfuric acid treatment and liquid-liquid partitioning, followed by cleanup through chromatography, with GC/ECNI-MS for analysis (Oellig & Hammel, 2019).

#### Extraction of UV-328 and similar compounds

UV-328, a benzotriazole UV stabilizer, is challenging to detect in low concentrations within complex matrices, requiring pre-concentration. Montesteoca-Esponda et al. (2013) reviewed extraction methods for environmental samples, and Liu et al. (2014) used on-line SPE coupled with HPLC-MS/MS. Denghel and Goen (2020) tested a method for UV-328 in human urine using dispersive liquid-liquid microextraction and GC-MS/MS for human biomonitoring.

5.3	POPs analysis

Since the 1960s, lipophilic POPs—initially chlorinated compounds and more recently polybrominated substances—have been analyzed using gas chromatography (GC) with electron capture detection (ECD), originally with packed columns. Today, separation has improved with capillary columns, and selectivity has been enhanced through mass spectrometric (MS) detectors. These techniques can also be applied to volatile perfluorosulfamido compounds, which are included among PFAS-related compounds in Annex B of the Stockholm Convention.

However, analyzing PFAS-related compounds typically requires liquid chromatography (LC) combined with mass spectrometry (MS) for effective separation, identification, and quantification. Therefore, it is important to distinguish between GC and LC methods for different POPs, although both methods must meet the same QA/QC criteria.

Note that GC-ECD is not recommended for analysis, except potentially for selected OCPs. According to conclusions from the UNEP global interlaboratory study, OCP results produced by GC/ECD are of lower quality than those based on GC/MS (UNEP, 2021).

Based on commonly available instruments for POP determination, laboratories can be categorized into three types for lipophilic, semi-volatile POPs (1, 2a, 2b, and 3) and one type for PFAS analysis (4), as described in Table 5.1 below.

Table 5.1: Requirements for the Instrumental Analysis of POPs, including PFOS-related Compounds.

| Laboratory instru-mentation level | Equipment | Infrastructure needs | Chemicals |
| --- | --- | --- | --- |
| 4 | Sample extraction and clean-up systems (manually or automated), LC-MS/MS) | Nitrogen/argon/air conditioning/consistent power/high operational costs/personnel specifically trained to operate and troubleshoot complicated instrumentation | PFOS, PFOA, PFHxS and other anionic PFASs HBCD (sum and isomers), UV-328 |
| 3 | Basic sample extraction and clean-up equipment, capillary GC-HRMS | Nitrogen/helium/air conditioning/power/ personnel specifically trained to operate and troubleshoot equipment problems | PBB, most PCBs and all OCPs except toxaphene |
| 2a | Sample extraction and clean-up equipment, capillary GC-LRMS – electron ionization mode | Helium/air conditioning/ consistent power/ personnel specifically trained to operate and trouble-shoot equipment problems | PBB, most PCBs and all OCPs. Also, perfluoro-sulfamido alcohols in positive chemical ionization mode |
| 2b | Sample extraction and clean-up equipment, capillary GC-LRMS – negative chemical ionization mode | Methane or other moderate gas/air conditioning/ consistent power/ personnel specifically trained to operate and trouble-shoot equipment problems | PBDE and PBB, as well as toxaphene and other highly chlorinated (≥4 Cl) OCPs HBCD as a sum, Dechlorane Plus |
| 1 | Sample extraction and clean-up equipment, capillary GC-MS/MS | Helium/air conditioning/ consistent power/high operational costs /personnel specifically trained to operate and troubleshoot complicated instrumentation | PCDDs/Fs, all PCB, all OCPs, PBB, all PBDE, PCNs, SCCPs and other chlorinated paraffins, HBCD as a sum, UV-328, Dechlorane Plus |

GC-LRMS: Gas chromatography/low resolution mass spectrometry

GC-HRMS: Gas chromatography/high resolution mass spectrometry

LC-MS/MS: High performance liquid chromatography/tandem mass spectrometry

While estimating operational costs based on instrumentation level is challenging, the table below provides an approximate guide to investment and consumable costs. These estimates are based on expert knowledge and assume the operation of an average routine laboratory.

Table 5.2: Estimated operational costs for POPs analysis.

|  |  | USD |
| --- | --- | --- |
| Instrumentation - Analytical laboratory |  |  |
| GC-LRMS with autosampler | Investment | 140,000 |
| GC-HRMS with autosampler | Investment | 700,000 |
| LC-MS/MS with autosampler | Investment | 200,000 |
| Air samplers |  |  |
| Low-volume sampler | per piece | 10,000 |
| Passive air sampler | per piece | 150 |
| Grab water sampling bottle with cap (500 mL) | per piece | 5 |
| Consumables |  |  |
| Quartz filter plus PUF plugs | per set | 40 |
| Pre-cleaned PUF plugs/disks | per disk | 20 |
| Analysis to third parties (cost per sample) | Preferred method |  |
| PCDDs/Fs | HRGC-HRMS | 900 |
| dl-PCB (when in addition to PCDD/Fs) | HRGC-HRMS | 350 |
| PCNs | HRGC-HRMS | 450 |
| TEQ (total) | HRGC-HRMS | 1,150 |
| POPs pesticides+indicator PCB+ endosulfan (without toxaphene) | HRGC-HRMS, HRGC-LRMS, HRGC-ECD | 700 |
| Toxaphene | HRGC-LRMS, HRGC-HRMS | 350 |
| PBDE+PBB153+HBCD screen | HRGC-LRMS, HRGC-HRMS | 450 |
| HBCD isomers (LC) | HPLC-MS/MS | 350 |
| PFOS+PFOA+PFHxS (air, blood, milk) | HPLC-MS/MS | 500 |
| PFOS +PFOA+PFHxS (water) | HPLC-MS/MS | 375 |
| SCCP+MCCP | HRGC-HRMS GC-ECNI-Orbitrap-HRMS | 500 |
| UV-328 | HRGC-MS/MS HPLC-MS/MS | 350 |
| Materials and consumables |  |  |
| HRGC columns (60 m) | per piece | 880 |
| Native pesticides standard mix | per unit | 200 |
| Labelled LRMS pesticides standard mix (calibration, clean-up, syringe) | per set | 1,000 |
| Labelled indicator PCB standard mix (calibration, clean-up, syringe) | per set | 1,500 |
| Labelled LRMS PCDDs/Fs standard mix (EPA 8280, calibration, clean-up, syringe) | per set | 4,200 |
| Labelled HRMS PCDDs/Fs standard mix (EPA 1613, calibration, clean-up, syringe) | per set | 2,820 |
| Labelled HRMS dl-PCB standard mix (WHO-TEF mix, calibration, clean-up, syringe) | per set | 2,100 |
| Labelled MS PBDE standard mix (calibration, clean-up, syringe) | per set | 1,200 |
| Labelled MS PFOS standard mix (calibration, clean-up, syringe) | per set | 1,500 |

More detailed cost information is available from the UNEP POPs Laboratory Databank, where many laboratories have provided third-party analysis costs.

During the first phase of the Global Monitoring Plan (GMP), leading to initial regional and global reports, the recommended methods and instrumentation proved effective. In 2013–2014, analytical methods for new POPs were developed and successfully pilot-tested in four developing countries. These new POPs have since been included in the second to fourth rounds of the biennial interlaboratory assessment for POPs laboratories (UNEP 2023). As new methods are developed, they can be incorporated into the GMP guidance document to ensure continuous improvement.

QA/QC are essential in sampling and analysis. As a general guideline, approximately 20% of resources should be allocated to QA/QC. Section 5.5 provides detailed QA/QC guidance for specific POP groups.

The Global Monitoring Plan adopts a performance-based approach and does not prescribe specific analytical methods for POPs. Instead, method performance must be verified using control tables to define optimal operational ranges. Periodic analysis of certified reference materials, in-house laboratory reference materials, and blind or split samples should be part of routine QA/QC. Inter-calibration exercises are crucial for laboratories to maintain or improve quality, build confidence, and ensure result reliability. It is recommended that intercalibration studies be conducted every two years for each relevant matrix and POP group in the region.

Various analytical methods are available for quantifying PCBs, OCPs, and PCDDs/Fs using gas chromatography. Only general guidance is needed for extraction and separation steps for ortho-substituted PCBs and OCPs, with some guidance on gas chromatographic analysis provided in Table 5.2. For PCDDs/Fs and dioxin-like PCBs, isotope dilution MS/MS is recommended, with SOPs available (e.g., EPA method 8290A, EPA methods 1613 and 1668, EN 16215).

High-resolution mass spectrometry (HRMS) is also suitable for congener-specific analysis of non-ortho and mono-ortho substituted PCBs, as well as OCPs, offering high accuracy compared to GC-ECD. While GC-ECD has been widely used for indicator PCBs due to its availability, lower cost, and established application for di-ortho PCBs at low ng/g levels in environmental samples, its use is not recommended for most analyses. Specifically, GC-ECD is not suitable for the eight indicator PBDEs because PBDEs degrade readily in the environment, particularly through light exposure. For OCPs, although GC-ECD is commonly used, GC/MS with labeled standards provides greater accuracy. According to the UNEP global interlaboratory study (UNEP, 2021), “OCP results produced by GC/ECD are of lower quality than those based on GC/MS,” and its use for OCP analysis should therefore be limited.

For PCN analysis, isotope dilution HRGC/HRMS is recommended, as individual PCN congeners can be identified by retention times relative to internal standards and ion ratios.

The complex analysis of SCCPs, which contain numerous isomers, is best approached with congener-group specific quantitation methods. These methods allow source tracing and comparable results, though standardized congener-group compositions are currently unavailable. Quantitation is conducted by estimating response factors (RF) for each congener group using standard mixtures with fixed carbon lengths and chlorine contents. GCxGC coupled with ECD or ToF-MS shows potential for directly separating and quantifying congener groups in SCCP mixtures.

Comparable results for SCCP composition have been reported across different analytical methods, such as APCI-QTOF-MS, GC/ECNI-sector-MS, and GC/ECNI-QOrbitrap. This consistency supports the reliability of congener-group specific methods and highlights the importance of standards for each congener group. Candidate reference materials like SCCP (Hanari & Nakano, 2019) are valuable for QA/QC and quantitation.

In SCCP analysis, electron ionization (EI) commonly fragments SCCPs, while ECNI is frequently used in GC/MS, though EI is preferred for lower-chlorinated SCCPs. In ECNI, chlorine or hydrogen chloride loss during ionization complicates spectra. High-resolution MS, such as ToF-MS, helps resolve these challenges by distinguishing SCCPs from interfering organochlorines. However, resolving MCCPs requires extremely high mass resolution (>50,000).

For LC/MS methods, SCCPs rely on adduct formation for ionization. Chlorine or bromine adducts are common with APCI, while acetate adducts are used with ESI. MCCP interference is reduced effectively with high-resolution MS (e.g., ToF-MS) or a cyanopropyl column, which separates MCCPs from SCCPs (Matsukami et al., 2020).

Liquid chromatography-tandem mass spectrometry (LC-MS/MS), which provides qualifying and quantifying ion data, is widely used for PFAS analysis. Instruments like LC with Q-TOF or Q-Trap detectors are suitable, while Fourier Transform Ion Cyclotron Resonance (FTICR) MS instruments (e.g., Orbitrap) offer high sensitivity. Single-stage low-resolution LC-MS should not be used for PFAS analysis (UNEP, 2015).

Information in Table 5.3 is provided to guide laboratories and sampling teams on the sensitivity of analytical methods and sample (extract) volume requirements.

Table 5.3: Sensitivity of Analytical Methods and Sample (Extract) Volume Requirements.

| Substance group/ Matrix-instrumentation | Mothers' milk/ Human blood |  |  |  | Ambient air |  |  |  | Water |  |  |  | Instrumentation/method detection limit |  |  |  | Ionization mode |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Unit | HRMS | LRMS | ECD | Unit | HRMS | LRMS | ECD | Unit | HRMS | LRMS | ECD | Unit | HRMS | LRMS | ECD |  |
| PCDDs/Fs | pg TEQ g-1 fat | 1 |  |  | pg PUF-1 or fg m-3 |  |  |  |  |  |  |  | pg µL-1 | 0.05 |  |  |  |
| PBDDs/Fs | pg TEQ g-1 fat | 1 |  |  | pg PUF-1 or fg m-3 |  |  |  |  |  |  |  | pg µL-1 | 0.05 |  |  | ECNI-MS |
| dl-PCB | pg TEQ g-1 fat | 1 |  |  | pg PUF-1 or fg m-3 |  |  |  |  |  |  |  | pg µL-1 | 0.1 |  |  |  |
| TEQ (total) | pg TEQ g-1 fat | 1 |  |  | pg PUF-1 or fg m-3 |  |  |  |  |  |  |  | pg µL-1 | 0.1 |  |  |  |
| OC Pesticides (<6 Cl) | ng g-1 fat |  |  |  | pg PUF-1 or fg m-3 |  | 1-5 |  |  |  |  |  | pg µL-1 | 0.5 | 0.5 | 0.5 | EI-MS |
| OC Pesticides (>=6 Cl) | ng g-1 fat |  |  |  | pg PUF-1 or fg m-3 |  |  |  |  |  |  |  | pg µL-1 |  | 0.1 | 0.1 | ECNI-MS 1 |
| indicator PCB | ng g-1 fat |  |  |  | pg PUF-1 or fg m-3 |  | 1-5 |  |  |  |  |  | pg µL-1 | 0.5 | 0.5 | 0.5 | EI-MS |
| PBDE/PBB/DP | ng g-1 fat |  |  |  | pg PUF-1 or fg m-3 |  | 1-5 |  |  |  |  |  | pg µL-1 | 0.5 | 0.1 |  | ECNI-MS |
| HBCD (screen) | ng g-1 fat |  |  |  | pg PUF-1 or fg m-3 |  |  |  |  |  |  |  | pg µL-1 | 0.5 | 0.1 |  | ECNI-MS |
| HBCD (LC) | ng g-1 fat |  |  |  | pg PUF-1 or fg m-3 |  |  |  |  |  |  |  | pg µL-1 |  | 0.5 |  | LC-MS/MS APCI 2 |
| PFOS and other anionic PFASs | pg mL-1 |  |  |  | pg PUF-1 or fg m-3 |  |  |  | pg L-1 |  | 5–10 |  | pg µL-1 |  | 1 |  | LC-MS/MS negative ESI |
| Chlorinated paraffins | ng g-1 fat |  |  |  | pg PUF-1 or fg m-3 |  |  |  |  |  |  |  | pg µL-1 |  |  |  |  |
| UV-328 | ng g-1 fat |  |  |  | pg PUF-1 or fg m-3 |  |  |  | pg L-1 |  | 5–10 |  | pg µL-1 |  |  |  |  |

Notes:

The red field indicates that this instrumentation, in combination with the specified matrix, is not recommended for use in the GMP.

Electron capture negative ion MS is the preferred mode for analyzing PBDEs and highly chlorinated OCs, including endosulfan, chlordane, and toxaphene.

HBCD isomers can also be analyzed by LC-MS/MS in positive chemical ionization mode or, like PBDEs, by GC-MS with ECNI-MS.

5.4	Data treatment

A number of parameters must be reported alongside the analytical results. These include extraction and cleanup efficiency, as well as blank values; however, results should not be adjusted for these parameters. The uncertainty of the results should also be at least estimated—preferably determined—using data from inter- or intralaboratory comparisons.

The lowest concentration at which a compound can be detected (limit of detection, LOD) is defined as the signal level equal to three times the noise. The limit of quantification (LOQ), or the lowest concentration that can be quantified, is 3.3 times the LOD. Compounds detected at levels between the LOD and LOQ may be reported as present or at an estimated concentration, but any result below the LOQ must be clearly marked as such. Results below the detection limit should be reported as "<LOD" with an appropriate LOD value.

There are also several statistical techniques for managing censored data when the true detection limit is known, such as using robust statistics like the median, which remains unaffected by values reported below the LOD.

Figure 5.2: Example of substitution of concentrations reported as below the LOD by extrapolation from a regression analysis of concentrations within the same annual sample set that are above the LOD. (A log-linear regression is fitted to values above the LOD. Circles represent concentrations above the LOD, triangles represent substituted values for concentrations reported below the LOD, and squares represent values set at LOD/2.)

Another approach estimates each unknown concentration using empirical expected order statistics (Helsel and Hirsch, 1995). This method involves fitting a log-linear regression to the ranked detected concentrations and using this relationship to predict the values of those concentrations reported as below the detection limit (see Figure 5.2).

Results may also be presented within an interval where the lower limit is based on non-quantifiable peaks set to zero, and the upper limit is based on values below the LOQ set as equal to the LOQ.

When analyzing complex mixtures, such as PCBs, there is always a potential risk of co-eluting peaks in gas chromatograms, so known interferences should be clearly reported.

5.5	Organization of quality control

Quality assurance (QA) at all stages—from sampling through analysis to data reporting—is essential for ensuring comparability of data from multiple sources, both across and within regions. Inadequate data quality not only wastes resources but also risks undermining the effectiveness evaluation.

The level of required data comparability can vary. For instance, adequate comparability across geographic areas is necessary for assessing spatial trends, while data from a single source may still be suitable for tracking temporal trends, provided any bias remains consistent over time.

For laboratory analysis, all laboratories involved in the GMP should implement an appropriate in-house QA/QC regime. This should include control charts based on regular analysis of internal reference materials and periodic analysis of certified reference materials, where available. Providing access to reference materials for laboratories lacking them can also help build analytical capacity.

For guidance, the European Commission's Guidance Document on Analytical Quality Control and Method Validation Procedures for Pesticide Residues Analysis in Food and Feed (SANTE/11312/2021v2) offers a comprehensive overview of analytical quality control in pesticide analysis. Commission Regulation (EU) 2017/644 sets analytical criteria for controlling dioxins, dioxin-like PCBs, and non-dioxin-like PCBs in certain foodstuffs, including performance characteristics like trueness, intermediate precision, and acceptable differences between upper and lower bound TEQ calculations. This regulation also references a Guidance Document on Measurement Uncertainty for Laboratories Performing PCDD/F and PCB Analysis Using Isotope Dilution Mass Spectrometry and a Guidance Document on the Estimation of LOD and LOQ for Contaminants in Feed and Food. Similarly, the Guidance Document on the Analysis of Chlorinated Paraffins (EU, 2021) provides extensive guidance on sample preparation and quantification for food and feed, which can be valuable for other matrices and contaminants as well.

A core QA practice is regular participation in national, regional, or global intercomparisons (such as intercalibration exercises, ring-tests, and laboratory performance testing). Some monitoring programmes require such participation. International intercomparisons help evaluate laboratory comparability, although they reflect performance only 'on the day.' Continuous laboratory performance testing schemes provide a more consistent measure of laboratory capabilities. Regular participation in intercalibration studies is recommended for GMP data generators, and national and regional laboratories aiming to develop analytical capacities are encouraged to conduct regular analyses and participate consistently in intercomparisons.

Quality assurance and quality control (QA/QC) require special attention under the GMP. QA/QC recommendations are detailed throughout this document. Ensuring the quality of GMP-generated data may involve overarching activities such as:

- Distributing suitable analytical standards and reference materials;

- Requiring participation of laboratories in internationally recognized intercalibration and laboratory performance testing schemes;

- Organizing new intercalibrations or laboratory performance tests as needed; and

- Producing new or necessary reference materials where required.

5.6	Other references

In addition to the methodologies outlined in this document, several other references provide valuable guidance on analytical methodologies for POPs. These include the Standard Operating Procedures (SOPs) available under UNEP's GMP dashboard, the Guidance on Sampling, Screening, and Analysis of POPs developed by the Stockholm Convention Secretariat, the guidance documents developed by the network of the European Union Reference Laboratory (EURL) for halogenated POPs in Feed and food,  and resources from the European Union's Partnership for Chemicals Risk Assessment (PARC). Furthermore, the OECD's Working Party on Exposure Assessment and its dedicated subgroup offer additional frameworks and tools relevant to exposure and analytical assessments. These references collectively enhance the capacity for robust, harmonized analysis and monitoring of POPs at regional and global levels.

6.	Data handling

6.1	Objectives and priorities

Data handling under the Global Monitoring Plan (GMP) is managed by the Regional Organization Groups (ROGs) and the Global Coordination Group (GCG), as specified in Chapter 1 of this guidance. The objective of the GMP is to track changes in POP concentrations over time and identify global trends in POPs monitoring, supporting the effectiveness evaluation of the Stockholm Convention as outlined in Article 16.

The data generated and provided to the GMP must be comparable, validated, harmonized, and capable of revealing trends in emissions or exposure to contaminants of concern across various regions. To facilitate this, the GMP Data Warehouse (GMP DWH), an electronic platform with a multilevel data repository, analytical tools, and visualization capabilities, has been developed and made available to the ROGs since 2014. The warehouse is continuously updated to meet evolving data requirements and processing needs.

The primary objective of the GMP DWH is to assist the ROGs by providing a harmonized data management system for compiling, processing, storing, and presenting regional data. The GMP DWH supports data input and management, aiding the ROGs and the GCG in producing regional and global monitoring reports, respectively. The design, functionalities, and processes of the GMP DWH have been discussed and agreed upon by the GCG.

The GMP DWH includes a data management console with interactive online data capture, handling, approval, and visualization module. Through this module, ROGs can access compiled data and metadata to review and develop monitoring reports. Once reports are approved, the datasets are also made available to other researchers for statistical analysis and modeling.

The data evaluation process within the data management console includes harmonization and validation by the ROGs, ensuring comparability of samples, particularly in terms of site type, matrix, sampling method, time span, and sampling frequency. The data warehouse also provides visualization tools and resources for statistical and trend analysis. Further details on statistical principles and methods used in the GMP DWH are provided in Chapter 3.

6.2	Data policy

### 6.2.1	Terminology

To ensure consistency, it is essential to define some basic terms and concepts used in this document so that they are uniformly understood by all users:

- Primary GMP data: These are the results of POPs concentration measurements in samples of core matrices collected for the GMP or other programmes compatible with GMP goals. This includes both POPs measurements in specific samples and related covariates (e.g., biological data) necessary for interpreting the POPs data meaningfully, as well as sampling location and timing;

- GMP metadata: These are supplementary data that describe the primary GMP data, such as information on methodologies used (e.g., for sampling and analysis), the laboratories responsible for specific analyses, or the design and implementation of programmes contributing to the GMP. Summary information on programmes, monitored chemicals, data availability, and data structure can be found in the GMP DWH and is available for direct inclusion in regional/global reports;

- Supplementary data: Additional data or information accepted for use in the Stockholm Convention evaluation process as agreed by the regional organization group. This may include information and data from published sources (e.g., peer-reviewed literature), modeling results that aid data interpretation, or relevant research findings (e.g., process studies, food-web studies). Supplementary data play a vital role in the Stockholm Convention evaluation, especially in regions where data management infrastructure is still under development.

Primary GMP data (and supplementary data with monitoring results from published sources, for example) can be further divided into:

- Un-aggregated data: Individual measurement values for samples, such as the concentration of PCB153 in air at a specific location and time;

- Aggregated data: Statistically summarized data, such as averages that represent multiple individual sample measurements. (Refer to Chapter 3 for details on performing data aggregation.)

### 6.2.2	Data policy

The GMP data handling process promotes transparency, both in terms of the data itself and its treatment and analysis. Detailed descriptions of data handling and processing are provided in the GMP Data Warehouse (DWH) user guides available at www.pops-gmp.org.

The objective of the GMP data policy is to ensure access to the most relevant and up-to-date information available for evaluations under the Stockholm Convention. All GMP data presented in the data warehouse are endorsed by the respective countries through the data collection process carried out by the Regional Organization Groups (ROGs).

When considering public access to data, distinctions are made between un-aggregated data, aggregated data, and high-level metadata, with the sensitivity of public access generally decreasing as follows: un-aggregated data > aggregated data > high-level metadata. High-level metadata are typically not subject to access restrictions.

Some of the data generated under the GMP will be publicly available shortly after generation. Other data may be subject to restrictions, such as a publication moratorium, to allow scientists responsible for the data to publish their findings before the data is disclosed.

The use of GMP data for Stockholm Convention evaluations should respect data ownership rights. Therefore, data owners must be fully informed on how their data will be used, which portions will be made public, and the timing of any disclosures, to ensure their consent. Some countries may also require that GMP data concerning their territory receive explicit endorsement. Proper acknowledgment and citation of data sources are essential components of the data policy.

To facilitate these requirements, all data provided from the GMP should:

- Identify the data owners (who may differ from the data providers);

- Clearly state any conditions or restrictions on public accessibility as specified by the data owners;

- Include the required citation or acknowledgment for data use as specified by the data owners.

6.3	Data quality

Criteria for evaluating monitoring activities that could contribute to the Stockholm Convention Global Monitoring Plan (GMP) are outlined in Annex I of the Implementation of the Global Monitoring Plan for Effectiveness Evaluation, as amended after the fourth meeting of the Conference of the Parties to the Stockholm Convention (UNEP/POPS/COP.6/INF/31/Add.2). All data submitted for consideration under the GMP are evaluated and validated by the Regional Organization Groups (ROGs) for inclusion in regional monitoring reports.

Data quality requirements are standardized across all regions, with the aim of building capacity where necessary to meet the criteria outlined in the GMP implementation plan.

In addition to quality assurance/quality control (QA/QC) measures focused on data accuracy, QA/QC protocols must be in place to maintain quality during the data exchange process. Data compilation and reporting involve several steps where errors could be introduced, including data entry, application of algorithms for data transformation, and data communication. This is particularly relevant when data are transferred beyond those most familiar with it—the individuals responsible for data collection and generation—who are best positioned to detect discrepancies. To ensure data integrity, it is recommended that:

- An appropriate chain of custody is established from the data originator to the data quality review panel, kept as short as possible;

- Sign-offs at each transfer point in the chain are required, with those responsible for delivering and receiving the data confirming correct and accurate transfer. In practice, this includes:

  - Data recipients confirming that received data meet the required delivery specifications;

  - Data recipients preparing summary products (maps, summary statistics, etc.) that highlight potential errors or discrepancies introduced during transfer and sharing these with the data originator;

  - Data originators reviewing these summary products to confirm the accuracy of transferred data.

Ultimately, any GMP data evaluations or products should be returned to the data sources for their review and confirmation.

6.4	Data flow and storage facilities

### 6.4.1	Scope

The scope of the GMP Data Warehouse (DWH) aligns with the current list of chemicals under the Stockholm Convention, as well as candidate POPs proposed for listing.

The primary goal of the Global Monitoring Plan data strategy is to compile un-aggregated primary GMP data from all past GMP data collection campaigns. Un-aggregated data allows for transparent and consistent data processing according to standardized assessment methodologies (see Chapter 3 for details). Retaining un-aggregated primary GMP data offers the greatest flexibility for recalculation or re-analysis if assessment methodologies are modified or enhanced in the future.

Aggregated data, by contrast, offer limited potential for re-analysis or for integration with data from other sources. Most data derived from supplementary information will be aggregated, except in cases where un-aggregated data are available from data centers or archives.

GMP metadata that detail the methodologies used for generating primary GMP data—as well as results from laboratory intercalibration and testing schemes—should accompany the primary GMP data. These metadata should also be submitted to data centers and ROGs and made available in a suitable format for data assessment groups (e.g., ROGs or other relevant experts). Intercalibration or performance testing results are often reported by organizers under undisclosed laboratory codes, so laboratories should report their specific performance results along with their measurement data to ensure data accuracy and accountability.

### 6.4.2	GMP data storage (compilation and archiving)

The Global Monitoring Plan Data Warehouse (GMP DWH) is an online platform developed for collection, management, long-term storage, validation, and visualization of data on persistent organic pollutants (POPs) under the Stockholm Convention.

The GMP DWH and all associated tools are accessible through a web-based user interface. To get started, visit the web portal at www.pops-gmp.org, where the data warehouse’s user interface is embedded, along with all necessary documentation, user guides, and links to the data warehouse’s modules.

The GMP Data Warehouse comprises several key modules:

- Data Repository:

  - Un-aggregated data repository;

  - Aggregated data repository;

  - Data access management;

  - Sampling site management;

  - Data imports;

  - Automated validations;

  - Data management;

  - Automated aggregation;

- Data Visualization:

  - Spatial distribution;

  - Data availability;

  - Summary statistics;

  - Time series analysis;

  - Data exports/reports;

- Information Web Portal;

- Documentation.

The primary purpose of the GMP DWH is to ensure transparency in data handling, providing accessible data and results that support conclusions on the sufficiency and effectiveness of evaluations. Additionally, the GMP DWH functions as a central data repository, maintaining metadata on GMP implementation across regions, along with information and documentation required for data quality assessments, such as laboratory performance records.

Figure 6.1: GMP Data Warehouse scheme.

### 6.4.3	Data reporting scheme/flow

The sequence of stages for data collection and reporting is summarized as follows:

- Data providers: Institutions that operate or manage individual monitoring programmes (or are the data owners) generate information and submit both un-aggregated and aggregated data, along with metadata, to the GMP Data Warehouse management console. The GMP DWH functions as a regional data center for individual Regional Organization Groups (ROGs);

- Regional report preparation: Using the GMP DWH’s presentation and communication tools, ROG members compile individual regional reports based on data products derived from the collected data and relevant supplementary sources;

- Global report preparation: The Global Coordination Group (GCG) prepares the Global Report, drawing on the outcomes of the regional reports and data services in the GMP DWH, and submits it to the Conference of the Parties (COP) for consideration.

### 6.4.4	Data continuity

Since the overarching goal of the GMP is to provide comparable, harmonized, and conclusive information on long-term trends in persistent organic pollutant (POP) concentrations in the environment, data must be collected in a way that enables meaningful trend interpretation.

Before each data collection phase under the Global Monitoring Plan (e.g., in 2014 or 2018), both un-aggregated and aggregated data from previous GMP phases are copied to the GMP Data Warehouse—each phase includes all previously reported GMP data.

- Data should be linked to established sampling sites using their unique identifiers whenever possible;

- Both un-aggregated and aggregated data should build upon previously collected data from earlier GMP phases;

- The GMP DWH also verifies data continuity during data input.

### 6.4.5	Standardized data exchange

The GMP Data Warehouse (GMP DWH) is designed to facilitate the reliable collection of data on POPs concentrations across core matrices: air, human milk, human blood, and water. While large, established environmental monitoring programmes are preferred as data sources, national projects may also provide valuable POPs data.

Due to the varied objectives and methodologies across monitoring programmes, data collection within GMP phases presents a high degree of heterogeneity. To address this, the GMP DWH requires a standardized format for data input and has defined processes to ensure consistent data handling and outputs for all POPs data and metadata.

Data reporting to the GMP DWH is designed to be technically feasible and convenient, minimizing potential errors and ensuring that all reporting requirements are met. Below is an outline of the key components.

#### Data Structure

Each of the four data collection branches (organized by core matrix) contains three core data structures. While these structures share a common foundation, each branch has slight variations based on the matrix's specific nature. The main data structures are:

- Site: Represents the sampling location, which may be a single point or a broader area. Each site has a unique ID and name, defined by geographic coordinates. Additional attributes, which vary by matrix, help categorize each site;

- Sampling attributes: Provide details about the sample (or all samples in the case of aggregated data). Some attributes, such as the year or monitoring programme, are consistent across all matrices. Others, like sampling method for air or blood source for human blood, vary by matrix;

- Measurement: Reflects the concentration of a specific chemical parameter. For aggregated data, measurements are expressed as summary statistics (e.g., minimum, maximum, mean, median, number of values) and include additional information like the method for handling limits of quantification (LOQ). For un-aggregated data, each measurement represents an individual concentration value.

Please refer to appendix VI for the list of codes related to the data structure.

#### Data Hierarchy

The data structures for Site, Sampling Attributes, and Measurement create a three-level hierarchy, as shown in the illustrative Figure 6.2 below.

Figure 6.2: Data hierarchy.

Figure 6.3: Data import process.

The data structure encompasses essential parameters that must be reported in a standardized, parametric format. Key elements include geographic identification, reporting time, a “measurement – value – unit” chain, and the definition of any data aggregation (if applicable).

The following are the critical data fields and required information items in the GMP Data Warehouse (DWH):

- Contact information for the data administrator responsible for data entry;

- Site identification and indication of any spatial aggregation (if used);

- Predefined set of chemicals reported (POPs);

- Description of the analytical method, including the corresponding limit of quantification (LOQ);

- Units for reported concentration values;

- Description of any time aggregation (if used);

- Definition of variability (required for aggregated data).

The import template for primary un-aggregated data includes a comprehensive list of these parameters, as outlined in Table 6.2 below:

Table 6.2: Parameters in import templates for primary un-qggregated data.

| Air Site ID (number) Site name (text) Longitude (number) Latitude (number) Region (code list) Country (code list) Site type (code list) Potential source type (code list) Year (number) Start of sampling (number) End of sampling (number) Type of sampling (code list) Type of passive sampling (code list) Recalculation (code list) Calibration description (text) Monitoring programme/network (text) Chemical – group (code list) Parameter (code list) Method (code list) LOQ (number) No. of values (number)A No. under LoQ (number)A Value (number)P Value (mean) (number)A Value (median) (number)A Minimum (number)A Maximum (number)A 5th percentile (number)A 95th percentile (number)A SD (number)A Laboratory (text) | Human milk Site ID (number) Site name (text) Region (code list) Country (code list) Year (number) Start of sampling (number) End of sampling (number) Type of sample (code list) Monitoring programme/network (text) Chemical – group (code list) Parameter (code list) Method (code list) LOQ (number) No. of values (number)A No. under LoQ (number)A Value (number)P Value (mean) (number)A Value (median) (number)A Minimum (number)A Maximum (number)A 5th percentile (number)A 95th percentile (number)A SD (number)A Laboratory (text) | Human blood Site ID (number) Site name (text) Region (code list) Country (code list) Year (number) Start of sampling (number) End of sampling (number) Blood source (code list) Fraction (code list) Monitoring programme/network (text) Chemical – group (code list) Parameter (code list) Method (code list) LOQ (number) No. of values (number)A No. under LoQ (number)A Value (number)P Value (mean) (number)A Value (median) (number)A Minimum (number)A Maximum (number)A 5th percentile (number)A 95th percentile (number)A SD (number)A Laboratory (text) | Water Site ID (number) Site name (text) Region (code list) Country (code list) Surface water type Longitude (number) Latitude (number) Region (code list) Country (code list) Ocean or sea (code list) Site type (code list) Discharges (code list) Year (number) Start of sampling (number) End of sampling (number) Type of sampling (code list) Depth (number) Temperature (number) Salinity (number) Monitoring programme/network (text) Chemical – group (code list) Parameter (code list) Method (code list) LOQ (number) No. of values (number)A No. under LoQ (number)A Value (number)P Value (mean) (number)A Value (median) (number)A Minimum (number)A Maximum (number)A 5th percentile (number)A 95th percentile (number)A SD (number)A Laboratory (text) |
| --- | --- | --- | --- |
| A – the item is valid for aggregated data reporting only P – the item is valid for primary data reporting only |  |  |  |

#### Calculated parameters

For sum parameters, results in cases where one or more individual compounds are <LOQ should be reported as intervals, with the lower bound calculated by setting <LOQ to 0 and the upper bound calculated by setting <LOQ equal to the LOQ.

To express the overall toxicity of dioxins, furans, and dioxin-like PCBs as a single value, the “International Toxic Equivalents” (TEQ) concept is used. This calculation involves the concentration of the substance, the Toxic Equivalency Factor (TEF), and setting <LOQ to the LOQ for the upper bound and 0 for the lower bound.

GMP employs three TEF schemes:

- I-TEF and I-TEQ: Established by NATO in 1989, this is the original International Toxic Equivalent scheme and has since been extended and updated;

- WHO-TEF 1998 and WHO-TEQ 1998 (also known as WHO1998-TEQ): Developed by WHO in 1998 and updated in 2005;

- WHO-TEF 2005 and WHO-TEQ 2005 (also known as WHO2005-TEQ): The most recent WHO scheme.

#### Primary aggregated data

Prior to creating analytical views within the GMP, data is aggregated annually, with each aggregate representing data from all primary, un-aggregated samples collected during that year. When aggregating data, it is crucial to assess whether annual aggregation will yield representative data, especially for parameters with seasonal variation or when sampling was not conducted throughout the entire year. The following aggregation statistics are used:

- Number of values;

- Number of values under LOQ;

- Mean of values;

- Median of values;

- Minimum of values;

- Maximum of values;

- 5th percentile of values;

- 95th percentile of values;

- Standard deviation of values.

Data can be imported into the GMP Data Warehouse (DWH) in both un-aggregated and aggregated formats.

#### Data validation

The Regional Organization Groups (ROGs) are responsible for validating all data for inclusion in the regional monitoring reports and the GMP DWH. Each completed record must contain all required information, such as relevant units for concentration values. Data fields have a predefined format (text, number, or a specific item from a code list—see Annex V). Automated validation is integrated into the data import process, and only fully validated data can proceed to further processing.

#### Security rules and data access

The security principles of the GMP DWH support the GMP’s data collection and reporting processes at both the regional and global levels. Individual data providers and ROGs can work with GMP data simultaneously and independently to avoid interference. All data actions are governed by ROGs, with the following permissions:

- Data providers can import, verify, delete, and view their own data;

- Data providers can manage all sites within their ROG;

- Each ROG can view and approve verified data within its group;

- The Global Coordination Group (GCG) can publish approved data.

A detailed description of security and user access management is available in the technical documentation on the GMP website.

### 6.4.6	Data products

The GMP Data Warehouse offers various data exports, reports, and visualizations, collectively referred to as “data products.” These data products are designed to align with the requirements for regional and global monitoring reports outlined in Chapter 7.

#### Data analysis

To ensure comparability of POPs data across different regions, the GMP DWH provides harmonized assessment tools, including statistical methods for evaluating temporal trends. GMP output products—such as maps, tables, and charts—are accessible via the visualization portal and can be directly incorporated into regional reports. Reliable trend identification, including statistical evaluation, is conducted on all data within the GMP. Details on data processing and the methods used for analysis are provided in Chapter 3. All trends identified are specific to individual sites.

7.	Strategy, process and draft structure for regional monitoring reports

7.1	Implementation of the global monitoring plan for effectiveness evaluation

The implementation arrangements are outlined in the Implementation Plan for the Global Monitoring Plan for Effectiveness Evaluation (UNEP/POPS/COP.6/INF/31/Add.2). This plan details the main tasks required to implement the global monitoring plan for both the initial and subsequent effectiveness evaluations.

The Conference of the Parties has specified the following minimum requirements for effectiveness evaluation:

- The baseline generally refers to the status quo as of the Convention's entry into force or, if unavailable, the earliest relevant data thereafter, which is used to evaluate changes over time;

- Air monitoring and human exposure via breast milk or human blood serve as core data sources.

- Water is the core environmental matrix specifically for monitoring PFOS;

- Core data should be comparable, representative, and obtained from all five regions;

- Guidance on standardization should be periodically updated as needed;

- The strategic arrangements and partnerships established in the first evaluation should be maintained and expanded, as appropriate.

The implementation plan includes arrangements to ensure comparable and consistent monitoring data, addressing the following areas:

- Identifying and assessing potential sources of core media data for effectiveness evaluation, including establishing criteria for evaluating monitoring activities that can contribute to the global monitoring plan;

- Strategic partnerships and arrangements for acquiring core media data for the monitoring reports;

- Methods for summarizing and presenting monitoring data on a regional basis to support effectiveness evaluations, including reporting on regional and global transport.

Further details are available in the document UNEP/POPS/COP.6/INF/31/Add.2, accessible at http://chm.pops.int/Implementation/GlobalMonitoringPlan/Regionalorganizationgroups/tabid/179/Default.aspx.

7.2	Outline of regional monitoring reports (to be adapted as appropriate for use in specific regions)

According to their terms of reference, the primary objectives of the regional organization groups (ROGs) include establishing and implementing a regional strategy for data collection, addressing capacity-building needs, and fostering strategic partnerships to close identified data gaps (see Section 7.1). The ROGs are also tasked with preparing regional monitoring reports, which contribute to the global monitoring report for effectiveness evaluation. The annotated outline for the regional monitoring reports is provided below.

Acknowledgements Abbreviations and acronymes Glosary of terms Executive summary I. Introduction This section outlines the objectives of Article 16 of the Stockholm Convention and the GMP. It references previous GMP phases to provide context. II. Description of the region - This section describes: - The overall composition of the region, including political, geographical, and industrial activities, agricultural practices, and links to POPs; - The regional boundaries and the rationale for their selection; - Sub-regional arrangements, including the identification and justification for any sub-regions created. III. Organization This section describes the overarching organizational strategy for the GMP and the preparation of the regional monitoring report: - Preparatory workshops and online consultations, potentially sponsored by the Secretariat or donors; - Establishment and responsibilities of the regional organization groups; - Agreement on a framework to ensure the comparability of information; - Regionally developed and implemented plans based on the global framework; - Strategy for information gathering; - Details on the formation of the sampling matrix, including decisions on the information required, regardless of pre-existing sources; - Use of existing programmes. Summarize linkages and arrangements with other programmes used as data or information sources. IV. Methodology for sampling, analysis and data handling Strategy for gathering new information: - Explanation of the sampling matrix, including media, site selection, sampling frequency, and protocols to preserve sample integrity (e.g., quality assurance, transport, storage, and sample banking); - Identification of existing gaps and capacity development needs. Media covered: - Air; - Human tissue (e.g., maternal milk and/or blood); - Water; - Other relevant matrices (e.g., historical trend data). Analytical procedures: - Decisions on analytical techniques to ensure quality and comparability (e.g., inter-laboratory exchanges); - Protocols for extraction, clean-up, analysis, detection limits, and quality control. Participating laboratories: - Approach for classifying laboratories based on instrumentation levels; - Criteria for classification and identification of laboratories involved. Data handling and reporting: - Protocols for data acquisition, storage, evaluation, and access; - Statistical considerations; - Use of an information warehouse; - Integration of data from existing programmes. V. Preparation of the monitoring reports - This chapter includes: Arrangements by the regional organization group to oversee the preparation of the regional monitoring report; Roles and responsibilities of the drafting team. VI. Results For each substance listed in Annexes A, B, and C, the section includes: - Historical and current sources; - Regional considerations; - Additional information, such as trends in environmental levels. Results are presented in text and table format, following a common sequence (e.g., cyclodiene insecticides, DDT, toxaphene, hexachlorobenzene, PCBs, PCDDs, and PCDFs). The first global monitoring reports provide a baseline for POP levels in humans and the environment. If historical data are unavailable, the earliest relevant data are used as the baseline. Changes in levels of Annex A, B, and C substances across media are presented to evaluate trends. This includes: - Air; - Human tissue (e.g., maternal milk and/or blood); - Water and other matrices if applicable. For PCDDs, PCDFs, and dioxin-like PCBs, results are expressed in toxic equivalents (TEQs). Long-range transport information: Inclusion of data on long-range transport, where available on the regional scale. VII. Conclusions and recommendations This section provides a clear and concise summary of the GMP results for the use of the Conference of the Parties in the effectiveness evaluation. It includes: - Key scientific findings, such as changes in POP levels; - Identification of regional data gaps and capacity needs.

7.3	Outline of the global monitoring report

According to its terms of reference, the primary objective of the global coordination group (GCG) is to coordinate and oversee the implementation of the GMP and to produce the Global Monitoring Report. This report serves as a key input for the effectiveness evaluation under Article 16 of the Convention.

Based on the five regional monitoring reports, the Global Monitoring Report synthesizes and presents regional information from a global perspective. Additionally, the GCG is responsible for evaluating the arrangements for the GMP at the conclusion of each evaluation phase and providing recommendations for consideration by the Conference of the Parties.

The outline of the Global Monitoring Report reflects these objectives and incorporates the other tasks assigned to the GCG as specified in its terms of reference.

Acknowledgements Abbreviations and acronymes Glosary of terms Executive summary I. Introduction II. Results of the Global Monitoring Plan 1. Data availability 2. Data consistency and comparability 3. Data handling 4. Monitoring results 4.1 Air 4.2 Human matrices 4.3 Water 4.4 Other media 5. Long-range transport III. Evaluation of the global monitoring plan and conclusions and recommendations for the next phase 1. Arrangements 2. Challenges to implementation Report Structure: All chapters will follow the following structure, as appropriate: Introduction Overview Main findings Conclusions and recommendations The Executive Summary will mirror the structure of the full report, summarizing the main findings, conclusions, and recommendations for each section.

8.	Environmental specimen banking

8.1	Introduction

Environmental Specimen Banking involves the collection and long-term storage (typically over several decades) of “representative” environmental and human samples (specimens) to preserve their chemical composition and properties, including pollutants accumulated within them (Becker et al., 2006). “Representative” samples are well-documented environmental specimens widely found in the environment, allowing future analyses to reveal temporal and spatial trends in pollutant levels.

The selection and collection of environmental samples should be carefully designed so that a minimal, yet comprehensive set of archived samples provides an unbiased view of pollutant levels in a specified environment. Sampling design may need to consider factors such as sample type, quantity, location, frequency, season, and methods, all selected based on data about major sources of target POPs, transport and bioaccumulation processes, feasibility, and cost-effectiveness. This design process aligns with general environmental monitoring methods (see Chapter 3: Statistical Considerations and Chapter 4: Sampling and Sample Preparation Methodology). Additionally, long-term storage requires specialized facilities known as environmental specimen banks.

Environmental Specimen Banking aims to support current and future monitoring activities under the Convention, giving it a broader scope than the present GMP.

Environmental Specimen Banks play a critical role in many countries, supporting both scientific research and decision-making on environmental issues, particularly those involving chemical pollutants. Numerous specimen banking programmes exist worldwide. Some have long histories and contain specimens dating back to the late 1960s and early 1970s, such as the Swedish Museum of Natural History and the National Aquatic Biological Specimen Bank / National Wildlife Specimen Bank in Canada. In the mid-1970s, the U.S. and Germany initiated pilot specimen banking programmes, which later transitioned to long-term efforts: the National Biomonitoring Specimen Bank (NIST) and the Federal Environmental Specimen Bank in Germany, respectively.

Japan operates two specimen banks, archiving specimens from the 1960s (es-BANK at Ehime University) and the 1970s (Environmental Time Capsule at NIES). Since the 1980s, the number of specimen banks has expanded, including the Nordic ESB (Norway, Finland, Denmark, Faroe Islands), IFREMER and ANDRA in France, the Fish Specimen Bank in the UK, Yangtze ESB in China, the Antarctic Environmental Specimen Bank and the Mediterranean Marine Mammal Tissue Bank in Italy, NIER in the Republic of Korea, and the Biscay Bay Environmental Biospecimen Bank in Spain. Many banks also include human samples for monitoring chemical exposure (e.g., Wiesmüller et al., 2007).

The International Environmental Specimen Banking (IESB) Group was formed to facilitate information exchange and promote specimen banking activities, as an outcome of a series of symposiums, workshops, and meetings on Environmental Specimen Banking (http://www.inter-esb.org/index.html).

Figure 8.1: Environmental Specimen Banks Worldwide (adapted from the IESB Group homepage).

Many of these institutions have dedicated websites detailing their Environmental Specimen Banks (ESBs), including information on archived samples, major scientific findings, and research publications. For further details on each bank’s activities, refer to the links on the IESB homepage.

Environmental Specimen Banking is anticipated to play a key role in supporting POPs monitoring under the Stockholm Convention's Global Monitoring Plan (GMP) (UNEP/POPS/COP.4/31). By systematically archiving portions of environmental samples collected for monitoring, each Party can reanalyze samples in the future to establish baselines for newly added POPs, assess temporal and spatial trends of current and newly listed POPs, identify emerging pollutants, reassess the quality of past analytical data, and quantify previously undetected or unmonitored compounds using advanced analytical methods.

For example, Figure 8.2 illustrates the temporal trends of PFOS and other perfluorinated surfactants in human milk from Stockholm, Sweden, archived in the Swedish Museum of Natural History’s specimen bank (Nyberg et al., 2010). Such temporal and spatial trend data are invaluable for reviewing chemicals proposed for listing under the Convention and for effectiveness evaluations.

Additionally, Environmental Specimen Banking can support Convention implementation, particularly in developing countries, by enabling earlier sample collection and storage. Analysis can then be conducted once capacity-building efforts are complete. Under the UNEP/GEF-GMP-2 programme, which supports data collection on POPs in human breast milk for the Convention's effectiveness evaluation, a portion of pooled milk samples from each country is archived in the WHO Global Human Milk Bank for future POPs analysis (Malisch et al., 2017).

Figure 8.2: Lower bound estimates of mean PFAS concentrations in milk sampled from Stockholm (1972–2016) and Gothenburg (2007–2015). (Each year represents the average of 1–3 pooled samples, except for 2012, where the mean is derived from individual samples (n = 20 for Stockholm and n = 16 for Gothenburg) (Nyberg et al., 2018).)

Beyond supporting the Convention, Environmental Specimen Banking plays an essential role during environmental incidents and disasters by enabling the quantitative assessment of a disaster’s impact and providing a baseline of pre-disaster conditions through analysis of archived samples. Figure 8.3 illustrates temporal trends of benzo(a)pyrene (B(a)P) levels in bivalves along a coastline affected by a tanker accident (Shibata, 1998). Gray dots represent B(a)P levels in archived samples collected before the accident, showing that B(a)P levels in bivalves, while spiking to two to three orders of magnitude higher after the accident, eventually returned to baseline levels over several years.

Specimen banks also offer crucial insights into historical pollution when adverse effects from pollutants with delayed toxicities, such as carcinogens or endocrine-disrupting chemicals, emerge decades after exposure. Figure 8.4 shows the stability of organoselenium compounds in human urine at various temperatures, with selenourea being the least stable. At 20°C, selenourea is estimated to remain stable for up to 30 days (Zheng et al., 2002).

Figure 8.3: Benzo(a)pyrene (B(a)P) levels in bivalve samples collected along the Japanese coastline before and after a tanker accident in January 1997. (Shibata, 1998).

Figure 8.4: Stability of organoselenium compounds added to human urine at various temperatures. (Zheng et al., 2002).

Many Environmental Specimen Banking programmes have substantial capacity to produce chemically homogeneous materials and analyze a wide range of pollutants. These programmes often contribute to QA/QC in environmental analysis by producing reference materials, such as those from the National Institute of Standards and Technology (NIST, USA) and the National Institute for Environmental Studies (NIES, Japan), which offer a series of standard reference materials and certified environmental reference materials. Thus, Environmental Specimen Banking is expected to support the GMP of the Stockholm Convention, not only by archiving monitoring samples but also by building and enhancing analytical capacity.

8.2	Basic concept and requirements

### 8.2.1	Basic concept of environmental specimen banking

Environmental Specimen Banking is a highly controlled operation designed for long-term continuity without changes to fundamental procedures, ensuring sample comparability and preservation of chemical properties and integrity. Consequently, all aspects of the process—such as sample type, sampling locations, intervals, archived sample amounts, container types, transport methods, sample homogenization and processing, homogeneity verification, sub-sample portioning, storage methods, and facility maintenance—must be meticulously planned, executed, and documented.

A comprehensive procedural manual or SOPs covering sample collection, processing, and storage, along with regular updates to these documents, are essential for the effective operation of a specimen bank. Stored samples should include sufficient supplementary information to enable future statistical analysis, interpretation, and traceability. The quality and detail of associated data significantly impact the value of archived samples (see Table 8.1).

Table 8.1: Additional information that could be stored in connection with the stored samples.

| <Human Samples> |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Age, gender |  |  |  |  |  |
| Weight, hight |  |  |  |  |  |
| Information on living place, occupation, other questionnaire data |  |  |  |  |  |
| Date of collection, location |  |  |  |  |  |
| Type of sample, Volume |  |  |  |  |  |
| Sampling procedure, transport, sample processing records |  |  |  |  |  |
| Fat contents, other clinical examination results |  |  |  |  |  |
| Results of the POPs analysis |  |  |  |  |  |
| <Atmospheric samples> |  |  |  |  |  |
| Date of collection, location |  |  |  |  |  |
| Air volume, sampling period |  |  |  |  |  |
| Climatic data |  |  |  |  |  |
| Sampling procedure |  |  |  |  |  |
| Pre-cleaning, transport, other processing records |  |  |  |  |  |
| Responsible person, source of additional information |  |  |  |  |  |

### 8.2.2	Samples to be stored

Under the Stockholm Convention, priority samples for storage include those selected as core monitoring media, such as air (filters or adsorbents) and human samples (breast milk and/or blood). Additionally, water (filters, passive sampling adsorbents) is a key medium for monitoring PFASs (see Chapter 4.3). Since specimen banking will support future Convention activities, its scope is expected to be broader than the current Global Monitoring Plan (GMP). Consequently, this chapter includes general aspects of Environmental Specimen Banking.

Environmental monitoring addresses several objectives, including measuring pollutant concentrations across environmental compartments (to identify sources, levels, and pollutant dynamics, or to verify compliance with environmental quality standards), assessing exposure levels for risk evaluation and management, and evaluating pollutant effects on wildlife and humans (effect monitoring) (see, for example, Rüdel et al., 2009, for environmental monitoring concepts). Biological samples are preferred for specimen banking because they tend to bioaccumulate chemicals such as POPs at higher concentrations through the food web, and POP levels in biological samples tend to reflect average exposure due to their longer half-lives in organisms. Thus, a small quantity of biological samples collected annually, for example, can provide representative POP levels (e.g., pollution levels or exposure status) for a given area each year, provided a well-designed sampling protocol is followed to minimize external variability, such as differences in species, sex, age, size, and season. If water or air is sampled, larger quantities and more frequent sampling at shorter intervals—or continuous sampling via passive samplers—are needed to obtain comparably reliable data on environmental levels and trends.

Biological samples also offer valuable insights into pollutant effects on wildlife and human health, making them particularly suitable for effect monitoring.

Biological samples for specimen banking can be classified into three groups:

- Common, short-lived organisms in lower trophic levels (e.g., fish, bivalves) – ideal for detailed spatial and temporal trend analysis;

- Long-lived, high-trophic level organisms (e.g., top predators such as fish-eating birds, their eggs, and marine mammals, using tissue from live or deceased animals) – serve as sentinel species for POPs, as they accumulate these chemicals at higher concentrations than species in lower trophic levels;

- Human samples – primarily used to assess chemical exposure and associated health risks in humans and to guide regulatory priorities.

Other types of specimens suitable for banking include soil, vegetation, and samples with annual rings or layered structures, such as sediment cores and tree trunks (Becker et al., 2006, and references therein). Tree bark pockets, for example, serve as “time capsules” for historical environmental conditions (Satake et al., 1996). Time-integrated air or water samples, such as those collected with passive air samplers, may also be stored for long-term monitoring purposes (see Table 8.2).

Table 8.2: Samples suitable for banking.

| Low trophic level organism | Useful for periodic monitoring of local pollution status |
| --- | --- |
| High trophic level organism | Useful for risk assessment of POPs pollution in an ecosystem |
| Human samples | Useful for human risk assessment and priority of regulation |
| Soils, sediments, and vegetation | Useful for periodic monitoring of local pollution status, their trends and understanding environmental chemodynamics of chemicals |
| Filters, adsorbents and their extracts of air, water | Useful for background monitoring, and understanding environmental chemodynamics including long range transboundary transport of chemicals |

Human samples suitable for POPs analysis include breast milk and blood (see Chapter 4.2). Other biological media used in environmental monitoring include urine, hair, saliva, and umbilical cords. Non-invasive urine samples, in particular, have been widely used to analyze metabolites of POPs and other chemicals of concern.

### 8.2.3	Long-term storage method

Cryopreservation techniques, including electric freezers, cold rooms, and liquid nitrogen freezers, are widely used for the long-term storage of various environmental specimens. Some specimens, such as air-dried soils, sediments, wood, seeds, bone, feathers, hair, and nails, can be preserved at higher temperatures, even at room temperature. However, wet biological samples should be kept frozen for long-term storage. Freeze-dried samples can be stored at slightly higher temperatures (e.g., 4 °C) for extended periods, although the freeze-drying process may lead to the loss of volatile chemicals and potential contamination by oil vapor. Even air-dried samples, such as human umbilical cords stored at ambient temperature, have been successfully used for assessing exposure to POPs or heavy metals accumulated during pregnancy (e.g., Nagayama et al., 2010).

There are no universal criteria for storage temperatures in specimen banks, although different temperatures are selected for specific purposes (see Table 8.3). Generally, lower temperatures provide better preservation (Zheng et al., 2002). Biological samples stored at liquid nitrogen temperatures (-196 °C) or in the vapor phase of liquid nitrogen storage facilities (-150 to -160 °C) remain stable and chemically unchanged for decades. Deep freezers set to –80 or –85 °C, initially intended for dry-ice storage, are widely used in many specimen banks and other applications and have proven effective for long-term preservation of various sample types.

Another temperature commonly used for large-scale biological storage is around -60 °C, often applied for fish and meat preservation. This temperature is also suitable for long-term storage of biological samples. Techniques for constructing and maintaining large, refrigerated warehouses at -60 °C are well-established, and substantial storage capacity at this temperature is now available worldwide, particularly near fishing ports, airports, and other transport hubs.

Table 8.3: Typical temperatures used for banking of specimens.

| Room Temperature | Dry samples (soils, vegetation, bird eggshells, hair, etc.) |
| --- | --- |
| 4 degrees of Celcius (refrigerator, cold room) | Dry samples, water (water samples can be freezed and stored in plastic containers) |
| -20 / -25 degrees of Celcius (freezer, freezing chamber) | Biological samples, sediments etc. for heavy metals, POPs analysis (not suitable for long-term storage) (Zheng et al., 2002) |
| -60 / -90 degrees of Celcius (deep freezer, deep freezing chamber) | Biological samples, sediments for long-term storage; useful also for biochemical analysis |
| -160 / -196 degrees of Celcius ((vapor phase) liquid nitrogen freezer) | Biological samples; chemically most appropriate for long-term storage |

It is important to consider that electric freezers require regular maintenance of mechanical refrigeration components, which can be costly (Owen and Woods, 2008). Additionally, measurable recrystallization processes within water may occur at temperatures above –130 °C (Eisenberg and Kauzmann, 2005). Therefore, the optimal method for long-term storage is to keep samples in the vapor phase of liquid nitrogen, where temperatures are typically around –150 to –160 °C in an oxygen-free environment. While this system requires a high initial investment, it may be cost-effective in the long run depending on the volume of stored samples and the availability and cost of liquid nitrogen. Furthermore, liquid nitrogen systems provide a more reliable low-temperature environment than electric freezers or cold rooms during power outages or disasters.

For example, during the Great East Japan Earthquake in March 2011, the Environmental Specimen Bank at Japan's National Institute for Environmental Studies experienced a three-day power outage that threatened stored samples. Despite this, vapor-phase liquid nitrogen freezers maintained temperatures at –160 °C, thanks to residual liquid nitrogen and vacuum insulation. Meanwhile, large cold rooms initially set to –60 °C gradually rose to –47 °C after three days. In contrast, temperatures in –80 °C electric freezers climbed to nearly 0 °C within a day, requiring the daily addition of dry ice to keep samples frozen. This highlights the importance of robust emergency protocols to protect specimens during rare but potentially devastating events.

It should be noted that sample storage for chemical analysis, as discussed in this chapter, differs from the storage of cells or genetic material for medical or livestock applications, where cell viability, rather than chemical integrity, is the primary concern.

### 8.2.4	Facility requirement

Environmental specimen banks typically consist of a low-temperature storage facility, sample processing area, analysis room, and a data storage and analysis center. To ensure the secure, long-term preservation of valuable samples, it is crucial to include backup systems, such as an extra storage facility, backup power generator, or a CO₂/liquid nitrogen (LN2) supply for temporary power outages. The size and temperature range of the storage facility can vary greatly, from a few freezers to multiple large cold rooms or liquid nitrogen freezers, depending on the type and quantity of samples being stored and available resources. Even a modest setup with just a few freezers can be highly effective, particularly for human biomonitoring activities where limited yet valuable samples, such as breast milk or blood, are collected.

Repeated thawing and re-freezing can damage samples and alter their chemical composition (Zheng et al., 2002). To mitigate this, samples should be stored in small aliquots to preserve multiple opportunities for retrospective analysis as technology advances and requires smaller amounts of material.

Having an on-site sample analysis capability alongside storage and processing facilities is recommended to verify sample homogeneity, assess the “cleanliness” of the facility, and ensure contamination-free handling during collection, transport, processing, and archiving. Homogeneity can be verified through chemical analysis, evaluating consistency both within a single container and across multiple containers by analyzing various elements, including trace ones. For process control, laser-diffraction particle size analysis can be used to assess particle size distribution and homogeneity during processing. Alternatively, storing individual organisms or tissues without homogenization preserves valuable information for future retrospective analysis.

Contamination control is essential for reliable environmental and human monitoring, particularly for compounds such as surfactants (including PFASs), flame retardants, and other industrial chemicals commonly used in consumer products and laboratory environments. Contamination can occur at any stage—sampling, transport, or processing—before long-term storage. Regular monitoring of these processes helps prevent contamination and ensures the reliability of future analyses. Potential contaminants include elements like alkali metals, boron, and arsenic from glassware, perfluoroalkyl carboxylic acids from fluoropolymer products, and additives like bisphenol A, phthalates, alkylphenol ethoxylates, polybrominated diphenyl ethers, chlorinated paraffins, organophosphorus compounds, and antimony from plasticware, furniture, and building materials.

To track contamination, it is advisable to store and periodically analyze “blank” samples (e.g., purified water) alongside environmental samples. This practice ensures that any chemicals detected in future analyses are inherent to the sample and are not introduced during handling (Karube et al., 2015). Some specimen banks also use passive samplers within the storage and processing rooms to monitor ambient contamination, storing these samples alongside the primary specimens for comparison.

### 8.2.5	Administrative system

A team with diverse roles is essential for the effective operation of specimen bank activities. These roles may include sample collection/receipt, sample processing, verification of sample homogeneity and other properties, management and maintenance of storage equipment (and analytical laboratories), data management, and database maintenance, along with supervisory and managerial roles overseeing the entire operation. This work requires collaboration among individuals from various professional backgrounds. Often, specimen banking is conducted alongside systematic, long-term environmental monitoring; in such cases, support and guidance from professionals in related fields, such as analytical chemists, atmospheric chemists, biologists, and medical doctors, can greatly enhance the bank's operations.

A robust sample tracking and data management system is also necessary. For small-scale banks, a manual record may suffice, especially when using a single freezer for pooled human samples. However, larger facilities housing multiple long-term environmental monitoring samples may benefit from more sophisticated systems, such as barcode tracking combined with PC-based software, to facilitate identification, tracking, and record-keeping. The level of complexity in the tracking system should align with the scale of the bank, but key factors for sustainability include transparency, security, and robustness. Additionally, maintaining and updating analytical data of archived samples over time is crucial for the ongoing value and integrity of the program.

### 8.2.6	Safety caution and training

Homogenization typically requires mechanical systems that can pose risks of accidental injury. The use of dry ice or liquid nitrogen for sample freezing or cryo-homogenization may lead to frostbite if they come into direct contact with skin or other body parts. Additionally, these materials should not be used or stored in closed or poorly ventilated rooms for extended periods, as they release CO₂ or N₂, which can lead to suffocation. Dry ice should never be kept in a cold room.

Ensuring good ventilation is crucial, and an oxygen sensor-alarm system is recommended for cold rooms or sample processing areas where significant CO₂ or N₂ emissions are expected. Direct contact with frozen samples, containers, walls, or shelves with bare skin should be avoided. Touching cold surfaces with wet skin can freeze the moisture, causing the skin to adhere and potentially result in severe damage. Hazardous chemicals, such as strong acids, methanol, and other toxic or flammable organic solvents, may be regularly used, so established handling procedures must be followed. Regular training and health checks for personnel should be conducted to prevent accidents and ensure programme sustainability.

Preventing accidental contamination of samples during processing is essential. Clean gloves and clothing should be worn to reduce contamination risks and enhance safety. However, these materials may introduce certain chemicals, such as plasticizers in polyvinyl chloride gloves or residues from detergents used to clean labware, which should be monitored carefully.

Human samples—such as blood, serum, plasma, breast milk, and urine—may contain pathogenic microbes, like viruses or bacteria, and should be handled carefully to prevent accidental infection. It’s important to recognize that preserving human or environmental samples (e.g., wildlife or sediments) might inadvertently store pathogens, posing potential biohazards. Therefore, biohazard protocols for the collection, handling, processing, and storage of specimens are essential to minimize exposure risks. For example, a deceased endangered bird might provide rare data on pollution levels but may also carry dangerous pathogens, like avian influenza. While cryo-homogenization and storage can halt microbial growth, they do not necessarily eliminate pathogens. Disinfection practices, such as using UV light or antimicrobial agents, may help maintain a clean environment, and aqueous ethanol can be a convenient alternative for this purpose. Certain biobanks that archive human samples may need to follow national biosafety regulations.

With these precautions in place, properly managed specimen banks can provide valuable insights into pollution history and inform other research areas, including tracking disease spread in human or wildlife populations.

### 8.2.7	Sample access / discarding policy

An important aspect of operating a specimen bank is establishing a sample access policy and defining the retention period for samples, which involves setting a sample discarding policy. Given the limited quantity of samples, their use for research projects must be carefully evaluated. At the same time, due to the constraints on storage capacity and the high costs associated with long-term storage, it is essential to minimize the stored amount wherever feasible.

Prioritizing stored samples is crucial, with factors to consider including the purpose of storage, the quantity of samples, the intended storage duration, the quality and detail of accompanying information, and the integrity of the samples themselves. Many banks have established access policies that allow external researchers to request samples for analyzing a variety of pollutants, adding valuable analytical data to the sample archive. For human samples, ethical considerations are also critical in setting access and discarding policies to ensure responsible use and handling.

### 8.2.8	Guideline, banuals and standard operational procedures

Many Environmental Specimen Bank facilities have developed Standard Operating Procedures (SOPs) for sampling and storage procedures, with some available online or through other channels. The International Society for Biological and Environmental Repositories (ISBER) serves as a global forum addressing the technical, legal, managerial, and ethical considerations for repositories holding biological and environmental specimens. Through contributions from its members, ISBER has published the 5th edition of ISBER Best Practices: Recommendations for Repositories (Snapes et al., 2023), which offers practical guidelines and suggested best practices from repository professionals for managing specimen collections and repository facilities.

8.3	Sampling and storage

The sampling process should adhere to the guidelines of the Global Monitoring Plan (GMP) under the Stockholm Convention (see Chapter 4). Below is a summary of important considerations regarding the vessels and devices used for sampling, processing, and storage.

### 8.3.1	Sampling devices

In Environmental Specimen Banking, samples are stored for future analysis of newly emerging chemicals, beyond the current regulatory targets. This requires that the entire process—from sampling to storage—be designed to minimize contamination by any chemicals or elements not currently under consideration. It is also essential to keep detailed records of the sampling, processing, and storage devices, as potential contamination or other biases may arise from these materials. For instance, some blood collection tubes, syringes, and needles are coated with various chemicals, including silicone oils and polymer surfactants, the specific chemical compositions of which are often proprietary and protected by patents (Shibata et al., 2011).

Contaminants may originate from several sources: some chemicals are derived from base materials (such as plasticizers, flame retardants, or other additives in polyvinyl chloride [PVC] or other plastics); others are intentionally applied (e.g., coating polymers on polyethylene terephthalate [PET] to prevent red blood cell adhesion); and still others may enter during manufacturing (e.g., perfluorinated chemicals used as mold-release agents in plastic ware production). Additionally, elastomers used in syringe stoppers may contain metals like zinc, while serum separators used in centrifugation to separate serum from blood cells contain hydrophobic chemicals known to absorb hydrophobic compounds, including pharmaceuticals (Bowen et al., 2005), and possibly persistent organic pollutants (POPs) as well. Therefore, it is recommended to keep a record of the manufacturer, brand, and type of devices used for sampling and to store unused tubes or syringes alongside samples to allow for better assessment of future analytical data.

Air and water samples are generally unsuitable for banking due to the large volumes required and the potential instability of trace pollutants, which may adsorb onto container walls during long-term storage. Nonetheless, some archiving activities exist for these matrices under special cases, such as the Cape Grim Air Archive, where air samples are stored in flasks for the analysis of major, minor, and trace gases, as well as stable volatile organic compounds (VOCs) (O’Doherty et al., 2009). Typically, however, filters, adsorbents, or sample extracts are more appropriate for future retrospective chemical analysis. For example, in Tokyo, quartz fiber filters used to collect monthly airborne particulates have been archived and used to reveal two-decade trends in dioxins (Matsumura et al., 2003) and polycyclic aromatic hydrocarbons (Ezoe et al., 2004) from 1980 onward. Similarly, in the passive air sampling programme GAPS, one part of the adsorbent extract is stored in sealed glass ampoules for future analysis. Duplicate sampling and archiving a set of adsorbents may also be a viable approach.

Detailed records of sampling dates, storage devices, and materials used should accompany all samples, and filters and adsorbents should be pre-cleaned according to sampling standard operating procedures (SOPs). Additionally, note that even the sampling devices, such as high-volume air samplers, can cause unexpected contamination from materials used in their construction. Common contaminants include perfluorochemicals in fluoropolymer products and flame retardants or their impurities used in plastic or elastomer parts (Takasuga et al., 2012).

### 8.3.2	Sample processing and archiving

For human breast milk or blood samples, multiple portions are stored in tubes following a gentle mixing procedure. Sample size is minimized to only what is necessary for one-time analysis of specific chemicals or elements. Statistical approaches help determine the minimum number of individual samples needed to detect temporal trends efficiently (Bignert et al., 2004).

Freezing may lead to the precipitation of certain materials, such as fats, or cause hemolysis, which can affect sample homogeneity at the time of aliquoting. In some cases, banking processes may involve separating sample components, like plasma or sera for organic contaminant analysis, from whole blood for trace element analysis. Ensuring sample homogeneity and minimizing contamination of target chemicals during these processes is critical (see chapter 8.3.1). Pooled human samples, which represent population-level pollution status, are cost-effective and efficient for storage, although they may lack certain individual-level data advantages (see Chapter 3.5; Bignert et al., 2014).

For biological and soil/sediment samples, sample homogeneity is essential to ensure that a small portion can represent the pollution status of the sampled period. Various homogenization techniques, such as mixers, blenders, choppers, crushers, ball mills, rod mills, and cryo-homogenization, are used in Environmental Specimen Banking. Hard materials, like metals or ceramics, are often used for crushing and homogenizing, and fluoropolymers may be used to prevent metal contamination. However, even durable metals like stainless steel or titanium may contribute metal particles to samples during homogenization (Karube et al., 2015). While fluoropolymers reduce metal contamination risk, they may introduce organic contaminants like perfluorooctanoic acid (PFOA) (Lynch et al., 2018).

Both glass and plastic tubes are commonly used for sample storage and should be thoroughly pre-cleaned. While glass is preferred for organic analysis, its tendency to break when frozen or exposed to rapid temperature changes presents a risk, especially for blood samples. Tightly capped plastic vessels are typically better for long-term storage under –20 °C or lower, where desiccation can be a concern. Glass tubes may use plastic caps with PTFE or fluoropolymer linings, though these materials are unsuitable for analyses involving perfluorinated chemicals. Plastic caps without elastomers, or glass containers with aluminum foil covering the sample and cap interface, can mitigate contamination. Note that nonstick aluminum foil may have organic coatings and trace contaminants; baking foils and glassware before use can help minimize contamination (Rodowa et al., 2020).

Organic extracts from filters or adsorbents should be stored in amber glass ampoules, sealed with inert gas (e.g., nitrogen or argon). Filters or adsorbents are typically wrapped in baked aluminum foil, placed in polyethylene bags, and stored in freezers for future analysis. Blank (unused) filters archived alongside samples can serve as contamination controls.

For samples with structural information, such as sediment layers, coral cores, or complex biological tissues, homogenization may destroy valuable data, like historical pollution trends or tissue-specific gene expressions. Storing these samples whole or in parts can preserve such information for future analysis.

### 8.3.3	QA/QC and security

Quality Assurance and Quality Control (QA/QC) in Environmental Specimen Banking operates on two levels:

- Process QA/QC: This involves verifying that the entire workflow—including sampling, sample handling, and storage—adheres strictly to Standard Operating Procedures (SOPs);

- Sample Quality QA/QC: This involves periodic analysis of stored samples to ensure their chemical composition remains stable over time.

Samples should be stored in restricted access areas, accessible only to authorized personnel. Regular staff training is recommended, covering both routine operations and emergency response procedures, such as fire safety.

Human samples require special considerations due to ethical concerns and the risk of infection. Strict measures must be taken to protect personal information, including data from questionnaires, genetic material, and DNA. Typically, "anonymization" is necessary: all personal identifiers must be removed or securely separated from the samples. When information is isolated rather than deleted, only trained and authorized personnel, under the guidance of a designated ethics committee, may access it. Pooled human samples—composites of equal portions from multiple individuals—are generally treated as anonymous, as they contain no individual identifiers.

8.4	Communicating results to decision-makers, science and public

Given the high value of Environmental Specimen Banking for decision-makers and scientists, it is essential to share the results of these activities in a timely and accessible way. Establishing an information system is recommended to keep the scientific community, policymakers, and the public informed about the bank’s objectives, areas of focus, and especially the findings from routine operations and retrospective analyses of pollution trends. For instance, the German Environmental Specimen Bank publishes its complete data set from routine analyses of environmental and human specimens, as well as retrospective trend analyses, through the ESB Information System (www.umweltprobenbank.de/en).

8.5	Available information on environmental specimen banking

Several major Environmental Specimen Bank (ESB) facilities around the world actively collect samples, primarily in developed or industrialized countries. However, interest in establishing such banks has been growing in developing countries as well (Becker et al., 2006; Becker & Wise, 2010; Isobe et al., 2010). Each ESB has its own unique purpose, scope, and history. The variety of experiences and protocols from these established banks can be valuable for setting up new facilities in regions where ESB-related activities are not yet present. Information about these activities is available in scientific literature (e.g., the references in Becker et al., 2006), and on the banks' websites. Standard Operating Procedures (SOPs) for major ESBs, such as those in Germany, Sweden, and the United States, are available on the International Environmental Specimen Bank (IESB) website, which also provides links to major ESBs worldwide (http://www.inter-esb.org/index.html).

There is also extensive activity in the life sciences, medical, and livestock sectors for the preservation of human and biological samples for medical, pharmaceutical, and breeding purposes. These repositories, often referred to as “biobanks,” address technical, legal, ethical, and managerial challenges related to biological and environmental specimen storage. The International Society for Biological and Environmental Repositories (ISBER) supports these efforts, fostering collaborations, offering education and training, and showcasing state-of-the-art policies, processes, and technologies globally. ISBER also partners with several regional organizations, such as the European, Middle Eastern, and African Society for Biopreservation and Biobanking (ESBB), the Asian Network of Research Resource Centers (ANRRC), and the Australasian Biospecimen Network Association (ABNA).

For countries considering biorepository under the Convention, existing infrastructure in large hospitals or biobanks, equipped with emergency power and freezers, can provide a feasible and cost-effective start, especially for human samples. For environmental specimens, commercial scale refrigerated warehouses may be suitable. However, long-term operation of an ESB requires specialized knowledge in chemical analysis, making close links with long-term monitoring programmes or QA/QC activities essential, especially under the Global Monitoring Plan (GMP) of the Stockholm Convention.

8.6	Environmental specimen banking in the future

As a supportive and complementary activity aligned with environmental monitoring, there remains significant opportunity for technological advancements in Environmental Specimen Banking. While homogenization is essential to reduce sample volume for archiving, it can compromise sample integrity, particularly for biological specimens. Some chemicals may accumulate at higher levels in specific organs and show targeted toxicity, including the induction of particular proteins as biomarkers of exposure or effect. Similarly, chemicals may cause distinct morphological changes in specific organs, such as sex organ malformations (imposex or intersex conditions), which could be diluted or lost in thoroughly homogenized samples. Additionally, homogenization can alter the chemical integrity of tissues and cells by disrupting microstructures and releasing enzymes from cell organelles, potentially leading to chemical degradation. Freezing itself can damage cell and organelle microstructures by forming ice crystals. Recent developments in commercial freezing methods, such as microwave field technology, help mitigate this damage by inhibiting ice crystal formation. In the future, cryopreservation of whole organisms without homogenization may become more feasible.

The long-term and systematic archiving of samples from air and water environments presents an additional challenge. Currently, adsorbents in passive or active samplers are often used to monitor pollutants in these media, and archiving these adsorbents or their extracts appears suitable. However, sampling can alter the composition or chemical forms of pollutants in the environment. Each sampler and adsorbent are designed to trap specific types of chemicals, meaning some pollutants may not be adequately captured, and thus, archived samples may not fully represent environmental conditions. Chemical reactions, especially photo-oxidation, play a crucial role in determining pollutant behavior in the environment, but many of the resulting compounds are unstable and difficult to capture. Expanding our understanding of environmental chemical processes and identifying suitable "surrogates" for key reactions could improve sampling and archiving strategies.

Additionally, it is important to identify factors that influence pollutant levels in each medium and record relevant contextual information with samples. Human pollutant levels, for instance, may vary with changes in exposure sources. For example, shifts in diet from fish to beef or from local to imported foods due to economic changes could alter levels of certain POPs in human samples. Climate change may impact global pollutant circulation, thereby affecting atmospheric levels at specific sites and potentially influencing pollutant levels in wildlife. Climate-driven changes in marine fish species, known as “regime shifts,” are recognized as influencing pollutant levels in higher trophic level organisms, including humans, despite no trophic-level changes detected via nitrogen isotope analysis. Greater insight into environmental processes and their impact on pollutant levels in target matrices will enhance the understanding and interpretation of archived monitoring data, and collecting detailed supplementary information is essential alongside archived samples.

Accurate understanding and recognition of environmental pollution levels are fundamental to decision-making for effective chemical management, including under the Stockholm Convention. Environmental monitoring is critical to assess POPs pollution, guide political prioritization, and evaluate the Convention’s effectiveness. Through enhanced understanding of key environmental processes, Environmental Specimen Banking is expected to increasingly support monitoring activities and, thus, the goals of the Stockholm Convention. It is essential to promote specimen banks' development and sustainability, foster international collaboration on technical issues, and establish agreed-upon solutions. GMP can play a valuable role in supporting these efforts.

Appendix I: Description of important parameters for the determination of POPs in air, human blood and breast milk

- This chapter largely draws from recommendations for POPs analysis developed under the UNEP/GEF project “Assessment of Existing Capacity and Capacity Building Needs to Analyse POPs in Developing Countries”.

- Laboratories may adopt published methods for sample extraction, cleanup, and analysis, but these methods must be validated within the laboratory. The basic requirements include:

- Competency: The laboratory must demonstrate sufficient infrastructure, appropriate instrumentation, and qualified staff to perform specific analyses;

- Method validation: All analytical methods, including in-house methods, must be validated;

- Standard operating procedures (SOPs): SOPs for validated methods should be established, detailing all laboratory equipment and consumables;

- Quality criteria for QA/QC: SOPs should specify quality assurance and quality control criteria, such as blank sample analysis, use of reference materials, signal-to-noise ratio, and system sensitivity.

- Sampling

- The goal of any sampling activity is to collect a sample that meets the study’s objectives. Ensuring sample representativeness and integrity throughout the sampling process is essential, along with quality requirements for equipment, transportation, standardization, and traceability. All sampling procedures should be agreed upon and documented before starting a sampling campaign;

- While full accreditation for sampling may be costly, quality assurance and quality control (QA/QC) procedures for sampling should still be implemented.

General sampling procedures

General sampling procedures include:

- Preparation of sampling equipment(s), eventually shipment of samplers;

- Establishment of criteria for acceptance of samples at the laboratory;

- Establishment of standard operation procedures for sampling;

- Establishment of quality assurance procedures, e.g., field blanks, chain-of-custody;

- Establishment of field blank procedures.

Infrastructure and set-up

Sampling indispensable requirements include:

- Equipment: Adequate sampling instruments according to the type of matrix and POP;

- Materials: Sampling instrumentation that is analyte-compatible, including utensils, containers, etc. (stainless steel-glass, glass ware, etc.);

- Personal protection: Those in charge of the sampling must wear adequate protection outfits depending on the type of samples they will work;

- Sample blanks: These allow for the assessment of potential contamination;

- Preservation: Samples and sample blanks are preserved according to matrix and type of POP requirements;

- Transportation: Adequate transportation that minimizes the possibility to contaminate the sample, ensuring its integrity and conservation until it reaches the laboratory in charge of the analysis;

- Availability of “in situ” monitoring equipment: To measure relevant environmental parameters according to each environment. The environmental conditions should be registered;

- Geo-referencing and photographic registers: Availability of GPS to locate sampling sites with precision and ensure future location of the site;

- Standardized protocol: Well-established sampling procedures have to be applied. Such sampling protocols have been developed by institutions or organizations such as ASTM (American Society for Testing and Materials), EC (European Commission), US-EPA (Environmental Protection Agency), GEMS (Global Environment Monitoring System), WHO (World Health Organization) and UNEP (United Nations Environment Programme);

- Labelling: Unambiguous labels are needed;

- Interview protocol: May be needed for human samples;

- Approval from an ethical committee: May be needed for human samples;

- Interface between sampling personnel and analytical laboratory: Close cooperation is crucial between project planners, the samplers, the analytical laboratory, and data users;

- Training of personnel: Personnel should be sufficiently trained and familiarized with the sampling techniques;

- Storage capacity: The laboratory must have an adequate storage capacity, i.e., refrigerators or freezers at sufficiently low and stable temperatures, to ensure the integrity of the samples. These temperatures should be monitored constantly and documented;

- Waste Treatment: Consideration of suitable treatment/handling of the waste generated during the sampling.

Standard operating procedure (SOP)

A standard operating procedure (SOP) has to be established for each type of matrix. In these SOPs the following requirements must be addressed:

- The objective of the sampling exercise, including sampling protocols and specifications;

- Sample size in accordance with the analytical requirements and limitations in order to meet regulations or other objectives as given in the study;

- Description and geographic location of the sampling sites, preferentially with GPS coordinates;

- Guidelines for representative samples;

- Criteria for composite samples, e.g., number of sub-samples, homogenization;

- Description of field blank procedures;

- Date, time of the sample taking;

- Conditions during sampling;

- Time intervals between sampling exercises;

- Specifications for the sampling equipment, including the operating, maintenance, and cleaning procedures (glassware can be cleaned by heating the glass to 300 °C over night);

- Identity of the person(s) who has taken the sample;

- Full description of sample characteristics;

- Labeling (sample numbers should be assigned in the protocol and prepared labels taken into the field);

- Labeling of samples (in the field) and sample registration for further follow-up;

- Indication of expected level of POP concentration in the sample;

- Any additional observation that may assist in the interpretation of the results;

- Quality assurance procedures to prevent cross-contamination;

- The SOP should also contain a section with details on personal protective equipment that must be worn and listing of other safety concerns as appropriate. Such SOPs have been developed by institutions and organizations such as UNEP (UNEP 2017a, b, c, d, UNEP 2018).

Sub-contracting a sampling laboratory

- No general recommendation can be given with respect to who should perform the sampling. For certain matrices, e.g., human blood, a specialist, i.e., medical doctor or nurse, has to take the sample. There are pros and contras for sub-contracting a laboratory specialist in sample taking. Sub-contracting the sampling can be an advantage to the laboratories that don’t have the required personnel and equipment, but the laboratory must be sure that the sampling was taken established quality assurance and quality control (QA/QC) conditions;

- In case a laboratory is sub-contracted to take the sample, it is recommended that the analytical laboratory establishes and provides the sampling protocol. Those in charge of the sampling process must apply security seals, as well as follow the preservation criteria to guarantee the integrity of the sample during transportation.

Transport and storage

The SOP also includes the requirements for transport and storage. More specifically, these are:

- Transport and storage conditions for each sample matrix including adequate facilities and infrastructure to be provided, e.g., freezers;

- Preservation of integrity of samples during transport (temperature, light, etc.);

- Provisions for adequate storage, including:

- Registry of the performance of refrigerators and freezers, e.g., registration and control of temperature;

- Availability of automatic power-supply equipment in case of power cuts;

- There may be limits in storage times, temperature and other conditions;

- Preservation of individual samples for their re-analysis (counter-sample);

- Pre-analytical treatment of the sample: statistical criteria to obtain sub-samples and composite samples (pools) that are representative; homogenization of solids and tissue.

Note: there may be requirements for shipment to be addressed and respected. Especially in the case of international shipment, considerations for transport and customs’ clearance must be taken into account since restrictions may exist.

Analysis

Key steps to be considered are:

- Procedures and acceptance criteria for handling and preparation of the sample in the laboratory;

- Standard QA/QC procedures must be followed by the laboratory; accreditation is recommended;

- Participation at international intercalibration studies, analysis of certified or laboratory reference materials are essential.

- Protocols were developed for the sampling and analyses of POPs in abiotic and biotic matrices under the UNEP/GEF GMP projects (UNEP 2014 a, b, UNEP2015a, b, c), which could be used as examples.

Set-up and infrastructure

In order to guarantee preservation of the samples, control of potential cross-contamination, standardization of the technique, calibration, and good maintenance of instruments, the requirements listed below are considered indispensable. In general, the laboratory should be clean and safe, well organized, and have adequately trained staff to conduct the analysis. Having implemented the above mentioned measures may allow for accreditation. The requirements include:

- General laboratory environmental conditions should ensure enough laboratory space for each step of the analysis and avoid interference between individual samples. This includes:

- Physical separation of standards and samples;

- Expected POP concentration (minimize cross-contamination by separating highly contaminated samples from low contamination samples);

- Control of temperature and provision of air-conditioning;

- Availability of extraction hoods;

- Handling area of inflammable products;

- Provisions for laboratory waste disposal;

- Facilities such as refrgerator for storage of samples.

- Ensure and document the custody chain of the sample: verify the integrity and preservation of the samples (maintenance) in terms of temperature, containers, labels, registry, those responsible at each stage, establishment of acceptance criteria (conditions as well as quantity of material, according to analyte and matrix);

- Separation of aliquots: In the case of complementary analysis (for example, fat determinations) prior to the freezing of the sample;

- Selection and validation of the analytical method: Use method validation protocol according to the type of analyte and matrix (selectivity, repeatability, ability to reproduce, extraction efficiency, recovery, detection limit, quantification limit, uncertainty). Quality of solvents and reagents (blanks). Clean glass material (avoid cross-contamination). Maintenance and calibration of auxiliary equipment (stoves, scales, test tubes, pipettes, glassware). Protocols and procedures must be clearly described and documented.

Extraction

There are various methods for extraction, which include Soxhlet, solid phase, liquid-liquid, and pressurized extractions. Detailed guidance can be found in Chapter 5. After extraction, the extract will be concentrated. In order to do so, the technique should be optimized to avoid excessive loss of the analyte. Typically, this step includes: evaporation under vacuum or with nitrogen (Note: control of temperature, flow of nitrogen, and vacuum are essential). Complete drying of the extract should be avoided; the possibility of adding a high boiling compound as a “keeper” may be considered.

- Before or during extraction, water, lipids, proteins, and sulfur should be eliminated. This can be done by:

- Elimination of water by drying of the sample with sodium sulphate or equivalent demonstrated acceptable drying procedure;

- Elimination of lipids with sulphuric acid or permeation in gels after extraction;

- Denaturation of proteins with oxalate;

- Elimination of sulphur with activated copper or by gel permeation after extraction;

- Purity of extraction solvents is also a major consideration. Only high purity glass distilled solvents should be used;

- Extraction should be standardized with respect to extraction times, type of solvent, and performance of auxiliary equipment;

- Before extraction, internal standards should be added to control the extraction efficiency;

- The recoveries of the extraction standards differ with POP to be analyzed and matrix. Based on current experiences (from international calibration studies) as a general rule:

- For PCBs and pesticides: 80 %-120 % (for tetra- and penta-chlorinated PCB recoveries down to 60 % can be accepted);

- For PCDDs/Fs: 50 %-130 % (for hepta- and octa-chlorinated PCDDs/Fs 40 %-150 % can be accepted).

- The extracts not used in the analysis can be stored, preferably in glass ampoules, at 20°C.

Clean-up

- Clean-up is done to remove interfering substances/materials from the analyte in order to obtain unambiguous results. Purification should be efficient enough so that the chromatographic retention is not influenced by the matrix (especially when no labelled internal standards are used or no mass-specific detector is available).

- Clean-up is performed with various combinations of adsorbents and solvents depending on selectivity, conditioning and column flow. During purification the following aspects need to be controlled or maintained:

- An internal standard is added at a concentration giving a signal/noise ratio of at least 20/1, with fixed concentrations of internal standards from sample to sample in order to obtain adequate response factors;

- Control fraction cut.

Separation

Separation of POPs is conducted using gas chromatography with electronic capture detector (ECD), mass selective detector (MS detector) or, if available, high-resolution mass spectrometry (HRMS or MS/MS). Other separation techniques, such as high-pressure liquid chromatography (HPLC), have not been found adequate except for PFASs.

- In general, an appropriate stationary phase has to be selected and enough peak separation must be achieved to allow accurate quantification (general numeric criteria cannot be given, but the use of capillary columns with lengths of 30-60 m, internal diameters of 0.15-0.25 mm, a film thickness of 0.1-0.3 µm and helium or hydrogen as a carrier gas should ensure sufficient resolution) (note: hydrogen cannot be used together with MS detection);

- Separation of critical pairs of compounds has to be verified, e.g., pairs of PCB 28 and 31, 118 and 149; in dioxin analysis separation of PCDDs/Fs from polychlorinated diphenyl ethers (PCDE) should be checked;

- Helium, compared to nitrogen, gives a better choice to achieve the desired separation of pesticide POPs and PCB. The best carrier gas to achieve the required separation is hydrogen but it has some safety risk. If all the precautions and safety procedures are in place a hydrogen generator may be considered;

- Sample clean-up procedures should be efficient to prevent contamination of the detector;

- For PCB analysis and ECD detection, a minimum of two internal standards - one eluting at the beginning and one at the end of the chromatogram – should be used. It is recommended to also use one PCB congener that elutes in the middle of the chromatogram. Thus, the following three congeners are recommended: PCB #112, #155, and #198. These three congeners are quite stable and typically not found in commercial PCB mixtures. Note: decachlorobiphenyl (PCB #209) is not recommended because it tends to precipitate easily in standard solutions and due to long retention times, the peaks tend to be broad and have tailings. PCB #209 has also been identified in environmental samples and could not be quantified if this congener is selected as an internal standard;

- Adequate handling and preservation of all standards and reference materials.

Injection

- It is important to:

- Ensure cleanliness of injector (deactivated glass insert, evaluate activity with an acceptance criterion, for example, for DDE/DDT < 20 %);

- Verify the split/splitless relation, flows and state of septum;

- Ensure repeatability (for example, criterion < 5 %);

- Verify chromatographic conditions, including:

- Resolution, symmetric peak shape;

- Reproducibility of retention times;

- Purity of gases;

- Use of second column of different polarity as confirmation column;

- Verification of the linear range of the instrument;

- Registration and traceability of services and performance of equipment.

Identification

The information available to identify the compounds eluted from the gas chromatographic column depends on the type of detector being used. The following criteria may generally be used:

- Retention time should match between sample and internal standard;

- Confirmation of peaks can be performed on a second column with different polarity;

- Matrix spikes (or co-injection) are recommended to verify components and check the quantification;

- For HRGC-ECD combinations, the following specific recommendations are given: Retention time ± 0.2 min;

- For HRGC-MS detection combinations, the following specific recommendations are given:

- Positive identification should be done on isotopic ratios within 20 % of theoretical value;

- For positive identification with MS detection, the retention time of the labelled internal standard to the native compound should be within 3 seconds;

- The use of MS libraries is useful (if full scan).

Quantification

In general, quantification of the analyte should be done according to the internal standard methodology. For PCDDs/Fs and dioxin-like PCB, typically additional requirements are needed. The following requirements are considered to be indispensable:

- At least one standard representative for the POPs analyte group analyzed should be added at the normal level of quantification;

- For quantification it must be assured that the concentration of the compounds is within the previously determined linear range of the detector (Note: Not necessary when multi-level calibration is performed!);

- Integration: select the baseline level and the adequate signal to noise relation of integration according to the type of sample, verify the general form of the chromatogram, the form of the peaks and manually verify integration;

- Verification that the concentration of blanks is significantly lower than the samples; recommendation: < 10%;

- Noise should be defined as close as possible to the peak of interest;

- At least 10 data-points should be sampled across a peak for quantification (Note: some instruments do so automatically).

Calibration

- Labelled internal standards are an added value;

- Multi-point calibrations should be carried out;

- Daily calibration checks in connection with analyzing a series of samples should be done (for large batches calibration drifts have to be checked during the run);

- Suitable laboratory reference material should be used to verify the performance.

Reporting

Data compilation and reporting together with data storage are the final steps in analysis. The report form must include:

- Date, name of the sample and description, method used, the name of staff that has performed analysis, and signature of person in charge of the POPs laboratory;

- Only SI units (International System) should be used and should be verified before clearing the report;

- Clear references to the basis for the concentration must be given, e.g., fresh weight, lipid weight, or volume;

- Data below the LOQ but above the LOD should be reported as "LOD-LOQ”, data below LOD as “<LOD”;

- Recovery efficiency should be reported;

- Measured or estimated information on the uncertainty in the results should be made available;

- Reporting values should not be corrected for percentage of recovery;

- It should be demonstrated that the blank is 10-times lower than the value that is reported. Reporting values should not be corrected by laboratory blanks (Note: There may be high fluctuations for laboratories' blanks, e.g., for PCB 118). Handling of all blanks needs written documentation; in the case of high laboratory blanks; handling of such cases and justification should be clearly indicated in the SOP.

Definitions

- Limit of detection and limit of quantification are defined as follows:

- LOD should be 3 times the noise;

- LOQ should be 3 times the LOD.

- Results for sum parameters where one or several individual compounds are <LOQ should be reported as intervals with a lower bound limit calculated with the <LOQ set to 0, and the upper bond limit with <LOQ set equal to LOQ.

- There are two methods available to provide information on uncertainty:

- Quantification of uncertainty for each step;

- Overall uncertainty derived from inter- and intra-laboratory results.

Further important issues to consider

Maintenance of equipment

- The maintenance of the analytical equipment is considered as one of the most important aspects in POPs analysis. It is very expensive to have service contracts for all the maintenance and therefore it is important to train the laboratory personnel to do the basic maintenance when the QA/QC results are unacceptable;

- Laboratories must arrange for proper training, including basic maintenance, when new equipment is installed in the laboratories.

Training of laboratory staff

- Human resources are crucial for any analytical work. The following specific problems need to be addressed and resolved:

- The lack of skilled laboratory personnel to conduct the analytical work has been identified as one of the critical problems;

- Gender integration and partipacipation of under represented groups are encouraged in the monitoring activities

- The training requirements. Two levels of training exist:

- Training of people to follow the analytical procedures and to report the results;

- Training of people to do troubleshooting and conduct the necessary maintenance when the QA/QC criteria fail;

- Countries with experienced personnel should assist other countries with training of laboratory personnel;

- There is a need in the region for training courses and annual training workshops for the transfer of technology know-how.

- There is a need in the region for training courses and guidelines on data handling, management and interpretation.

Housing

For POPs analytical laboratories there are certain requirements as to housing. These include:

- Proper environmental conditions (humidity is a most critical factor) for instrumental analysis but also for sample preparation;

- Temperature control for carrier gases such as helium, hydrogen and nitrogen used with ECD, GC-MS(/MS) and LC-MS(/MS). Gas cylinders or generators must be secured and leak-checked;

- Ventilition to ensure cooling and airflow; enhanced ventilation for additional head dissipation should be considered for GC-MS/MS;

- Secure space for the instrument and servicing access; avoid direct sunlignt and hear sources;

- Minimization of vibration (most important for HRMS instruments);

- At certain locations where the incoming air has to be cleaned. Ideally this would involve a well ventilated lab with air pre-filtered through HEPA (HEPA Corporation) and carbon filters. The analysis of blank samples will disclose background interferences, and to identify the influence from the laboratory environment, a small volume of a solvent left in an open Petri dish for a couple of days will catch the compounds in the atmosphere;

- Occupational Health Safety venting, including vacuum system, fume hood and exhaust ventilation especially for GC-MS(/MS);

- Space for storage and handling of flammable solvents and proper waste disposal especially for LC-MS(/MS);

- Environmentally sound/safe disposal of laboratory wastes, such as containers for solvent and highly contaminated samples, must be guaranteed;

- Stable electrical supply and power backup;

- IT erquirements: High storage capacity and a secure network connection for data transfer and storage.

Appendix II: Air monitoring sites

Part 1. Air monitoring sites

Table 1: Global POP air monitoring network contacts

| Name |  | Contact | Institution | Email |
| --- | --- | --- | --- | --- |
| Australian POPs Network |  | To be confirmed | Department of the Environment and Energy (Australia) |  |
| Chinese POPs Network |  | Minghui Zheng | Chinese Academy of Sciences | zhengmh@rcees.ac.cn |
| East Asian POPs Network |  | Yoshikatsu Takazawa | National Institute for Environmental Studies (Japan) | takazawa@nies.go.jp |
| Spanish POPs Network |  | To be confirmed | National Reference Centre on POPs (Spain) |  |
| EMEP | European Monitoring and Evaluation Program | Pernilla Bohlin-Nizzetto | Norwegian Institute for Air Research | pernilla.bohlin.nizzetto@nilu.no |
| GAPS | Global Atmospheric Passive Sampling Network | Tom Harner | Environment and Climate Change Canada | tom.harner@canada.ca |
| GLB | Monitoring & Surveillance in the Great Lakes Basin | Hayley Hung | Environment and Climate Change Canada | hayley.hung@canada.ca |
| IADN | Integrated Atmospheric Deposition Network | Ron Hites | Indiana University (United States) | hitesr@indiana.edu |
| LAPAN | Latin America Passive Air Network | Gilberto Fillmann | Universidade Federal do Rio Grande (Brazil) | gfillmann@gmail.com |
| MONET | Monitoring Network | Jana Klánová | RECETOX, Masaryk University (Czech Republic) | klanova@recetox.muni.cz |
| NCP | Northern Contaminants Program | Hayley Hung | Environment and Climate Change Canada | hayley.hung@canada.ca |
| TOMPS | Toxic Organic Micro Pollutants | Andrew Sweetman | Lancaster University (United Kingdom) | a.sweetman@lancaster.ac.uk |

Table 2: Air monitoring sites [2018] (To be updated once the air monitoring sites contributing to GMP4 are confirmed.)

| Site details |  |  |  |  |  |  |  | Sampling details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Network | Country | Name | Network ID | Background Type | Latitude | Longitude | Elevation | Sampler | Type | Volume | Duration | Frequency | Since |
| AFRICA |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GAPS | Egypt | Cairo | - | - | 30.014056 | 31.486028 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Kenya | Mt. Kenya | AF07 | Remote | -0.062200 | 37.297199 | 3678 | Passive | PUF | - | 3 months | 3 months | 2009 |
| GAPS | Kenya | Nairobi | - | - | -1.292066 | 36.821946 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Nigeria | Lagos | - | - | 6.524379 | 3.379206 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Nigeria | Yaba, Lagos | AF10 | - | 6.500501 | 3.366604 | 8 | Passive | PUF | - | 3 months | 3 months | 2016 |
| GAPS | South Africa | Cape Point | AF12 | - | -34.350000 | 18.483000 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | South Africa | De Aar | AF04 | Rural | -30.665003 | 23.993001 | 1287 | Passive | PUF | - | 3 months | 3 months | 2004 |
| MONET | Ghana | Ghana A | 3193 | - | 8.146740 | -1.154304 | - | Active | PUF | - | 1 week | 1 week | 2014 |
| MONET | Kenya | Chiromo Campus (Nairobi) | 3179 | - | -1.271917 | 36.804000 | - | Active | PUF | - | 1 week | 1 week | 2014 |
| MONET | Congo | Brazzaville | 183 | Urban | -4.281278 | 15.243640 | 298 | Passive | PUF | - | 3 months | 3 months | 2008 |
| MONET | Ethiopia | Asela | 198 | Urban | 7.950000 | 39.116670 | 2327 | Passive | PUF | - | 3 months | 3 months | 2008 |
| MONET | Ghana | Abetefi | 780 | - | 6.683330 | -0.750000 | 594 | Passive | PUF | - | 3 months | 3 months | 2010 |
| MONET | Kenya | Mt. Kenya | 221 | Remote | -0.030000 | 37.220000 | 3678 | Passive | PUF | - | 3 months | 3 months | 2008 |
| MONET | Mauritius | Reduit | 246 | Suburban | -20.233200 | 57.498490 | 310 | Passive | PUF | - | 3 months | 3 months | 2008 |
| MONET | Morocco | Morocco Observatory | 4026 | - | 33.925000 | -6.758000 | - | Passive | PUF | - | 3 months | 3 months | 2014 |
| MONET | Nigeria | Sheda | 267 | Suburban | 8.881000 | 7.062167 | 229 | Passive | PUF | - | 3 months | 3 months | 2008 |
| EAST ASIA & PACIFIC |  |  |  |  |  |  |  |  |  |  |  |  |  |
| China | China | Changdao | B2 | Remote | 37.989720 | 120.695600 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2008 |
| China | China | Chengde | B10 | Remote | 41.119720 | 116.494400 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2008 |
| China | China | Chongqing | U1 | Urban | 29.645560 | 106.561900 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2012 |
| China | China | Daxinganling | B8 | Remote | 50.880830 | 121.249700 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2008 |
| China | China | Hong Kong | - | Urban | 22.267200 | 114.187900 | - | Active | - | - | - | - | 1998 |
| China | China | Lasa | B5 | Remote | 29.353610 | 90.742220 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2008 |
| China | China | Lijiang | B6 | Remote | 26.881670 | 100.250000 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2008 |
| China | China | Luan | B4 | Remote | 31.551390 | 116.160000 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2008 |
| China | China | Nanjing | U3 | Urban | 32.043060 | 118.745600 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2012 |
| China | China | Qinghaihu | B11 | Remote | 36.583890 | 100.493300 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2008 |
| China | China | Qingyuan | B1 | Remote | 41.852220 | 124.937800 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2008 |
| China | China | Rizhao | R1 | Rural | 35.693610 | 119.314400 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2012 |
| China | China | Shennongjia | B7 | Remote | 31.457220 | 110.271100 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2011 |
| China | China | Wuhan | U2 | Urban | 29.972220 | 114.160000 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2012 |
| China | China | Wulong | B9 | Remote | 29.510830 | 107.746400 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2008 |
| China | China | Wuyishan | B3 | Remote | 27.586670 | 117.730000 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2011 |
| China | China | Yangshuo | R2 | Rural | 24.792500 | 110.510000 | - | Active | PUF | ~300 m³/d | 3+ days | 1 year | 2012 |
| East Asia | Cambodia | Sihanoukville | - | - | 10.633333 | 103.516667 | 130 | Active | PUF | - | - | - | 2009 |
| East Asia | Indonesia | Kototabang | - | Remote | -0.202300 | 100.317900 | 864 | Active | PUF | - | - | - | 2012 |
| East Asia | Japan | Hedo / Cape Hedo, Okinawa | - | Remote | 26.870000 | 128.260000 | 37 | Active | PUF | ~1000 m³/d | 3 days | 1 month | 2009 |
| East Asia | Laos | Na Long Koun Village | - | Remote | 18.295800 | 102.269400 | 174 | Active | PUF | - | - | - | 2011 |
| East Asia | Malaysia | Batu Embun | - | Remote | 3.971000 | 102.347800 | 77 | Active | PUF | - | - | - | 2009 |
| East Asia | Mongolia | Terelj | - | High altitude | 47.983300 | 107.450000 | 1560 | Active | PUF | - | - | - | 2013 |
| East Asia | Philippines | Sto Tomas Mountain | - | High altitude | 16.358100 | 120.557600 | 2040 | Active | PUF | - | - | - | 2011 |
| East Asia | South Korea | Cheju / Jeju Island | - | Remote | 33.170000 | 126.100000 | 24 | Active | PUF | ~1000 m³/d | 3 days | 1 month | 2009 |
| East Asia | Vietnam | Tam Dao | - | Remote | 21.460000 | 105.650000 | 934 | Active | PUF | ~1000 m³/d | 3 days | 3 months | 2009 |
| GAPS | China | Beijing | - | - | 39.904200 | 116.407396 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | India | Kolkata | - | - | 22.572646 | 88.363895 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | India | New Delhi | - | - | 28.588493 | 77.227582 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Indonesia | Bukit Kototabang | AS13 | - | 0.200000 | 100.320000 | 864 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Japan | Tokyo | - | - | 35.689488 | 139.691706 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Kuwait | Abdaly | AS21 | - | 29.978833 | 47.706333 | 52 | Passive | PUF | - | 3 months | 3 months | 2007 |
| GAPS | Malaysia | Danum Valley | AS12 | - | 4.981390 | 117.843610 | 426 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Maldives | Hanimaadhoo | AS28 | - | 6.776300 | 73.183300 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Philippines | Manila | AS11 | Urban | 14.651944 | 121.068889 | 74 | Passive | PUF | - | 3 months | 3 months | 2005 |
| GAPS | South Korea | Gosan, Jeju Island | AS19 | - | 33.293611 | 126.162778 | 49 | Passive | PUF | - | 3 months | 3 months | 2007 |
| GAPS | Sri Lanka | Wilgamuwa | AS27 | - | 7.521880 | 80.952994 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Thailand | Bangkok | - | - | 13.723528 | 100.521611 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| AUSTRALIA, CANADA, NEW ZEALAND & UNITED STATES |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Australia | Australia | Aspendale, VIC | - | - | -38.024167 | 145.102500 | 8 | Active | PUF | - | - | - | 2010 |
| Australia | Australia | Cape Grim, TAS | CPG | - | -40.682778 | 144.690000 | 94 | Active | PUF | - | - | - | 2010 |
| Australia | Australia | Darwin, NT | DAR | - | -12.412500 | 130.920278 | 30 | Active | PUF | - | - | - | 2010 |
| Australia | Australia | Alice Springs, NT | ALI | - | -23.795100 | 133.889000 | 547 | Passive | XAD | - | 1 year | 1 year | 2013 |
| Australia | Australia | Aspendale, VIC | - | - | -38.024261 | 145.102581 | 8 | Passive | XAD | - | 1 year | 1 year | 2013 |
| Australia | Australia | Barossa, SA | BAR | - | -34.468775 | 139.008506 | 284 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Brisbane, QLD | BRI | - | -27.498964 | 153.036683 | 20 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Burdekin, QLD | BUR | - | -19.570755 | 147.323655 | 11 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Cape Grim, TAS | CPG | - | -40.682667 | 144.689827 | 85 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Condamine - Brookstead, QLD | CON | - | -27.785975 | 151.427762 | 381 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Condamine - Dalby, QLD | CON | - | -27.149695 | 151.273949 | 348 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Condamine - Toowoomba, QLD | CON | - | -27.534962 | 151.929945 | 647 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Condamine - Warwick, QLD | CON | - | -28.206043 | 152.100084 | 480 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Darwin, NT | DAR | - | -12.412600 | 130.920200 | 43 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Dunk Island, QLD | DUN | - | -17.936431 | 146.137049 | 15 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Giles, WA | GIL | - | -25.033818 | 128.302543 | 599 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Gladstone, QLD | GLA | - | -23.857391 | 151.269755 | 12 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Gunn Point, NT | GPO | - | -12.249128 | 131.044433 | 28 | Passive | XAD | - | 1 year | 1 year | 2014 |
| Australia | Australia | Gunnedah, NSW | GUN | - | -31.026064 | 150.273329 | 287 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Halls Creek, WA | HAL | - | -18.229200 | 127.663600 | 425 | Passive | XAD | - | 1 year | 1 year | 2013 |
| Australia | Australia | Heron Island, QLD | HER | - | -23.443058 | 151.914130 | 8 | Passive | XAD | - | 1 year | 1 year | 2012 |
| Australia | Australia | Idalia National Park, QLD | IDA | - | -24.891205 | 144.684637 | 379 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Kakadu - East Alligator, NT | KEA | - | -12.493074 | 132.982979 | 128 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Kakadu - Mary River, NT | KMR | - | -13.778912 | 131.870613 | 190 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Kalbarri - National Park, WA | KLB | - | -27.810367 | 114.464558 | 206 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Kalbarri - Park HQ, WA | KLB | - | -27.695068 | 114.182195 | 19 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Kalgoorlie, WA | KLG | - | -30.750840 | 121.463050 | 367 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Karratha - Airport, WA | KAR | - | -20.708558 | 116.774347 | 8 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Karratha - Office/Town, WA | KAR | - | -20.737036 | 116.845720 | 17 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Kununurra - Middle Springs, WA | KUN | - | -15.633765 | 128.669735 | 61 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Kununurra - Town Centre, WA | KUN | - | -15.653384 | 128.706960 | 37 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Lockyer Valley - Gatton, QLD | LKV | - | -27.544028 | 152.330053 | 94 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Mackay - Cannonvale, QLD | CAN | - | -20.279770 | 148.692450 | 24 | Passive | XAD | - | 1 year | 1 year | 2016 |
| Australia | Australia | Mackay - Eungella, QLD | EUN | - | -21.145467 | 148.499132 | 772 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | McLaren Vale, SA | MCV | - | -35.177022 | 138.543055 | 139 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Melbourne, VIC | MEL | - | -37.808717 | 144.965045 | 44 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Merredin, WA | MER | - | -31.481244 | 118.276466 | 322 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Mildura, VIC | MIL | - | -34.219114 | 142.191915 | 59 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Mullewa, WA | MUL | - | -28.540069 | 115.512733 | 277 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Narangba, QLD | NAR | - | -27.199004 | 153.001643 | 19 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | New Town - Hobart, TAS | NEW | - | -42.861519 | 147.304045 | 50 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | North Haven Adelaide, SA | NHA | - | -34.791293 | 138.497778 | 6 | Passive | XAD | - | 1 year | 1 year | 2017 |
| Australia | Australia | One Tree Island, QLD | OTI | - | -23.506642 | 152.091731 | 2 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Orpheus Island, QLD | ORP | - | -18.615187 | 146.488255 | 10 | Passive | XAD | - | 1 year | 1 year | 2013 |
| Australia | Australia | Perth - Duncraig, WA | PER | - | -31.833087 | 115.783525 | 18 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Phillip Island, VIC | PHI | - | -38.473552 | 145.236614 | 38 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Snowy Mountains, NSW | SNM | - | -36.414981 | 148.622075 | 927 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Stradbroke Island, QLD | NSI | - | -27.436486 | 153.545621 | 28 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Sydney 1 - Rozelle, NSW | ROZ | - | -33.864048 | 151.164026 | 27 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Sydney 2 - Homebush, NSW | HBB | - | -33.823266 | 151.083267 | 1 | Passive | XAD | - | 1 year | 1 year | 2010 |
| Australia | Australia | Tatura, VIC | TAT | - | -36.439960 | 145.267308 | 114 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Tully, QLD | TUL | - | -17.746389 | 146.050555 | 13 | Passive | XAD | - | 1 year | 1 year | 2011 |
| Australia | Australia | Uluru, NT | ULU | - | -25.370556 | 130.997778 | 533 | Passive | XAD | - | 1 year | 1 year | 2011 |
| GAPS | Australia | Cape Grim | WE23 | Remote | -40.683619 | 144.700932 | 71 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Australia | Darwin | WE22 | Rural | -12.370667 | 130.864500 | 8 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Australia | Sydney | - | - | -33.868820 | 151.209296 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Canada | Alert, NU | WE01 | Polar | 82.450133 | -63.503967 | 0 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Canada | Bratts Lake, SK | WE05 | Remote | 50.200833 | -104.710278 | 595 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Canada | Coral Harbour, NU | WE42 | - | 64.133333 | -83.166667 | 9 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Canada | Downsview, ON | WE09 | Urban | 43.781111 | -79.468333 | 184 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Canada | Egbert / CARE Station, ON | WE47 | Rural | 44.233000 | -79.783000 | 242 | Passive | PUF | - | 3 months | 3 months | 2013 |
| GAPS | Canada | Fraserdale, ON | WE32 | - | 49.883333 | -81.566667 | 166 | Passive | PUF | - | 3 months | 3 months | 2007 |
| GAPS | Canada | Little Fox Lake, YT | WE25 | Polar | 61.349996 | -135.633337 | 1072 | Passive | PUF | - | 3 months | 3 months | 2006 |
| GAPS | Canada | Longwoods, ON | WE45 | Rural | 42.883333 | -81.480556 | 237 | Passive | PUF | - | 3 months | 3 months | 2013 |
| GAPS | Canada | Mount Revelstoke, BC | WE43 | - | 51.070030 | -118.108719 | 1917 | Passive | SIP | - | 1 year | 1 year | 2009 |
| GAPS | Canada | Sable Island, NS | WE34 | - | 43.560000 | -60.010000 | 4 | Passive | PUF | - | 3 months | 3 months | 2007 |
| GAPS | Canada | Toronto | - | - | 43.658952 | -79.395595 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Canada | Ucluelet, BC | WE33 | - | 48.933333 | -125.516667 | 14 | Passive | PUF | - | 3 months | 3 months | 2007 |
| GAPS | Canada | Warsaw Caves, ON | WE46 | Rural | 44.463889 | -78.130556 | 226 | Passive | PUF | - | 3 months | 3 months | 2013 |
| GAPS | Canada | Whistler, BC | WE06 | - | 50.058333 | -122.956944 | 2180 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | New Zealand | Temple Basin, Arthurs Pass | WE39 | - | -42.908889 | 171.574722 | 1345 | Passive | PUF | - | 3 months | 3 months | 2009 |
| GAPS | United States | Barrow, AK | WE02 | Polar | 71.320000 | -156.600000 | 5 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | United States | Dyea, AK | WE26 | Polar | 59.520396 | -135.350135 | 23 | Passive | PUF | - | 3 months | 3 months | 2006 |
| GAPS | United States | Groton, CT | WE40 | - | 41.316710 | -72.066698 | 4 | Passive | PUF | - | 3 months | 3 months | 2009 |
| GAPS | United States | Mauna Loa Obs, Hilo, HI | WE37 | - | 19.540000 | -155.580000 | 3319 | Passive | PUF | - | 3 months | 3 months | 2007 |
| GAPS | United States | New York City | - | - | 40.712775 | -74.005973 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | United States | Point Reyes, CA | WE35 | - | 38.041550 | -122.794370 | 37 | Passive | PUF | - | 3 months | 3 months | 2007 |
| GAPS | United States | St. Lawrence Island, AK | WE03 | Polar | 63.696791 | -170.498002 | 4 | Passive | PUF | - | 3 months | 3 months | 2005 |
| GAPS | United States | Tula, American Samoa | WE38 | - | -14.240000 | -170.570000 | 42 | Passive | PUF | - | 3 months | 3 months | 2007 |
| GLB | Canada | Georgian Bay Island National Park | - | - | 44.847700 | -79.864300 | - | Passive | PUF | - | 3 months | 3 months | 2013 |
| GLB | Canada | Gros Cap | - | - | 46.541600 | -84.591800 | - | Passive | PUF | - | 3 months | 3 months | 2013 |
| GLB | Canada | Manitoulin Island/Evansville | - | - | 45.819300 | -82.651500 | - | Passive | PUF | - | 3 months | 3 months | 2013 |
| GLB | Canada | Point Pelee | - | - | 41.966700 | -82.532800 | - | Passive | PUF | - | 3 months | 3 months | 2013 |
| GLB | Canada | Georgian Bay Island National Park | - | - | 44.847700 | -79.864300 | - | Passive | XAD | - | 1 year | 1 year | 2013 |
| GLB | Canada | Gros Cap | - | - | 46.541600 | -84.591800 | - | Passive | XAD | - | 1 year | 1 year | 2013 |
| GLB | Canada | Manitoulin Island/Evansville | - | - | 45.819300 | -82.651500 | - | Passive | XAD | - | 1 year | 1 year | 2013 |
| GLB | Canada | Point Pelee | - | - | 41.966700 | -82.532800 | - | Passive | XAD | - | 1 year | 1 year | 2013 |
| GLB/IADN | Canada | Point Petre | - | Rural | 43.833300 | -77.150000 | 78 | Active | PUF | ~350 m³/d | 24 hr | 36 days | 1992 |
| IADN | United States | Chicago | - | Urban | 41.834400 | -87.624720 | 199 | Active | XAD | ~815 m³/d | 24 hr | 12 days | 1996 |
| IADN | United States | Cleveland | - | Urban | 41.492100 | -81.678500 | 204 | Active | XAD | ~815 m³/d | 24 hr | 12 days | 2003 |
| IADN | United States | Eagle harbor | - | Remote | 47.459700 | -88.149200 | 185 | Active | XAD | ~815 m³/d | 24 hr | 12 days | 1990 |
| IADN | United States | Sleeping Bear Dunes | - | Remote | 44.761100 | -86.058610 | 241 | Active | XAD | ~815 m³/d | 24 hr | 12 days | 1991 |
| IADN | United States | Sturgeon Point | - | Rural | 42.692800 | -79.038900 | 54 | Active | XAD | ~815 m³/d | 24 hr | 12 days | 1991 |
| NCP | Canada | Alert, NU | - | - | 82.450133 | -63.503967 | - | Active | PUF | - | - | - | 1992 |
| NCP | Canada | Cambridge Bay, NU | - | - | 69.133333 | -105.050000 | - | Passive | PUF | - | 3 months | 3 months | 2017 |
| NCP | Canada | Fort Resolution, NT | - | - | 61.166667 | -113.750000 | - | Passive | PUF | - | 3 months | 3 months | 2015 |
| NCP | Canada | Inuvik, NT | - | - | 68.350000 | -133.716667 | - | Passive | PUF | - | 3 months | 3 months | 2015 |
| NCP | Canada | Iqaluit, NU | - | - | 63.740972 | -68.465833 | - | Passive | PUF | - | 3 months | 3 months | 2014 |
| NCP | Canada | Kuujjuaq, QC | - | - | 58.250000 | -68.350000 | - | Passive | PUF | - | 3 months | 3 months | 2015 |
| NCP | Canada | Nain, NL | - | - | 56.525278 | -61.724722 | - | Passive | PUF | - | 3 months | 3 months | 2015 |
| NCP | Canada | Northwest River, NL | - | - | 53.560556 | -60.137222 | - | Passive | PUF | - | 3 months | 3 months | 2017 |
| NCP | Canada | Cambridge Bay, NU | - | - | 69.133333 | -105.050000 | - | Passive | XAD | - | 1 year | 1 year | 2017 |
| NCP | Canada | Fort Resolution, NT | - | - | 61.166667 | -113.750000 | - | Passive | XAD | - | 1 year | 1 year | 2015 |
| NCP | Canada | Inuvik, NT | - | - | 68.350000 | -133.716667 | - | Passive | XAD | - | 1 year | 1 year | 2015 |
| NCP | Canada | Iqaluit, NU | - | - | 63.740972 | -68.465833 | - | Passive | XAD | - | 1 year | 1 year | 2014 |
| NCP | Canada | Kuujjuaq, QC | - | - | 58.250000 | -68.350000 | - | Passive | XAD | - | 1 year | 1 year | 2015 |
| NCP | Canada | Nain, NL | - | - | 56.525278 | -61.724722 | - | Passive | XAD | - | 1 year | 1 year | 2015 |
| NCP | Canada | Northwest River, NL | - | - | 53.560556 | -60.137222 | - | Passive | XAD | - | 1 year | 1 year | 2017 |
| EUROPE & WEST ASIA |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EMEP | Czech Republic | Košetice | CZ0003R | Rural | 49.573450 | 15.080410 | 534 | Active | PUF | ~700 m³/d | 24 h | 1 week | 2005 |
| EMEP | Finland | Pallas / Matorova | FI0036R | Polar | 68.000480 | 24.245660 | 340 | Active | - | Hi. Vol. | - | 1 week | 1996 |
| EMEP | Norway | Andoya | NO0090R | Polar | 69.278330 | 16.011670 | 380 | Active | PUF | ~500 m³/d | - | 1 week | 2009 |
| EMEP | Norway | Birkenes II | NO0002R | Remote | 58.388330 | 8.251940 | 190 | Active | PUF | ~500 m³/d | - | 1 week | 2009 |
| EMEP | Norway | Ny-Ålesund / Spitsbergen / Zeppelinfjell | NO0042G | Polar | 78.880000 | 11.883330 | 474 | Active | PUF | ~500 m³/d | 48 h | 1 week | 1993 |
| EMEP | Sweden | Aspvreten | SE0012R | Remote | 58.805800 | 17.388400 | 20 | Active | - | Hi. Vol. | - | 1 week | 1995 |
| EMEP | Sweden | Rao | SE0014R | Remote | 57.393670 | 11.914170 | 5 | Active | - | Hi. Vol. | - | 1 week | 2002 |
| GAPS | Czech Republic | Košetice | EE03 | Rural | 49.583566 | 15.083725 | 534 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Finland | Pallas / Matorova | WE30 | Polar | 68.000000 | 24.240000 | 324 | Passive | PUF | - | 3 months | 3 months | 2005 |
| GAPS | France | Paris | WE17 | Urban | 48.863950 | 2.358269 | 35 | Passive | PUF | - | 3 months | 3 months | 2005 |
| GAPS | Iceland | Storhofdi | WE14 | Remote | 63.400000 | -20.283000 | 82 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Ireland | Malin Head | WE16 | Rural | 55.371672 | -7.338988 | 18 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Norway | Ny-Ålesund / Spitsbergen / Zeppelinfjell | WE13 | Polar | 78.907250 | 11.886667 | 475 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Poland | Warsaw | - | - | 52.221611 | 21.007250 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Spain | Doñana National Park | WE41 | - | 37.053333 | -6.554167 | 35 | Passive | PUF | - | 3 months | 3 months | 2009 |
| GAPS | Spain | Izana | WE44 | - | 28.308983 | -16.499384 | 2367 | Passive | PUF | - | 3 months | 3 months | 2013 |
| GAPS | Spain | Madrid | - | - | 40.443194 | -3.684611 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Turkey | Istanbul | - | - | 41.008238 | 28.978359 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | United Kingdom | London | - | - | 51.507351 | -0.127758 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| MONET | Czech Republic | Košetice | 17 | Rural | 49.573450 | 15.080410 | 584 | Active | PUF | ~700 m³/d | 24 h | 1 week | 1989 |
| MONET | Austria | Sonnblick [EMEP] | 740 | Remote | 47.054030 | 12.957660 | 3110 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Bulgaria | Moussala [EMEP] | 743 | - | 42.179160 | 23.585280 | 2925 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Croatia | Zagreb, Siget | 203 | Suburban | 45.773530 | 15.984580 | - | Passive | PUF | - | 3 months | 3 months | 2007 |
| MONET | Cyprus | Ayia Marina [EMEP] | 744 | Rural | 35.038056 | 33.057778 | 532 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Czech Republic | Bily Kriz, Beskydy | 2 | Remote | 49.502610 | 18.538560 | 828 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Czech Republic | Brno, Lisen, CHMI station | 695 | Rural | 49.213333 | 16.678056 | 344 | Passive | PUF | - | 3 months | 3 months | 2010 |
| MONET | Czech Republic | Churanov, Sumava [EMEP] | 13 | Remote | 49.068440 | 13.614880 | 1121 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Czech Republic | Dolni Lutyne, Vernovice | 647 | Rural | 49.924722 | 18.422778 | 202 | Passive | PUF | - | 3 months | 3 months | 2010 |
| MONET | Czech Republic | Jesenik, Jeseniky | 15 | Rural | 50.242250 | 17.190220 | 625 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Czech Republic | Klet, Sumava | 16 | Remote | 48.863890 | 14.284410 | 1060 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Czech Republic | Kosetice [EMEP] | 17 | Rural | 49.573450 | 15.080410 | 503 | Passive | PUF | - | 3 months | 3 months | 2003 |
| MONET | Czech Republic | Liberec, Jested | 23 | Remote | 50.729400 | 14.987900 | 930 | Passive | PUF | - | 3 months | 3 months | 2005 |
| MONET | Czech Republic | Mikulov, Sedlec | 50 | Rural | 48.791750 | 16.724500 | 232 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Czech Republic | Planavy (Sitna nad Vlari-Popov, Planavy) | 66 | Remote | 49.047760 | 18.007810 | 561 | Passive | PUF | - | 3 months | 3 months | 2004 |
| MONET | Czech Republic | Praha, Libus, CHMI Station [EMEP] | 39 | Urban | 50.007310 | 14.446200 | 302 | Passive | PUF | - | 3 months | 3 months | 2004 |
| MONET | Czech Republic | Prebuz | 355 | Rural | 50.372500 | 12.615278 | 907 | Passive | PUF | - | 3 months | 3 months | 2008 |
| MONET | Czech Republic | Primda, Sumava | 41 | Rural | 49.669590 | 12.677850 | 704 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Czech Republic | Rudolice (Rudolice v Horach, Krusne hory) | 46 | Remote | 50.579790 | 13.419220 | 852 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Czech Republic | Rychory (Rychory, Krkonose) | 49 | Remote | 50.660460 | 15.850060 | 948 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Czech Republic | Sneznik (Decinsky Sneznik, Labske piskovce) | 11 | Remote | 50.789510 | 14.086840 | 597 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Czech Republic | Svratouch [EMEP] | 62 | Rural | 49.735070 | 16.034130 | 735 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Estonia | Lahemaa [EMEP] | 194 | Remote | 59.515280 | 25.928050 | 61 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Finland | Pallas [EMEP] | 746 | Polar | 68.000480 | 24.245660 | 340 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | France | Le Montfranc [EMEP] | 748 | Rural | 45.809990 | 2.060000 | 810 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | France | Peyrusse Vieille [EMEP] | 749 | Rural | 43.630270 | 0.179722 | 175 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Hungary | K-puszta [EMEP] | 753 | Rural | 46.967500 | 19.553060 | - | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Iceland | Storhofdi [EMEP] | 754 | Remote | 63.400000 | -20.283330 | 118 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Latvia | Rucava [EMEP] | 236 | Rural | 56.161960 | 21.173220 | 16 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Lithuania | Plateliai | 232 | Rural | 56.010000 | 21.886950 | 150 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Malta | Giordan Lighthouse [EMEP] | 760 | Rural | 36.073330 | 14.219170 | 167 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Netherlands | De Zilk [EMEP] | 761 | Rural | 52.296570 | 4.510860 | - | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Norway | Birkenes [EMEP] | 762 | Remote | 58.383340 | 8.250000 | 190 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Norway | Karvatn [EMEP] | 763 | Remote | 62.783330 | 8.883333 | 210 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Norway | Spitsbergen / Zeppelinfjell [EMEP] | 764 | Polar | 78.880000 | 11.883330 | 474 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Poland | Diabla Gora [EMEP] | 765 | Rural | 54.124870 | 22.038080 | 157 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Russia | Ufa, ERPC | 767 | - | 54.466450 | 56.012330 | 175 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Serbia | Fruska Gora | 328 | Remote | 45.159170 | 19.862810 | 514 | Passive | PUF | - | 3 months | 3 months | 2004 |
| MONET | Slovakia | Starina [EMEP] | 312 | Rural | 49.042690 | 22.260000 | 345 | Passive | PUF | - | 3 months | 3 months | 2006 |
| MONET | Slovenia | Iskrba [EMEP] | 317 | Rural | 45.561390 | 14.862780 | 520 | Passive | PUF | - | 3 months | 3 months | 2007 |
| MONET | Sweden | Rao [EMEP] | 771 | Remote | 57.393670 | 11.914170 | 10 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Switzerland | Payerne [EMEP] | 772 | Rural | 46.800000 | 6.933330 | 489 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Turkey | Camkoru | 773 | Rural | 40.584690 | 32.504860 | 1406 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | Ukraine | Zmiinyi Island [EMEP] | 774 | Remote | 45.256110 | 30.201060 | 28 | Passive | PUF | - | 3 months | 3 months | 2009 |
| MONET | United Kingdom | High Muffles [EMEP] | 776 | Rural | 54.334944 | -0.808550 | 270 | Passive | PUF | - | 3 months | 3 months | 2009 |
| Spain | Spain | Albacete | EC08 | Urban | 39.000000 | -1.850000 | - | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Azpeitia | U1 | Urban | 43.181944 | -2.265278 | - | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Badajoz | EC07 | Urban | 38.883333 | -7.000000 | - | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Barcarrola | ES0011R | Remote | 38.475833 | -6.922778 | 393 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Barcelona | U2 | Urban | 41.386667 | 2.201111 | - | Passive | PUF | - | 3 months | 3 months | 2009 |
| Spain | Spain | Cabo de Creus | ES0010R | Remote | 42.319444 | 3.316944 | 23 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Campisabalos | ES0009R | Remote | 41.281111 | -3.142778 | 1360 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Doñana | ES0017R | Remote | 37.030278 | -6.331667 | 5 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Els Torms | ES0014R | Remote | 41.400000 | 0.716667 | 470 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Huelva | U3 | Urban | 37.250000 | -6.950000 | - | Passive | PUF | - | 3 months | 3 months | 2009 |
| Spain | Spain | Izana | ES0018G | Remote | 28.308889 | -16.499167 | 2373 | Passive | PUF | - | 3 months | 3 months | 2011 |
| Spain | Spain | La Coruña | U4 | Urban | 43.365833 | -8.421389 | - | Passive | PUF | - | 3 months | 3 months | 2009 |
| Spain | Spain | Madrid | EC05 | Urban | 40.450000 | -3.716667 | - | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Mahón | ES0006R | Remote | 39.866667 | 4.316667 | 78 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Niembro | ES0008R | Remote | 43.442222 | -4.850278 | 134 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Noia | ES0005R | Remote | 42.728056 | -8.923611 | 683 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | O Saviñao | ES0016R | Remote | 43.231111 | -7.699722 | 506 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Penausende | ES0013R | Remote | 41.283333 | -5.866667 | 985 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | S.C. Tenerife | U5 | Urban | 28.472528 | -16.247222 | - | Passive | PUF | - | 3 months | 3 months | 2011 |
| Spain | Spain | San Pablo de los Montes | ES0001R | Remote | 39.547778 | -4.348611 | 917 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Valladolid | EC06 | Urban | 41.633333 | -4.750000 | - | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Víznar | ES0007R | Remote | 37.233333 | -3.533333 | 1265 | Passive | PUF | - | 3 months | 3 months | 2008 |
| Spain | Spain | Zarra | ES0012R | Remote | 39.086111 | -1.101944 | 885 | Passive | PUF | - | 3 months | 3 months | 2008 |
| TOMPS | United Kingdom | Auchencorth Moss | AC | Rural | 55.793330 | -3.244722 | - | Active | PUF | ~50 m³/d | 2 weeks | 2 weeks | 2008 |
| TOMPS | United Kingdom | Hazelrigg | HR | Rural | 54.013610 | -2.773617 | - | Active | PUF | ~50 m³/d | 2 weeks | 2 weeks | 2004 |
| TOMPS | United Kingdom | High Muffles | HM | Rural | 54.334940 | -0.808550 | - | Active | PUF | ~50 m³/d | 2 weeks | 2 weeks | 2004 |
| TOMPS | United Kingdom | London | LON | Urban | 51.495530 | -0.126414 | - | Active | PUF | ~50 m³/d | 2 weeks | 2 weeks | 2004 |
| TOMPS | United Kingdom | Manchester | MAN | Urban | 53.480800 | -2.251980 | - | Active | PUF | ~50 m³/d | 2 weeks | 2 weeks | 2004 |
| TOMPS | United Kingdom | Weybourne | WE | Rural | 52.950490 | 1.122017 | - | Active | PUF | ~50 m³/d | 2 weeks | 2 weeks | 2009 |
| LATIN AMERICA & CARIBBEAN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GAPS | Argentina | Mendoza Province | GR21 | Rural | -32.709223 | -68.400447 | 596 | Passive | PUF | - | 3 months | 3 months | 2011 |
| GAPS | Argentina | Pierre Auger Observatory | GR20 | - | -35.113727 | -65.599903 | 329 | Passive | PUF | - | 3 months | 3 months | 2011 |
| GAPS | Argentina | Rio Gallegos | GR27 | Rural | -51.647310 | -69.207310 | 18 | Passive | PUF | - | 3 months | 3 months | 2012 |
| GAPS | Argentina | Salta | GR26 | Remote | -25.085132 | -66.126223 | - | Passive | PUF | - | 3 months | 3 months | 2011 |
| GAPS | Barbados | Ragged Point, St. Philip | GR12 | - | 13.165051 | -59.432151 | 0 | Passive | PUF | - | 3 months | 3 months | 2008 |
| GAPS | Bermuda | Tudor Hill | WE12 | Rural | 32.366667 | -64.650000 | 24 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Bolivia | Chacaltaya | GR29 | - | -16.210000 | -68.080000 | 5240 | Passive | PUF | - | 3 months | 3 months | 2015 |
| GAPS | Brazil | Itatiaia | GR25 | - | -22.385833 | -44.678889 | 2400 | Passive | PUF | - | 3 months | 3 months | 2014 |
| GAPS | Brazil | São José dos Ausentes | GR24 | Remote | -28.594170 | -49.818590 | 1270 | Passive | PUF | - | 3 months | 3 months | 2012 |
| GAPS | Brazil | São Luis do Maranhão | GR23 | Urban | -2.353600 | -44.123900 | 10 | Passive | PUF | - | 3 months | 3 months | 2012 |
| GAPS | Brazil | Sao Paulo | - | - | -23.618338 | -46.635497 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Chile | Concepción | GR28 | - | -36.475200 | -73.031900 | 30 | Passive | PUF | - | 3 months | 3 months | 2015 |
| GAPS | Chile | Santiago | - | - | -33.468782 | -70.596188 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Colombia | Arauca | GR04 | Rural | 7.045770 | -70.444059 | 2 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Colombia | Bogota | - | - | 4.636833 | -75.083444 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Colombia | Manizales | GR22 | Remote | 5.075833 | -75.436669 | 2670 | Passive | PUF | - | 3 months | 3 months | 2011 |
| GAPS | Costa Rica | Tapanti National Park | GR03 | - | 9.695733 | -83.865354 | 2830 | Passive | PUF | - | 3 months | 3 months | 2004 |
| GAPS | Ecuador | Quito | GR19 | Urban | -0.250000 | -78.583334 | 1658 | Passive | PUF | - | 3 months | 3 months | 2011 |
| GAPS | Ecuador | Santa Cruz Island | GR13 | - | -0.978458 | -89.359129 | 168 | Passive | PUF | - | 3 months | 3 months | 2008 |
| GAPS | Mexico | Celestún / Yucatan | GR17 | - | 20.859201 | -90.392400 | 52 | Passive | PUF | - | 3 months | 3 months | 2010 |
| GAPS | Mexico | Mexico City | - | - | 19.246470 | -99.101350 | - | Passive | PUF | - | 3 months | 3 months | 2018 |
| GAPS | Mexico | Valley of the Yaqui / Sonora | GR16 | Agricultural | 27.127308 | -109.840471 | 140 | Passive | PUF | - | 3 months | 3 months | 2010 |
| LAPAN | Antigua & Barbuda | Antigua & Barbuda | 71 | Suburban | -17.100000 | -61.838889 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Argentina | Bahia Blanca 1 | 22 | Suburban | -38.775889 | -62.005278 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Argentina | Bahia Blanca 2 | 23 | Suburban | -38.699528 | -62.444722 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Argentina | Puerto Madryn | 52 | Urban | -42.808083 | -65.043889 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Argentina | Rio Gallegos | 30 | Urban | -51.647306 | -69.207222 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Argentina | Salta | 76 | Suburban | -24.633544 | -65.166944 | - | Passive | XAD | - | 1 year | 1 year | 2017 |
| LAPAN | Argentina | Viedma | 25 | Agricultural / Suburban | -40.898750 | -62.881389 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Argentina | Villa Regina | 26 | Agricultural / Suburban | -39.102333 | -67.108333 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Brazil | Abrolhos Island | 1 | - | -17.968317 | -38.684444 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Araraquara, SP | 31 | Urban / Agricultural | -21.791944 | -48.181111 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Barretos, SP | 65 | Urban | -20.572461 | -48.574167 | - | Passive | XAD | - | 1 year | 1 year | 2015 |
| LAPAN | Brazil | Belém, PA | 18 | Urban | -1.474158 | -48.458333 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Botanical Garden, POA, RS | 72 | Urban | -30.053686 | -51.174722 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | CETESB, SP | 2 | Urban | -23.561097 | -46.701389 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Brazil | Chapada dos Veadeiros, GO | 3 | - | -14.066708 | -47.461389 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Cristalino State Park, MT | 14 | - | -9.597813 | -55.932222 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Curitiba, PR | 4 | Urban | -25.449750 | -49.234167 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Diamantino, GO | 5 | Agricultural | -14.129678 | -57.656111 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Fortaleza, CE | 8 | Urban | -3.744817 | -38.573889 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Iguaçu National Park, PR | 41 | - | -25.626736 | -54.478611 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Itatiaia National Park, RJ | 43 | - | -22.385833 | -44.678889 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Limeira, SP | 44 | Urban | -22.562233 | -47.422222 | - | Passive | XAD | - | 1 year | 1 year | 2015 |
| LAPAN | Brazil | Manaus, AM | 10 | - | -2.594611 | -60.209220 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Moeda, MG | 68 | - | -20.352322 | -43.952500 | - | Passive | XAD | - | 1 year | 1 year | 2017 |
| LAPAN | Brazil | Nova Nazaré. MT | - | Rural | -13.958611 | -51.776944 | - | Passive | XAD | - | 1 year | 1 year | 2017 |
| LAPAN | Brazil | Pico do Jaraguá, SP | 49 | Suburban / Remote | -23.456314 | -46.766111 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Porto Alegre, RS | 11 | Urban | -30.034553 | -51.233333 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Porto Velho, RO | 20 | Urban | -8.836186 | -63.938889 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Puruzinho, AM / Puruzinho Lake | 12 | - | -7.370556 | -63.059440 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Recife, PE | 13 | Urban | -8.052883 | -34.950000 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Rio de Janeiro, RJ | 7 | Urban | -22.878533 | -43.246111 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Rio Grande, RS | 9 | Suburban | -32.068906 | -52.161389 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Brazil | Rocas Atoll / Atol das Rocas | 32 | - | -3.856417 | -33.817420 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | São José dos Ausentes, RS | 16 | Remote | -28.594170 | -49.818590 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Brazil | São Luis do Maranhão, MA | 17 | Suburban | -2.593833 | -44.211111 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | São Pedro & São Paulo Archipelago | - | - | 0.959203 | -29.352500 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Souré, PA | - | Rural | -0.695086 | -48.496389 | - | Passive | XAD | - | 1 year | 1 year | 2017 |
| LAPAN | Brazil | Trindade Island | 59 | - | -20.508140 | -29.312140 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Brazil | Vitória, ES | 21 | Urban | -20.292603 | -40.296111 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Bolivia | Chacaltaya | 27 | - | -16.350356 | -68.131667 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Chile | Concepcion | 36 | Urban | -36.857950 | -72.948333 | - | Passive | XAD | - | 1 year | 1 year | 2014 |
| LAPAN | Chile | Cordilheira Darwin | - | - | -54.414400 | -70.915556 | - | Passive | XAD | - | 1 year | 1 year | 2016 |
| LAPAN | Chile | Torres del Paine | 66 | - | -50.980633 | -73.189167 | - | Passive | XAD | - | 1 year | 1 year | 2016 |
| LAPAN | Chile | Antarctica | - | - | TBD | TBD | TBD | Passive | XAD | - | 1 year | 1 year | 2018 |
| LAPAN | Chile | Antofagasta | - | Urban | -23.613611 | -70.383889 | - | Passive | XAD | - | 1 year | 1 year | 2018 |
| LAPAN | Chile | Coyaique | - | - | -45.578750 | -71.436389 | - | Passive | XAD | - | 1 year | 1 year | 2018 |
| LAPAN | Chile | Juan Fernandez Island | - | - | -33.632222 | -78.860556 | - | Passive | XAD | - | 1 year | 1 year | 2018 |
| LAPAN | Chile | Valle Alegre | - | Rural | -32.807778 | -71.436944 | - | Passive | XAD | - | 1 year | 1 year | 2018 |
| LAPAN | Colombia | Arauca | - | Agricultural | 7.012714 | -70.744722 | - | Passive | XAD | - | 1 year | 1 year | 2017 |
| LAPAN | Colombia | Leticia | 63 | - | -4.191528 | -69.939444 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Colombia | Reserva Natural Rio Blanco / Manizales | 64 | - | 5.000000 | -75.736111 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Colombia | Universidad de Cartagena | 55 | Urban | 10.402806 | -75.505833 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Costa Rica | Biolley de Buenos Aires / Puntarenas | 70 | - | 9.044722 | -83.029722 | - | Passive | XAD | - | 1 year | 1 year | 2016 |
| LAPAN | Ecuador | Machadilha National Park | - | - | -1.538356 | -80.676111 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Ecuador | Manglares Ecological Reserve | - | - | 1.374397 | -78.949167 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Honduras | Tegucigalpa | 28 | Urban | 14.097500 | -87.202778 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Panama | Santiago | 67 | Suburban | 8.127972 | -80.989444 | - | Passive | XAD | - | 1 year | 1 year | 2016 |
| LAPAN | Peru | Chaclacayo, Lima | - | Suburban | -11.972500 | -76.754444 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Peru | PUCP, Lima | 73 | Urban | -12.073331 | -77.079722 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Peru | Tambopata Research Centre / Puerto Maldonado | 74 | Rural | -12.833470 | -69.292250 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Uruguay | Montevido | 46 | Urban | -34.882942 | -56.164167 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Uruguay | Salto | 54 | Rural / Agricultural | -31.474450 | -57.099410 | - | Passive | XAD | - | 1 year | 1 year | 2010 |
| LAPAN | Venezuela | IVIC Caracas | 29 | Suburban | 10.395970 | -66.985390 | - | Passive | XAD | - | 1 year | 1 year | - |
| LAPAN | Venezuela | UCV Caracas | 75 | Urban | 10.485975 | -66.893889 | - | Passive | XAD | - | 1 year | 1 year | - |

Note: Many of the sites listed in the China and East Asian POPs networks are inactive but will be re-deployed for the next GMP data collection.

Part 2. Standard operation procedures and protocols for air monitoring

- Training videos:

- Mounting and deployment of PUF disk samplers, by AMETEC-UNU: https://www.youtube.com/watch?v=pkz48SyIzXw;

- Instructions on PUF disk sample changes for Arctic passive network: https://www.youtube.com/watch?v=8A22nvu7kbQ;

- XAD tube sampler setup: https://www.youtube.com/watch?v=9vvrvpRD96k&feature=youtu.be

- Temperature logger installation: https://www.youtube.com/watch?v=nkzbCzRPMyc&feature=youtu.be;

- PUF passive sampling video (in Arabic): https://www.youtube.com/watch?v=NznXwa-xk-0.

- List of Protocols available from the GAPS Network:

- Protocols for PUF disk sampler:

- Cleaning PUF disk sampler housing;

- Preparing PUF disks for passive air sampling;

- PUF & SIP disk sampler installation and deployment for GAPS;

- SIP disks – Protocol fro preparing sorbent impregnated PUF (SIP) disks for passive air sampling (GAPS network) using ASE.

- Protocols for XAD sampler:

- GAPS Insrtructions for XAD sampler.

Part 3. Additional considerations for air sampling

Toxicity of chemical mixtures in air: cumulative effects

A recommendation from the second GMP report highlighted the need to focus on cumulative effects and the toxicity of chemical mixtures in air. This recommendation acknowledges that humans and ecosystems are exposed to a growing number of chemicals, and only a small fraction of these can currently be measured in air and tracked under the GMP. To fulfill the Stockholm Convention’s mandate of protecting human health and the environment from harmful POPs, it is essential to explore and better understand the combined effects of these chemicals in the air while continuing to monitor the POPs identified to date. Significant advances have been made recently in linking air monitoring with toxicological assessments of chemical mixtures (e.g., Cupr et al., 2006, 2013; Novak et al., 2013, 2014; Ersekova et al., 2015; Jariyasopit et al., 2016).

Use of tree rings and other natural archives for deriving historic trends of POPs

Recent research has shown that tree wood can serve as a passive air sampler, with tree cores (taken without harming the tree) allowing investigation into historical trends of POPs through analysis of tree rings (e.g., Kuang et al., 2011; Odabasi et al., 2015; Rauert et al., 2016). Rauert et al. (2018) have characterized the uptake potential of POPs by tree wood to use tree ring data to semi-quantitatively reconstruct historical chemical profiles in air. This approach is promising for assessing temporal trends of POPs in locations lacking historical air samples. However, further research is needed to better understand factors affecting uptake, including meteorology, tree species, and other relevant variables.

Other indirect methods for reconstructing long-term trends of POPs in air

Additional indirect methods, such as using sediment cores, peat cores, and ice cores, provide valuable insights into historical POPs levels (e.g., Muir et al., 2013). While these techniques are not substitutes for air monitoring, they offer valuable data for regions with no historical air sampling or for periods before air sampling networks were established.

Indoor sampling

Although indoor sampling is not a GMP requirement, comparing indoor and outdoor POPs levels can help identify sources of contamination in ambient air and assess potential contamination of nearby outdoor sampling sites (e.g., Melymuk et al., 2016). This comparison is particularly relevant for new POPs used in commercial products that may reach significantly higher concentrations indoors compared to ambient air. Evaluating indoor air as a route of human exposure also aids in interpreting human tissue data and related temporal trends (see Section 4.2). Studies by Herkert et al. (2018) and Bohlin et al. (2014b) critically evaluate the use of PUF disk samplers indoors and provide recommendations for future research.

Appendix III: Summary information on the UNEP/WHO Survey on Human Milk under the Global Monitoring Plan for POPs

The UNEP/WHO human milk survey aims to measure persistent organic pollutants (POPs) in human milk as required by Article 16 of the Stockholm Convention on POPs, producing comparable monitoring data over time to support the Convention's effectiveness evaluation. This survey is jointly implemented by the Stockholm Convention Secretariat, the World Health Organization (WHO), and UNEP’s Chemicals and Health Branch.

A harmonized protocol and guidelines were developed by WHO (WHO, 2007) and later amended by UNEP (latest amendment in 2017), providing countries with guidance for implementing the survey. Participating countries are encouraged to follow this protocol closely, which includes instructions on the number and type of samples, donor selection, sample collection, storage, pooling, and shipping to the reference laboratory. In previous survey rounds, samples were analyzed at the WHO/UNEP reference laboratory, the State Institute for Chemical and Veterinary Analysis of Food (CVUA) in Freiburg, Germany. Proteinophilic POPs (e.g., PFOS) were analyzed at MTM Örebro in Sweden. Laboratories with qualified intercalibration capacities are encouraged to contribute data on POPs in human milk in future GMP cycles.

Survey implementation principles

- Breastfeeding protection: Breastfeeding should be protected, promoted, and supported;

- Health communication: The health benefits of breastfeeding for both mother and baby should be clearly communicated;

- Sample collection care: Milk sampling should not burden the mother or compromise the infant’s nutritional needs.

Summary of survey guidelines

- National coordinator: Each country should appoint a coordinator responsible for planning and implementing the survey with support from health, laboratory, and administrative staff;

- Donor selection: Mothers should be first-time mothers, 3–4 weeks postpartum, breastfeeding only one child;

- Number of Ddonors: To ensure statistically reliable data, each country should aim to recruit at least 50 donors. For countries with smaller populations or lower birth rates, extending the sample collection period may increase donor numbers. If fewer donors are available, the impact on statistical power should be evaluated carefully. Samples from these individual donors are pooled to form a composite sample, or “pooled sample.” To improve survey power, more than 50 samples are encouraged, with one sample per million citizens as a guideline. For countries with over 50 million people, an additional sample per million citizens over this threshold is recommended. Countries with populations well over 50 million are encouraged to prepare additional pooled samples if feasible, enhancing statistical validity for tracking POPs concentration changes over time. Stratifying samples by geographic or other criteria is an option where resources allow;

- Donor selection strategy: Due to time constraints, potential donors should be recruited at post-natal or well-baby clinics, with stratification of participants following previous survey principles;

- Sample collection glassware: WHO/UNEP will provide sterilized glassware for sample collection and pooled sample preparation through CVUA Freiburg;

- Sample collection timing: Sampling should occur between three and eight weeks postpartum. During collection, mothers should complete a questionnaire. A total of at least 50 ml of milk should be collected directly into the provided jar and stored frozen until shipment;

- Sample preservation: Samples should be preserved by freezing. They may be stored at approximately 4°C for up to 72 hours or at -18°C for longer periods.

Sample analysis

After collecting 50 individual 50 ml samples, the following procedures apply:

- Pooled sample preparation: Each individual sample is homogenized by shaking for five minutes. The 50 ml sample is divided into two 25 ml portions:

  - One 25 ml portion serves as the national individual sample and is retained by the country;

  - The other 25 ml portion is placed in a 2000 ml glass bottle to create the pooled sample (50 x 25 ml = 1250 ml pooled sample);

- Individual samples: Each country can retain 25 ml individual samples for POPs analysis if it has national capacity. Laboratories analyzing these samples to build analytical expertise are recommended to participate in interlaboratory studies, such as the UNEP-organized Biennial Global Interlaboratory Assessment on Persistent Organic Pollutants, where reference samples can also be obtained.

The remaining milk from individual samples should be pooled and sent to the WHO Global Human Milk Bank via WHO reference laboratories.

Each individual and pooled sample must be labeled with a unique identification code, and all samples should be stored deep-frozen.

Special shipping criteria

Shipping requirements, such as using coolers or dry ice, should be discussed with courier services, including airlines. Customs clearance must be secured in advance from departure, transit, and destination countries to ensure timely sample delivery. The pooled sample is then sent to WHO/UNEP reference laboratories for analysis of all POPs listed in the Stockholm Convention, accompanied by a completed summary of information.

Appendix IV: Sampling, storage, transportation, and analytical details for maternal blood (source: Centre de toxicologie du Québec / INSPQ)

Sampling protocol for determining organochlorine pesticides, PCBs and PBDEs in blood

Materials

Blood collection tubes (2 x 6 mL or 1 x 10 mL) with EDTA anticoagulant (lavender top).

Sampling Procedure

- Draw a 10 mL blood sample from each donor using a lavender-top Vacutainer (EDTA, Becton-Dickinson);

- Immediately invert the tube 7–8 times to thoroughly mix the anticoagulant;

- Slowly cool the sample to 4°C, avoiding direct contact with ice to prevent hemolysis;

- Centrifuge the sample for 10 minutes to separate plasma from red blood cells;

- Using a polyethylene pipet (Baxter # P5214-10), transfer the plasma to a 7 mL pre-cleaned glass vial with a Teflon-sealed screw cap (Supelco # 2-7341).

Storage

- If shipping within 5 days: Keep the sample at 4°C until shipmen;.

- If holding for more than 5 days: Store at -20°C until shipped;

The plasma sample remains stable for at least five days at room temperature, so brief exposure to room temperature during transit should not affect the sample quality.

Shipping

- Wrap each tube individually and place it in a shock-resistant container;

- To prevent delays that could compromise sample integrity, use a courier service (e.g., FedEx) for rapid delivery and share the tracking number with the recipient.

Appendix V: Water solubility, octanol-water, and organic carbon partitioning coefficients of POPs

| Listed Chemical | Representative Analyte in water | Water solubility1 (mg/L) at 25oC | Log Kow | Log Koc2 | Ref3 |
| --- | --- | --- | --- | --- | --- |
| Aldrin | Aldrin | 0.02 | 3.0 | 2.6 | 1 |
| Chlordane | cis-chlordane | 0.056 | 6.0 | 5.5 | 1 |
| Chlordecone | Chlordecone | 2.7 | 4.5 | 3.4 | 2 |
| DDT | 4,4’-DDT | 0.0055 | 6.2 | 5.4 | 1 |
|  | 4,4’-DDE | 0.04 | 5.7 | 5.0 | 1 |
| Dieldrin | Dieldrin | 0.17 | 5.2 | 4.1 | 1 |
| Endrin | Endrin | 0.23 | 5.2 | 4.0 | 1 |
| Endosulfan | Alpha-endosulfan | 0.5 | 4.9 | 3.6 | 2,3 |
|  | Endosulfan sulfate | 0.22 | 3.6 | 3.2 | 2,3 |
| HCB | HCB | 0.005 | 5.5 | 5.0 | 1 |
| Pentachlorobenzene | PeCB | 0.65 | 5.0 | 4.5 | 1 |
| Heptachlor | Heptachlor epoxide | 0.35 | 5.0 | 4.0 | 1 |
| Hexabromobiphenyl | HBB | 0.011 | 6.4 | 5.9 | 4 |
| Hexachlorocyclohexanes | Alpha-HCH | 1.0 | 3.8 | 3.8 | 1 |
|  | Beta-HCH | 7.3 | 3.7 | 3.0 | 1 |
| Mirex | Mirex | 6.5x10-5 | 6.9 | 6.0 | 1 |
| Perfluorooctane sulfonate (PFOS) | PFOS | 680 | - | 2.6 | 5,6 |
| Polychlorinated biphenyls (PCB) | PCB 28 | 0.16 | 5.8 | 5.3 | 1 |
|  | PCB 52 | 0.03 | 6.1 | 5.6 | 1 |
|  | PCB 101 | 0.01 | 6.4 | 5.9 | 1 |
|  | PCB 153 | 0.001 | 6.9 | 6.4 | 1 |
| Polychlorinated dibenzo-p-dioxins (PCDD) | TCDD | 1.93x10-5 | 6.8 | 6.3 | 1 |
| Polychlorinated dibenzofurans (PCDF) | TCDF | 4.19x10-4 | 6.5 | 6.0 | 1 |
| Toxaphene | P26 | - | 5.5 | 5.0 | 7 |
|  | P50 | - | 5.8 | 5.3 | 7 |
| Pentabromo diphenyl ethers | BDE 47 | 0.011 | 6.8 | 6.3 | 8,9 |
|  | BDE 99 | 0.0024 | 7.3 | 6.8 | 8,9 |
| Octabromo diphenyl ethers | BDE 183 | - | 8.3 | 7.8 | 9 |

1Water solubility of the solid and reported in mg/L

2Koc estimated from Seth et al (1999)

3 References cited in Section 4.2.1.: 1. Mackay et al (2006); 2 ATSDR (2000); 3. Weber et al. (1997);4 USEPA (2008); 5 UNEP (2006); 6 Higgins and Luthy (2006); 7 Muir et al (2006); 8 European Commission (2001); 9 Braekevelt et al. (2003). Full references cited in Section 4.2.1.

References

## Chapter 1

B.I. Escher, H.M. Stapleton, E.L. Schymanski, Tracking complex mixtures of chemicals in our changing environment, Science 367 (6476) (2020) 388. https://doi.org/10.1126/science.aay6636.

Global Monitoring Plan data warehouse. http://www.pops-gmp.org.

UNEP 2004. Guidance on the global monitoring plan for persistent organic pollutants. UNEP/POPS/COP.1/INF/23.

UNEP 2007. Guidance on the global monitoring plan for persistent organic pollutants. UNEP/POPS/COP.3/INF/14/Rev.1.

UNEP 2009. First global monitoring report. UNEP/POPS/COP.4/33.

UNEP 2011. Guidance on the global monitoring plan for persistent organic pollutants. UNEP/POPS/COP.5/INF/27.

UNEP 2013a. Guidance on the global monitoring plan for persistent organic pollutants. UNEP/POPS/COP.6/INF/31.

UNEP 2013b. Global monitoring plan for persistent organic pollutants as amended after the fourth meeting of the Conference of the Parties to the Stockholm Convention. UNEP/POPS/COP.6/INF/31/Add.1.

UNEP 2013c. Implementation of the global monitoring plan for effectiveness evaluation as amended after the fourth meeting of the Conference of the Parties to the Stockholm Convention. UNEP/POPS/COP.6/INF/31/Add.2.

UNEP 2015. Guidance on the global monitoring plan for persistent organic pollutants. UNEP/POPS/COP.7/INF/39.

UNEP 2017a. Second global monitoring report. Executive summary. UNEP/POPS/COP.8/21/Add.1.

UNEP 2017b. Second global monitoring report. UNEP/POPS/COP.8/INF/38.

UNEP 2017c. Second effectiveness evaluation report. UNEP/POPS/COP.8/INF/40.

UNEP 2019. Guidance on the global monitoring plan for persistent organic pollutants. UNEP/POPS/COP.9/INF/36.

UNEP 2022. Guidance on the global monitoring plan for persistent organic pollutants. UNEP/POPS/COP.10/INF/42.

UNEP 2023a. Third global monitoring report. Executive summary. UNEP/POPS/COP.11/20/Add.1.

UNEP 2023b. Third global monitoring report. UNEP/POPS/COP.11/INF/38.

UNEP 2025. Guidance on the global monitoring plan for persistent organic pollutants. UNEP/POPS/COP.12/INF/43.

UNEP 2023. Stockholm Convention on POPs, Text and Annexes, Secretariat of the Stockholm Convention on Persistent Organic Pollutants, Geneva, Switzerland, https://chm.pops.int/TheConvention/Overview/TextoftheConvention/tabid/2232/Default.aspx.

## Chapter 2

UNEP 2010. Report of the First Expert Meeting to update the Guidance on the Global Monitoring Plan for Persistent Organic Pollutants. Geneva, 12–14 April 2010. https://chm.pops.int/Implementation/GlobalMonitoringPlan/Meetings/EG1/tabid/760/Default.aspx.

UNEP 2010. Report of the Second Expert Meeting to update the Guidance on the Global Monitoring Plan for Persistent Organic Pollutants. Geneva, 4–6 October 2010. https://chm.pops.int/Implementation/GlobalMonitoringPlan/Meetings/EG2/tabid/2233/Default.aspx.

UNEP 2014. UNEP Global Monitoring Plan Expert Workshop on PFAS in Water, 27–28 October 2014. www.unep.org/chemicalsandwaste.

### PCB numbering and nomenclature:

Ballschmiter K. and Zell M. (1980): Analysis of Polychlorinated Biphenyls (PCBs) by Glass Capillary Gas Chromatography. Fresenius Z. Anal. Chem. 302, 20-31.

Ballschmiter K., Bacher R., Mennel A., Fischer R., Riehle U., and Swerev M. (1992). Determination of chlorinated biphenyls, chlorinated dibenzodioxins, and chlorinated dibenzofurans by GC-MS. J. High Resol. Chromatogr. 15:260-270.

### Toxaphene numbering and nomenclature:

M. Coelhan and H. Parlar (1996): The nomenclature of chlorinated bornanes and camphenes relevant to toxaphene. Chemosphere 32, 217-228.

WHO re-evaluation (2005): http://www.who.int/ipcs/assessment/tef_update/en/index.html.

Van den Berg, M., Birnbaum, L.S., Denison, M., De Vito, M., Farland, W., Feeley, M., Fiedler, H., Hakansson, H., Hanberg, A., and Haws, L. (2006). The 2005 World Health Organization reevaluation of human and mammalian toxic equivalency factors for dioxins and dioxin-like compounds. Toxicological sciences 93, 223-241.

## Chapter 3

AMAP 2014. Trends in Stockholm Convention Persistent Organic Pollutants (POPs) in Arctic Air, Human media and Biota. By: S. Wilson, H. Hung, A. Katsoyiannis, D. Kong, J. van Oostdam, F. Riget, A. Bignert. AMAP Technical Report No. 7 (2014). Arctic Monitoring and Asessment Programme (AMAP), Oslo. 54 pp. - https://oaarchive.arctic-council.org/bitstream/handle/11374/731/tr7_pops_trends_2014.pdf.pdf?sequence=1&isAllowed=y.

AMAP 2016. AMAP Assessment 2015: Temporal Trends in Persistent Organic Pollutants in the Arctic. Arctic Monitoring and Assessment Programme (AMAP), Oslo, Norway. vi+71pp.

Barnett V., Lewis T., 1994. Outliers in Statistical Data. Third ed. Wiley and Sons Ltd.

Bignert A., Göthberg A., Jensen S., Litzén K., Odsjö T., Olsson M., Reutergårdh L., 1993. The need for adequate biological sampling in ecotoxicological investigations: a retrospective study of twenty years pollution monitoring. The Science of the Total Environment, 128:121-139.

Bignert A., Olsson M., de Wit C., Litzen K., Rappe Ch., Reutergårdh L., 1994. Biological variation – an important factor to consider in ecotoxicological studies based on environmental samples. Fresenius Journal of Analytical Chemistry, 348:76-85.

Bignert, A., Greyerz, E., Olsson, M., Roos, A., Asplund, L., Kärsrud, A.-S., 1998a. Similar Decreasing Rate of OCs in Both Eutrophic and Oligotrophic Environments – A Result of Atmospheric Degradation? Part II. Organohalogen Compounds, 36:459-462.

Bignert, A., Olsson, M., Asplund, L., Häggberg, L., 1998b. Fast Initial Decrease in Environmental Concentrations of OCs – A Result of Atmospheric Degradation? Part I. Organohalogen Compounds, 36:373-376.

Bignert, A., Olsson, M., Persson, W., Jensen, S., Zakrisson, S., Litzén, K., Eriksson, U., Häggberg, L., Alsberg, T., 1998c. Temporal trends of organochlorines in Northern Europe, 1967-1995. Relation to global fractionation, leakage from sediments and international measures. Environmental Pollution, 99:177-198.

Bignert, A., 2002. The power of ICES contaminant trend monitoring. ICES Marine Science Symposia, 215: 195-201.

Bignert A., Riget F, Braune B., Outridge P., Wilson S., 2004. Recent temporal trend monitoring of mercury in Arctic biota – how powerful are the existing datasets? J. Environ. Monit, 6:351 - 355.

Bjerkeng, B., 2000. The Voluntary International Contaminant-monitoring (VIC) for temporal trends with the aim to test sampling strategies for a co-operative revision of guidelines by 1999. SIME 00/4/11-E (L). Gilbert R.O., 1987. Statistical Methods for Environmental Pollution Monitoring. Van Nostrand Reinhold, New York.

Cohen, J. 1988. Statistical Power Analysis for the Behavioural Sciences. Academic Press, New York.

Cressie N.A.C. (1993). Statistics for Spatial Data. Wiley & Sons. 900 p.

Daniels, H.E. (1950) Rank correlation and population models. Journal of Royal Statistical Society Series B, 12, 171–181.

Davis J.C. 1986. Statistics and Data Analysis in Geology. Wiley & Sons, New York, ISBN 0-471-08079-9.

Dixon, J.W., F.J. Massey. 1969. Introduction to Statistical Analysis. 3rd ed. McGraw-Hill, New York. 638p.

Grimås, U., Göthberg, A., Notter, M., Olsson, M., Reutergårdh, L., 1985. Fat Amount - A Factor to Consider in Monitoring Studies of Heavy Metals in Cod Liver. Ambio, 14:175 – 178.

HELCOM, 1988. Guidelines for the Baltic Monitoring Programme for the Third Stage; Part C. Harmful Substances in Biota and Sediments. HELCOM, BSEP 27C.

Helsel, D.R., Hirsch., R.M., 1995. Statistical Methods in Water Resources, Studies in Environmental Sciences 49. Elsevier, Amsterdam.

Helsel, D.R., 2005. More Than Obvious: Better Methods for Interpreting Nondetect Data. Environmental Science & Technology, 39 (20) 419A–423A.

Helsel, D.R., 2006. Fabricating data: How substituting values for nondetects can ruin results, and what can be done about it. Chemosphere 65 (2006) 2434–2439.

Hirsch, R.M., Slack, J.R. and Smith, R.A. (1982) Techniques of Trend Analysis for Monthly Water Quality Data, Water Resources Research 18(1), 107-121.

Holoubek, I; Klanova, J; Jarkovsky, J; Kohoutek, J (2007) Trends in background levels of persistent organic pollutants at Kosetice observatory, Czech Republic. Part I. Ambient air and wet deposition 1996-2005. Journal Of Environmental Monitoring. 9 (6), 557-563.

Hoaglin, D.C., and Welsch., R.E., 1978. The hat matrix in regression and ANOVA. Amer. Stat. 32:17-22.

Holoubek, I., Klánová, J., Jarkovský, J., Kohoutek, J. 2007. Trends in background levels of persistent organic pollutants at Kosetice observatory, Czech Republic. Journal of Environmental Monitoring, 2007 (9): 557–563.

Holt, E., Bohlin-Nizzetto, P., Boruvkova, J., Harner, T., Kalina, J., Melymuk, L., Klanova, J., 2017. Using long-term air monitoring of semi-volatile organic compounds to evaluate the uncertainty in polyurethane-disk passive sampler-derived air concentrations. Environmental Pollution, 220 (Pt B):1100–1111.

Hunter, J.E. and Schmidt, F. L. 1990. Methods of meta-analysis. Correcting error and bias in research findings. Newbury Park, CA: Sage.

Kalina, J., Scheringer, M., Borůvková, J., Kukučka, P., Přibylová, P., Bohlin-Nizzetto, P., Klánová, J. 2017. Passive Air Samplers As a Tool for Assessing Long-Term Trends in Atmospheric Concentrations of Semivolatile Organic Compounds. Environmental Science and Technology, 51 (12):7047–7054.

Kendall, M.G. (1975) Rank Correlation Methods, Charles Griffin, London.

Libiseller, C. and Grimvall, A. (2002) Performance of Partial Mann-Kendall Test for Trend Detection in the Presence of Covariates. Environmetrics 13, 71-84.

Libiseller, C. (2004) MULTMK/PARTMK – A programme for the computation of multivariate and partial Mann-Kendall tests. http://www.mai.liu.se/~cllib/welcome/PMKtest.html.

Limpert, E.; Stahel, W.; Abbt, M. (2001) Log-normal Distributions across the Sciences: Keys and Clues. BioScience. 51 (5), 341–352.

Loftis, J.C., Ward, R.C., Phillips, R.D., 1989. An Evaluation of Trend Detection Techniques for Use in Water Quality Monitoring Programmes. EPA/600/3-89/037, p. 139.

Mann, H.B. (1945) Nonparametric tests against trend. Econometrica 13, 245-259.

Nicholson, M.D., Fryer., R., 1991. The Power of the ICES Cooperative Monitoring Programme to Detect Linear Trends and Incidents. In: Anon. Report of the Working Group on Statistical Aspects of Trend Monitoring. ICES Doc CM 1991.

Nicholson, M.D., Green N., Wilson S., 1991. Regression Models for Assessing Trends of Cadmium and PCB in Cod Livers from the Oslofjord. Marine Pollution Bulletin, 22:77-81.

Nicholson, M.D., Fryer, R., Larsen, J.R. 1995. A Robust Method for Analysing Contaminant Trend Monitoring Data. Techniques in Marine Environmental Sciences. ICES.

Nicholson, M. D., Fryer, R., Maxwell, D., 1998b. The influence of individual outlying observations on four methods of detecting trends. ICES CM 1998/E:8. Annex 8, pp.62-67.

Sanka, O., Kalina, J., Lin, Y., Deutscher, J., Futter, M., Butterfield, D., Melymuk, L., Brabec, K., Nizzetto, L. 2018. Estimation of p,p’-DDT degradation in soil by modeling and constraining hydrological and biogeochemical controls. Environmental Pollution, 239:179–188.

Sen, P. K. (1968) Estimates of the Regression Coefficient Based on Kendall's Tau. Journal of the American Statistical Association. 63 (324), 1379-1389.

Shasha, D. (2004), High Performance Discovery in Time Series, Berlin: Springer.

Snedecor, G.W., W.G. Cochran. 1968. Statistical Methods. Iowa 1969.

Smedes, Foppe: Passive sampling: effective sensing of environmental quality. Dissertation thesis, Amsterdam University, 2020. ISBN: 978-80-263-1629-9. https://research.vu.nl/ws/portalfiles/portal/122278202/868148.pdf.

Theil, H. (1950) A rank-invariant method of linear and polynomial regression analysis. I, II, III. Proceedings. Akadamie van Wetenschappen Amsterdam. 53, 386–392, 521–525, 1397–1412.

Underwood, A.J., 1993. The mechanics of spatially replicated sampling programmes to detect environmental impacts in a variable world. Austr. J. Ecol., 18:99-116.

Underwood, A.J., 1994. Beyond BACI: sampling designs that might reliably detect environmental disturbances. Ecol. Applic., 4:3-15.

Underwood, A.J., 1996. Environmental Design and Analysis in Marine Environmental Sampling. Intergovernmental Oceanographic Commission Manuals and Guides No 34, UNESCO.

van Belle, G. And Hughes J.P. 1984. Nonparametric tests for trend in water quality. Water Resource Research 20:127-136.

van Buuren and Groothuis-Oudshoorn, 2011. DOI: 10.18637/jss.v045.i03.

Weiss, J., Päpke, O., Bignert, A., Greyerz, E., Agostoni, C., Riva, E., Giovannini, M., Zetterström, R., 2003. Concentrations of dioxins and other organochlorines (PCB, DDTs, HCHs) in human milk from Seveso, Milan and a Lombardian rural area in Italy: a study performed 25 years after the heavy dioxin exposure in Seveso. Acta Pediatrica, 92: 467-472.

Wei, W. W. (1989). Time series analysis: Univariate and multivariate methods. New York: Addison-Wesley.

Zar, J.H. (2009) Biostatistical Analysis (5th Edition). Prentice Hall, Upper Saddle River, New Jersey 07458.

## Chapter 4.1

Abalos, M., Abad, E., van Leeuwen, S.P.J., Lindström, G., Fiedler, H., De Boer, J., van Bavel, B. 2012. Results for PCDDs/PCDFs and dl-PCBs in the First Round of the Biennial Global Interlaboratory Assessment on Persistent Organic Pollutants. TrAC Trends in Analytical Chemistry; DOI: http://dx.doi.org/10.1016/j.trac.2012.11.003.

Adu-Kumi, S., Kareš, R., Literák, J., Borůvková, J., Yeboah, O., Carboo, D., Akoto, O., Darko, G., Osae, S., Klánová, J. 2012. Levels and Seasonal Variability of Organochlorine Pesticides in Rural and Urban Background Air of Southern Ghana. Environmental Science and Pollution Research 19:1963–1970.

Aliyeva, G., Aghayeva, R., Kurkova, R., Hovorkova, I., Klanova, J., Halsall, C.: An assessment of air-soil exchange of organochlorine pesticides and polychlorinated biphenyls in Azerbaijan: passive air sampling. Environmental Science and Pollution Research (2012) 19:1953–1962.

AMAP 2021. AMAP Assessment 2020: POPs and Chemicals of Emerging Arctic Concern: Influence of Climate Change. Arctic Monitoring and Assessment Programme (AMAP), Tromsø, Norway. viii+134pp.

Armitage, J.M., Quinn, C.L., Wania, F. 2011. Global climate change and contaminants — an overview of opportunities and priorities for modelling the potential implications for long-term human exposure to organic compounds in the Arctic. J. Environ. Monit. 13 (6), 1432–1546.

Arp, H.P.H., Goss, K-U. 2008. Irreversible sorption of trace concentrations of perfluorocarboxylic acids to fiber filters used for air sampling. Atmos. Environ. 42, 6869-6872.

Ashbaugh, L.L. A statistical trajectory technique for determining air pollution source regions. Journal of the Air Pollution Control Association 33, 1096–1098, 1983

Becker, S., Halsall, C. J., Tych, W., Hung, H. H., Attewell, S., Blanchard, P., Li, H., Fellin, P., Stern, G., Billeck, B., Friesen, S. 2006. Resolving the long-term trends of polycyclic aromatic hydrocarbons in the Canadian arctic atmosphere. Environ. Sci. Technol. 40, 3217-3222.

Becker, S., Halsall, C. J., Tych, W., Su, Y., Hung, H. H., Kallenborn, R. Trend analysis of α- and γ-HCH air concentrations in the Norwegian Arctic. Unpublished results.

Beyer, A., Mackay, D., Matthies, M., Wania, F., Wenster, E. 2000. Assessing long-range transport potential of persistent organic pollutants. Environ. Sci. Technol. 34, 699-703.

Bidleman, T., Harner, T. 2000. Sorption to aerosols, Ch. 10 pp. 233-261, In: Handbook of property estimation methods for chemicals. Eds. Boethling, R. S., Mackay, D. Lewis.

Bidleman, T. F. and Tysklind, M. 2018. Breakthrough during air sampling with polyurethane foam: What do PUF2/PUF1 ratios mean? Chemosphere 192: 267-271.

Bogdal, C., Abad, E., Abalos, M., van Bavel, B., Hagberg, J., Scheringer, M., and Fiedler, H. 2013. Worldwide distribution of persistent organic pollutants in air, including results of air monitoring by passive air sampling in five continents. TrAC-Trends in Analytical Chemistry 46, 150-161.

Bohlin P, Audy O, Škrdlíková L, Kukučka P, Přibylová P, Prokeš R, Klánová J. 2014. Outdoor passive air monitoring of semivolatile organic compounds (SVOCs): a critical evaluation of performance and limitations of polyurethane foam (PUF) disks. Environmental Science: Processes and Impacts 16 (3): 433-444.

Bohlin, P., Audy, O., Škrdlíková, L., Kukučka, P., Vojta, Š., Přibylová, P., Prokeš, R., Čupr, P., Klánová, J. 2014b. Evaluation and guidelines for using polyurethane foam (PUF) passive air samplers in double-dome chambers to assess semi volatile organic compounds (SVOCs) in non-industrial indoor environments. Environmental Science: Processes and Impacts 16 (11), 2617 - 2626.

Breivik, K., McLachlan, M.S., Wania, F. 2022. The Emissions Fractions Approach to Assessing the Long-Range Transport Potential of Organic Chemicals. Environmental Science and Technology, 56: 11983-11990. https://doi.org/10.1021/acs.est.2c03047.

Breivik, K., McLachlan, M.S., Wania, F., 2023. Added value of the emissions fractions approach when assessing a chemical’s potential for adverse effects as a result of long-range transport. Environmental Science Advances, 2: 1360-1371 https://doi.org/10.1039/d3va00189j.

Borgå, K,. McKinney, M. A., Routti, H., Fernie, K. J., Giebichenstein, J., Hallanger, I., Muir, D. C. G. The influence of global climate change on accumulation and toxicity of persistent organic pollutants and chemicals of emerging concern in Arctic food webs. Environ. Sci.: Processes Impacts,24, 1544-1576, 2022.

Breivik, K., Wania, F., 2002. Evaluating a model of the historical behaviour of two hexachlorocyclohexanes in the Baltic Sea environment. Environ. Sci. Technol., 36:1014-1023.

Chai, L., Zhou, Y., Wang, X. Impact of global warming on regional cycling of mercury and persistent organic pollutants on the Tibetan Plateau: current progress and future prospects. Environ. Sci.: Processes Impacts, 24, 1616-1630, 2022.

Corsolini, S. and Ademollo, N. POPs in Antarctic ecosystems: is climate change affecting their temporal trends? Environ. Sci.: Processes Impacts, 24, 1631-1642, 2022.

Čupr, P., Klánová, J., Bartoš, T., Flégrová, Z., Kohoutek, J., Holoubek, I. 2006. Passive air sampler as a tool for long-term air pollution monitoring: Part 2. Air genotoxic potency screening assessment. Environmental Pollution 144 (2), 406-413.

Čupr, P., Flegrová, Z., Franců, J., Landlová, L., Klánová, J. 2013. Mineralogical, chemical and toxicological characterization of urban air particles. Environment International 54, 26-34.

Daly, G. L., Y. D. Lei, C. Teixeira, D.C.G. Muir, L. E. Castillo, L.M.M. Jantunen, F. Wania, 2007. Organochlorine pesticides in soils and atmosphere of Costa Rica. Environ. Sci. Technol., 41: 7339-7350.

de Boer, J., Leslie, H., van Leeuwen, S.P.J., Wegener, J.W., van Bavel, B., Lindstrom, G., Lahoutifard, N., and Fiedler, H. 2008. United Nations Environment Programme Capacity Building Pilot Project - Training and interlaboratory study on persistent organic pollutant analysis under the Stockholm Convention. Analytica Chimica Acta 617, 208-215.

Degrendele, C., Okonski, K., Melymuk, L., Landova, L., Kukucka, P., Cupr, P., Klanova, J. 2014. Size specific distribution of the atmospheric particulate PCDD/Fs, dl-PCBs and PAHs on a seasonal scale: Implications for cancer risks from inhalation. Atmos. Environ. 98, 410-416.

De Wit, C. A., Vorkamp, K., Muir, D. Influence of climate change on persistent organic pollutants and chemicals of emerging concern in the Arctic: state of knowledge and recommendations for future research. Environ. Sci.: Processes Impacts, 24, 1530-1543, 2022.

Dreyer, A., Shoeib, M., Fiedler, S., Barber, J., Harner, T., Schramm, K-W., Jones, K.C., Ebinhaus, R. 2010. Field intercomparison on the dtermination of volatile and semivolatile polyfluorinated compounds in air. Environ. Chem. 7, 350-358.

Dvorská A., Lammel G., Holoubek I. Recent trends of persistent organic pollutants in air in Europe - Air monitoring in combination with air mass trajectory statistics as a tool to study the effectivity of regional chemical policy. Atmos. Environ. 43, 1280-1287, 2009.

Eng, A., Su, K., Harner, T., Pozo, K., Sinha, R.K., Sengupta, B., Loewen, M. 2016. Assessing Dicofol concentrations in air: retrospective analysis of global atmsopheric passive sampling network samples from agricultural sites in India. Environ. Sci. Technol. Letters 3, 150-155.

Environment Canada, 1994. Great Lakes Water Quality Agreement Annex 15, Integrated Atmospheric Deposition Network Sampling Protocol Manual, Report #ARD 94-003.

Érseková, A., Hilscherová, K., Klánová, J., Giesy. J. P., Novák, J. 2014. Effect-based assessment of passive air samples from four countries in Eastern Europe. Environmental Monitoring and Assessment 186, 6, 3905-3916.

Fellin, P., Barrie, L. A., Dougherty, D., Toom, D., Muir, D., Grift, N., Lockhart, L. and Billeck, B., 1996. Air monitoring in the Arctic; results for selected persistent organic pollutants for 1992. Environ. Toxicol. Chem., 15: 253-261.

Fiedler, H., Abad, E., van Bavel, B., de Boer, J., Bogdal, C., and Malisch, R. 2013. The need for capacity building and first results for the Stockholm Convention Global Monitoring Plan. TrAC-Trends in Analytical Chemistry 46, 72-84.

Fiedler, H., Abad, E., Martrat, G., van Bavel, B., Ericsson, I., and de Boer, J. 2014. New POPs in Ambient Air Samples Using Passive Air Samplers. Organohalogen Compd 76, 1533-1536.

Fiedler, H., de Boer, J., and van der Veen, I. 2017. Bi-ennial Global Interlaboratory Assessment on Persistent Organic Pollutants - Round 3 2016/2017, U. Environment, ed.

Francisco, A. P., Harner, T., Eng. A. 2017. Measurement of polyurethane foam-air partition coefficients for semivolatile organic compounds as a function of temperature: Application to passive air sampler monitoring. Chemosphere 174, 638-642.

Fredricsson M., Danielsson H., Hansson K., Karlsson G.P., Nerentorp M., Potter A., Hansson H.C., Areskoug H., Tunved P., Mellqvist J., Lindström B., Nanos T., Andersson S., Carlund T. and Leung W. [2021]. Sakrapport med data från övervakning inom Programområde Luft t.o.m 2019. Nationell luftövervakning. Nr C 584. © IVL Svenska Miljöinstitutet 2021.220.

Garnett, J., Halsall, C., Winton, H., Joerss, H., Mulvaney, R., Ebinghaus, R., Frey, M., Jones, A., Leeson, A., Wynn, P. Increasing accumulation of perfluorocarboxylate contaminants revealed in an Antarctic firn core (1958-2017). Environmental Science and Technology, 56 (16), 11246-11255, 2017.

Gawor, A., Shunthirasingham, C., Hayward, S.J., Lei, Y.D., Gouin, T., Mmereki, B.T., Masamba, W., Ruepert, C., Castillo, L.E., Shoeib, M., Lee, S.C., Harner, T., Wania, F. 2013. Neutral polyfluoroalkyl substances in the global Atmosphere. Environmental Science: Processes & Impacts, DOI: 10.1039/c3em00499f.

Genualdi, S., Lee, S. C., Shoeib, M., Gawor, A., Ahrens, L., Harner, T. 2010. Global pilot study of legacy and emerging persistent organic pollutants using sorbent-impregnated polyurethane foam disk passive air samplers. Environ. Sci. Technol. 44, 5534-5539.

Genualdi, S., Harner, T., Cheng, Y., MacLeod, M., Hansen, K., Shoeib, M., Lee, S. C. 2011. Global distribution of linear and cyclic volatile methyl siloxanes in air. Environ. Sci. Technol. 45, 3349-3354.

Giorgi, F. 1988 Dry deposition velocities of atmospheric aerosols as inferred by applying a particle dry deposition parameterization to a general circulation model. Tellus, 40B, 23-41.

Goss, K-U., Bronner, G., Harner, T., Hertel, M., Schmidt, T. C. 2006. The partition behavior of fluorotelomer alcohols and olefins. Environ. Sci. Technol. 40, 3572-3577.

Gouin, T., Harner, T., Blanchard, P., Mackay, D. 2005. Passive and actice air samplers as complementary methods for investigating persietnt organic pollutants in the Great Lakes basin. Environ. Sci. Technol. 39, 9115-9122.

Gouin, T. 2010. The precautionary principle and environmental persistence: prioritizing the decision-making process. Environ. Sci. Policy., 13, 175-184.

Hansen, K. M., Christensen, J. H., Brandt, J., Frohn, L. M., Geels, C., 2004. Modelling atmospheric transport of persistent organic pollutants in the Northern Hemisphere with a 3-D dynamical model: DEHM-POP. Atmos. Chem. Phys. Discuss., 4:1339-1370.

Harner, T., Saini, A, Shahpoury, P., Eng, A., Schuster, J.K., Kalisa, E., Mastin, J. Cross-cutting Research and Future Directions under the GAPS Networks Environmental Science: Advances (under review).

Hung, H., Halsall, C., Ball, H., Bidleman, T., Dachs, J., De Silva, A., Hermanson, M., Kallenborn, R., Muir, D., Sühring, R., Wang, X., Wilson, S. Climate change influence on the levels and trends of persistent organic pollutants (POPs) and chemicals of emerging Arctic concern (CEACs) in the Arctic physical environment – a review. Environ. Sci.: Processes Impacts, 24, 1577-1615, 2022.

Harner, T., Shoeib, M., Diamond, M., Stern, G., Rosenberg, B. 2004. Using passive air samplers to assess urban-rural trends for persistent organic pollutants (POPs): 1. Polychlorinated biphenyls (PCBs) and organochlorine pesticides (OCPs). Environ. Sci. Technol. 38, 4474-4483.

Harner, T., Pozo Gallardo, K., Gouin, T., Macdonald, A., M., Hung, H. 2006. Global pilot study for persistent organic pollutants (POPs) using PUF disks passive air samplers. Environ. Pollut. 144, 445-452.

Harner, T., Su, K, Genualdi, S., Karpowicz, J., Ahrens, L., Mihele, C., Schuster, J., Charland, J-P., Narayan, J. 2013. Calibration and application of PUF disk passive air samplers for tracking polycyclic aromatic compounds (PACs). Atmos. Environ. 75, 123-128.

Harner, T., Mitrovic, M., Ahrens, L., Schuster, J. 2014. Characterisation of PUF disk passive air samplers for new priority chemicals: a review. Organohalogen Compds. 76, 442-445.

Harner, T. (2017) 2017_v1_5_Template for calculating PUF and SIP disk sample air volumes_September_15 Accessed at: https://www.researchgate.net/publication/319764519_2017_v1_5_Template_for_calculating_Effective_Air_Sample_Volumes_for_PUF_and_SIP_Disk_Samplers_Sept_15.

Hayward, S. J.; Gouin, T.; Wania, F. 2010. Comparison of four active and passive sampling techniques for pesticides in air. Environ. Sci. Technol. 44, 3410−3416.

Herkert, N.J., Spak, S.N., Smith, A., Schuster, J.K., Harner, T., Martinez, A., Hornbuckle, K.C. 2018. Calibration and evaluation of PUF-PAS sampling rates across the global atmospheric passive sampling (GAPS) network. Environmental Science: Processes & Impacts 20, 210-219.

Herkert, N.J., Hornbuckle, K.C. 2018. Effects of room airflow on accurate determination of PUF-PAS sampling rates in the indoor environment. Environmental Science: Processes & Impacts 20, 757-766.

Holt, E., Bohlin-Nizzetto, P., Boruvkova, J., Harner, T., Kalina, J., Melymuk, L., Klanova, J. 2017. Using long-term air monitoring of semi-volatile organic compounds to evaluate the uncertainty in polyurethane-disk passive sampler-derived air concentrations. Environ. Pollut. 220, 1100-1111.

Hung, H., Kallenborn, R., Breivik, K., Su, Y., Brorstrøm-Lunden, E., Olafsdottir, K, Thorlacius, J. M., Leppanen, S., Bossi, R., Skov, H., Manø, S., Stern, G., Sverko, E., Fellin, P. 2010. Atmospheric monitoring of organic pollutants in the Arctic under the Arctic Monitoring and Assessment Programme (AMAP): 1993-2006. Sci. Tot. Environ. 408: 2854–2873.

Hung, H., Katsoyiannis, A. A., Brorström-Lundén, E., Olafsdottir, K., Aas, W., Breivik, K., Bohlin-Nizzetto, P., Sigurdsson, A., Hakola, H., Bossi, R., Skov, H., Sverko, E., Barresi, E., Fellin, P., Wilson, S. 2016. Temporal Trends of Persistent Organic Pollutants (POPs) in Arctic Air: 20 Years of Monitoring under the Arctic Monitoring and Assessment Programme (AMAP). Environ. Pollut., 217: 52-61.

Hung, H., Halsall, C., Ball, H., Bidleman, T., Dachs, J., De Silva, A., Hermanson, M., Kallenborn, R., Muir, D., Sühring, R., Wang, X., Wilson, S. Climate change influence on the levels and trends of persistent organic pollutants (POPs) and chemicals of emerging Arctic concern (CEACs) in the Arctic physical environment – a review. Environ. Sci.: Processes Impacts, 24, 1577-1615, 2022.

Hsu, Y. K., Holsen, T. M., Hopke, P. K., 2003a. Comparison of hybrid receptor models to locate PCB sources in Chicago. Atmos. Environ., 37:545-562.

Hsu, Y. K., Holsen, T. M., Hopke, P. K., 2003b. Locating and quantifying PCB sources in Chicago: Receptor modelling and field sampling. Environ. Sci. Technol., 37:681-690.

Hung, H., Halsall, C. J., Blanchard, P., Li, H. H., Fellin, P., Stern, G., Rosenberg, B. 2002. Temporal trends of organochlorine pesticides in the Canadian arctic atmosphere. Environ. Sci. Technol. 36, 862-868.

Hung, H. et al., 2010. Atmospheric monitoring of organic pollutants in the arctic uner the arctic monitoring and assessment programme (AMAP): 1993-2006.

Jariyasopit, N., Liu, Y., Liggio, J., Harner, T., 2015. Stability of polycyclic aromatic compounds in polyurethane foam type passive air samplers upon O3 exposure. Atmos. Environ. 120, 200-204.

Jaward, F. M., Farrar, N. J., Harner, T., Sweetman, A. J., Jones, K. C., 2004a. Passive air sampling of PCBs, PBDEs and organochlorine pesticides across Europe. Environ. Sci. Technol., 38:34-41.

Jaward, F. M., Farrar, N. J., Harner, T., Sweetman, A. J., Jones, K. C., 2004b. Passive air sampling of PAHs and PCNs across Europe. Environ. Toxicol. Chem., 23. 1355-1364.

Jaward, F. M., Zhang, G., Nam, J. J., Sweetman, A. J., Obbard, J. P., Kobara, Y., Jones, K. C. 2005. Passive air sampling of polychlorinated biphenyls, organochlorine compounds, and polybrominated diphenyl ethers across Asia. Environ. Sci. Technol. 39, 8638-8645.

Johannessen, C., Saini, A., Zhang, X., Harner, T.  Air monitoring of tire-derived chemicals in global megacities using passive samplers. Environmental Pollution 2022, 314, 120206.  https://doi.org/10.1016/j.envpol.2022.120206.

Johansson, J. 2017. Sources, transport and fate of perfluoroalkyl acids in the atmosphere. Department of Environmental Science and Analytical Chemistry, Stockholm University.

Johansson, J. H., Salter, M. E., Acosta Navarro, J. C., Leck, C., Nilsson, E. D., Cousins, I. T. Global transport of perfluoroalkyl acids via sea spray aerosol. Environmental Science: Processes & Impacts 2019, 21(4), 635.

Kalina, J., Scheringer, M., Boruvkova, J., Kukucxka, P., Pribylova, P., Bohlin-Nizzetto, P., Klanova, J. 2017. Passive Air Samplers as a Tool for Assessing Long-Term Trends in Atmospheric Concentrations of Semivolatile Organic Compounds. Environ. Sci. Technol. 51, 7047-7054.

Kalisa, E., Saini, A., Lee, K., Mastin, J., Schuster, J., Harner, T.  Capturing the Aerobiome: Application of Polyurethane Foam Disk Passive Samplers for Bioaerosol Monitoring. Environ. Sci. Technol. Air.  2024, 1, 414-425. https://pubs.acs.org/doi/10.1021/acsestair.3c00107.

Klanova, J., Kohoutek, J., Hamplova, L., Urbanova, P., Holoubek, I. 2006. Passive air sampler as a tool for long-term air pollution monitoring: Part 1. Performance assessment for seasonal and spatial variations, Environmental Pollution 144, 393-405.

Klanova, J., Eupr, P., Kohoutek, J., Harner, T. 2008. Assessing the influence of meteorological parameters on the performance of polyurethane foam-based passive air samplers. Environ. Sci. Technol. 42, 550-555.

Klánová, J., Čupr, P., Holoubek, I., Borůvková, J., Kareš, R., Tomšej, T., Ocelka, T. 2009a Monitoring of persistent organic pollutants in Africa. Part 1: Passive air sampling across the continent in 2008. Journal of Environmental Monitoring 11, 1952-1963.

Klánová, J., Čupr, P., Holoubek, I., Borůvková, J., Přibylová, P., Kareš, R., Kohoutek, J., Dvorská, A., Komprda, J.: 2009b. Toward the Global Monitoring of POPs. Contribution of the MONET network. Masaryk University, Brno, Czech Republic. ISBN 978-80-210-4853-9.

Klánová, J., Kohoutek, J., Čupr, P., Holoubek, I. 2007. Are the residents of former Yugoslavia still exposed to elevated PCB levels due to the Balkan wars? Part 2: Passive air sampling network. Environ. Int. 33 (6), 727-735.

Klánová, J., Čupr, P., Kohoutek, J., Harner, T. 2008. Assessing meteorological parameters on the performance of PUF disks passive air samplers for POPs. Environ. Sci. Technol. 42 (2), 550-555.

Klánová, J., Čupr, P., Holoubek, I., Borůvková, J., Kareš, R., Tomšej, T., Ocelka, T. 2009. Monitoring of persistent organic pollutants in Africa. Part 1: Passive air sampling across the continent in 2008. Journal of Environmental Monitoring 11, 1952-1963.

Koblizkova, M., Genualdi, S., Lee, S.C., Harner, T. 2012. Application of sorbeny impregnated polyurethane foam (SIP) disk passive air samplers for investigating organochlorine pesticides and Polybrominated Diphenyl ethers at the global scale. Environ. Sci. Technol. 46, 391-396.

Koziol, A. S., Pudykiewicz, J. A., 2001. Global-scale environmental transport of persistent organic pollutants. Chemosphere, 45:1181-1200.

Kuang, Y., Zhou, G., Wen, D., Li, J., Sun, F. 2011. Analysis of polycyclic aromatic hydrocarbons in tree-rings of Masson pine (pinus massoniana L.) from two industrial sites in the Pearl River Delta, south China. Journal of Environmental Monitoring. 13, 2630.

Lal, V., Aalbersberg, W., Fiedler, H., van Bavel, B., and de Boer, J. 2013. Capacity building for persistent organic pollutant (POP) analysis in the Pacific and POP trends in the Pacific Islands. TrAC-Trends in Analytical Chemistry 46, 173-177.

Lammel, G.; Dobrovolny, P.; Dvorska, A.; Chroma, K; Brazdil, R; Holoubek, I; Hosek, J. 2009 Monitoring of persistent organic pollutants in Africa. Part 2: Design of a network to monitor the continental and intercontinental background. Journal of Environmental Monitoring 2009, 11, 1964-1972.

Lammel, G., Heil, A., Stemmler, I., Dvorská, A., Klánová, J. 2013. On the Contribution of Biomass Burning to POPs (PAHs and PCDDs) in Air in Africa. Environmental Science and Technology 47 (20), 11616–11624.

Lane, D. A. Ed. 1999. Gas and particle phase measurements of atmospheric organic compounds. Gordon and Breach Science Publishers.

Li, Y., Zhan, F., Shunthirasingham, C., Lei, Y. D., Hung, H., Wania, F. (2023a) Unbiased passive sampling of all polychlorinated biphenyls congeners from air. Environ. Sci. Technol. Lett. 10 (7): 565-572.

Li, Y., Zhan, F., Lei, Y. D., Shunthirasingham, C., Hung, H., Wania, F. (2023b) Field Calibration and PAS-SIM Model Evaluation of the XAD-Based Passive Air Samplers for Semi-Volatile Organic Compounds. Environ. Sci. Technol., 57, 9224-9233, DOI: 10.1021/acs.est.3c00809.

Lin J.L., Noll, K.E., Holsen, T.M. 1994. Dry deposition velocities as a function of particle size in the ambient atmosphere. Aerosol Sci. Technol. 20:3, 239-252.

Liu, Q., Li., L., Zhang, X., Saini, A., Li, W., Hung, H., Hao, C., Li, K., Lee, P., Wentzell, J.J.B., Huo, C., Li., S-M., Harner, T., and Liggio, J. Uncovering global-scale risks from commercial chemicals in air.  Nature 2021, 600, 457-461. https://doi.org/10.1038/s41586-021-04134-6.

Liu, Yongchun, Liggio, J., Harner, T., Jantunen, L., Shoeib, M., Li, S-M. 2014. Heterogeneous OH inititated oxidation: A possible explanation for the persistence of organophosphate flame retardants in air. Environ Sci. Technol. 48, 1041-1048.

Ma, J., Hung, H., Blanchard, P. 2004. How do climate fluctuations affect persistent organic pollutant distribution in North America? Evidence from a decade of air monitoring data. 2004. Environ. Sci. Technol. 38, 2538-2543.

Ma, J., Hung, H., Tian, C., Kallenborn, R. 2011. Revolatilization of persistent organic pollutants in the Arctic induced by climate change. Nature Climate Change. 1, 255-260.

Ma, J., Hung, H., Macdonald, R. W. (2016) The influence of global climate change on the environmental fate of persistent organic pollutants: A review with emphasis on the Northern Hemisphere and the Arctic as a receptor. Global and Planetary Change, 146: 89-108.

Macdonald, R., Harner, T., Fyfe, J. 2005. Recent climate change in the Arctic and its impact on contaminant pathways and interpretation of temporal trend data. Sci. Total Environ. 342, 5-86.

MacLeod, M., Woodfine, D. G., Mackay, D., McKone, T. E., Bennett, D.H., Maddalena, R., 2001. BETR North America: A regionally segmented multimedia contaminant fate model for North America. Environ. Sci. Pollut. Res., 8:156-163.

MacLeod, M., Wegmann, F., Scheringer, M. Model Results for Overall Persistence and Potential for Long Range Transport for the UNECE Convention on Long­range Transboundary Air Pollution Protocol on Persistent Organic Substances Candidate Substances. June 11, 2007, Available from: https://www.ethz.ch/content/dam/ethz/special-interest/chab/icb/set-dam/documents/downloads/UNECE-POP-CandidatesTheTool.pdf.

Markovic, M., Prokop, S., Staebler, R.M., Liggio, J., Harner, T. 2015. Evaluation of the particle infiltration efficiency of three passive samplers and the PS-1 active air sampler. Atmos. Environ. 112, 289-293.

Martrat, M.G., Parera J, Adrados M. A, Abalos M, Fiedler H, Abad E, 2012. Analysis of PBDEs in Passive Air Samples to Support the Global Monitoring Plan under the Stockholm Convention on Persistent Organic Pollutants. Organohalogen Compd. 74, 1308-1311.

Melymuk, L., Bohlin Nizzetto, P., Harner, T. (+17 authors). Global intercomparison of polyurethane foam passive air samplers evaluating variability in SVOCs due to sampler design and analysis.  Environmental Science & Policy 2021, 125, 1-9. https://doi.org/10.1016/j.envsci.2021.08.003.

Meire, R.O., Lee, S.C., Yao, Y., Targino, A.C., Torres, J.P., Harner, T. Seasonal and altitudinal variations of legacy and current-use pesticides in the Brazilian tropical and subtropical mountains. Atmospheric Environment 2012, 59, 108-116.

Melymuk, L., Bohlin, P., Sanka, Ondrej, Pozo, K., Klanova, J. 2014. Current Challenges in Air Sampling of Semivolatile Organic Contaminants: Sampling Artifacts and Their Influence on Data Comparability. Environ. Sci. Technol. 48, 14077-14091.

Melymuk, L., Bohlin-Nizzetto, P., Prokeš, R., Kukučka, P., Klánová, J. 2016. Sampling artifacts in active air sampling of semivolatile organic contaminants: comparing theoretical and measured artifacts and evaluating implications for monitoring networks. Environmental Pollution 217, 97-106.

Melymuk, L., Bohlin-Nizzetto, P., Prokeš, R., Kukučka, P., Přibylová, P., Vojta, Š, Kohoutek, J., Lammel, G., Klánová, J. 2017. Uncertainties in monitoring of SVOCs in air caused by within-sampler degradation during active and passive air sampling. Atmospheric Environment, 167, 553–565.

Melymuk, L.; Bohlin-Nizzetto, P.; Kukucka, P.; Vojta, S.; Kalina, J.; Cupr, P.; Klanova, J. 2018. Seasonality and indoor/outdoor relationships of flame retardants and PCBs in residential air. Environ. Pollut. 218, 392-401.

Miglioranza KSB, Ondarza P, Costa P, de Azevedo A, Gonzalez M, Shimabukuro V, Grondona S, Mitton F, Barra R, Wania F and Fillmann G. (2021). Spatial and temporal distribution of Persistent Organic Pollutants and Current Use Pesticides in the atmosphere of Argentinean Patagonia. Chemosphere .266, 129015.

Moody, J. L., Munger, J. W., Goldstein, A. H., Jacob, D. J., Wofsy, S. C., 1998. Harvard Forest regional-scale air mass composition by Patterns in Atmospheric Transport History (PATH), J. Geophys. Res., 103(D11), 13181-13194, 10.1029/98JD00526.

Motelay-Massei, A., Harner T., Shoeib, M., Diamond, M., Stern, G., Rosenberg, B. 2005. Using passive air samplers to assess urban-rural trends for persistent organic pollutnats and polycyclic aromatic hydrocarbons. 2. Seasonal trends for PAHs, PCBs, and organochlorine pesticides. Environ. Sci. Technol. 39, 5763-5773.

Muir, D., de Wit, Cynthia., Eds. 2010. Levels and trends of legacy and new persistent organic pollutants in the Arctic: an AMAP assessment. Sci. Total Environ. 408, 15.

Muir D.C.G, Kurt-Karakus P., Stern G., Evan M. 2013. Legacy and new POPs in marine and lake sediments. In: Canadian arctic contaminants assessment report III: Persistent organic pollutants in Canada’s North. Aboriginal Affairs and Northern Development Canada, Ottawa, pp 218–226.

Novak, J., Giesy, J.P., Klanova, J., Hilscherova, K. 2013. In vitro effects of pollutants from particulate and volatile fractions of air samples-day and night variability Environmental Science and Pollution Research 20(9), 6620-6627.

Novák, J., Hilscherová, K., Landlová, L., Čupr, P., Kohút, L., Giesy, J.P., Klánová, J. 2014. Composition and effects of inhalable size fractions of atmospheric aerosols in the polluted atmosphere. Part II. In vitro biological potencies. Environment International 63, 64-70.

OECD, 2023. Review of the OECD POV and LRTP Screening Tool 15 years after its release. OECD Environment, Health and Safety Publications. SERIES ON TESTING AND ASSESSMENT. NO. 388. ENV/CBC/MONO(2023)36.

Ockenden, W. A., Prest, H. F., Thomas, G. O., Sweetman, A., Jones, K. C. 1998. Passive air sampling of PCBs: Field calculation of atmospheric sampling rates by triolein-containing semipermeable membrane devices. Environ. Sci. Technol. 32, 1538-1543.

Odabasi, M., Falay, E., Tuna, G., Altiok, H., Kara, M., Dumanoglu, Y., Bayram, A., Tolunay, D., Elbir, T. 2015. Biomonitoring of the spatial and historical variations of persistent organic pollutants (POPs) in an industrial region. Environ. Sci. Technol. 49, 2105-2114.

Pacyna, J.M., Cousins, I.T., Halsall, C., Rautio, A., Pawlak, J., Pacyna, E.G., Sundseth, K., Global environmental regulations. Geophysical Research Letters, 47, e2020GL087535, 2020.

Palmes, E. D., Gunnison, A. F., 1973. Personal monitoring device for gaseous contaminants. American Industrial Hygiene Association Journal, 34,78-81.

Parnis, J.M., Eng, A., Mackay, D., Harner, T. 2016. Characterizing PUF disk passive air samplers for alkyl-substituted PAHs: measured and modelled PUF-air partition coefficients with COSMO-RS. Chemosphere 145, 360-364.

Persoon, C.; Hornbuckle, K. C. 2009. Calculation of passive sampling rates from both native PCBs and depuration compounds in indoor and outdoor environments. Chemosphere 74, (7), 917-923.

Pickard, H. M., Criscitiello, A. S., Spencer, C., Sharp, M. J., Muir, D. C. G., De Silva, A. O., Young, C. J. Continuous non-marine inputs of per- and polyfluroalkyl substances to the High Arctic: a multi-decadal temporal record. Atmospheric Chemistry and Physics, 18, 5045-5058, 2018.

Pickard, H. M., Crscitiello, A. S., Persaude, D., Spencer, C., Muir, D. C. G., Lehnherr, I., Sharp, M. J., De Silva, A. O., Young, C. J. Ice core record of persistent short-chain fluorinated alkyl acids: Evidence of the impact from Global Environmental Regulations. Geophysical Research Letters 47(10): e2020GL087535.

Pozo, K., Harner, T., Shoeib, M., Urrutia, R., Barra, R., Parra, O., Focardi, S. 2004. Passive sampler derived air concentrations of persistent organic pollutants on a north-south transect in Chile. Environ. Sci. Technol., 38, 6529-6537.

Pozo, K., Harner, T., Wania, F., Muir, D. C. G., Jones, K. C., Barrie, L. A. 2006. Toward a global network for persistent organic pollutants in air: results from the GAPS study. Environ. Sci. Technol. 40, 4867-4873.

Pozo, K., Harner, T., Lee. S.C., Wania, F., Muir, D. C. G., Jones, K. C. 2009. Seasonally resolved concentrations of persistent organic pollutants in the global atmosphere from the first year of the GAPS study. Environ. Sci. Technol. 43, 796-803.

Pozo, K.; Harner, T.; Lee, S.C.; Sinha, R.; Sengupta, B.; Loewen, M.; Geethalakshmi, V.; Kannan, K.; Volpi, V. 2011. Assessing seasonal and spatial trends of persistent organic pollutants (POPs) in Indian agricultural regions using PUF disk passive samplers. Environ. Pollut. 159, 646-653.

Přibylová, P., Kareš, R., Borůvková, J., Čupr, P., Prokeš, R., Kohoutek, J., Holoubek, I., Klánová, J. 2012. Levels of persistent organic pollutants and polycyclic aromatic hydrocarbons in ambient air of Central and Eastern Europe. Atmospheric Pollution Research 3, 494–505.

Rauert, C., Harner, T., Schuster, J.K., Quinto, K., Fillmann, G., Castillo, L.E., Fentanes, O., Ibarra, M.V., Miglioranza, K.S.B., Rivadeneira, I.M., Pozo, K., Puerta, A.P., Zuluaga, B.H.A. 2016. Towards a regional passive air sampling network and strategy for new POPs in the GRULAC region: Perspectives from the GAPS Network and first results for organophosphorus flame retardants. Sci Total Environ. 573, 1294-1302.

Rauert, C., Kananathalingham, A., Harner, T. 2017. Characterization and modeling of Polycyclic Aromatic Compound uptake into spruce tree wood. Environ. Sci. Technol. 51, 5287-5295.

Rauert, C., Shoeib, M., Schuster, J., Eng. A., Harner, T. 2018. Atmospheric concentrations and trends of poly- and perfluoroalkyl substances (PFAS) and volatile methyl siloxanes (VMS) over 7 years of sampling in the Global Atmospheric Passive Sampling (GAPS) network. Environ. Pollut. 238, 94-102.

Rauert, C., Schuster, J. K., Eng, A., Harner, T. 2018b. Global atmospheric concentrations of brominated and chlorinated flame retardants and organophosphate esters. Environ. Sci. Technol, 52, 2777-2789.

Rauert, C., Harner, T., Schuster, J.K., Eng, A., Fillmann, G., Castillo, L.E., Fentanes, O., Ibarra, M.V., Miglioranza, K.S.B., Rivadeneira, I.M., Pozo, K., Zuluaga, B.H.A. 2018b. Atmospheric concentrations of new POPs and emerging chemicals of concern in the Group of Latin America and Caribbean (GRULAC) region. Environ. Sci. Technol. 52(13), 7240-7249.

Reppas-Chrysovitsinos, E., Sobek, A., MacLeod, M. 2017. Screening-level exposure-based prioritization to identify potential POPs, vPvBs and planetary boundary threats among Arctic contaminants. Emerging Contaminants 3(2), 85-94. https://doi.org/10.1016/j.emcon.2017.06.001.

Roots, O., Roose, A., Kull, A., Holoubek, I., Čupr, P., Klánová, J.: Distribution pattern of PCBs, HCB and PeCB using passive air and soil sampling in Estonia. Environmental Science and Pollution Research 2010, 17 (3), 740-749.

Saini, A., Chinnadurai, S., Schuster, J.K., Eng, A., Harner, T.  Per- and polyfluoroalkyl substances and volatile methyl siloxanes in global air: spatial and temporal trends. Environmental Pollution 2023, 323, 121291. https://doi.org/10.1016/j.envpol.2023.121291.

Saini, A., Harner, T., Chinnadhurai, S., Schuster, J.K., Yates, A., Sweetman, A., Aristizabal-Zuluaga, B. H., Jimenez, B., Manzano, C. A., Gaga, E. O., Stevenson, G., Falandysz, J., Ma, J., Miglioranza, K. S. B., Kannan, K., Tominaga, M., Jariyasopit, N., Rojas, N. Y., Amador-Munoz, O., Sinha, R., Alani, R., Suresh, R.,  Nishino, T., Shoeib, T. GAPS-megacities: A new global platform for investigating persistent organic pollutants and chemicals of emerging concern in urban air. Environ. Pollut. 2020, 267, 115416 https://doi.org/10.1016/j.envpol.2020.115416.

Samake, A., G. Uzu, J. M. F. Martins, A. Calas, E. Vince, S. Parat, and J. L. Jaffrezo. 2017. 'The unexpected role of bioaerosols in the Oxidative Potential of PM', Scientific Reports, 7.

Scheringer, M. 2009. Long-range transport of organic chemicals in the environment. Environmental Toxicology and Chemistry, 28:677-690.

Schlabach, M.; Farag-Clement, R., Hung, H., Kallenborn, R., Su, Y., Aas, W., AMAP.EMEP.NCP inter-laboratory study for POP analysis 2010. EMEP/CCC-Report 7/2011.

Schuster, J.K., R. Gioia, Breivik, K., Steinnes, E., Scheringer, M., Jones, K.C. 2010. Trends in European Background Air Reflect Reductions in Primary Emissions of PCBs and PBDEs. Environmental Science & Technology 44, 6760-6766.

Schuster, J.K., Harner, T. et al. (n=19), 2015. Assessing Polychlorinated Dibenzo-p-dioxins and Polychlorinated Dibenzofurans in Air across Latin American Countries Using Polyurethane Foam Disk Passive Air Samplers. Environ. Sci. Technol. 49, 3680-3686.

Schuster, J.; Gioia, R.; Harner, T.; Lee, S.C.; Breivik, K.; Jones, K.C. 2012. Assessment of sorbent impregnated PUF disks (SIPs) for long–term sampling of legacy POPs. J. Environ. Monitor. 14, 71-78.

Schuster, J.K., Harner, T., Rauert, C.  Impacts of Proximity to Primary Source Areas on Concentrations of POPs at Global Sampling Stations Estimated from Land Cover Information. ACS Omega 2023, 8, 36016-36024.

Semeena, S., Lammel, G., 2003. Effects of various scenarios of entry of DDT and γ-HCH on the global environmental fate as predicted by a multicompartment chemistry-transport model. Fresenius Environ. Bull., 12:925-939, Special Issue.

Sha, B., Johansson, J. H., Tunved, P., Bohlin-Nizzetto, P., Cousins, I. T., Salter, M. E. Sea spray aerosol (SSA) as a source of perfluoroalkyl acids (PFAAs) to the atmosphere: Field evidence from long-term air monitoring. Environmental Science and Technology, 56(1), 228-238, 2021.

Shen, L., Lei, Y. D., Wania, F., 2002. Sorption of chlorobenzene vapors on styrene-divinylbenzene polymer. J. Chem. Eng. Data, 47:944-949.

Shen, L., Wania, F., Lei, Y. D., Teixeira, C., Muir, D.C.G., Bidleman, T.F., 2004. Hexachlorocyclohexanes in the North American atmosphere. Environ. Sci. Technol., 38:965-975.

Shen, L., Wania, F., Lei, Y. D., Teixeira, C., Muir, D.C.G., Bidleman, T.F., 2005. Atmospheric distribution and long-range transport behavior of organochlorine pesticides in North America. Environ. Sci. Technol. 39: 409-420.

Shen, L., Wania, F., Lei, Y. D., Teixeira, C., Muir, D.C.G., Xiao, H. 2006. Polychlorinated biphenyls and polybrominated diphenyl ethers in the North American atmosphere. Environ. Pollut., 144, 434-444.

Shoeib, M., Harner, T., 2002. Characterization and comparison of three passive air samplers for persistent organic pollutants. Environ. Sci. Technol., 36:4142-4151.

Shoeib, M., Harner, T., Wilford, B.H., Jones, K.C., Zhu, J. 2005. Perfluorinated sulfonamides in indoor and outdoor air and indoor dust: occurrence, partitioning, and human exposure. Environ. Sci. Technol. 39, 6599-6606.

Shoeib, M., Harner, T., Lee, S.C., Lane, D., Zhu, J. 2008. Sorbent-impregnated polyurethane foam disk for passive air sampling of volatile fluorinated chemicals. Anal. Chem. 80, 675-682.

Shunthirasingham, C., Barra, R., Mendoza, G., Montory, M., Oyiliagu, C.E., Lei, Y. D., Wania, F. Spatial variability of atmospheric semivolatile organic compounds in Chile. Atmsopheric Environment 2011, 45, 303-309.

Shunthirasingham, C., Oyiliagu, C.E., Cao, X., Gouin, T., Wania, F., Lee, S.C., Pozo, K., Harner, T., Muir, D.C.G. Spatial and temporal patterns of pesticides in the global atmosphere. J. Environ. Mon. 2010, 12, 1650-1657.

Shunthirasingham, C., Alexandrou, N., Brice, K. A., Dryfhout-Clark, H., Su, K., Shin, C., Park, R., Pajda, A., Noronha, R. and Hung, H. 2018. Temporal trends of halogenated flame retardants in the atmosphere of the Canadian Great Lakes Basin (2005–2014). Environ. Sci.: Processes Impacts, 20: 469-479.

Stafilov, T., Skrbic, B., Klánová, J., Cupr, P., Holoubek, I., Kocov, M., Durisic-Mladenovic, N.: Chemometric assessment of the semivolatile organic contaminants content in the atmosphere of the selected sites in the Republic of Macedonia. Journal of Chemometrics 2011, 25, 5, 262-274.

Stroebe, M., Scheringer, M., Held, H., Hungerbuhler, K. 2004. Inter-comparison of multimedia modeling approaches: modes of transport, measures of long-range transport potential and the spatial remote state. Sci. Total Environ., 321, 1-20.

Su, Y., Hung, H. 2010. Inter-laboratory comparison study on measuring semi-volatile organic chemicals in standards and air samples. Environ. Pollut., 158, 3365-3371.

Su, Y., Hung, H., Stern, G., Sverko, E., Lao, R., Barresi, E., Rosenberg, B., Fellin, P., Li, H., Xiao, H. 2011. Bias from two analytical laboratories involved in a long-term air monitoring programme measuring organic pollutants in the Arctic: a quality assurance/quality control assessment. J. Environ. Monitor. 13: 3111-3118.

Sverko, E., Tomy, G.T., Reiner, E.J., Li, Y.-F., McCarry, B.E., Arnot, J.A., Law, R.J., Hites, R.A., 2011. Dechlorane Plus and Related Compounds in the Environment: A Review. Environmental Science and Technology. 2011, 45; 5088-5098. https://doi.org//10.1021/es2003028.

Takasuga, T., Nakano, T., Shibata, Y. Unintentional POPs (PCBs, PCBz, PCNs) contamination in articles containing chlorinated paraffins and related impacted chlorinated paraffin products. 2012. Oraganohalogen Compds.

Tao, S., Liu, Y., Xi, W., Lang, C., Liu, S., Dou, H., Liu, W. 2007. Calibration of a passive sampler for both gaseous and particle phase polycyclic aromatic hydrocarbons. Environ. Sci. Technol. 41, 568-573.

Tuduri, L., Harner, T., Hung, H. 2006. Polyurethane foam (PUF) disks passive air samplers: Wind effect on sampling rates, Environmental Pollution 144, 377-383.

Thomas, J., Holsen, T. M., Dhaniyala, S. 2006. Computational fluid dynamic modeling of two passive samplers, Environmental Pollution 144, 384-392.

UNECE Task Force on Hemispheric Transport of Air Pollution 2010 POPs Assessment Report. www.htap.org.

UNEP 2003. Chapter 4 Assessment of Major Transport Pathways. In: Global Report of the Regional Based Assessment of Persistent Toxic Substances (RBA/PTS) of the Global Environmental Facility (GEF), United Nations Environmental Programme (UNEP) Chemicals, Geneva, Switzerland, pp. 137-159.

UNEP 2011. Climate change and POPs: predicting the future. Report of the UNEP/AMAP expert group. http://chm.pops.int

UNEP 2012. Report on Passive Air Sampling under the Global Monitoring Plan for Persistent Organic Pollutants - GMP Projects 2010-2011 http://www.chem.unep.ch/Pops/GMP/Report%20UNEP%20PAS%20Air%20Monitoring%202010-2011.pdf.

UNEP 2012b. Bi-ennial Global Interlaboratory Assessment on Persistent Organic Pollutants – First Round 2010-2011, United Nations Environment Programme, Geneva, Switzerland; http://www.chem.unep.ch/Pops/GMP/Global/Bi-ennial%20Global%20Interlaboratory%20Assessment%20on%20POPs-Round%201.pdf.

UNEP 2012c. Bi-ennial Global Interlaboratory Assessment on Persistent Organic Pollutants – First Round 2010/2011 UnIted Nations Environment Programme (UNEP), Geneva, Switzerland.

UNEP 2015. Bi-ennial Global Interlaboratory Assessment on Persistent Organic Pollutants - 2nd Round 2012–2013. UnIted Nations Environment Programme (UNEP), Geneva, Switzerland.

UNEP 2022. "Kunming-Montreal Global Biodiversity Framework." Conference of the Parties to the Convention on Biological Diversity, fifteenth meeting - Part II, edited by United Nations Environment Programme (UNEP). Montreal, Canada.

van Leeuwen, S., van Bavel, B., Abad, E., Leslie, H., Fiedler, H., de Boer, J. 2013. POPs analysis in the developing world - bringing laboratories in developing countries to a higher quality level. TrAC Trends in Analytical Chemistry (submitted).

Venier, M. Hites, R.A. 2010. Time Trend Analysis of Atmospheric POPs Concentrations in the Great Lakes Region Since 1990. Environ. Sci. Technol., 2010. 44, 8050-8055.

Venier, M. Hung, H., Tych, W., Hites, R. A. 2012. Temporal trends of persistent organic pollutants: a comparison of different time series models. Environ. Sci. Technol., 46, 3928-2934.

Vorkamp, K., Carlsson, P., Corsolini, S., de Wit, C. A., Dietz, R., Gribble, M. O., Houde, M., Kalia, V., Letcher, R. J., Morris, A., Rigét, Routti, H., Muir, D. C. G. Influences of climate change on long-term time series of persistent organic pollutants (POPs) in Arctic and Antarctic biota. Environ. Sci.: Processes Impacts, 24, 1643-1660, 2022.

von Waldow, H. Macleod, M., Scheringer, M., Hungerbuhler, K. 2010. Quantifying remoteness from emission sources of persistent organic pollutants on a global scale. Environ. Sci. Technol., 44, 2791-2796.

Wania, F., Mackay, D., Li, Y.-F., Bidleman, T. F., Strand, A., 1999. Global chemical fate of α-hexachlorocyclohexane. 1. Evaluation of a global distribution model. Environ. Toxicol. Chem., 18:1390-1399.

Wania, F., Shen, L., Lei, Y. D., Teixeira, C., Muir, D.C.G., 2003. Development and calibration of a resin-based passive sampling system for persistent organic pollutants in the atmosphere. Environ. Sci. Technol., 37:1352-1359.

Wegmann F, Cavin L, MacLeod M, Scheringer M, Hungerbuhler K. 2009. The OECD software tool for screening chemicals for persistence and long-range transport potential. Environmental Modeling & Software 24:228–237.

White K.B. et al., Spatial and Temporal Trends of Persistent Organic Pollutants across Europe after 15 Years of MONET Passive Air Sampling. Environmental Science and Technology 2021, 55, 14, 9413–9424.

White K.B. et al., Spatial and Temporal Trends of Persistent Organic Pollutants across Europe after 15 Years of MONET Passive Air Sampling. Environmental Science and Technology 2023, 57, 31, 11583–11594.

Wilson, S., Munthe, J. 2015. Impacts on human health in the Arctic owing to climate-induced changes in contaminant cycling — the EU ArcRisk project policy outcome. Environ. Sci. Pol. 50, 200–213.

Xiao, H., Hung, H., Harner, T., Lei, Y.D., Wania, F. 2007. A flow-through sampler for semivolatile organic compounds in air. Environ. Sci. Technol., 41:250-256.

Zencak, Z., Klanova, J., Holoubek, I., Gustafsson Ö. 2007. Source apportionment of atmospheric PAHs in the western Balkans by natural abundance radiocarbon analysis. Environ. Sci. Technol., 41: 3850-3855.

Zhang, X., Brown, T. N., Ansari, A., Yeun, B., Kitaoka, K., Kondo, A., Lei, Y. D., Wania, F. 2013. Effect of Wind on the Chemical Uptake Kinetics of a Passive Air Sampler. Environ. Sci. Technol. 47: 7868–7875.

Zhang X., Hoang, M., Lei, Y. D., Wania, F. 2015. Exploring the role of the sampler housing in limiting uptake of semivolatile organic compounds in passive air samplers. Environmental Science-Processes & Impacts 17: 2016-2012.)

Zhao, Y., Huang, T., Wang, L., Gao, H., and Ma, J. 2015. Step changes in persistent organic pollutants over the Arctic and their implications. Atmos. Chem. Phys., 15, 3479–3495.

Zhao, Y., Wang, L., Huang, T., Mo, J., Zhang, X., Gao, H., Ma, J. 2017. Feature extraction of climate variability, seasonality, and long‐term change signals in persistent organic pollutants over the Arctic and the Great Lakes. J. Geophy. Res. Atmos., 122 (16), 8921-8939.

### Web references

AMAP: http://www.amap.no.

East Asian POPs Network: http://www.env.go.jp/en/chemi/pops.html.

EMEP: http://www.emep.int/.

GAPS: http://www.ec.gc.ca/rs-mn/default.asp?lang=En&n=22D58893-1.

IADN: https://www.epa.gov/great-lakes-monitoring/great-lakes-integrated-atmospheric-deposition-network.

Lancaster Environment Centre: http://www.lec.lancs.ac.uk/.

MONET / RECETOX / GENASIS database: http://www.recetox.muni.cz/index-en.php; http://www.genasis.cz/index-en.php.

University of Toronto (Wania Group): http://www.utsc.utoronto.ca/~wania/main.html.

Global Atmsopheric Watch (WMO/GAW): http://www.wmo.int/pages/prog/arep/gaw/gaw_home_en.html.

Mounting and deployment of PUF disk samplers, by AMETEC-UNU: https://www.youtube.com/watch?v=pkz48SyIzXw.

Instructions on PUF disk sample changes for Arctic passive network: https://www.youtube.com/watch?v=8A22nvu7kbQ.

XAD tube sampler setup: https://www.youtube.com/watch?v=9vvrvpRD96k&feature=youtu.be.

Temperature logger installation: https://www.youtube.com/watch?v=nkzbCzRPMyc&feature=youtu.be.

PUF passive sampling video (in Arabic) https://www.youtube.com/watch?v=NznXwa-xk-0.

## Chapter 4.2

Acker, L. and E. Schulte (1970a). The occurrence of chlorinated biphenyls and hexachlorobenzene along with chlorinated insecticides in human milk and human adipose tissue. Naturwissenschaften 57(10): 497.

AMAP 1998. AMAP Assessment Report: Arctic Pollution Issues. Arctic Monitoring and Assessment Programme (AMAP), Oslo Norway, pp. xii+859.

AMAP 2002. AMAP Assessment Report: Human health in the Artic; Priority contaminants, « New » toxic substances, and analytical issues. Chapter 4, Burkow I.C.; Weber J.P. AMAP, 2004.

AMAP 2002. AMAP Assessment Report: Persistent Organic Pollutants in the Arctic. Arctic Monitoring and Assessment Programme, Oslo, Norway, pp. 309.

AMAP 2009. AMAP Assessment Report: Human Health in the Arctic. Arctic Monitoring and Assessment Programme, Oslo, Norway pp 254.

AMAP 2015. AMAP Assessment Report: Human Health in the Arctic. Arctic Monitoring and Assessment Programme, Oslo, Norway.

AMAP 2020. AMAP Assessment Report: Human Health in the Arctic. Arctic Monitoring and Assessment Programme, Oslo, Norway.

Anda, E.E., Nieboer, E., Sandanger, T., Doudarev, A., Odland, J.O. 2007. Intra- and intercompartmental associations between levels of organochlorines in maternal plasma, cord plasma and breast milk, and lead and cadmium in whole blood, for indigenous peoples of Chukotka, Russia. J. Environ. Monit., 9: 8: 884-893.

Becher, G., Haug, L.S., Nicolaysen, T., Polder, A., Skaare, J.U., 2002. Temporal and spatial trends of PCDD/Fs and PCBs in Norwegian breast milk – results from three rounds of WHO co-ordinated studies. Organohalogen Compounds, 56: 325 – 328.

COMMISSION REGULATION (EU) 2018/192 of 8 February 2018 amending Annex VII to Regulation (EC) No 882/2004 of the European Parliament and of the Council as regards the EU reference laboratories in the field of contaminants in feed and food, Official Journal of the European Union, L 36/15Falanndysz, J., Fernandes, A., Gregoraszczuk, E. and Rose, M. (2014) The Toxicological Effects of Halogenated Naphthalenes: A Review of Aryl Hydrocarbon Receptor-Mediated (Dioxinlike) Relative Potency Factors Journal of Environmental Science and Health, Part C, 32:239–272.

Giesy JP, Kannan K. 2001. Global distribution of perfluorooctane sulfonate in wildlife. Environ Sci Technol 35:1339–1342.

Glynn, A., Berger, U, Bignert, A., Ullah, S., Lignell, S., Aune, M., Darnerud, PO. 2011. Perfluorinated compounds in serum from primparae mothers in Uppsala – time trend 1996-2010. Report to the Swedish national monitoring programme. Contract 215 0906.

Hansen KJ, Clemen LA, Ellefson ME, Johnson HO. 2001. Compound-specific, quantitative characterization of organic: fluorochemicals in biological matrices. Environ Sci Technol. 35:766–70.

Hansen, S., Nieboer, E., Odland, J.Ø., Wilsgaard, T., Veyhe, AS., Sandanger, T.M. 2010. Levels of organochlorines and lipids across pregnancy, delivery and postpartum periods in women from Northern Norway. J. Environ. Monit., Advance Article DOI: 10.1039/C0EM00346H.

Harris, C.A., Woolridge, M.W., Hay, A.W., 2001. Factors affecting the transfer of organochlorine pesticide residues to breastmilk. Chemosphere, 43:243-56.

Haug LS, Thomsen C, Bechert G. 2009. Time Trends and the Influence of Age and Gender on Serum Concentrations of Perfluorinated Compounds in Archived Human Samples. Environ Sci Technol 43: 2131-2136.

Iliif, P.J., Piwoz, E.G., Tavengwa, N.V., Zunguza, C.D., Marinda, E.T., Nathoo, K.J., Moulton, L.H., Ward, B.J., Zvitambi Study Group, Humphrey, J.H. 2005. Early exclusive breastfeeding reduces the risk of postnatal HIV-1 transmission and increases HIV- free survival. AIDS. 19:699-708.

Jarrell J, Chan S, Hauser R, Hu H. 2005. Longitudinal assessment of PCBs and chlorinated pesticides in pregnant women from Western Canada. Environ Health 4(10):1–8.

Kärrman A, Ericson I, van Bavel B, Darnerud PO, Aune M, Glynn A, Lignell S, Lindström G. 2007. Exposure of perfluorinated chemicals through lactation: levels of matched human milk and serum and a temporal trend, 1996–2004, in Sweden. Environ Health Perspect. 115:226–30.

Kärrman A, Domingo JL, Llebaria X, Nadal M, Bigas E, van Bavel B. 2009. Biomonitoring perfluorinated compounds in Catalonia, Spain: concentrations and trends in human liver and milk samples. Environ Sci Pollut Res Int17:750–8.

Kärrman A, Davies, J. 2013. PFOS in matched milk and serum from primipara women. Interim Report prepared by Anna Kärrman and Jenna Davies for UNEP Secretariat of the Stockholm Convention. 9 January 2013. https://www.diva-portal.org/smash/get/diva2:710702/FULLTEXT01.pdf.

Krätschmer, K., Cojocariu, C., Schächtele, A., Malisch, R. and Vetter, W., 2018. Chlorinated paraffin analysis by gas chromatography Orbitraphigh-resolution mass spectrometry: Method performance, investigation of possible interferences and analysis of fish samples. Journal of Chromatography A, 1539: 53–61.

Laug, E. P., F. M. Kunze and C. S. Prickett (1951). Occurrence of DDT in human fat and milk. AMA Arch Ind Hyg Occup Med 3(3): 245-246.

Lignell, S., Aune, M., Glynn, A., Cantillana, T., Fridén, U. 2014. Levels of persistent halogenated organic pollutants (POP) in mother’s milk from first-time mothers in Uppsala, Sweden: results from year 2012 and temporal trends for the time period 1996-2012. Contract 215 1214 from the National Monitoring Programme.

Lignell, S, Aune, M, Darnerud, PO and Glynn, A (2008) Report to the Swedish Environmental Protection Agency, Contract 215 0616 from the National Monitoring Programme.

Longnecker M.P., Klebanoff M.A., Gladen B.C., Berendes HW. Serial levels of serum organochlorines during pregnancy and postpartum. Arch Environ Health 1999;54(2):110–114.

Lovelady, C.A., Dewey, K.G., Picciano, M.F., Dermer, A., 2002. Guidelines for collection of human milk samples for monitoring and research of environmental chemicals. J Toxicol Environ Health, 65:1881-91.

Malisch, R., Moy, G. 2006. Fourth round of WHO-coordinated exposure studies on levels of persistent organic pollutants in human milk. Organohalogen Compounds 68: 1627-1630.

Malisch, R., Van Leeuwen, F.X.R., 2002. Third round of WHO-coordinated exposure study: Analysis of PCBs, PCDDs and PCDFs in human milk. Organohalogen Compounds, 56:317-320.

Malisch, R., Van Leeuwen, FXR., 2003. Results of the WHO-coordinated exposure study on the levels of PCBs, PCDDs and PCDFs in human milk. Organohalogen Compounds, 64:140-143.

Malisch et al 2023, Rainer Malisch, Peter Fürst, Kateřina Šebková (2023), Persistent Organic Pollutants in Human Milk, Springer. https://doi.org/10.1007/978-3-031-34087-1.

Martin J.W, K. Kannan, U. Berger, P. de Voogt, J. Field, J. Franklin, J. P. Geisy, T. Harner, D.C.G. Muir, B. Scott, M. Kaiser, U. Järnberg, K.C. Jones, S. C. Mabury, H. Schroeder, M. Simcik, C. Sottani, B. van Bavel, A. Kärrman, G. Lindström, S. van Leeuwen 2004. Analytical Challenges Hamper Perfluoralkyl Research. Researchers need better tools to get to the bottom of the contamination mystery. Environ. Science and Technol. 249A- 255A.

Meironyte, D., K. Noren, and A. Bergman (1999) "Analysis of polybrominated diphenylethers in Swedish human milk. A time-related trend study 1972-1997."Journal of Toxicology and Environmental Health, Part A, 58(6): 329-341.

Muckle G, Ayotte P, Dewailly É, Jacobson SW, Jacobson JL. 2001. Prenatal exposure of the northern Quebec Inuit infants to environmental contaminants. Environ Health Perspect 109:1291–1299.

Newell, M-L. 2005. Mechanics of timing of mother-to-child transmission of HIV-1. AIDS. 12:831-837.

NIOSH. Criteria for a recommended étalon. Occupational exposure to polychlroinated Biophenyl (PCBs) U.S. DHEW, PHS, CDC, Rockville, Md. Publ. 1997, No. 77-225.

Pereg, D., J.J. Ryan, P. Ayotte, G. Muckle, B. Patry and E. Dewailly, 2003. Temporal and spatial changes of brominated diphenyl ethers (BDEs) and other POPs in human milk from Nunavik (Arctic) and southern Quebec. Organohalogen Compounds, 61:127-130.

Pereg, D., E. Dewailly, P. Ayotte and G. Muckle, 2008. Monitoring temporal trends of environmental pollutants in maternal blood in Nunavik. In: Synopsis of Research Conducted under the 2007-2008 Northern Contaminants Program. Department of Indian Affairs and Northern Development, Ottawa, Ontario, Canada.

Phillips D.L., Pirkle J.L., Burse V.W., Bernert J.T., Henderson O., Needham L.L 1989. Chlorinated hydrocarbon levels in human serum: effects of fasting and feeding. Arch Environ Contam Toxicol 18:495 –500.

Radecki, S., Abbot, A., Eloi, l. 2000. Occupational human immunodeficiency virus exposure among residents and medical students; an analysis of 5-year follow-up data. Arch. Internal Medic. 160:3107-3111.

Schulte, E. and R. Malisch (1984). Calculation of the real PCB content in environmental samples. II. Gas chromatographc determination of the PCB concentration in human milk and butter. Fresenius' Zeitschrift für analytische Chemie 319(6): 54-59.

Schecter, A., Pavuk, M., Päpke, O., Malisch, R., 2003. Potassium dichromate and ethyl alcohol as blood preservation for analysis of chlorinated organics. Organohalogen Compounds, 60:154-157.

Sosnowska, A., M. Mudlaff, L. Gorb, N. Bulawska, S. Zdybel, M. Bakker, W. Peijnenburg and T. Puzyn (2023). Expanding the applicability domain of QSPRs for predicting water solubility and vapor pressure of PFAS. Chemosphere 340: 139965.

Tao L, Kannan K, Wong CM, Arcaro KF, Butenhoff JL. 2008. Perfluorinated compounds in human milk from Massachusetts. USA Environ Sci Technol 42:3096–101.

UNEP 2013. Results of the global survey on concentrations in human milk of persistent organic pollutants by the United Nations Environment Programme and the World Health Organization. UNEP/POPS/COP.6/INF/33 at Conference of the Parties to the Stockholm Convention on Persistent Organic Pollutants, Sixth meeting, Geneva, 28 April–10 May 2013.

UNEP 2017a. UNEP-coordinated Survey of Human Milk for Persistent Organic Pollutants - Guidelines for Organization, Sampling and Analysis, prepared by Karin Malisch and Rainer Malisch, CVUA Freiburg, Germany, and Heidelore Fiedler, Örebro University, Sweden, in January 2017.

UNEP 2017b. Bi-ennial Global Interlaboratory Assessment on Persistent Organic Pollutants – Third Round 2016/2017.

UNEP 2021. Bi-ennial Global Interlaboratory Assessment on Persistent Organic Pollutants. Fourth Round 2018/2019. https://wedocs.unep.org/20.500.11822/30923, United Nations Environment Programme, Örebro University, & Vrije Universitet Amsterdam.

UNEP 2023. Risk profile for long-chain perfluorocarboxylic acids, their salts and related compounds. UNEP/POPS/POPRC.18/11/Add.4. Geneva, Switzerland, Stockholm Convention on Persistent Organic Pollutants: 57 pp.

US EPA 1996. Method 1669. Sampling Ambient Water for Trace Metals at EPA Water Quality at Criteria Levels. Washington, DC, US Environmental Protection Agency, Office of Water: 39 pp.

US EPA 2009. Monitoring Guidance for the National Estuary Programme EPA842-B-92-004. Washington, DC, US Environmental Protection Agency, National Estuary Program: 75 pp.

van den Berg, M., Kypke, K., Kotz, A., Tritscher, A., Yong, L.S., Magulova, K. Fiedler, H. and Malisch, R., 2017. WHO/UNEP global surveys of PCDDs, PCDFs, PCBs and DDTs in human milk and benefit–risk evaluation of breastfeeding, Arch Toxicol. 91:83-96, DOI 10.1007/s00204-016-1802-z.

van den Berg M, van der Wielen FWM, Olie K and van Boxtel CJ. (1986). The presence of PCDDs and PCDFs inhuman breast milk from the Netherlands. Chemosphere, 15: 693–706.

van Leeuwen, F.X.R., Malisch, R., 2002. Results of the third round of the WHO-coordinated exposure study on the levels of PCBs, PCDDs and PCDFs in human milk. Organohalogen Compounds, 56: 311-316.

Völkel, W., Genzel-Boroviczény, O., Demmelmair, H., Gebauer, C., Koletzko, B., Twardella, D., Raab, U.and Fromme, H. (2008). Perfluorooctane sulphonate (PFOS) and perfluorooctanoic acid (PFOA) in human breast milk: results of a pilot study. International Journal of Hygiene and Environmental Health, 211(3-4): 440-446.

WHO 1989. Environmental Health Series No. 34 (1989): Levels of PCBs, PCDDs, and PCDFs in breast milk, WHO Regional Office for Europe, Copenhagen, Denmark.

WHO 1996. Environmental Health in Europe No. 3 (1996): Levels of PCDDs, PCDFs and PCBs in human milk: Second Round of WHO-coordinated exposure study), WHO Regional Office for Europe, Copenhagen, Denmark.

WHO 2000. Inter-laboratory quality assessment of levels of PCBs, PCDDs and PCDFs in human milk and blood plasma – fourth round of WHO-coordinated study (2000), WHO Report EUR/00/5020352, WHO European Centre for Environment and Health, Bilthoven, The Netherlands.

WHO 2007. Fourth WHO-coordinated survey of human milk for Persistent Organic pollutants; A protocol for collection, handling and analysis of samples at the country level.

Yuan, Bo; Bogdal, Christian; Berger, Urs; MacLeod, Matthew; Gebbink, Wouter A.; Alsberg, Tomas; Wit, Cynthia A. de (2017): Quantifying Short-Chain Chlorinated Paraffin Congener Groups. In Environmental science & technology 51 (18), pp. 10633–10641. DOI: 10.1021/acs.est.7b02269.

### Web references

Proceedings of the GMP workshop: http://www.chem.unep.ch/gmn/Files/popsmonprg_proc.pdf.

Centre de Toxicologie du Quebec: http://www.inspq.qc.ca/ctqenglish/home.

WHO Food safety: http://www.who.int/foodsafety/chem.

## Chapter 4.3

Armitage, J.M., Macleod, M., Cousins, I.T., 2009. Modeling the global fate and transport of perfluorooctanoic acid (PFOA) and perfluorooctanoate (PFO) Emitted from direct sources using a multispecies mass balance model. Environ. Sci. Technol. 43, 1134–1140. https://doi.org/10.1021/es802900n.

Baabish, A., S. Sobhanei and H. Fiedler (2021). Priority perfluoroalkyl substances in surface waters - A snapshot survey from 22 developing countries. Chemosphere 273: 129612.

Bečanová J., Komprdová K., Vrana B., Klánová J., 2016. Annual dynamics of perfluorinated compounds in sediment: A case study in the Morava River in Zlín district, Czech Republic. Chemosphere 151, 225–233. https://doi.org/10.1016/j.chemosphere.2016.02.081.

Beggs, C., Mackie, R., Vrana, B., Prokeš, R., Gorji, S.G., Schulze, B., Thomas, K. V., Mueller, J.F., Kaserzon, S.L., 2023. Estimation of per- and poly-fluoroalkyl substances mass loads in the Danube River using passive sampling. Sci. Total Environ. 892, 164458.

Berger U., Kaiser M.A., Kärrman A., et al. (2011) Recent developments in trace analysis of poly- and perfluoroalkyl substances. Anal Bioanal Chem 400:1625–1635. https://doi.org/10.1007/s00216-011-4823-8.

Bogdal, Christian; Alsberg, Tomas; Diefenbacher, Pascal S.; MacLeod, Matthew; Berger, Urs (2015): Fast Quantification of Chlorinated Paraffins in Environmental Samples by Direct Injection High-Resolution Mass Spectrometry with Pattern Deconvolution. In Anal. Chem. 87 (5), pp. 2852–2860. DOI: 10.1021/ac504444d.

Dunn, M., Becanova, J., Snook, J., Ruyle, B., Lohmann, R., 2023. Calibration of Perfluorinated Alkyl Acid Uptake Rates by a Tube Passive Sampler in Water. ACS ES&T Water, 3 (2) 332–341. https://doi.org/10.1021/ACSESTWATER.2C00384.

Gardiner, C., A. Robuck, J. Becanova, M. Cantwell, S. Kaserzon, D. Katz, J. Mueller and R. Lohmann (2022). Field Validation of a Novel Passive Sampler for Dissolved PFAS in Surface Waters. Environmental Toxicology and Chemistry 41(10): 2375-2385.

Gouin, T., Wania, F., 2007. Time trends of Arctic contamination in relation to emission history and chemical persistence and partitioning properties. Environ. Sci. Technol. 41, 5986–92.

GMP, U., Protocol 1: The analysis of perfluorooctane sulfonic acid (PFOS) in water and Perfluorooctane sulfonamide (FOSA), mothers’ milk, human serum and air, and the analysis of some perfluorooctane sulfonamides (FOSAS) and perfluorooctane sulfonamido ethanols (FOSES) in air, UNEP Chemicals Branch, Division of Technology, Industry and Economics, 2015.

International Organisation for Standardisation, 1992. ISO 5667-9:1992 Water quality -- Sampling -- Part 9: Guidance on sampling from marine waters.

International Organisation for Standardisation, 2006. ISO 5667-1:2006 - Water quality -- Sampling -- Part 1: Guidance on the design of sampling programmes and sampling techniques.

International Organisation for Standardisation, 2009 ISO 25101:2009. Water quality - Determination of perfluorooctanesulfonate (PFOS) and perfluorooctanoate (PFOA) - Method for unfiltered samples using solid phase extraction and liquid chromatography/mass spectrometry.

International Organisation for Standardisation, 2014. ISO 5667-6:2014 Water quality -- Sampling -- Part 6: Guidance on sampling of rivers and streams.

International Organisation for Standardisation, 2014b. ISO 5667-14: 2014. Water quality — Sampling — part 14. Guidance on quality assurance of environmental water sampling and handling.

International Organisation for Standardisation, 2016. ISO 5667-4:2016 Water quality -- Sampling -- Part 4: Guidance on sampling from lakes, natural and man-made.

Jurado, E., ZaldĆvar, J.-M., Marinov, D., Dachs, J., 2007. Fate of persistent organic pollutants in the water column: Does turbulent mixing matter? Mar. Pollut. Bull. 54, 441–451.

Kaserzon, S. L., S. Vijayasarathy, J. Bräunig, L. Mueller, D. W. Hawker, K. V. Thomas and J. F. Mueller (2019). Calibration and validation of a novel passive sampling device for the time integrative monitoring of per- and polyfluoroalkyl substances (PFASs) and precursors in contaminated groundwater. Journal of Hazardous Materials 366: 423-431. https://doi.org/10.1016/j.jhazmat.2018.12.010.

Kaserzon, S.L., Hawker, D.W., Booij, K., O’Brien, D.S., Kennedy, K., Vermeirssen, E.L.M., Mueller, J.F., 2014. Passive sampling of perfluorinated chemicals in water: In-situ calibration. Environ. Pollut. https://doi.org/10.1016/j.envpol.2013.11.030.

Kaserzon, S.L., Kennedy, K., Hawker, D.W., Thompson, J., Carter, S., Roach, A.C., Booij, K., Mueller, J.F., 2012. Development and calibration of a passive sampler for perfluorinated alkyl carboxylates and sulfonates in water. Environ. Sci. Technol. 46, 4985–4993. https://doi.org/10.1021/es300593a.

Kaserzon, S.L., Vermeirssen, E.L.M., Hawker, D.W., Kennedy, K., Bentley, C., Thompson, J., Booij, K., Mueller, J.F., 2013. Passive sampling of perfluorinated chemicals in water: Flow rate effects on chemical uptake. Environ. Pollut. 177, 58–63. https://doi.org/10.1016/j.envpol.2013.02.002.

Lohmann, R., E. Jurado, H.A. Dijkstra, and J. Dachs, Vertical eddy difusion as a key mechanism for removing perfluoroctanoic acid (PFOA) from the global surface oceans. Environ. Poll., 2013. 179: p. 88-94.

Lohmann, R., Muir, D., Zeng, E.Y., Bao, L.J., Allan, I.J., Arinaitwe, K., Booij, K., Helm, P., Kaserzon, S., Mueller, J.F., Shibata, Y., Smedes, F., Tsapakis, M., Wong, C.S., You, J., 2017. Aquatic Global Passive Sampling (AQUA-GAPS) Revisited: First Steps toward a Network of Networks for Monitoring Organic Contaminants in the Aquatic Environment. Environ. Sci. Technol. 51, 1060–1067. https://doi.org/10.1021/acs.est.6b05159.

Luek, J.L., Dickhut, R.M., Cochran, M.A., Falconer, R.L., Kylin, H., 2017. Persistent organic pollutants in the Atlantic and southern oceans and oceanic atmosphere. Sci. Total Environ. 583, 64–71. https://doi.org/10.1016/j.scitotenv.2016.12.189.

Muir, D.C.G. and L. T. Miaz (2021). Spatial and Temporal Trends of Perfluoroalkyl Substances in Global Ocean and Coastal Waters. Environmental Science & Technology, 55(14), 9527-9537.

NORMAN 2024. https://www.normandata.eu/sites/default/files/files_private/JointProgramme2023/NORMAN%20JPA%202023_final.pdf.

OECD, Hazard assessment of perfluorooctane sulfonate (PFOS) and its salts. 2002, http://www.oecd.org/chemicalsafety/risk-assessment/2382880.pdf.

Ricci M, Lava R, Koleva B (2016) Matrix Certified Reference Materials for environmental monitoring under the EU Water Framework Directive: An update. TrAC Trends Anal Chem 76:194–202. https://doi.org/10.1016/J.TRAC.2015.11.002.

Schulze, T., Ahel, M., Ahlheim, J., Aït-Aïssa, S., Brion, F., Di Paolo, C., Froment, J., Hidasi, A.O., Hollender, J., Hollert, H., Hu, M., Kloß, A., Koprivica, S., Krauss, M., Muz, M., Oswald, P., Petre, M., Schollée, J.E., Seiler, T.-B., Shao, Y., Slobodnik, J., Sonavane, M., Suter, M.J.-F., Tollefsen, K.E., Tousova, Z., Walz, K.-H., Brack, W., 2017. Assessment of a novel device for onsite integrative large-volume solid phase extraction of water samples to enable a comprehensive chemical and effect-based analysis. Sci. Total Environ. https://doi.org/10.1016/j.scitotenv.2016.12.140.

Stemmler, I., Lammel, G., 2009. Cycling of DDT in the global environment 1950–2002: World ocean returns the pollutant. Geophys. Res. Lett. 36, L24602. https://doi.org/10.1029/2009GL041340.

Taniyasu, S., Kannan, K., Yeung, L.W.Y., Kwok, K.Y., Lam, P.K.S., Yamashita, N., 2008. Analysis of trifluoroacetic acid and other short-chain perfluorinated acids (C2–C4) in precipitation by liquid chromatography–tandem mass spectrometry: Comparison to patterns of long-chain perfluorinated acids (C5–C18). Anal. Chim. Acta 619, 221–230. https://doi.org/10.1016/J.ACA.2008.04.064.

Ullah S., Alsberg T., Vestergren R., Berger U. (2012) Determination of perfluoroalkyl carboxylic, sulfonic, and phosphonic acids in food. Anal Bioanal Chem 404:2193–2201. https://doi.org/10.1007/s00216-012-6374-z.

UNEP/WHO, 1996. Water Quality Monitoring - A Practical Guide to the Design and Implementation of Freshwater Quality Studies and Monitoring Programmes.

US EPA (2024). Method 1633. Analysis of Per- and Polyfluoroalkyl Substances (PFAS) in Aqueous, Solid, Biosolids, and Tissue Samples by LC-MS/MS, EPA 821-R-24-001 U.S. Environmental Protection Agency, Office of Water (4303T), Office of Science and Technology, Engineering and Analysis Division, Washington, DC 75 pp.

Weiss, J., de Boer, J., Berger, U., Muir, D., Ruan, T., Torre, A., Smedes, F., Vrana, B., Clavien, F., Fiedler, H., 2015. PFAS analysis in water for the Global Monitoring Plan of the Stockholm Convention. Chemicals Branch, United Nations Environment Programme (UNEP) Division of Technology, Industry & Economics, Geneva Switzerland. April 2015. 35 pp.

Yamashita, N., Taniyasu, S., Petrick, G., Wei, S., Gamo, T., Lam, P.K.S., Kannan, K., 2008. Perfluorinated acids as novel chemical tracers of global circulation of ocean waters. Chemosphere 70, 1247–1255. https://doi.org/10.1016/J.CHEMOSPHERE.2007.07.079.

## Chapter 4.4

AMAP 2015. AMAP Assessment 2015: Human Health in the Arctic. Oslo, Norway.

AMAP 2016. AMAP Assessment 2015: Temporal Trends in Persistent Organic Pollutants in the Arctic.

AMAP 2016. AMAP Technical Report No.10: Influence of Climate Change on Transport. Levels, and Effects of Contaminants in Northern Areas.

AMAP 2017. AMAP Assessment 2016: Chemicals of Emerging Arctic Concern Environment Canada and the U.S. Environmental Protection Agency. 2014. State of the Great Lakes 2011. Cat No. En161-3/1-2011E-PDF. EPA 950-R-13-002. Available at http://binational.net.

Breivik, K., R. Alcock, Y. F. Li, R. E. Bailey, H. Fiedler, and J. M. Pacyna. 2004. Primary sources of selected POPs: regional and global scale emission inventories. Environmental Pollution, 128: 3-16.

Breivik, K., V. Vestreng, O. Rozovskaya, and J. M. Pacyna. 2006. Atmospheric emissions of some POPs in Europe: a discussion of existing inventories and data needs. Environmental Science & Policy, 9: 663-74.

Campbell Lori D., Astrin Jonas J., DeSouza Yvonne, Giri Judith, Patel Ashokkumar A., Rawley-Payne Melissa, Rush Amanda, and Sieffert Nicole. Biopreservation and Biobanking. February 2018, 16(1): 3-6. https://doi.org/10.1089/bio.2018.0001.

Carere, M., V. Dulio, G. Hanke, S. Polesello 2012. Guidance for sediment and biota monitoring under the Common Implementation Strategy for the Water Framework Directive Trends in Analytical Chemistry, Vol. 36, 2012 doi: http://dx.doi.org/10.1016/j.trac.2012.03.005.

EMEP 2001. Manual for Sampling and Analysis https://www.nilu.no/projects/ccc/manual/index.html accessed 26 Feb 2018.

Environment Canada and the U.S. Environemntal Protection Agency. 2014. State of the Great Lakes 2011. Cat No. En161-3/1-2011E-PDF. EPA 950-R-13-002. Available at http://binational.net.

Fliedner, A., N. Lohmann, H. Rodel, D. Teubner, J. Wellmitz, Jan Koschorreck 2016 Current levels and trends of selected EU Water Framework Directive priority substances in freshwater fish from the German environmental specimen bank. Environmental Pollution 216, 886-876. (2016).

Guardans, R. Global monitoring of persistent organic pollutants (POPs) in biota, water and sediments: its role in screening for unregulated POPs, in compiling time trends of regulated POPs under the Stockholm Convention (SC) and their relevance for biodiversity in a changing climate. Environ. Sci. Adv. 2024, 3, 1111-1123. https://doi.org/10.1039/D4VA00023D.

IAEA 2024. A Guide to the Use of Sediments in Reconstructing the Pollution History of Coastal Areas. IAEA-TECDOC-1953 International Atomic Energy Agency, Vienna, Austria.

JMOE 2016. POPs: "Chemicals in the Environment" the latest one in 2015 (published in 2016) (English version). http://www.env.go.jp/chemi/kurohon/en/http2016e/index.html.

JMOE 2017. Dioxins: "Results of Environmental Monitoring on Dioxins in 2015" (Japanese only). http://www.env.go.jp/chemi/dioxin/report/h29-01.pdf.

JMOE 2017. Marine: “Marine environment monitoring survey 2016” (Japanese only). http://www.env.go.jp/press/files/jp/105660.pdf.

Jones, A.; Patel, R.; Wang, Y.; Garcia, M. Determination of Persistent Organic Pollutants in Urban and Peri-Urban Sewage Sludge. Environmental Science and Pollution Research 2024. DOI: 10.1007/s11356-024-34420-5.

Li, L., C. Chen, D. Li, K Breivik, G. Abbasi, and Y-F Li. 2023. What do we know about the production and release of persistent organic pollutants in the global environment? Environmental Science Advances, 2: 55-68.

Lohmann, R.; Vrana, B.; Muir, D.; Smedes, F.; Sobotka, J.; Zeng, E. Y.; Bao, L.-J.; Allan, I. J.; Astrahan, P.; Barra, R. O.; et al. Passive-Sampler-Derived PCB and OCP Concentrations in the Waters of the World─First Results from the AQUA-GAPS/MONET Network. Environmental Science and Technology 2023, 57 (25), 9342-9352. DOI: 10.1021/acs.est.3c01866.

Loos, R.; Daouk, S.; Marinov, D.; Gómez, L.; Porcel-Rodríguez, E.; Sanseverino, I.; Amalric, L.; Potalivo, M.; Calabretta, E.; Ferenčík, M.; et al. Summary recommendations on “Analytical methods for substances in the Watch List under the Water Framework Directive”. Science of The Total Environment 2024, 912, 168707. DOI: https://doi.org/10.1016/j.scitotenv.2023.168707.

Lorgeoux, C.; Moilleron, R.; Gasperi, J.; Ayrault, S.; Bonté, P.; Lefèvre, I.; Tassin, B. Temporal trends of persistent organic pollutants in dated sediment cores: Chemical fingerprinting of the anthropogenic impacts in the Seine River basin, Paris. Science of The Total Environment 2016, 541, 1355-1363. DOI: https://doi.org/10.1016/j.scitotenv.2015.09.147.

NOWPAP POMRAC: "Regional overview of PTS and POPs issues of ecological concern in NOWPAP region" North West Pacific Action Plan Pollution Monitoring Regional Activity Centre, 2015 http://pomrac.nowpap.org/.

OSPAR 2013. JAMP Guidelines for Monitoring of Contaminants in Seawater http://mcc.jrc.ec.europa.eu/documents/OSPAR/Guidelines_forMonitoring_of_ContaminantsSeawater.pdf accessed February 2018.

OSPAR 2013. JAMP Guidelines for Monitoring of Contaminants in Biota. http://www.ices.dk/sites/pub/Publication%20Reports/Advice/2008/Special%20Requests/OSPAR%20JAMP%20Guidelines%20for%20monitoring%20contaminants%20in%20biota%20and%20sediments.pdf accessed 26 February 2018.

OSPAR 2002. Guidelines on Quality Assurance for Biological Monitoring in the OSPAR Area (Agreement 2002-15). http://www.ospar.org/documents?d=32581 accessed 26 February 2018.

Robinson, J. M.; Liddicoat, C.; Sun, X.; Ramesh, S.; Hawken, S.; Lee, K.; Brame, J.; Fickling, N. W.; Kuhn, E.; Hayward, C.; et al. The climate change–pollution–aerobiome nexus: A ‘systems thinking’ mini-review. Microbial Biotechnology 2024, 17 (10), e70018. DOI: https://doi.org/10.1111/1751-7915.70018.

Smith, J.; Brown, T.; Nguyen, L. Environmental Monitoring and Analysis of Persistent Organic Pollutants. Toxics 2023, 11(6), 535. DOI: 10.3390/toxics11060535.

Sobotka, J.; Smedes, F.; Vrana, B. Performance comparison of silicone and low-density polyethylene as passive samplers in a global monitoring network for aquatic organic contaminants. Environmental Pollution 2022, 302, 119050. DOI: https://doi.org/10.1016/j.envpol.2022.119050.

UNEP Chemicals Branch, DTIE, March 2007 Guidance for Analysis of Persistent Organic Pollutants (POPs). http://drustage.unep.org/chemicalsandwaste/sites/unep.org.chemicalsandwaste/files/publications/POPs%20Methods%202007%20Guidance_en.pdf. accessed 26 Feb 2018.

UNEP 2013. Toolkit for Identification and Quantification of Releases of Dioxins, Furans and Other Unintentional POPs under Arctic 5 of the Stockholm Convention. https://toolkit.pops.int/Publish/Downloads/UNEP-POPS-TOOLKIT-2012-En.pdf .

UNEP 2017. Darft guidance on sampling screening and analysis of POPs in products and articles. http://chm.pops.int/Implementation/NIPs/Guidance/guidanceonsampling,screeningetcofPOPs/tabid/5333/Default.aspx accessed 26 Feb 2018.

UNU-IAS 2015. Monitoring and governance of Persistent Organic Pollutants in Asia. O Ito et al. eds., United Nations University (2015).

US EPA 2024. Analytical Methods Approved for Drinking Water Compliance Monitoring of Organic Contaminants. https://www.epa.gov/system/files/documents/2024-02/organic-methods-table.pdf. (accessed January 2025).

US EPA 2025. Toxic Substances Release Inventory Listed Chemicals https://www.epa.gov/toxics-release-inventory-tri-program/tri-listed-chemicals#:~:text=The%20current%20TRI%20toxic%20chemical,Chemical%20list%20changes%3A%201987%2D2024. (accessed 2025 January).

## Chapter 5

Bayen S, Obbard JP, Thomas GO. Chlorinated paraffins: a review of analysis and environmental occurrence. Environ Int. 2006 Sep;32(7):915-29. doi: 10.1016/j.envint.2006.05.009. Epub 2006 Jun 30. PMID: 16814386.

Denghel H, Göen T. Determination of the UV absorber 2-(2H-benzotriazol-2-yl)-4,6-di-tert-pentylphenol (UV 328) and its oxidative metabolites in human urine by dispersive liquid-liquid microextraction and GC-MS/MS. J Chromatogr B Analyt Technol Biomed Life Sci. 2020 May 1;1144:122071. doi: 10.1016/j.jchromb.2020.122071. Epub 2020 Mar 19. PMID: 32222673.Fiedler et al. 2020. Global interlaboratory assessments of perfluoroalkyl substances under the Stockholm Convention on persistent organic pollutants. Trends in Analytical Chemistry. https://doi.org/10.1016/j.trac.2019.03.023.

EC 2002: Commission Directive 2002/69/EC of 26 July 2002 laying down the sampling methods and the methods of analysis for the official control of dioxins and the determination of dioxin-like PCBs in foodstuffs. Official Journal of the European Communities, L 209/5 L 209/14 (dated 6.8.2002).

European Union Reference Laboratory for Halogenated POPs in Feed and Food, Guidance Document on the Analysis of Chlorinated Paraffins - Sample preparation and quantification in food and feed 2021: https://eurl-pops.eu/user/pages/05.news/07.Guidance-document-on-cp-analysis/Guidance%20Document%20on%20CP%20analysis%20v1.9.pdf?g-64cde584.

Liu R, Ruan T, Wang T, Song S, Guo F, Jiang G. Determination of nine benzotriazole UV stabilizers in environmental water samples by automated on-line solid phase extraction coupled with high-performance liquid chromatography-tandem mass spectrometry. Talanta. 2014 Mar; 120:158-66. doi: 10.1016/j.talanta.2013.10.041. Epub 2013 Oct 24. PMID: 24468355.

Montesdeoca-Esponda, T. Vega-Morales, Z. Sosa-Ferrera, J.J. Santana-Rodríguez, Extraction and determination methodologies for benzotriazole UV stabilizers in personal-care products in environmental and biological samples, TrAC Trends in Analytical Chemistry, Volume 51, 2013, Pages 23-32, ISSN 0165-9936, https://doi.org/10.1016/j.trac.2013.05.012.

OECD, various years. OECD Series on Principles of Good Laboratory Practice and Compliance Monitoring (various volumes). OECD Principles on Good Laboratory Practice (as revised 1997–1999), OECD. Available at www.oecd.org/ehs/.

Oellig C, Hammel YA. Screening for chlorinated paraffins in vegetable oils and oil-based dietary supplements by planar solid phase extraction. J Chromatogr A. 2019 Nov 22; 1606:460380. doi: 10.1016/j.chroma.2019.460380. Epub 2019 Jul 25. PMID: 31378532.

Rauert C, Harner T, Schuster JK, Eng A, Fillmann G, Castillo LE, Fentanes O, Villa Ibarra M, Miglioranza KSB, Moreno Rivadeneira I, Pozo K, Aristizábal Zuluaga BH. Atmospheric Concentrations of New Persistent Organic Pollutants and Emerging Chemicals of Concern in the Group of Latin America and Caribbean (GRULAC) Region. Environ Sci Technol. 2018 Jul 3;52(13):7240-7249. doi: 10.1021/acs.est.8b00995. Epub 2018 Jun 15. PMID: 29846065.

Rauert C, Harner T, Schuster JK, Eng A, Fillmann G, Castillo LE, Fentanes O, Ibarra MV, Miglioranza KSB, Rivadeneira IM, Pozo K, Aristizábal Zuluaga BH. Air monitoring of new and legacy POPs in the Group of Latin America and Caribbean (GRULAC) region. Environ Pollut. 2018 Dec;243(Pt B):1252-1262. doi: 10.1016/j.envpol.2018.09.048. Epub 2018 Sep 15. PMID: 30268978.

UNEP 2021. Bi-ennial Global Interlaboratory Assessment on Persistent Organic Pollutants. Fourth Round 2018/2019. https://wedocs.unep.org/20.500.11822/30923; United Nations Environment Programme, Örebro University, & Vrije Universitet Amsterdam, 2021.

UNEP 2023. Organization and Outcomes of Four Interlaboratory Assessments on Persistent Organic Pollutants. Geneva. https://wedocs.unep.org/20.500.11822/44155.

Xian Q, Siddique S, Li T, Feng YL, Takser L, Zhu J. Sources and environmental behavior of dechlorane plus--a review. Environ Int. 2011 Oct;37(7):1273-84. doi: 10.1016/j.envint.2011.04.016. Epub 2011 May 31. PMID: 21621844.

### Analytical methods for PFOS

Ahrens, L., K. Vorkamp, P. Lepom, P. Bersuder, N. Theobald, R. Ebinghaus, R. Bossi, J. L. Barber and E. McGovern (2010). Determination of perfluoroalkyl compounds in water, sediment, and biota. ICES Techniques in Marine Environmental Sciences No. 48, International Council for Exploration of the Sea. Copenhagen, DK: 16 pp.

Hansen, K. J., L. A. Clemen, M. E. Ellefson and H. A. Johnson (2001). "Compounds-specific, quantitative characterization of organic fluorochemicals in biological matrices." Environ. Sci. Technol. 35(4): 766-770.

ISO 2008. Determination of Perfluorooctanesulfonate (PFOS) and Perfluorooctanoate (PFOA) - Method for Unfiltered Samples Using Solid Phase Extraction and Liquid Chromatography/Mass Spectrometry. ISO/DIS25101 (ISO/TC147/SC2/WG56) International Organization for Standardization, Geneva, CH.

Jahnke, A., L. Ahrens, R. Ebinghaus, U. Berger, J. L. Barber and C. Temme (2007). "An improved method for the analysis of volatile polyfluorinated alkyl substances in environmental air samples." Analytical and Bioanalytical Chemistry 387(3): 965-975.

Kuklenyik, Z., L. L. Needham and A. M. Calafat (2005). "Measurement of 18 Perfluorinated Organic Acids and Amides in Human Serum Using On-Line Solid-Phase Extraction." Anal. Chem. 77: 6085-6091.

Kuklenyik, Z., J. A. Reich, J. S. Tully, L. L. Needham and A. M. Calafat (2004). "Automated solid-phase extraction and measurements of perfluorinated organic acids and amines in human serum and milk." Environ. Sc. Technol. 38(13): 3698-3704.

Shoeib, M., T. Harner, B. H. Wilford, K. C. Jones and J. Zhu (2005). "Perfluorinated sulfonamides in indoor and outdoor air and indoor dust: occurence, partitioning, and human exposure." Environ. Sci. Technol. 39: 6599-6006.

Taniyasu, S., K. Kannan, K. S. Man, A. Gulkowska, E. Sinclair, T. Okazawa and N. Yamashita (2005). "Analysis of fluorotelomer alcohols, fluorotelomer acids, and short- and long-chain perfluorinated acids in water and biota." Journal of Chromatography A 1093(1-2): 89-97.

US EPA 2024. Method 1633 Analysis of Per- and Polyfluoroalkyl Substances (PFAS) in Aqueous, Solid, Biosolids, and Tissue Samples by LC-MS/MS, EPA 821-R-24-001 U.S. Environmental Protection Agency, Office of Water (4303T), Office of Science and Technology, Engineering and Analysis Division, Washington, DC, 2024.

van Leeuwen, S. P. J. and J. de Boer (2007). "Extraction and clean-up strategies for the analysis of poly- and perfluoroalkyl substances in environmental and human matrices." Journal of Chromatography A 1153(1-2): 172-185.

Van Leeuwen, S. P. J., A. Karrman, B. Van Bavel, J. De Boer and G. Lindstrom (2006). "Struggle for quality in determination of perfluorinated contaminants in environmental and human samples." Environmental Science and Technology 40(24): 7854-7860.

### Analytical metods for SCCPs

L.M. van Mourik, et al. (2015). Recent developments in capabilities for analysing chlorinated paraffins in environmental matrices: A review, Chemosphere 136, 259–272.

B. Yuan et al. (2019). Methods for trace analysis of short-, medium-, and long-chain chlorinated paraffins: Critical review and recommendations, Analytica Chimica Acta 1074, 16-32.

T. Takasuga, et al. (2011). Analysis of short-chain chlorinated paraffins (SCCPs) by GC/HRMS (NCI) with GC-HRTOF-MS applied food samples, Organohalogen Comp., 73, 981-984.

B. Yuan, et al. (2017). Quantifying Short-Chain Chlorinated Paraffin Congener Groups, Environ. Sci. Technol., 51, 10633-10641

D. Xia, et al. (2014). Separation and screening of short-chain chlorinated paraffins in environmental samples using comprehensive two-dimensional gas chromatography with micro electron capture detection, Anal. Bioanal. Chem. 406, 7561-7570.

D. Xia, et al. (2016). A Novel method for profiling and quantifying short- and medium-chain chlorinated paraffins in environmental samples using comprehensive two-dimensional gas chromatography-electron capture negative ionization high-resolution time-of-flight mass spectrometry., Environ. Sci. Technol., 50, 7601-7609.

N. Hanari, T. Nakano (2019). Preliminary results of interlaboratory comparison of short chain chlorinated paraffin in technical formulation prepared as candidate reference material, Organohalogen Comp. 81, 340-343.

H. Matsukami, et al. (2010). Liquid chromatography–electrospray ionization-tandem mass spectrometry for the determination of short-chain chlorinated paraffins in mixed plastic wastes, Chemosphere 244 (2020) 125531.

K. Krätschmer, et al. (2018). Chlorinated paraffin analysis by gas chromatography Orbitrap high-resolution mass spectrometry: Method performance, investigation of possible interferences and analysis of fish samples, J. Chromatogr. A., 1539, 53-61.

Ministry of the Environment, Japan (2005). Report of development of analytical methods for chemicals, method no. 11313, “Short-chain chlorinated paraffins” (in Japanese with one page English summary) https://www.nies.go.jp/kisplus/images/bunseki/pdfs/kurohon/2004/adoc2004-2-204.pdf.

### Analytical methods for POPs pesticides

AOAC Official Method 970.52 Organochlorine and Organophosphorous Pesticide Residue Method. General Multiresidue Method. 2005 AOAC International.

AOAC Official Method 955.22 Organochlorine and Organophosphorous Pesticide Residue Method. 2005 AOAC International.

European Commission, SANTE/11813/2017: Guidance document on analytical quality control and method validation procedures for pesticide residues and analysis in food and feed.

ISO 6468 (1996) Water quality – Determination of certain organochlorine insecticides, polychlorinated biphenyls and chlorobenzenes – Gas chromatographic method after liquid-liquid extraction.

ISO 10382 (2002): Soil quality – Determination of organochlorine pesticides and polychlorinated biphenyls – Gas-chromatographic method with electron capture detection.

US EPA Method 8081A: Organochlorine Pesticides by Gas Chromatogaphy (and ECD).

### Analytical methods for PCBs

DIN 38414-20 (1996): German standard methods for the examination of water, waste water and sludge - Sludge and sediments (group S) - Part 20: Determination of 6 polychlorinated biphenyls (PCB) (P 20).

EN 12766-1 (2000): Petroleum products and used oils – Determination of PCBs and related products – Part 1: Separation and determination of selected PCB congeners by gas chromatography (GC) using an electron capture detector (ECD).

EN 12766-2 (2001): Petroleum products and used oils – Determination of PCBs and related products – Part 2: Calculation of polychlorinated biphenyl (PCB) content.

EN 61619 (2004): Insulating liquids – Contamination by polychlorinated biphenyls (PCBs) – Method of determination by capillary column gas chromatography.

ISO 6468 (1996) Water quality – Determination of certain organochlorine insecticides, polychlorinated biphenyls and chlorobenzenes – Gas chromatographic method after liquid-liquid extraction.

ISO 10382 (2002): Soil quality – Determination of organochlorine pesticides and polychlorinated biphenyls – Gas-chromatographic method with electron capture detection.

JIS K 0093 (2002): Testing method for polychlorobiphenyl in industrial water and wastewater.

### Analytical Methods for PCDDs/Fs and dl-PCB

de Boer, J., Duinker, J.C., Calder, J.A., van der Meer, J., 1992. Inter-laboratory study on the analysis of chlorobiphenyl congeners. Journal of the Association of Official Analytical Chemists, 75:1054-1062.

de Boer, J., van der Meer, J., Reutergårdh, L., Calder, J.A., 1994. Inter-laboratory study on the determination of chlorobiphenyls in cleaned-up seal blubber and marine sediment extracts. Journal of the Association of Official Analytical Chemists, 77:1411-1422.

de Boer, J., van der Meer, J., Brinkman, U.A.Th., 1996. Determination of chlorobiphenyls in seal blubber, marine sediment and fish: Interlaboratory study. Journal of the Association of Official Analytical Chemists,79: 83-96.

de Boer, J., Oehme, M., Smith, K., Wells, D.E., 2000. Results of the QUASIMEME toxaphene inter-laboratory studies. Chemosphere, 41:493-497.

Helsel, D.R. and Hirsch, R.M., 1995. Statistical Methods in Water Resources. Studies in Environmental Sciences 49. Elsevier, Amsterdam.

ISO 18073 (2004): Water quality – Determination of tetra- to octa-chlorinated dioxins and furans – Method using isotope dilution HRGC/HRMS.

IUPAC, 2002. Harmonized guidelines for single laboratory validation of methods of analysis. International Union of Pure and Applied Chemistry. Pure Appl. Chem., 74:835-855.

JEFCA, 2001. Summary and conclusions from the Joint FAO/WHO expert Committee on Food Additives, Fifty-seventh meeting, Rome, 5-14 June, 2001.

Jensen, S., Häggberg, L., Jörundsdottir, H., Odham, G., 2003. A quantitative lipid extraction method for the residue analysis of fish involving nonhalogenated solvents. J. Agric. Food Chem. 51:5607-5611.

Nicholson, M., 1989. Analytical results: how accurate are they? How accurate should they be? Marine Pollution Bulletin, 20:33-40.

Thompson, M., Wood, R., 1993a. The international harmonized protocol for the proficiency testing of chemical analytical laboratories, Pure and Applied Chemistry, 65:2123-2144.

Thompson, M., Wood, R., 1993b. The international harmonized protocol for the proficiency testing of chemical analytical laboratories, Journal of the Association of Official Analytical Chemists, 76:926-940.

US EPA Method 1668, Revision A: Chlorinated Biphenyl Congeners in Water, Soil, Sediment, and Tissue by HRGC/HRMS, United States Office of Water, EPA No. EPA 821-R-00-002, Environmental Protection Agency (4303), December 1999.

US EPA Method 8080: Organochlorine Pesticides and PCBs.

US EPA Method 8082: Polychlorinated biphenyls (PCBs) by gas chromatography. (www.epa.gov/epaoswer/hazwaste/test/pdfs/8082.pdf).

US EPA Method 8275A: Semivolatile organic compounds (PAHs and PCBs) in soils/sludges and solid wastes using thermal extraction/gas chromatography/mass spectrometry (TE/GC/MS), EPA analytical chemistry guidance SW-846.

US EPA Method 1613: Tetra-through Octa-Chlorinated Dioxins and Furans by Isotope Dilution HRGC/HRMS, October 1994, (www.epa.gov/waterscience/methods/1613.pdf).

US EPA Method 8290A: Polychlorinated Dibenzodioxins (PCDDs) and Polychlorinated Dibenzofurans (PCDFs) by High-Resolution Gas Chromatography/High-Resolution Mass Spectrometry (HRGC/HRMS), revision 1 January 1998.

US EPA Method T09: Determination of polychlorinated dibenzo-p-dioxins (PCDDs) in ambient air using high-resolution mass spectrometry (HRGC/HRMS).

US EPA Method 8280A: The analysis of polychlorinated dibenzo-p-dioxins and polychlorinated dibenzofurans by high resolution gas chromatography/low resolution mass spectrometry (HRGC/LRMS) (EPA analytical chemistry guidance SW-846).

US EPA Method 8290: Polychlorinated dibenzodioxins (PCDDs) and polychlorinated dibenzofurans (PCDFs) by high-resolution gas chromatography/high resolution mass spectrometry (HRGC/HRMS) (EPA analytical chemistry guidance SW-846).

Wallace, J. C., Brzuzy, L.P., Simonich, S. L., Visscher, S. M., Hites, R.A., 1996. Case Study of Organochlorine Pesticides in the Indoor Air of a Home. Environ Sci Technol 30:2730-2734.

Wells, D.E., Aminot, A., de Boer, J., Cofino, W.P., Kirkwood, D., Pedersen, B., 1997. Marine Pollution Bulletin 35:3-17.

Weigert, P., Gilbert, J., Patey, A.L., Key, P.E., Wood, R., Barylko-Pikielna, N., 1997. Analytical quality assurance for the WHO GEMS/Food EURO programme-results of 1993/94 laboratory proficiency testing. Food Additives and Contaminants, 14:399-410.

Wilson, A.L., 1979. Approach for achieving comparable analytical results from a number of laboratories. The Analyst, 104:273-289.

### Web references

Association of Official Analytical Chemists International: http://www.aoac.org.

EU legislation on QA : http://europa.eu.int/eur-lex/pri/en/oj/dat/2002/l_221/l_22120020817en00080036.pdf, http://europa.eu.int/eur-lex/pri/en/oj/dat/2002/l_209/l_20920020806en00150021.pdf.

Global assessment of PTSs: http://www.chem.unep.ch/pts/default.htm.

Gosstandard: http://www.kanexkrohne.com/english/Downloadarea/gosstandard_russia.shtml.

Helsinki Commission (HELCOM): http://www.helcom.fi/Monas/CombineManual2/CombineHome.htm.

International Council for the Exploration of the Sea (ICES): http://www.ices.dk/env.

International Organization for Standardization: http://www.iso.org.

Joint FAO/WHO Expert Committee on Food Additives (JEFCA), 2001: http://www.who.int/pcs/jecfa/Summary57-corr.pdf.

OSPAR: http://www.ospar.org.

Partnership for the Assessment of Risks from Chemicals (PARC): https://www.eu-parc.eu/.

Quality charts: http://www.eurachem.ul.pt/guides/EEE-RM-062rev3.pdf.

National Atmospheric Deposition Program (NADP): https://nadp.slh.wisc.edu/.

National monitoring activities: http://www.chem.unep.ch/gmn/02_natpro.htm.

STAP/GEF workshop report: http://www.unep.org/stapgef/documents/popsJapan2003.htm.

UNEP/GEF POPs laboratory capacity building project: http://www.chem.unep.ch/pops/laboratory/default.htm.

UNEP Regional Seas Programme: http://www.unep.org/water/regseas/regseas.htm.

US EPA: http://www.nemi.gov.

US EPA method 3545A: http://www.epa.gov/epaoswer/hazwaste/test/pdfs/3545a.pdf.

US EPA methodology for PCDD/F: http://www.epa.gov/SW-846/pdfs/8290a.pdf, http://www.epa.gov/Region3/1668a.pdf.

US EPA method 8290A: http://www.epa.gov/SW-846/pdfs/8290a.pdf.

US EPA method 1668: http://www.epa.gov/Region3/1668a.pdf.

WHO GEMS/Food: http://www.who.int/foodsafety/chem/gems/en/.

## Chapter 6

GMP DWH: www.pops-gmp.org.

GENASIS: www.genasis.cz.

USDA Pesticide Data Programme: http://www.ams.usda.gov/science/pdp/Qc10.pdf.

JECFA recommendations: http://www.inchem.org/documents/jecfa/jecmono/v48je20.htm#3.2.3.

ICES Environment data centre: http://www.ices.dk/env/index.htm.

ICES Reporting format http://www.ices.dk/env/repfor/index.htm.

AMAP data collection: http://www.amap.no/.

UNEP GEMS/Water: http://www.cciw.ca/gems/gems.html.

Canada NPRI: http://www.ec.gc.ca/pdb/npri/npri_home_e.cfm.

## Chapter 7

UNEP 2013. Guidance on the global monitoring plan for persistent organic pollutants: Global monitoring plan for persistent organic pollutants as amended after the fourth meeting of the Conference of the Parties to the Stockholm Convention UNEP/POPS/COP.6/INF/31/Add.1.

UNEP 2013. Guidance on the global monitoring plan for persistent organic pollutants: Implementation of the global monitoring plan for effectiveness evaluation as amended after the fourth meeting of the Conference of the Parties to the Stockholm Convention UNEP/POPS/COP.6/INF/31/Add.2.

UNEP 2015 Guidance for a Global Monitoring Programme for Persistent Organic Pollutants IInd Edition, Secretariat of the Stockholm Convention on Persistent Organic Pollutants, Geneva, Switzerland UNEP/POPS/COP.7/INF/39.

UNEP 2015. Second regional monitoring reports http://chm.pops.int/Implementation/GlobalMonitoringPlan/MonitoringReports/tabid/525/Default.aspx.

UNEP 2017. Second global monitoring report UNEP/POPS/COP.8/INF/38.

UNEP 2019. Third regional monitoring report UNEP/POPS/COP.10/INF/41.

UNEP 2023. Third global monitoring report UNEP/POPS/COP.11/INF/38.

### Web references

http://chm.pops.int/Implementation/GlobalMonitoringPlan/Regionalorganizationgroups/tabid/179/Default.aspx.

http://chm.pops.int/Implementation/GlobalMonitoringPlan/MonitoringReports/tabid/525/Default.aspx.

## Chapter 8

Australasian Biospecimen Network Association (ABNA). https://abna.org.au.

Asian Network of Research Resource Centers (ANRRC). https://anrrc.org.

Becker, P.R., Gunter, E.W., Schlueter, C., Shibata, Y., Wise. S.A. 2006, Environmental Specimen Banking, J. Environ. Monit., 8:776-778.

Becker, P.R., Wise, S.A. 2010, Thirty Years of Progress in Environmental Specimen Banking. In, Interdisciplinary Studies on Environmental Chemistry Vol 4: Environmental Specimen Bank: Exploring Possibility of Setting-up ESBs in Developing Countries.Isobe, T., Nomiyama, K., Subramanian, A., Tanabe, S. eds., TerraPub, Tokyo, Japan, pp 7-14.

Bignert, A., Riget, F., Braune, B., Outridge, P., Wilson, S. 2004. Recent temporal trend monitoring of mercury in Arctic biota – how powerful are the existing datasets? J. Environ. Monit, 6:351-355.

Bignert, A., Eriksson, U., Nyberg, E., Miller, A., Danielsson, S. 2014. Consequences of using pooled versus individual samples for designing sampling strategies. Chemosphere, 94:177-182.

Bowen, R.A.R., Chan, Y., Cohen, J., Rehak, N.N., Hortin, G.L., Csako, G., Remaley, A.T. 2005, Effect of Blood Collection Tubes on Total Triiodothyronine and Other Laboratory Assays, Clinical Chem. 51:424-433.

Eisenberg, D., Kauzmann, W. 2005, The Structure and Properties of Water, pp.308, Oxford Univ. Press.

European, Middle Eastern and African Society for Biopreservation and Biobanking (ESBB). https://esbb.org.

Ezoe, Y., Goto, S., Tanabe, K., Endo, O., Koyano, M., Tanabe, I., Matsushita, H. 2004, Polycyclic Aromatic Hydrocarbon Concentrations of Airborne Particles in Urban Air over the Past Twenty Years, Polycyclic Aromatic Comp., 24:635-646.

Federal Environmental Agency (Umweltbundesamt), German Environmental Specimen Bank—Concept, Berlin, Germany, 2008 (2014 version is available in German). https://www.umweltprobenbank.de/en/documents/11426.

International Environmental Specimen Bank (IESB). https://www.umweltbundesamt.de/en/topics/chemicals/international-environmental-specimen-bank-group.

International Society for Biological and Environmental Repositories (ISBER). https://isber.site-ym.com/default.aspx.

Isobe, T., Nomiyama, K., Subramanian, A., Tanabe S. eds. 2010, Interdisciplinary Studies on Environmental Chemistry Vol.4, Environmental Specimen Bank, Terrapub Tokyo.

Karube, Z., Tanaka, A., Takeuchi, A., Takazawa, Y., Takagi, M., Kinoshita, A., Seyama, H., Shibata, Y. 2015, Three decades of environmental specimen banking at the National Institute for Environmental Studies, Japan, Environ. Sci. Pollut. Res., 22:1587-96.

Lynch, J.M., Ragland, J.M., Reagen, W.K., Wolf, S.T., Malinsky, M.D., Ellisor, M.B., Moors, A.J., Pugh, R.S., Reiner, J.L. 2018, Feasibility of using the National Marine Mammal Tissue Bank for retrospective exploratory studies of perfluorinated alkyl acids, Sci. Total Environ., 624:781-789.

Malisch, K., Malisch, R., Fiedler, H. 2017, “Guidelines for Organization, Sampling and Analysis of Human Milk on Persistent Organic Pollutants”. https://wedocs.unep.org/bitstream/handle/20.500.11822/21024/UNEP_Guidance_HumanMilk_2017_En.pdf?sequence=1&isAllowed=y.

Matsumura, T., Goto, S., Sasai, S., Hijiya, M., Shamoto, H., Endo, O., Watanabe, I., Tanabe, K., Matsushita, H. 2003, Concentration of Dioxins in Ambient Air Over the Past 20 Years (II), Organohalogen Comp. 61:502-505.

Nagayama, J., Todaka, T., Hirakawa, H., Hori, T., Kajiwara, J., Yoshimura, T., Furue, M. 2010, Polychlorinated dibenzofurans as a causal agent of fetal Yusho, Chemosphere 80:513-518.

NIES. Certified Reference Materials: https://www.nies.go.jp/labo/crm-e/index.html.

NIST. Standard Reference Materials: https://www.nist.gov/srm.

Nyberg, E., Awad, R., Bignert, A., Ek, C., Sallsten, G., Benskin, J.P. 2018. Inter-individual, inter-city, and temporal trends of per- and polyfluoroalkyl substances in human milk from Swedish mothers between 1972 and 2016, Environ. Sci. Process Impacts, 20: 1136-1147.

O’Doherty, S., Cunnold, D.M., Miller, B.R., Muehle, J., McCulloch, A., Simmonds, P.G., Manning, A.J., Vollmer, M.K., Greally, B.R., Prinn, R.G., Fraser, P.J., Steele, L.P., Krummel, P.B., Dunse, B.L., Porter, L.W., Lunder, C.R., Schmidbauer, N., Hermansen, O., Salameh, P.K., Harth, C.M., Wang, R.H.J., Weiss, R.F. 2009, Global and Regional Emissions of HFC-125 (CHF2CF3) from in situ and Air Archive Atmospheric Observations at AGAGE and SOGE Observatories, J. Geophys. Res., 114, D23304, doi: 10.1029/2009JD012184.

Owen, J.M., Woods, P. 2008, Designing and Implementing a Large-scale Automated -80 C Archive, Int. J. Epidemiol., 37: i56-i61.

Rodowa, A.E., Christie, E., Sedlak, J., Peaslee, G.F., Bogdan, D., DiGuiseppi, B., Field, J.A. 2020, Field sampling materials unlikely source of contamination for perfluoroalkyl and polyfluoroalkyl substances in field samples, Environ. Sci. Technol. Lett., 7: 156-163.

Rüdel, H., Schröder, W., von der Trenck, K.T., Wiesmüller, G.A. 2009, Substance-related environmental monitoring: Work group 'Environmental Monitoring'-Position paper, Environ Sci Pollut Res Int. 16:486-98.

Satake K., Tanaka, A., Kimura, K. 1996, Accumulation of lead in Tree Trunk Bark Pockets as Pollution Time Capsules, Sci. Total Environ., 181: 25-30.

Shibata, Y., ed., 1998, “Report of Oil Pollution Accident in Japan Sea”, Data Report F-111-‘98/NIES, National Institute for Environmental Studies, pp.87 (in Japanese).

Shibata, Y., Yoshikane, M., Takagi, M., Tanabe, K., Hashimoto, S., Sasaki, Y., Ito, H., Nitta, H., Satoh, H. 2011, Blood-Sampling Method for POPs and Other Chemicals Analysis in Japanese Birth Cohort Study, Japan Environment and Childrens Study, Organohalogen Comp., 73:1464-1467.

Snapes, E., ed., 2023, 5th edition of ISBER Best Practices: Recommendations for Repositories, https://www.ihmt.unl.pt/wp-content/uploads/2024/07/ISBER-Best-Practice-2023-5th-edition.pdf.

Takasuga, T., Nakano, T., Shibata Y. 2012, Unintentional POPs (PCBs, PCBz, PCNs) contamination in articles containing chlorinated paraffins and related impacted chlorinated paraffin products, Organohalogen Comp., 2012, G6.104.

Wiesmüller, G.A., Eckard, R., Dobler, L., Günsel, A., Oganowski, M., Schröter-Kermani, C., Schlüter, C., Gies, A., Kemper, F.H. 2007, The Environmental Specimen Bank for Human Tissues as part of the German Environmental Specimen Bank, Int J Hyg Environ Health. 210:299-305.

Zheng, J., Shibata, Y., Tanaka, A., 2002, Study of the Stability of Selenium Compounds in Human Urine and Determination by Mixed Ion-pair Reversed-phase Chromatography with ICP-MS Detection, Anal. Bioanal. Chem. 374:348-355.

## Appendix I

UNEP 2014a. Analysis of Polychlorinated Biphenyls (PCB) and Organochlorine Pesticides (OCP) in Human Milk, Air and Human Serum.

UNEP 2014b. Analysis of Polybrominated Diphenyl Ethers (PBDE) in Human Milk, Air and Human Serum.

UNEP 2015a. Analysis of Perfluorooctane Sulfonic Acid (PFOS) in Water and Perfluorooctane Sulfonamide (FOSA) in Mothers’ Milk, Human Serum and Air, and the Analysis of Some Perfluorooctane Sulfonamides (FOSAS) and Perfluorooctane Sulfonamido Ethanols (FOSES) in Air.

UNEP 2015b. Analysis of PFAS in Water for the Global Monitoring Plan of the Stockholm Convention.

UNEP 2015c. Analyse des polychlorodibenzo-paradioxines, des polychlorodibenzofurannes (PCDDs/Fs) et des polychlorobiphényles (PCB) de type dioxine (dl-PCB) dans l’air ambiant et les tissus humains.

UNEP 2017a. Passive sampling of Ambient Air Methodology and Procedure (EN/SP).

UNEP 2017b. Guidelines for Organization, Sampling and Analysis of Human Milk on Persistent Organic Pollutants.

UNEP 2017c. Protocol for the Sampling of Water as a Core Matrix in the UNEP/GEF GMP2 Projects for the Analysis of PFOS.

UNEP 2017d. Protocol for the Sampling and Pre-treatment of National Samples within the UNEP/GEF Projects to Support the Global Monitoring Plan of POPs 2016-2019.

UNEP 2018. Procedure for Air Monitoring using Active Air Samplers (HVS) (EN/FR/SP).

UNEP POPs Laboratory Databank: https://informea.pops.int/PbHgPOPsLabs/index.html.

1 In this document, the term “Instrumentation level” replaces the term “Tiers” as used in document UNEP/POPS/COP.2/INF/10.

https://chm.pops.int/TheConvention/Overview/TextoftheConvention/tabid/2232/Default.aspx.

UNEP/POPS/COP.6/INF/31/Add.1, UNEP/POPS/COP.6/INF/31/Add.2.

UNEP/POPS/COP.1/INF/23.

UNEP/POPS/COP.3/INF/14/Rev.1, UNEP/POPS/COP.5/INF/27, UNEP/POPS/COP.6/INF/31, UNEP/POPS/COP.7/INF/39, UNEP/POPS/COP.9/INF/36, UNEP/POPS/COP.10/INF/42.

UNEP/POPS/COP.12/INF/43.

Core matrices include air, human milk, and human blood; water is recommended for monitoring water-soluble POPs such as PFOS.

UNEP/POPS/COP.8/INF/40.

UNEP/POPS/COP.4/33; UNEP/POPS/COP.8/21/Add.1; UNEP/POPS/COP.8/INF/38; UNEP/POPS/COP.11/20/Add.1; UNEP/POPS/COP.11/INF/38. Available at: https://www.pops.int/tabid/525.

PCBs with TEFs (Toxic Equivalency Factors) assigned by WHO in 1998.

ΣSCCP based on congener-group specific quantification (see Chapter 5).

OSPAR: Guidance for the Comprehensive Atmospheric Monitoring Programme (CAMP) - http://mcc.jrc.ec.europa.eu/documents/OSPAR/Guidance_fortheComprehensiveAtmosphericMonitoringProgramme_CAMP%20.pdf, EMEP/EBAS: http:\\ebas- submit.nilu.no, and HELCOM: http://www.helcom.fi/helcom-at-work/publications/manuals-and-guidelines.

UNEP/POPS/COP.4/33; UNEP/POPS/COP.8/21/Add.1; UNEP/POPS/COP.8/INF/38; UNEP/POPS/COP.11/20/Add.1; UNEP/POPS/COP.11/INF/38. Available at: https://www.pops.int/tabid/525.

https://www.amap.no/documents/doc/AMAP-Assessment-2016-Chemicals-of-Emerging-Arctic-Concern/1624.

https://www.ceip.at/.

https://nadp.slh.wisc.edu/.

https://science.gc.ca/site/science/en/northern-contaminants-program/ncp-subprograms/environmental-monitoring-and-research.

10 https://www.unep.org/topics/chemicals-and-pollution-action/pollution-and-health/persistent-organic-pollutants-pops-3.

https://chm.pops.int/tabid/7730/Default.aspx.

https://eurl-pops.eu/working-groups/guidance-documents

https://www.eu-parc.eu/.